## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
235432 | 2022-04-26 15:36 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 274.1692 | μmol/L | 13.2417 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.536 | 127618.2915 | 265607.6814 | 33.25 | 75.7
235433 | 2022-04-26 15:37 | 1.3088 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8679 | μmol/L | 13.2846 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.533 | 127486.4489 | 265561.2097 | 33.25 | 75.7
235442 | 2022-04-26 15:38 | 1.639 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.6156 | μmol/L | 13.3029 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.537 | 127468.724 | 265542.978 | 33.25 | 75.7
235452 | 2022-04-26 15:38 | 1.9728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.5267 | μmol/L | 13.3213 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.534 | 127450.19 | 265538.7782 | 33.25 | 75.7
235462 | 2022-04-26 15:38 | 2.306 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.4442 | μmol/L | 13.3336 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.533 | 127464.735 | 265514.1304 | 33.25 | 75.7
235472 | 2022-04-26 15:39 | 2.6391 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.2981 | μmol/L | 13.3397 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.537 | 127453.4239 | 265494.7378 | 33.25 | 75.7
235482 | 2022-04-26 15:39 | 2.9722 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.2918 | μmol/L | 13.3458 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.535 | 127429.5967 | 265471.7323 | 33.25 | 75.7
235492 | 2022-04-26 15:39 | 3.3062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.0805 | μmol/L | 13.3703 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.535 | 127422.3417 | 265476.4237 | 33.25 | 75.7
235502 | 2022-04-26 15:40 | 3.6393 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.9517 | μmol/L | 13.3825 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.536 | 127411.0843 | 265455.9176 | 33.25 | 75.7
235512 | 2022-04-26 15:40 | 3.9725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.0385 | μmol/L | 13.3887 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.53 | 127401.0595 | 265454.0696 | 33.25 | 75.7
235522 | 2022-04-26 15:40 | 4.3057 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.8865 | μmol/L | 13.4009 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.532 | 127398.7263 | 265447.8598 | 33.25 | 75.7
235532 | 2022-04-26 15:41 | 4.6396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.7516 | μmol/L | 13.4193 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.531 | 127389.847 | 265443.5714 | 33.25 | 75.7
235542 | 2022-04-26 15:41 | 4.9727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.6462 | μmol/L | 13.4315 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.531 | 127388.6442 | 265443.4552 | 33.25 | 75.7
235552 | 2022-04-26 15:41 | 5.3057 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.4418 | μmol/L | 13.4499 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.533 | 127381.0596 | 265424.2931 | 33.25 | 75.7
235562 | 2022-04-26 15:42 | 5.6388 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.5115 | μmol/L | 13.4499 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.53 | 127387.7025 | 265410.6681 | 33.25 | 75.7
235572 | 2022-04-26 15:42 | 5.9728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.4992 | μmol/L | 13.4621 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.526 | 127370.5754 | 265418.7482 | 33.25 | 75.7
235582 | 2022-04-26 15:42 | 6.3059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.3707 | μmol/L | 13.4744 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.527 | 127370.1443 | 265411.4431 | 33.25 | 75.7
235592 | 2022-04-26 15:43 | 6.6393 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.196 | μmol/L | 13.4866 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.53 | 127369.92 | 265402.5748 | 33.25 | 75.7
235602 | 2022-04-26 15:43 | 6.9723 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.2301 | μmol/L | 13.4989 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127369.8616 | 265402.4384 | 33.25 | 75.7
235612 | 2022-04-26 15:43 | 7.3063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.1019 | μmol/L | 13.5111 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.525 | 127352.951 | 265385.3445 | 33.25 | 75.7
235622 | 2022-04-26 15:44 | 7.6394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.0201 | μmol/L | 13.5234 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127350.3146 | 265387.8629 | 33.25 | 75.7
235632 | 2022-04-26 15:44 | 7.9725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.892 | μmol/L | 13.5356 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.525 | 127345.6399 | 265379.3854 | 33.25 | 75.7
235642 | 2022-04-26 15:44 | 8.3057 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.9091 | μmol/L | 13.5417 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127333.779 | 265375.6057 | 33.25 | 75.7
235652 | 2022-04-26 15:45 | 8.6396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.8506 | μmol/L | 13.554 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.52 | 127347.2144 | 265367.6627 | 33.25 | 75.7
235662 | 2022-04-26 15:45 | 8.9727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.7286 | μmol/L | 13.5601 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127340.1698 | 265354.8174 | 33.25 | 75.7
235672 | 2022-04-26 15:45 | 9.3058 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.7397 | μmol/L | 13.5724 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127333.0048 | 265355.2624 | 33.25 | 75.7
235682 | 2022-04-26 15:46 | 9.6389 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5192 | μmol/L | 13.5846 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127327.9967 | 265354.5349 | 33.25 | 75.7
235692 | 2022-04-26 15:46 | 9.9729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4145 | μmol/L | 13.5968 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127324.5901 | 265346.0367 | 33.25 | 75.7
235702 | 2022-04-26 15:46 | 10.3061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4085 | μmol/L | 13.603 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.521 | 127331.9996 | 265349.004 | 33.25 | 75.7
235712 | 2022-04-26 15:47 | 10.6391 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3271 | μmol/L | 13.6152 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.52 | 127331.8506 | 265346.081 | 33.25 | 75.7
235722 | 2022-04-26 15:47 | 10.9723 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3211 | μmol/L | 13.6213 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127335.6207 | 265328.6796 | 33.25 | 75.7
235732 | 2022-04-26 15:47 | 11.3062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2165 | μmol/L | 13.6336 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127326.2275 | 265321.2395 | 33.25 | 75.7
235742 | 2022-04-26 15:48 | 11.6393 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1121 | μmol/L | 13.6458 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127321.5549 | 265306.0521 | 33.25 | 75.7
235752 | 2022-04-26 15:48 | 11.9724 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0599 | μmol/L | 13.652 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127307.383 | 265307.9057 | 33.25 | 75.7
235762 | 2022-04-26 15:48 | 12.3055 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0248 | μmol/L | 13.6642 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.515 | 127316.4639 | 265300.9985 | 33.25 | 75.7
235772 | 2022-04-26 15:49 | 12.6395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.8572 | μmol/L | 13.6703 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.52 | 127315.56 | 265318.5928 | 33.25 | 75.7
235782 | 2022-04-26 15:49 | 12.9728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.8453 | μmol/L | 13.6826 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.516 | 127318.2451 | 265308.1663 | 33.25 | 75.7
235792 | 2022-04-26 15:49 | 13.3059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.7641 | μmol/L | 13.6948 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.515 | 127319.6479 | 265287.7553 | 33.25 | 75.7
235802 | 2022-04-26 15:50 | 13.6391 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.6658 | μmol/L | 13.7009 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.517 | 127317.0073 | 265276.698 | 33.25 | 75.7
235812 | 2022-04-26 15:50 | 13.9722 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.6138 | μmol/L | 13.7071 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.517 | 127315.0682 | 265278.5547 | 33.25 | 75.7
235822 | 2022-04-26 15:50 | 14.3061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.5558 | μmol/L | 13.7193 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.515 | 127314.5337 | 265261.4974 | 33.25 | 75.7
235832 | 2022-04-26 15:51 | 14.6392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.3536 | μmol/L | 13.7377 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.517 | 127318.1529 | 265242.4216 | 33.25 | 75.7
235842 | 2022-04-26 15:51 | 14.9723 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.3246 | μmol/L | 13.7438 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.516 | 127317.2086 | 265255.3229 | 33.25 | 75.7
235852 | 2022-04-26 15:51 | 15.3062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.2727 | μmol/L | 13.7499 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.516 | 127329.3994 | 265238.0188 | 33.25 | 75.7
235862 | 2022-04-26 15:52 | 15.6394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.1746 | μmol/L | 13.7561 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127338.6772 | 265234.6503 | 33.25 | 75.7
235872 | 2022-04-26 15:52 | 15.9725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.9728 | μmol/L | 13.7744 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.52 | 127342.9062 | 265224.3229 | 33.25 | 75.7
235882 | 2022-04-26 15:52 | 16.3057 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.0649 | μmol/L | 13.7744 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.516 | 127329.9912 | 265211.1917 | 33.25 | 75.7
235892 | 2022-04-26 15:53 | 16.6388 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.9322 | μmol/L | 13.7928 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.515 | 127340.0967 | 265212.9517 | 33.25 | 75.7
235902 | 2022-04-26 15:53 | 16.9728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.8343 | μmol/L | 13.7989 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.517 | 127336.0606 | 265208.652 | 33.25 | 75.7
235912 | 2022-04-26 15:53 | 17.3059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.6846 | μmol/L | 13.8112 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.519 | 127341.2541 | 265210.459 | 33.25 | 75.7
235922 | 2022-04-26 15:54 | 17.639 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.5179 | μmol/L | 13.8173 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127359.4714 | 265184.0006 | 33.25 | 75.7
235932 | 2022-04-26 15:54 | 17.9723 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.4891 | μmol/L | 13.8234 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127364.4358 | 265180.5665 | 33.25 | 75.7
235942 | 2022-04-26 15:54 | 18.3063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.4374 | μmol/L | 13.8295 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127370.3804 | 265166.073 | 33.25 | 75.7
235952 | 2022-04-26 15:55 | 18.6394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.2822 | μmol/L | 13.8479 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127388.357 | 265170.1735 | 33.25 | 75.7
235962 | 2022-04-26 15:55 | 18.9725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.0698 | μmol/L | 13.854 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.53 | 127393.8102 | 265160.6785 | 33.25 | 75.7
235972 | 2022-04-26 15:55 | 19.3056 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.0411 | μmol/L | 13.8602 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.529 | 127424.8417 | 265153.3795 | 33.25 | 75.7
235982 | 2022-04-26 15:56 | 19.6389 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.829 | μmol/L | 13.8663 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.536 | 127430.4256 | 265150.4179 | 33.25 | 75.7
235992 | 2022-04-26 15:56 | 19.9722 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.7258 | μmol/L | 13.8785 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.536 | 127455.2605 | 265149.8435 | 33.25 | 75.7
236002 | 2022-04-26 15:56 | 20.3061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.7429 | μmol/L | 13.8847 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.533 | 127457.7796 | 265148.2955 | 33.25 | 75.7
236012 | 2022-04-26 15:57 | 20.6393 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.5253 | μmol/L | 13.8969 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.538 | 127471.4015 | 265150.6486 | 33.25 | 75.7
236022 | 2022-04-26 15:57 | 20.9725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.4967 | μmol/L | 13.903 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.537 | 127467.3953 | 265126.4102 | 33.25 | 75.7
236032 | 2022-04-26 15:57 | 21.3056 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.3479 | μmol/L | 13.9153 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.539 | 127470.8466 | 265117.5933 | 33.25 | 75.7
236042 | 2022-04-26 15:58 | 21.6395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.2507 | μmol/L | 13.9214 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.541 | 127477.3676 | 265123.9173 | 33.25 | 75.7
236052 | 2022-04-26 15:58 | 21.9726 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.2221 | μmol/L | 13.9275 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.54 | 127479.6285 | 265115.2512 | 33.25 | 75.7
236062 | 2022-04-26 15:58 | 22.3057 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.165 | μmol/L | 13.9398 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.538 | 127479.9128 | 265100.27 | 33.25 | 75.7
236072 | 2022-04-26 15:59 | 22.6396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.0621 | μmol/L | 13.952 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.538 | 127476.5391 | 265089.3749 | 33.25 | 75.7
236082 | 2022-04-26 15:59 | 22.9728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.0621 | μmol/L | 13.952 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.538 | 127474.5707 | 265081.4376 | 33.25 | 75.7
236092 | 2022-04-26 15:59 | 23.3059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.9308 | μmol/L | 13.9704 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.537 | 127472.7778 | 265067.1545 | 33.25 | 75.7
236102 | 2022-04-26 16:00 | 23.6391 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.8795 | μmol/L | 13.9765 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.537 | 127473.0268 | 265066.1987 | 33.25 | 75.7
236112 | 2022-04-26 16:00 | 23.9722 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.8053 | μmol/L | 13.9826 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.538 | 127474.9832 | 265040.0164 | 33.25 | 75.7
236122 | 2022-04-26 16:00 | 24.3062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.6342 | μmol/L | 13.9949 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.541 | 127471.4064 | 265038.8879 | 33.25 | 75.7
236132 | 2022-04-26 16:01 | 24.6393 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.6057 | μmol/L | 14.001 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.54 | 127469.6936 | 265041.0326 | 33.25 | 75.7
236142 | 2022-04-26 16:01 | 24.9724 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.5316 | μmol/L | 14.0071 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.541 | 127472.8921 | 265042.7624 | 33.25 | 75.7
236152 | 2022-04-26 16:01 | 25.3055 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.5032 | μmol/L | 14.0133 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.54 | 127469.0163 | 265020.9192 | 33.25 | 75.7
236162 | 2022-04-26 16:02 | 25.6395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.4519 | μmol/L | 14.0194 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.54 | 127476.6165 | 265016.9647 | 33.25 | 75.7
236172 | 2022-04-26 16:02 | 25.9725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.3723 | μmol/L | 14.0316 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.539 | 127472.0611 | 265004.1756 | 33.25 | 75.7
236182 | 2022-04-26 16:02 | 26.3059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.3723 | μmol/L | 14.0316 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.539 | 127469.1854 | 264984.3737 | 33.25 | 75.7
236192 | 2022-04-26 16:03 | 26.639 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.3154 | μmol/L | 14.0439 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.537 | 127468.7266 | 264974.8935 | 33.25 | 75.7
236202 | 2022-04-26 16:03 | 26.9721 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.2187 | μmol/L | 14.05 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.539 | 127477.805 | 264971.5891 | 33.25 | 75.7
236212 | 2022-04-26 16:03 | 27.3061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0708 | μmol/L | 14.0623 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.541 | 127472.3636 | 264967.5265 | 33.25 | 75.7
236222 | 2022-04-26 16:04 | 27.6392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0425 | μmol/L | 14.0684 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.54 | 127463.8785 | 264963.7387 | 33.25 | 75.7
236232 | 2022-04-26 16:04 | 27.9724 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.9402 | μmol/L | 14.0806 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.54 | 127471.2591 | 264947.2808 | 33.25 | 75.7
236242 | 2022-04-26 16:04 | 28.3055 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.7755 | μmol/L | 14.0867 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.545 | 127482.2356 | 264941.8136 | 33.25 | 75.7
236252 | 2022-04-26 16:05 | 28.6395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.8381 | μmol/L | 14.0929 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.54 | 127485.7507 | 264928.0972 | 33.25 | 75.7
236262 | 2022-04-26 16:05 | 28.9725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.6961 | μmol/L | 14.099 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.544 | 127475.6183 | 264921.0023 | 33.25 | 75.7
236272 | 2022-04-26 16:05 | 29.3057 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.7077 | μmol/L | 14.1112 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.539 | 127471.7595 | 264898.1113 | 33.25 | 75.7
236282 | 2022-04-26 16:06 | 29.6396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.5203 | μmol/L | 14.1174 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.545 | 127461.7267 | 264897.5208 | 33.25 | 75.7
236292 | 2022-04-26 16:06 | 29.9727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.5148 | μmol/L | 14.1235 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.543 | 127466.1579 | 264875.2792 | 33.25 | 75.7
236302 | 2022-04-26 16:06 | 30.3058 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.4128 | μmol/L | 14.1357 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.543 | 127455.4053 | 264864.3013 | 33.25 | 75.7
236312 | 2022-04-26 16:07 | 30.6389 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3619 | μmol/L | 14.1419 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.543 | 127461.0343 | 264862.978 | 33.25 | 75.7
236322 | 2022-04-26 16:07 | 30.9728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3165 | μmol/L | 14.1419 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.545 | 127454.3675 | 264859.906 | 33.25 | 75.7
236332 | 2022-04-26 16:07 | 31.3059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.2202 | μmol/L | 14.148 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.547 | 127458.059 | 264863.7115 | 33.25 | 75.7
236342 | 2022-04-26 16:08 | 31.639 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.1128 | μmol/L | 14.1664 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.545 | 127465.7205 | 264847.8749 | 33.25 | 75.7
236352 | 2022-04-26 16:08 | 31.9729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.0846 | μmol/L | 14.1725 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.544 | 127466.6003 | 264848.324 | 33.25 | 75.7
236362 | 2022-04-26 16:08 | 32.306 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.0846 | μmol/L | 14.1725 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.544 | 127469.9554 | 264847.7347 | 33.25 | 75.7
236372 | 2022-04-26 16:09 | 32.6391 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.9149 | μmol/L | 14.1847 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.547 | 127474.1595 | 264843.6296 | 33.25 | 75.7
236382 | 2022-04-26 16:09 | 32.9722 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.8586 | μmol/L | 14.197 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.545 | 127477.5595 | 264831.8528 | 33.25 | 75.7
236392 | 2022-04-26 16:09 | 33.3062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.8078 | μmol/L | 14.2031 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.545 | 127479.8549 | 264824.0724 | 33.25 | 75.7
236402 | 2022-04-26 16:10 | 33.6393 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.8078 | μmol/L | 14.2031 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.545 | 127473.5619 | 264827.7934 | 33.25 | 75.7
236412 | 2022-04-26 16:10 | 33.9725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.7344 | μmol/L | 14.2092 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.546 | 127480.1042 | 264822.4125 | 33.25 | 75.7
236422 | 2022-04-26 16:10 | 34.3056 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.6781 | μmol/L | 14.2215 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.544 | 127486.251 | 264824.2707 | 33.25 | 75.7