## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
235436 | 2022-04-26 15:37 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2106 | μmol/L | 13.2671 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.985 | 75262.6275 | 285386.0483 | 28.7 | 67.6
235446 | 2022-04-26 15:38 | 0.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3403 | μmol/L | 13.2975 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.968 | 75380.2709 | 285382.2186 | 28.7 | 67.6
235456 | 2022-04-26 15:38 | 0.66551 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.4419 | μmol/L | 13.3096 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.959 | 75333.8776 | 285372.3684 | 28.7 | 67.6
235466 | 2022-04-26 15:38 | 0.99861 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.4251 | μmol/L | 13.3278 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.953 | 75315.7154 | 285372.9073 | 28.7 | 67.6
235476 | 2022-04-26 15:39 | 1.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2504 | μmol/L | 13.346 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.954 | 75284.6799 | 285363.5773 | 28.7 | 67.6
235486 | 2022-04-26 15:39 | 1.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0814 | μmol/L | 13.3582 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.957 | 75276.068 | 285356.8172 | 28.7 | 67.6
235496 | 2022-04-26 15:39 | 1.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0702 | μmol/L | 13.3703 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.953 | 75205.901 | 285354.3141 | 28.7 | 67.6
235506 | 2022-04-26 15:40 | 2.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.183 | μmol/L | 13.3703 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.948 | 75139.2264 | 285343.3506 | 28.7 | 67.6
235516 | 2022-04-26 15:40 | 2.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0762 | μmol/L | 13.3886 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.946 | 75110.8497 | 285348.9525 | 28.7 | 67.6
235526 | 2022-04-26 15:40 | 2.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0371 | μmol/L | 13.4068 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.941 | 75097.1426 | 285338.2056 | 28.7 | 67.6
235536 | 2022-04-26 15:41 | 3.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.8737 | μmol/L | 13.4128 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.946 | 75074.0334 | 285346.116 | 28.7 | 67.6
235546 | 2022-04-26 15:41 | 3.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.8853 | μmol/L | 13.425 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.941 | 75059.3077 | 285339.6953 | 28.7 | 67.6
235556 | 2022-04-26 15:41 | 3.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.8968 | μmol/L | 13.4371 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.936 | 75051.7794 | 285351.599 | 28.7 | 67.6
235566 | 2022-04-26 15:42 | 4.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7227 | μmol/L | 13.4554 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.937 | 75037.5417 | 285333.488 | 28.7 | 67.6
235576 | 2022-04-26 15:42 | 4.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7172 | μmol/L | 13.4614 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.935 | 75020.1304 | 285323.3387 | 28.7 | 67.6
235586 | 2022-04-26 15:42 | 4.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6162 | μmol/L | 13.4736 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.935 | 75011.6871 | 285326.8962 | 28.7 | 67.6
235596 | 2022-04-26 15:43 | 5.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5323 | μmol/L | 13.4918 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.932 | 75005.527 | 285321.9278 | 28.7 | 67.6
235606 | 2022-04-26 15:43 | 5.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.4369 | μmol/L | 13.4979 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.934 | 74987.1623 | 285311.2026 | 28.7 | 67.6
235616 | 2022-04-26 15:43 | 5.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.3585 | μmol/L | 13.51 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.933 | 74982.9988 | 285311.1625 | 28.7 | 67.6
235626 | 2022-04-26 15:44 | 6.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.3423 | μmol/L | 13.5282 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.927 | 74969.0282 | 285307.0323 | 28.7 | 67.6
235636 | 2022-04-26 15:44 | 6.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.3144 | μmol/L | 13.5343 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.926 | 74953.6151 | 285298.2426 | 28.7 | 67.6
235646 | 2022-04-26 15:44 | 6.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.399 | μmol/L | 13.5404 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.92 | 74944.9223 | 285313.2648 | 28.7 | 67.6
235656 | 2022-04-26 15:45 | 7.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.2758 | μmol/L | 13.5525 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.921 | 74937.5522 | 285307.3582 | 28.7 | 67.6
235666 | 2022-04-26 15:45 | 7.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.1194 | μmol/L | 13.5768 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.919 | 74931.5611 | 285288.9233 | 28.7 | 67.6
235676 | 2022-04-26 15:45 | 7.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.0016 | μmol/L | 13.5829 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.922 | 74928.2235 | 285303.4525 | 28.7 | 67.6
235686 | 2022-04-26 15:46 | 8.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.9011 | μmol/L | 13.595 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.922 | 74928.7205 | 285285.1096 | 28.7 | 67.6
235696 | 2022-04-26 15:46 | 8.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.7279 | μmol/L | 13.6133 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.923 | 74922.0783 | 285279.8009 | 28.7 | 67.6
235706 | 2022-04-26 15:46 | 8.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.7899 | μmol/L | 13.6193 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.918 | 74914.0843 | 285286.8589 | 28.7 | 67.6
235716 | 2022-04-26 15:47 | 9.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.6446 | μmol/L | 13.6315 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.92 | 74919.3825 | 285274.2559 | 28.7 | 67.6
235726 | 2022-04-26 15:47 | 9.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.4321 | μmol/L | 13.6436 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.925 | 74923.3443 | 285266.9521 | 28.7 | 67.6
235736 | 2022-04-26 15:47 | 9.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.3543 | μmol/L | 13.6558 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.924 | 74928.5307 | 285264.2492 | 28.7 | 67.6
235746 | 2022-04-26 15:48 | 10.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.2488 | μmol/L | 13.674 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.922 | 74929.9761 | 285269.6825 | 28.7 | 67.6
235756 | 2022-04-26 15:48 | 10.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.2937 | μmol/L | 13.674 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.92 | 74938.5852 | 285259.1591 | 28.7 | 67.6
235766 | 2022-04-26 15:48 | 10.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.1263 | μmol/L | 13.6861 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.923 | 74944.4588 | 285262.67 | 28.7 | 67.6
235776 | 2022-04-26 15:49 | 11.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.9762 | μmol/L | 13.7044 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.923 | 74954.851 | 285252.9017 | 28.7 | 67.6
235786 | 2022-04-26 15:49 | 11.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.9933 | μmol/L | 13.7104 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.92 | 74965.6476 | 285248.2098 | 28.7 | 67.6
235796 | 2022-04-26 15:49 | 11.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.7986 | μmol/L | 13.7287 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.922 | 74962.7391 | 285247.9552 | 28.7 | 67.6
235806 | 2022-04-26 15:50 | 12.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.7934 | μmol/L | 13.7347 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.92 | 74958.8729 | 285237.9904 | 28.7 | 67.6
235816 | 2022-04-26 15:50 | 12.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.6935 | μmol/L | 13.7469 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.92 | 74960.398 | 285221.4381 | 28.7 | 67.6
235826 | 2022-04-26 15:50 | 12.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.5215 | μmol/L | 13.7651 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.921 | 74958.5257 | 285215.6599 | 28.7 | 67.6
235836 | 2022-04-26 15:51 | 13.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.4939 | μmol/L | 13.7712 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.92 | 74958.3246 | 285199.8417 | 28.7 | 67.6
235846 | 2022-04-26 15:51 | 13.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.2774 | μmol/L | 13.7894 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.923 | 74957.7295 | 285200.2105 | 28.7 | 67.6
235856 | 2022-04-26 15:51 | 13.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.116 | μmol/L | 13.7955 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.928 | 74958.9777 | 285188.0288 | 28.7 | 67.6
235866 | 2022-04-26 15:52 | 14.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.2173 | μmol/L | 13.8076 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.919 | 74973.3016 | 285198.0736 | 28.7 | 67.6
235876 | 2022-04-26 15:52 | 14.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.0782 | μmol/L | 13.8137 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.923 | 74967.6595 | 285173.4283 | 28.7 | 67.6
235886 | 2022-04-26 15:52 | 14.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.929 | μmol/L | 13.8319 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.923 | 74979.5646 | 285146.4071 | 28.7 | 67.6
235896 | 2022-04-26 15:53 | 15.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.8621 | μmol/L | 13.8319 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.926 | 74988.4646 | 285148.5003 | 28.7 | 67.6
235906 | 2022-04-26 15:53 | 15.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.6736 | μmol/L | 13.8441 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.93 | 74995.464 | 285151.5291 | 28.7 | 67.6
235916 | 2022-04-26 15:53 | 15.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.5794 | μmol/L | 13.8501 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.932 | 75010.6897 | 285138.426 | 28.7 | 67.6
235926 | 2022-04-26 15:54 | 16.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2749 | μmol/L | 13.8684 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.939 | 75025.355 | 285128.6115 | 28.7 | 67.6
235936 | 2022-04-26 15:54 | 16.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.0647 | μmol/L | 13.8805 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.944 | 75029.0436 | 285133.0568 | 28.7 | 67.6
235946 | 2022-04-26 15:54 | 16.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9929 | μmol/L | 13.8866 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.945 | 75041.1801 | 285108.4417 | 28.7 | 67.6
235956 | 2022-04-26 15:55 | 17.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9434 | μmol/L | 13.8927 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.945 | 75060.201 | 285133.2565 | 28.7 | 67.6
235966 | 2022-04-26 15:55 | 17.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.7779 | μmol/L | 13.9048 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.948 | 75066.8451 | 285114.4923 | 28.7 | 67.6
235976 | 2022-04-26 15:55 | 17.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.5682 | μmol/L | 13.9169 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.953 | 75078.8849 | 285121.236 | 28.7 | 67.6
235986 | 2022-04-26 15:56 | 18.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3365 | μmol/L | 13.9291 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.959 | 75088.7935 | 285116.3768 | 28.7 | 67.6
235996 | 2022-04-26 15:56 | 18.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.265 | μmol/L | 13.9352 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.96 | 75097.5536 | 285105.4989 | 28.7 | 67.6
236006 | 2022-04-26 15:56 | 18.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1221 | μmol/L | 13.9473 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.962 | 75108.2808 | 285097.255 | 28.7 | 67.6
236016 | 2022-04-26 15:57 | 19.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.9793 | μmol/L | 13.9595 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.964 | 75124.2855 | 285100.8689 | 28.7 | 67.6
236026 | 2022-04-26 15:57 | 19.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.8858 | μmol/L | 13.9655 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.966 | 75130.3669 | 285090.5782 | 28.7 | 67.6
236036 | 2022-04-26 15:57 | 19.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.8587 | μmol/L | 13.9716 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.965 | 75142.5508 | 285077.4529 | 28.7 | 67.6
236046 | 2022-04-26 15:58 | 20.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5785 | μmol/L | 13.9898 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.971 | 75145.5328 | 285077.0474 | 28.7 | 67.6
236056 | 2022-04-26 15:58 | 20.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6227 | μmol/L | 13.9898 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.969 | 75139.5729 | 285057.9274 | 28.7 | 67.6
236066 | 2022-04-26 15:58 | 20.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.409 | μmol/L | 14.0081 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.972 | 75137.5921 | 285041.1519 | 28.7 | 67.6
236076 | 2022-04-26 15:59 | 21.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.404 | μmol/L | 14.0141 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.97 | 75146.0074 | 285048.0844 | 28.7 | 67.6
236086 | 2022-04-26 15:59 | 21.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.2617 | μmol/L | 14.0263 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.972 | 75143.4451 | 285032.3823 | 28.7 | 67.6
236096 | 2022-04-26 15:59 | 21.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.1465 | μmol/L | 14.0324 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.975 | 75145.2467 | 285010.5902 | 28.7 | 67.6
236106 | 2022-04-26 16:00 | 22.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.1195 | μmol/L | 14.0384 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.974 | 75156.1174 | 285004.3949 | 28.7 | 67.6
236116 | 2022-04-26 16:00 | 22.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.7792 | μmol/L | 14.0506 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.985 | 75169.637 | 285003.543 | 28.7 | 67.6
236126 | 2022-04-26 16:00 | 22.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.6863 | μmol/L | 14.0567 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.987 | 75181.1333 | 284981.5772 | 28.7 | 67.6
236136 | 2022-04-26 16:01 | 23.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.5494 | μmol/L | 14.0627 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.991 | 75191.7748 | 284978.6514 | 28.7 | 67.6
236146 | 2022-04-26 16:01 | 23.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2759 | μmol/L | 14.0749 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.999 | 75212.2435 | 284979.1252 | 28.7 | 67.6
236156 | 2022-04-26 16:01 | 23.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.1513 | μmol/L | 14.0931 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.998 | 75223.7822 | 284963.4075 | 28.7 | 67.6
236166 | 2022-04-26 16:02 | 24.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8563 | μmol/L | 14.1052 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.007 | 75236.2554 | 284962.0319 | 28.7 | 67.6
236176 | 2022-04-26 16:02 | 24.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.8464 | μmol/L | 14.1174 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.003 | 75246.3664 | 284950.8934 | 28.7 | 67.6
236186 | 2022-04-26 16:02 | 24.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.6006 | μmol/L | 14.1235 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.012 | 75261.171 | 284924.7762 | 28.7 | 67.6
236196 | 2022-04-26 16:03 | 25.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.4425 | μmol/L | 14.1295 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.017 | 75268.7931 | 284928.4851 | 28.7 | 67.6
236206 | 2022-04-26 16:03 | 25.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.4157 | μmol/L | 14.1356 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.016 | 75284.5606 | 284920.2811 | 28.7 | 67.6
236216 | 2022-04-26 16:03 | 25.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.2358 | μmol/L | 14.1417 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.022 | 75305.1404 | 284910.8801 | 28.7 | 67.6
236226 | 2022-04-26 16:04 | 26.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.1168 | μmol/L | 14.1538 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.023 | 75319.8446 | 284891.8646 | 28.7 | 67.6
236236 | 2022-04-26 16:04 | 26.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.9153 | μmol/L | 14.1599 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.03 | 75332.5654 | 284889.225 | 28.7 | 67.6
236246 | 2022-04-26 16:04 | 26.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.6607 | μmol/L | 14.1781 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.035 | 75348.5361 | 284876.4102 | 28.7 | 67.6
236256 | 2022-04-26 16:05 | 27.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.5855 | μmol/L | 14.1903 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.034 | 75360.0389 | 284855.9629 | 28.7 | 67.6
236266 | 2022-04-26 16:05 | 27.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.433 | μmol/L | 14.1903 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.041 | 75375.8874 | 284867.1903 | 28.7 | 67.6
236276 | 2022-04-26 16:05 | 27.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.2491 | μmol/L | 14.2024 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.045 | 75385.9901 | 284832.1551 | 28.7 | 67.6
236286 | 2022-04-26 16:06 | 28.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1354 | μmol/L | 14.2085 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.048 | 75388.4563 | 284815.7792 | 28.7 | 67.6
236296 | 2022-04-26 16:06 | 28.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9349 | μmol/L | 14.2146 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.055 | 75399.028 | 284802.0311 | 28.7 | 67.6
236306 | 2022-04-26 16:06 | 28.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7731 | μmol/L | 14.2267 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.058 | 75421.814 | 284805.3135 | 28.7 | 67.6
236316 | 2022-04-26 16:07 | 29.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.5463 | μmol/L | 14.2389 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.064 | 75426.6055 | 284802.5231 | 28.7 | 67.6
236326 | 2022-04-26 16:07 | 29.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.4764 | μmol/L | 14.245 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.065 | 75433.7753 | 284804.408 | 28.7 | 67.6
236336 | 2022-04-26 16:07 | 29.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.4016 | μmol/L | 14.2571 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.064 | 75452.1016 | 284798.8218 | 28.7 | 67.6
236346 | 2022-04-26 16:08 | 30.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.3269 | μmol/L | 14.2693 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.063 | 75462.0371 | 284800.8736 | 28.7 | 67.6
236356 | 2022-04-26 16:08 | 30.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.0886 | μmol/L | 14.2693 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.074 | 75468.4116 | 284786.0351 | 28.7 | 67.6
236366 | 2022-04-26 16:08 | 30.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.9755 | μmol/L | 14.2753 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.077 | 75483.1194 | 284776.4536 | 28.7 | 67.6
236376 | 2022-04-26 16:09 | 31.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.9226 | μmol/L | 14.2875 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.075 | 75491.8401 | 284781.9555 | 28.7 | 67.6
236386 | 2022-04-26 16:09 | 31.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.788 | μmol/L | 14.2936 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.079 | 75501.2268 | 284779.963 | 28.7 | 67.6
236396 | 2022-04-26 16:09 | 31.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.5622 | μmol/L | 14.3057 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.085 | 75522.1859 | 284763.9429 | 28.7 | 67.6
236406 | 2022-04-26 16:10 | 32.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.5958 | μmol/L | 14.3179 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.079 | 75530.1648 | 284780.1743 | 28.7 | 67.6
236416 | 2022-04-26 16:10 | 32.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.3751 | μmol/L | 14.3239 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.087 | 75540.4748 | 284779.9356 | 28.7 | 67.6
236426 | 2022-04-26 16:10 | 32.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.3487 | μmol/L | 14.33 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.086 | 75546.2118 | 284767.5608 | 28.7 | 67.6