## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
235440 | 2022-04-26 15:38 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.5609 | μmol/L | 13.3748 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.865 | 142633.5745 | 295984.5855 | 33.25 | 68.6
235450 | 2022-04-26 15:38 | 0.32968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.5065 | μmol/L | 13.3869 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.817 | 142317.4583 | 295969.941 | 33.25 | 68.6
235460 | 2022-04-26 15:38 | 0.66269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.2363 | μmol/L | 13.3991 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.779 | 142070.3693 | 295956.2179 | 33.25 | 68.6
235470 | 2022-04-26 15:39 | 0.99585 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7921 | μmol/L | 13.4112 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.749 | 141819.4385 | 295945.6998 | 33.25 | 68.6
235480 | 2022-04-26 15:39 | 1.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.2439 | μmol/L | 13.4355 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.719 | 141657.1718 | 295927.7225 | 33.25 | 68.6
235490 | 2022-04-26 15:39 | 1.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.426 | μmol/L | 13.4477 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.706 | 141506.8976 | 295922.6941 | 33.25 | 68.6
235500 | 2022-04-26 15:40 | 1.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7634 | μmol/L | 13.4598 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.686 | 141408.9023 | 295896.6925 | 33.25 | 68.6
235510 | 2022-04-26 15:40 | 2.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8932 | μmol/L | 13.478 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.673 | 141344.4521 | 295904.2984 | 33.25 | 68.6
235520 | 2022-04-26 15:40 | 2.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9428 | μmol/L | 13.4902 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.666 | 141310.2839 | 295897.1964 | 33.25 | 68.6
235530 | 2022-04-26 15:41 | 2.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0232 | μmol/L | 13.4963 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.66 | 141285.6919 | 295894.0895 | 33.25 | 68.6
235540 | 2022-04-26 15:41 | 3.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0951 | μmol/L | 13.5084 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.652 | 141263.1663 | 295877.4106 | 33.25 | 68.6
235550 | 2022-04-26 15:41 | 3.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1227 | μmol/L | 13.5206 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.646 | 141227.3751 | 295867.3648 | 33.25 | 68.6
235560 | 2022-04-26 15:42 | 3.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1587 | μmol/L | 13.5267 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.642 | 141235.4806 | 295860.6535 | 33.25 | 68.6
235570 | 2022-04-26 15:42 | 4.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1336 | μmol/L | 13.5449 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.636 | 141237.3733 | 295856.0846 | 33.25 | 68.6
235580 | 2022-04-26 15:42 | 4.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.103 | μmol/L | 13.551 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.635 | 141239.982 | 295854.1094 | 33.25 | 68.6
235590 | 2022-04-26 15:43 | 4.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0196 | μmol/L | 13.5631 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.634 | 141240.8675 | 295841.2318 | 33.25 | 68.6
235600 | 2022-04-26 15:43 | 5.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7947 | μmol/L | 13.5813 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.637 | 141254.263 | 295828.7745 | 33.25 | 68.6
235610 | 2022-04-26 15:43 | 5.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8308 | μmol/L | 13.5874 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.633 | 141257.2779 | 295808.4408 | 33.25 | 68.6
235620 | 2022-04-26 15:44 | 5.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7115 | μmol/L | 13.5935 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.636 | 141288.7666 | 295800.9168 | 33.25 | 68.6
235630 | 2022-04-26 15:44 | 6.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.6505 | μmol/L | 13.6056 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.634 | 141295.1204 | 295795.7692 | 33.25 | 68.6
235640 | 2022-04-26 15:44 | 6.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.62 | μmol/L | 13.6117 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.633 | 141301.6096 | 295784.5035 | 33.25 | 68.6
235650 | 2022-04-26 15:45 | 6.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.656 | μmol/L | 13.6178 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.629 | 141317.1286 | 295778.9203 | 33.25 | 68.6
235660 | 2022-04-26 15:45 | 7.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.5729 | μmol/L | 13.6299 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.628 | 141310.7288 | 295785.6171 | 33.25 | 68.6
235670 | 2022-04-26 15:45 | 7.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.5646 | μmol/L | 13.636 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.626 | 141311.1363 | 295766.525 | 33.25 | 68.6
235680 | 2022-04-26 15:46 | 7.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.512 | μmol/L | 13.6421 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.626 | 141296.6911 | 295758.9051 | 33.25 | 68.6
235690 | 2022-04-26 15:46 | 8.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.5093 | μmol/L | 13.6603 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.619 | 141290.7925 | 295754.1305 | 33.25 | 68.6
235700 | 2022-04-26 15:46 | 8.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.3376 | μmol/L | 13.6725 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.622 | 141295.7445 | 295759.1974 | 33.25 | 68.6
235710 | 2022-04-26 15:47 | 8.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.2547 | μmol/L | 13.6846 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.621 | 141286.9323 | 295746.7703 | 33.25 | 68.6
235720 | 2022-04-26 15:47 | 9.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.4098 | μmol/L | 13.6846 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.614 | 141283.5931 | 295745.6433 | 33.25 | 68.6
235730 | 2022-04-26 15:47 | 9.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.3268 | μmol/L | 13.6968 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.613 | 141288.382 | 295735.214 | 33.25 | 68.6
235740 | 2022-04-26 15:48 | 9.9966 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.1996 | μmol/L | 13.7089 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.614 | 141303.7265 | 295719.2136 | 33.25 | 68.6
235750 | 2022-04-26 15:48 | 10.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.2497 | μmol/L | 13.7211 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.607 | 141292.5766 | 295729.9568 | 33.25 | 68.6
235760 | 2022-04-26 15:48 | 10.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.1447 | μmol/L | 13.7332 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.607 | 141290.4788 | 295715.6384 | 33.25 | 68.6
235770 | 2022-04-26 15:49 | 10.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.0701 | μmol/L | 13.7393 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.608 | 141284.9653 | 295705.5832 | 33.25 | 68.6
235780 | 2022-04-26 15:49 | 11.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.0758 | μmol/L | 13.7514 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.603 | 141278.5715 | 295693.0928 | 33.25 | 68.6
235790 | 2022-04-26 15:49 | 11.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.0455 | μmol/L | 13.7575 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.602 | 141293.5695 | 295698.2606 | 33.25 | 68.6
235800 | 2022-04-26 15:50 | 11.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.0374 | μmol/L | 13.7636 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.6 | 141287.5222 | 295683.0723 | 33.25 | 68.6
235810 | 2022-04-26 15:50 | 12.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8801 | μmol/L | 13.7818 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.6 | 141303.1197 | 295675.7075 | 33.25 | 68.6
235820 | 2022-04-26 15:50 | 12.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.9367 | μmol/L | 13.7757 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.6 | 141293.4468 | 295668.5709 | 33.25 | 68.6
235830 | 2022-04-26 15:51 | 12.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7392 | μmol/L | 13.7879 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.604 | 141306.9834 | 295656.8302 | 33.25 | 68.6
235840 | 2022-04-26 15:51 | 13.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.6346 | μmol/L | 13.8 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.604 | 141307.7098 | 295637.7469 | 33.25 | 68.6
235850 | 2022-04-26 15:51 | 13.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.5962 | μmol/L | 13.8122 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.601 | 141323.7961 | 295643.8869 | 33.25 | 68.6
235860 | 2022-04-26 15:52 | 13.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.4334 | μmol/L | 13.8183 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.606 | 141342.5179 | 295631.2084 | 33.25 | 68.6
235870 | 2022-04-26 15:52 | 14.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.3149 | μmol/L | 13.8244 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.609 | 141369.0621 | 295608.0867 | 33.25 | 68.6
235880 | 2022-04-26 15:52 | 14.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.1663 | μmol/L | 13.8365 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.611 | 141406.7679 | 295618.5846 | 33.25 | 68.6
235890 | 2022-04-26 15:53 | 14.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.9296 | μmol/L | 13.8487 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.617 | 141433.3027 | 295616.6069 | 33.25 | 68.6
235900 | 2022-04-26 15:53 | 15.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.7812 | μmol/L | 13.8608 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.619 | 141457.366 | 295598.41 | 33.25 | 68.6
235910 | 2022-04-26 15:53 | 15.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.5791 | μmol/L | 13.8669 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.626 | 141472.9372 | 295580.4763 | 33.25 | 68.6
235920 | 2022-04-26 15:54 | 15.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.4708 | μmol/L | 13.879 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.626 | 141495.4298 | 295593.7204 | 33.25 | 68.6
235930 | 2022-04-26 15:54 | 16.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.431 | μmol/L | 13.879 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.628 | 141506.0254 | 295567.1495 | 33.25 | 68.6
235940 | 2022-04-26 15:54 | 16.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.1829 | μmol/L | 13.8973 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.632 | 141540.693 | 295580.8222 | 33.25 | 68.6
235950 | 2022-04-26 15:55 | 16.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.0391 | μmol/L | 13.9094 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.634 | 141552.8986 | 295571.6026 | 33.25 | 68.6
235960 | 2022-04-26 15:55 | 17.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.0789 | μmol/L | 13.9094 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.632 | 141560.1572 | 295551.7145 | 33.25 | 68.6
235970 | 2022-04-26 15:55 | 17.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.9391 | μmol/L | 13.9155 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.636 | 141572.4891 | 295563.5586 | 33.25 | 68.6
235980 | 2022-04-26 15:56 | 17.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.9012 | μmol/L | 13.9276 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.633 | 141548.9828 | 295546.3804 | 33.25 | 68.6
235990 | 2022-04-26 15:56 | 18.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8712 | μmol/L | 13.9337 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.632 | 141549.5624 | 295535.2045 | 33.25 | 68.6
236000 | 2022-04-26 15:56 | 18.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8114 | μmol/L | 13.9459 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.63 | 141523.9292 | 295529.0787 | 33.25 | 68.6
236010 | 2022-04-26 15:57 | 18.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.7515 | μmol/L | 13.958 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.628 | 141510.8238 | 295544.3062 | 33.25 | 68.6
236020 | 2022-04-26 15:57 | 19.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.7477 | μmol/L | 13.9641 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.626 | 141496.4301 | 295541.0584 | 33.25 | 68.6
236030 | 2022-04-26 15:57 | 19.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8673 | μmol/L | 13.9702 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.618 | 141481.8383 | 295516.3424 | 33.25 | 68.6
236040 | 2022-04-26 15:58 | 19.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.7417 | μmol/L | 13.9823 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.619 | 141459.8732 | 295515.4687 | 33.25 | 68.6
236050 | 2022-04-26 15:58 | 20.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8215 | μmol/L | 13.9884 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.613 | 141431.6402 | 295496.9111 | 33.25 | 68.6
236060 | 2022-04-26 15:58 | 20.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8575 | μmol/L | 13.9945 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.609 | 141406.5511 | 295480.4716 | 33.25 | 68.6
236070 | 2022-04-26 15:59 | 20.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8197 | μmol/L | 14.0066 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.606 | 141380.2182 | 295475.9228 | 33.25 | 68.6
236080 | 2022-04-26 15:59 | 21.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8039 | μmol/L | 14.0188 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.602 | 141354.968 | 295469.4341 | 33.25 | 68.6
236090 | 2022-04-26 15:59 | 21.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.818 | μmol/L | 14.0249 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.599 | 141344.5208 | 295460.2059 | 33.25 | 68.6
236100 | 2022-04-26 16:00 | 21.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8362 | μmol/L | 14.0309 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.596 | 141309.8827 | 295447.6773 | 33.25 | 68.6
236110 | 2022-04-26 16:00 | 22.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8283 | μmol/L | 14.037 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.594 | 141303.0064 | 295449.3972 | 33.25 | 68.6
236120 | 2022-04-26 16:00 | 22.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8424 | μmol/L | 14.0431 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.591 | 141277.8326 | 295424.8536 | 33.25 | 68.6
236130 | 2022-04-26 16:01 | 22.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.8644 | μmol/L | 14.0431 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.59 | 141264.2159 | 295419.2455 | 33.25 | 68.6
236140 | 2022-04-26 16:01 | 23.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.7749 | μmol/L | 14.0613 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.587 | 141263.9895 | 295410.9053 | 33.25 | 68.6
236150 | 2022-04-26 16:01 | 23.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.731 | μmol/L | 14.0613 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.589 | 141253.5128 | 295398.4326 | 33.25 | 68.6
236160 | 2022-04-26 16:02 | 23.996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.6275 | μmol/L | 14.0735 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.589 | 141251.8674 | 295389.0005 | 33.25 | 68.6
236170 | 2022-04-26 16:02 | 24.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.5757 | μmol/L | 14.0795 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.589 | 141248.8069 | 295369.4706 | 33.25 | 68.6
236180 | 2022-04-26 16:02 | 24.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.3626 | μmol/L | 14.0917 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.594 | 141263.5161 | 295379.3869 | 33.25 | 68.6
236190 | 2022-04-26 16:03 | 24.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.311 | μmol/L | 14.0978 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.594 | 141254.2026 | 295364.9016 | 33.25 | 68.6
236200 | 2022-04-26 16:03 | 25.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.2812 | μmol/L | 14.1039 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.593 | 141269.685 | 295356.074 | 33.25 | 68.6
236210 | 2022-04-26 16:03 | 25.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.2296 | μmol/L | 14.1099 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.593 | 141265.0164 | 295342.8488 | 33.25 | 68.6
236220 | 2022-04-26 16:04 | 25.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.0168 | μmol/L | 14.1221 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.598 | 141260.1861 | 295336.1292 | 33.25 | 68.6
236230 | 2022-04-26 16:04 | 26.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.0309 | μmol/L | 14.1282 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.595 | 141255.5826 | 295325.2401 | 33.25 | 68.6
236240 | 2022-04-26 16:04 | 26.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.9794 | μmol/L | 14.1342 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.595 | 141260.2259 | 295321.7747 | 33.25 | 68.6
236250 | 2022-04-26 16:05 | 26.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.9059 | μmol/L | 14.1403 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.596 | 141243.8566 | 295298.8326 | 33.25 | 68.6
236260 | 2022-04-26 16:05 | 27.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.8763 | μmol/L | 14.1464 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.595 | 141241.5753 | 295292.3167 | 33.25 | 68.6
236270 | 2022-04-26 16:05 | 27.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.7951 | μmol/L | 14.1585 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.594 | 141237.6854 | 295275.102 | 33.25 | 68.6
236280 | 2022-04-26 16:06 | 27.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.7654 | μmol/L | 14.1646 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.593 | 141232.659 | 295268.9439 | 33.25 | 68.6
236290 | 2022-04-26 16:06 | 28.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.5969 | μmol/L | 14.1768 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.596 | 141223.3383 | 295245.3373 | 33.25 | 68.6
236300 | 2022-04-26 16:06 | 28.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.6187 | μmol/L | 14.1768 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.595 | 141218.3116 | 295254.664 | 33.25 | 68.6
236310 | 2022-04-26 16:07 | 28.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.5158 | μmol/L | 14.1889 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.595 | 141218.8624 | 295238.1337 | 33.25 | 68.6
236320 | 2022-04-26 16:07 | 29.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.4129 | μmol/L | 14.2011 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.595 | 141229.8661 | 295223.9669 | 33.25 | 68.6
236330 | 2022-04-26 16:07 | 29.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.3988 | μmol/L | 14.195 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.598 | 141239.4603 | 295226.6979 | 33.25 | 68.6
236340 | 2022-04-26 16:08 | 29.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.2742 | μmol/L | 14.2072 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.599 | 141242.1467 | 295232.619 | 33.25 | 68.6
236350 | 2022-04-26 16:08 | 30.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.1792 | μmol/L | 14.2132 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.601 | 141242.3889 | 295215.7919 | 33.25 | 68.6
236360 | 2022-04-26 16:08 | 30.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.0624 | μmol/L | 14.2193 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.604 | 141249.835 | 295213.8386 | 33.25 | 68.6
236370 | 2022-04-26 16:09 | 30.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.9969 | μmol/L | 14.2193 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.607 | 141251.4008 | 295210.6223 | 33.25 | 68.6
236380 | 2022-04-26 16:09 | 31.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.7559 | μmol/L | 14.2375 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.611 | 141268.9827 | 295199.0157 | 33.25 | 68.6
236390 | 2022-04-26 16:09 | 31.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.7559 | μmol/L | 14.2375 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.611 | 141295.0675 | 295190.8862 | 33.25 | 68.6
236400 | 2022-04-26 16:10 | 31.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.4239 | μmol/L | 14.2558 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.619 | 141327.4064 | 295191.4115 | 33.25 | 68.6
236410 | 2022-04-26 16:10 | 32.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.3193 | μmol/L | 14.2558 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.624 | 141359.2177 | 295185.7788 | 33.25 | 68.6
236420 | 2022-04-26 16:10 | 32.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.1083 | μmol/L | 14.2679 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.629 | 141396.6458 | 295181.5595 | 33.25 | 68.6
236430 | 2022-04-26 16:11 | 32.996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.9563 | μmol/L | 14.2679 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 23.636 | 141438.172 | 295176.4484 | 33.25 | 68.6