## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
235441 | 2022-04-26 15:38 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1536 | μmol/L | 13.3484 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.234 | 109243.3215 | 261238.3062 | 26.25 | 74
235451 | 2022-04-26 15:38 | 0.32745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.642 | μmol/L | 13.3666 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.205 | 109062.3522 | 261224.0124 | 26.25 | 74
235461 | 2022-04-26 15:38 | 0.66049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0784 | μmol/L | 13.3727 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.183 | 108879.882 | 261211.1356 | 26.25 | 74
235471 | 2022-04-26 15:39 | 0.99451 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.7002 | μmol/L | 13.3727 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.155 | 108709.4121 | 261188.8548 | 26.25 | 74
235481 | 2022-04-26 15:39 | 1.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.0943 | μmol/L | 13.3788 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.135 | 108576.0149 | 261179.3535 | 26.25 | 74
235491 | 2022-04-26 15:39 | 1.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.2975 | μmol/L | 13.397 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.119 | 108461.2288 | 261168.4144 | 26.25 | 74
235501 | 2022-04-26 15:40 | 1.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.5234 | μmol/L | 13.4153 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.102 | 108361.3765 | 261146.5703 | 26.25 | 74
235511 | 2022-04-26 15:40 | 2.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8074 | μmol/L | 13.4214 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.087 | 108259.663 | 261137.0759 | 26.25 | 74
235521 | 2022-04-26 15:40 | 2.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0406 | μmol/L | 13.4335 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.072 | 108185.082 | 261128.6654 | 26.25 | 74
235531 | 2022-04-26 15:41 | 2.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3029 | μmol/L | 13.4396 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108108.3727 | 261124.8973 | 26.25 | 74
235541 | 2022-04-26 15:41 | 3.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3283 | μmol/L | 13.4579 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.05 | 108047.7739 | 261119.4592 | 26.25 | 74
235551 | 2022-04-26 15:41 | 3.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.5911 | μmol/L | 13.4639 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.036 | 107984.5794 | 261119.4412 | 26.25 | 74
235561 | 2022-04-26 15:42 | 3.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.6906 | μmol/L | 13.4761 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.027 | 107904.2943 | 261106.5779 | 26.25 | 74
235571 | 2022-04-26 15:42 | 4.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.9314 | μmol/L | 13.4822 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.014 | 107828.938 | 261095.0716 | 26.25 | 74
235581 | 2022-04-26 15:42 | 4.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.0246 | μmol/L | 13.5004 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.003 | 107757.5302 | 261085.7029 | 26.25 | 74
235591 | 2022-04-26 15:43 | 4.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.1019 | μmol/L | 13.5126 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.995 | 107683.8214 | 261070.8412 | 26.25 | 74
235601 | 2022-04-26 15:43 | 5.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.3658 | μmol/L | 13.5187 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.981 | 107610.177 | 261075.2595 | 26.25 | 74
235611 | 2022-04-26 15:43 | 5.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.4081 | μmol/L | 13.543 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.97 | 107543.5609 | 261067.867 | 26.25 | 74
235621 | 2022-04-26 15:44 | 5.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.5145 | μmol/L | 13.5491 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.963 | 107481.223 | 261062.1722 | 26.25 | 74
235631 | 2022-04-26 15:44 | 6.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.6436 | μmol/L | 13.5552 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.955 | 107427.6151 | 261054.3169 | 26.25 | 74
235641 | 2022-04-26 15:44 | 6.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.7728 | μmol/L | 13.5613 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.947 | 107386.0487 | 261041.5151 | 26.25 | 74
235651 | 2022-04-26 15:45 | 6.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.8732 | μmol/L | 13.5734 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.938 | 107337.116 | 261045.8074 | 26.25 | 74
235661 | 2022-04-26 15:45 | 7.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.9799 | μmol/L | 13.5795 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.931 | 107294.0791 | 261028.6637 | 26.25 | 74
235671 | 2022-04-26 15:45 | 7.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.0516 | μmol/L | 13.5978 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.921 | 107250.1344 | 261031.4067 | 26.25 | 74
235681 | 2022-04-26 15:46 | 7.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.0843 | μmol/L | 13.6099 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.915 | 107211.6968 | 261020.5192 | 26.25 | 74
235691 | 2022-04-26 15:46 | 8.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.9977 | μmol/L | 13.6282 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.912 | 107172.906 | 261019.7134 | 26.25 | 74
235701 | 2022-04-26 15:46 | 8.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.1561 | μmol/L | 13.6282 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.905 | 107135.2152 | 261013.5657 | 26.25 | 74
235711 | 2022-04-26 15:47 | 8.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.2405 | μmol/L | 13.6343 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.899 | 107103.9913 | 261008.3942 | 26.25 | 74
235721 | 2022-04-26 15:47 | 9.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.4156 | μmol/L | 13.6403 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.889 | 107069.0385 | 260998.3719 | 26.25 | 74
235731 | 2022-04-26 15:47 | 9.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.4259 | μmol/L | 13.6525 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.884 | 107029.9582 | 260988.9789 | 26.25 | 74
235741 | 2022-04-26 15:48 | 9.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.3681 | μmol/L | 13.6647 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.882 | 107000.094 | 260984.4107 | 26.25 | 74
235751 | 2022-04-26 15:48 | 10.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.498 | μmol/L | 13.6708 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.874 | 106971.0589 | 260985.1431 | 26.25 | 74
235761 | 2022-04-26 15:48 | 10.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5145 | μmol/L | 13.6768 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.871 | 106944.5868 | 260981.9429 | 26.25 | 74
235771 | 2022-04-26 15:49 | 10.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5249 | μmol/L | 13.689 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.866 | 106906.7009 | 260975.1182 | 26.25 | 74
235781 | 2022-04-26 15:49 | 11.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5064 | μmol/L | 13.7073 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.86 | 106881.9377 | 260981.9532 | 26.25 | 74
235791 | 2022-04-26 15:49 | 11.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.6138 | μmol/L | 13.7133 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.853 | 106860.7036 | 260965.493 | 26.25 | 74
235801 | 2022-04-26 15:50 | 11.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.6138 | μmol/L | 13.7133 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.853 | 106846.1278 | 260964.9449 | 26.25 | 74
235811 | 2022-04-26 15:50 | 12.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5955 | μmol/L | 13.7316 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.847 | 106805.9352 | 260953.2058 | 26.25 | 74
235821 | 2022-04-26 15:50 | 12.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5439 | μmol/L | 13.7377 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.847 | 106790.4088 | 260934.4826 | 26.25 | 74
235831 | 2022-04-26 15:51 | 12.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.6287 | μmol/L | 13.7438 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.841 | 106774.5401 | 260933.3481 | 26.25 | 74
235841 | 2022-04-26 15:51 | 13.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.6392 | μmol/L | 13.7559 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.836 | 106752.717 | 260916.4285 | 26.25 | 74
235851 | 2022-04-26 15:51 | 13.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5362 | μmol/L | 13.7681 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.836 | 106733.5761 | 260923.1338 | 26.25 | 74
235861 | 2022-04-26 15:52 | 13.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5922 | μmol/L | 13.7802 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.829 | 106716.6635 | 260923.5535 | 26.25 | 74
235871 | 2022-04-26 15:52 | 14.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5407 | μmol/L | 13.7863 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.829 | 106697.9268 | 260909.966 | 26.25 | 74
235881 | 2022-04-26 15:52 | 14.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.6195 | μmol/L | 13.7985 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.821 | 106688.3206 | 260922.0374 | 26.25 | 74
235891 | 2022-04-26 15:53 | 14.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5907 | μmol/L | 13.8046 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.82 | 106679.449 | 260915.7212 | 26.25 | 74
235901 | 2022-04-26 15:53 | 15.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5105 | μmol/L | 13.8167 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.819 | 106658.5658 | 260891.194 | 26.25 | 74
235911 | 2022-04-26 15:53 | 15.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.556 | μmol/L | 13.8167 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.817 | 106651.7668 | 260885.3606 | 26.25 | 74
235921 | 2022-04-26 15:54 | 15.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5667 | μmol/L | 13.8289 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.812 | 106644.6727 | 260872.7745 | 26.25 | 74
235931 | 2022-04-26 15:54 | 16.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5834 | μmol/L | 13.835 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.809 | 106621.6769 | 260874.5692 | 26.25 | 74
235941 | 2022-04-26 15:54 | 16.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.4805 | μmol/L | 13.8472 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.809 | 106603.345 | 260869.67 | 26.25 | 74
235951 | 2022-04-26 15:55 | 16.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.526 | μmol/L | 13.8472 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.807 | 106598.2347 | 260862.8462 | 26.25 | 74
235961 | 2022-04-26 15:55 | 17.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.4626 | μmol/L | 13.8654 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.803 | 106588.1852 | 260861.706 | 26.25 | 74
235971 | 2022-04-26 15:55 | 17.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.4853 | μmol/L | 13.8654 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.802 | 106582.9307 | 260864.559 | 26.25 | 74
235981 | 2022-04-26 15:56 | 17.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.422 | μmol/L | 13.8837 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.798 | 106568.9408 | 260856.6668 | 26.25 | 74
235991 | 2022-04-26 15:56 | 18.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.4388 | μmol/L | 13.8897 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.795 | 106566.7406 | 260848.4778 | 26.25 | 74
236001 | 2022-04-26 15:56 | 18.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.3133 | μmol/L | 13.9019 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.796 | 106561.0044 | 260854.4702 | 26.25 | 74
236011 | 2022-04-26 15:57 | 18.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.336 | μmol/L | 13.9019 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.795 | 106551.6889 | 260851.0546 | 26.25 | 74
236021 | 2022-04-26 15:57 | 19.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.3982 | μmol/L | 13.908 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.79 | 106549.257 | 260841.374 | 26.25 | 74
236031 | 2022-04-26 15:57 | 19.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.4151 | μmol/L | 13.9141 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.787 | 106534.8922 | 260822.5917 | 26.25 | 74
236041 | 2022-04-26 15:58 | 19.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.3065 | μmol/L | 13.9323 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.785 | 106520.9597 | 260823.2055 | 26.25 | 74
236051 | 2022-04-26 15:58 | 20.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.1643 | μmol/L | 13.9384 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.789 | 106521.0284 | 260811.044 | 26.25 | 74
236061 | 2022-04-26 15:58 | 20.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.1979 | μmol/L | 13.9506 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.783 | 106507.4053 | 260815.0823 | 26.25 | 74
236071 | 2022-04-26 15:59 | 20.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.1466 | μmol/L | 13.9567 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.783 | 106493.3885 | 260789.4143 | 26.25 | 74
236081 | 2022-04-26 15:59 | 21.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.0668 | μmol/L | 13.9688 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.782 | 106489.7874 | 260794.3513 | 26.25 | 74
236091 | 2022-04-26 15:59 | 21.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.0836 | μmol/L | 13.9749 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.779 | 106476.0283 | 260783.8335 | 26.25 | 74
236101 | 2022-04-26 16:00 | 21.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.0836 | μmol/L | 13.9749 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.779 | 106461.6204 | 260786.8074 | 26.25 | 74
236111 | 2022-04-26 16:00 | 22.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.0266 | μmol/L | 13.9871 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.777 | 106458.2102 | 260773.9406 | 26.25 | 74
236121 | 2022-04-26 16:00 | 22.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.0434 | μmol/L | 13.9932 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.774 | 106448.3162 | 260766.8428 | 26.25 | 74
236131 | 2022-04-26 16:01 | 22.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.9183 | μmol/L | 14.0053 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.775 | 106438.0838 | 260754.2569 | 26.25 | 74
236141 | 2022-04-26 16:01 | 23.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.952 | μmol/L | 14.0175 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.769 | 106433.8895 | 260749.4488 | 26.25 | 74
236151 | 2022-04-26 16:01 | 23.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.952 | μmol/L | 14.0175 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.769 | 106430.2865 | 260738.2806 | 26.25 | 74
236161 | 2022-04-26 16:02 | 23.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.9404 | μmol/L | 14.0297 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.765 | 106416.7658 | 260725.8396 | 26.25 | 74
236171 | 2022-04-26 16:02 | 24.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.8892 | μmol/L | 14.0357 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.765 | 106402.687 | 260713.4132 | 26.25 | 74
236181 | 2022-04-26 16:02 | 24.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.8607 | μmol/L | 14.0418 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.764 | 106388.7216 | 260710.168 | 26.25 | 74
236191 | 2022-04-26 16:03 | 24.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.8038 | μmol/L | 14.054 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.762 | 106383.6565 | 260711.3015 | 26.25 | 74
236201 | 2022-04-26 16:03 | 25.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.8946 | μmol/L | 14.054 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.758 | 106373.3787 | 260705.9791 | 26.25 | 74
236211 | 2022-04-26 16:03 | 25.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.7753 | μmol/L | 14.0601 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.761 | 106364.7903 | 260684.0067 | 26.25 | 74
236221 | 2022-04-26 16:04 | 25.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.6843 | μmol/L | 14.0844 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.756 | 106352.7767 | 260686.9142 | 26.25 | 74
236231 | 2022-04-26 16:04 | 26.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.6389 | μmol/L | 14.0844 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.758 | 106341.0215 | 260650.9218 | 26.25 | 74
236241 | 2022-04-26 16:04 | 26.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.6048 | μmol/L | 14.0966 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.755 | 106331.8221 | 260652.4328 | 26.25 | 74
236251 | 2022-04-26 16:05 | 26.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.599 | μmol/L | 14.1027 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.753 | 106319.3297 | 260641.3384 | 26.25 | 74
236261 | 2022-04-26 16:05 | 27.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.5933 | μmol/L | 14.1088 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.751 | 106307.3119 | 260640.5712 | 26.25 | 74
236271 | 2022-04-26 16:05 | 27.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.5876 | μmol/L | 14.1148 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.749 | 106287.0001 | 260620.5008 | 26.25 | 74
236281 | 2022-04-26 16:06 | 27.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.4912 | μmol/L | 14.1209 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.751 | 106289.4025 | 260612.1341 | 26.25 | 74
236291 | 2022-04-26 16:06 | 28.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.5535 | μmol/L | 14.127 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.746 | 106277.023 | 260605.0869 | 26.25 | 74
236301 | 2022-04-26 16:06 | 28.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.5705 | μmol/L | 14.1331 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.743 | 106267.7837 | 260603.3504 | 26.25 | 74
236311 | 2022-04-26 16:07 | 28.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.4684 | μmol/L | 14.1453 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.743 | 106261.5011 | 260598.4943 | 26.25 | 74
236321 | 2022-04-26 16:07 | 29.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.4627 | μmol/L | 14.1513 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.741 | 106250.7464 | 260595.1542 | 26.25 | 74
236331 | 2022-04-26 16:07 | 29.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.4117 | μmol/L | 14.1574 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.741 | 106236.4571 | 260581.2673 | 26.25 | 74
236341 | 2022-04-26 16:08 | 29.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.3551 | μmol/L | 14.1696 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.739 | 106240.2847 | 260578.4296 | 26.25 | 74
236351 | 2022-04-26 16:08 | 30.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.4514 | μmol/L | 14.1635 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.737 | 106223.3457 | 260570.0926 | 26.25 | 74
236361 | 2022-04-26 16:08 | 30.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.3041 | μmol/L | 14.1757 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.739 | 106224.7328 | 260581.7045 | 26.25 | 74
236371 | 2022-04-26 16:09 | 30.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.2532 | μmol/L | 14.1818 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.739 | 106205.185 | 260575.0688 | 26.25 | 74
236381 | 2022-04-26 16:09 | 31.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.2249 | μmol/L | 14.1878 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.738 | 106204.4905 | 260563.1078 | 26.25 | 74
236391 | 2022-04-26 16:09 | 31.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.2136 | μmol/L | 14.2 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.734 | 106205.9742 | 260566.9599 | 26.25 | 74
236401 | 2022-04-26 16:10 | 31.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.2533 | μmol/L | 14.2061 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.73 | 106199.292 | 260552.8393 | 26.25 | 74
236411 | 2022-04-26 16:10 | 32.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.157 | μmol/L | 14.2122 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.732 | 106189.2413 | 260555.1697 | 26.25 | 74
236421 | 2022-04-26 16:10 | 32.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.1061 | μmol/L | 14.2183 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.732 | 106174.355 | 260532.4374 | 26.25 | 74
236431 | 2022-04-26 16:11 | 32.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.0893 | μmol/L | 14.2365 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.726 | 106168.3561 | 260543.4143 | 26.25 | 74