## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
234424 | 2022-04-26 14:43 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 301.5282 | μmol/L | 12.3619 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.424 | 93737.9183 | 209380.5141 | 27.3 | 43.4
234435 | 2022-04-26 14:43 | 0.45261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 301.3477 | μmol/L | 12.3802 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.424 | 93700.0038 | 209385.0938 | 27.3 | 43.4
234444 | 2022-04-26 14:43 | 0.66286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 301.3387 | μmol/L | 12.3863 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.422 | 93679.7508 | 209382.0482 | 27.3 | 43.4
234454 | 2022-04-26 14:44 | 0.99599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 301.1074 | μmol/L | 12.4046 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.424 | 93649.8818 | 209382.3251 | 27.3 | 43.4
234464 | 2022-04-26 14:44 | 1.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 301.0639 | μmol/L | 12.4168 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.421 | 93631.3679 | 209380.8999 | 27.3 | 43.4
234474 | 2022-04-26 14:44 | 1.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 301.0115 | μmol/L | 12.4351 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.416 | 93613.4487 | 209388.3826 | 27.3 | 43.4
234484 | 2022-04-26 14:45 | 1.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.926 | μmol/L | 12.4412 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.417 | 93595.5228 | 209385.5595 | 27.3 | 43.4
234494 | 2022-04-26 14:45 | 2.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.8227 | μmol/L | 12.4595 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.414 | 93582.5878 | 209370.2481 | 27.3 | 43.4
234504 | 2022-04-26 14:45 | 2.6627 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.7793 | μmol/L | 12.4717 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.411 | 93577.6595 | 209375.0505 | 27.3 | 43.4
234514 | 2022-04-26 14:46 | 2.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.7272 | μmol/L | 12.49 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.406 | 93567.4222 | 209375.9436 | 27.3 | 43.4
234524 | 2022-04-26 14:46 | 3.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.7094 | μmol/L | 12.5022 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.402 | 93547.2703 | 209382.0621 | 27.3 | 43.4
234534 | 2022-04-26 14:46 | 3.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.47 | μmol/L | 12.5265 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.402 | 93526.1038 | 209381.1409 | 27.3 | 43.4
234544 | 2022-04-26 14:47 | 3.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4269 | μmol/L | 12.5387 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.399 | 93513.677 | 209371.7638 | 27.3 | 43.4
234554 | 2022-04-26 14:47 | 4.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3838 | μmol/L | 12.5509 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.396 | 93506.014 | 209373.7432 | 27.3 | 43.4
234564 | 2022-04-26 14:47 | 4.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.1536 | μmol/L | 12.5692 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.398 | 93494.691 | 209377.6297 | 27.3 | 43.4
234574 | 2022-04-26 14:48 | 4.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.2634 | μmol/L | 12.5814 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.389 | 93474.1307 | 209382.1711 | 27.3 | 43.4
234584 | 2022-04-26 14:48 | 5.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.1098 | μmol/L | 12.5997 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.388 | 93470.3123 | 209376.2925 | 27.3 | 43.4
234594 | 2022-04-26 14:48 | 5.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8458 | μmol/L | 12.6241 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.389 | 93455.5159 | 209379.6502 | 27.3 | 43.4
234604 | 2022-04-26 14:49 | 5.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.7688 | μmol/L | 12.6424 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.385 | 93444.625 | 209380.05 | 27.3 | 43.4
234614 | 2022-04-26 14:49 | 6.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.6664 | μmol/L | 12.6607 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.382 | 93432.1357 | 209379.4939 | 27.3 | 43.4
234624 | 2022-04-26 14:49 | 6.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5896 | μmol/L | 12.679 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.378 | 93425.2734 | 209377.2732 | 27.3 | 43.4
234634 | 2022-04-26 14:50 | 6.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5978 | μmol/L | 12.6912 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.373 | 93401.8502 | 209383.4836 | 27.3 | 43.4
234644 | 2022-04-26 14:50 | 7.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.4194 | μmol/L | 12.7095 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.373 | 93395.8252 | 209385.5374 | 27.3 | 43.4
234654 | 2022-04-26 14:50 | 7.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5039 | μmol/L | 12.7217 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.365 | 93379.207 | 209385.6154 | 27.3 | 43.4
234664 | 2022-04-26 14:51 | 7.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.4019 | μmol/L | 12.74 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.362 | 93372.2804 | 209383.6147 | 27.3 | 43.4
234674 | 2022-04-26 14:51 | 8.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.4357 | μmol/L | 12.7522 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.356 | 93357.6885 | 209380.7524 | 27.3 | 43.4
234684 | 2022-04-26 14:51 | 8.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3762 | μmol/L | 12.7583 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.356 | 93342.9031 | 209385.524 | 27.3 | 43.4
234694 | 2022-04-26 14:52 | 8.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2787 | μmol/L | 12.7766 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 22.353 | 93331.5495 | 209393.7975 | 27.3 | 43.4
234704 | 2022-04-26 14:52 | 9.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.232 | μmol/L | 12.7888 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.35 | 93329.1497 | 209394.337 | 27.3 | 43.4
234714 | 2022-04-26 14:52 | 9.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1302 | μmol/L | 12.8071 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.347 | 93315.6349 | 209388.2576 | 27.3 | 43.4
234724 | 2022-04-26 14:53 | 9.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.0794 | μmol/L | 12.8254 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.342 | 93304.1601 | 209378.3661 | 27.3 | 43.4
234734 | 2022-04-26 14:53 | 10.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.8847 | μmol/L | 12.8376 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.345 | 93293.8708 | 209385.6017 | 27.3 | 43.4
234744 | 2022-04-26 14:53 | 10.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.8932 | μmol/L | 12.8498 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.34 | 93271.4877 | 209377.229 | 27.3 | 43.4
234754 | 2022-04-26 14:54 | 10.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.9018 | μmol/L | 12.862 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.335 | 93271.6155 | 209399.2723 | 27.3 | 43.4
234764 | 2022-04-26 14:54 | 11.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.6651 | μmol/L | 12.8864 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.335 | 93253.9152 | 209388.6366 | 27.3 | 43.4
234774 | 2022-04-26 14:54 | 11.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.5892 | μmol/L | 12.9047 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.331 | 93248.009 | 209383.1761 | 27.3 | 43.4
234784 | 2022-04-26 14:55 | 11.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.6654 | μmol/L | 12.9047 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.328 | 93235.6192 | 209385.229 | 27.3 | 43.4
234794 | 2022-04-26 14:55 | 12.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.5388 | μmol/L | 12.9229 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.326 | 93231.5199 | 209385.488 | 27.3 | 43.4
234804 | 2022-04-26 14:55 | 12.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.4377 | μmol/L | 12.9412 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.323 | 93218.6902 | 209381.3389 | 27.3 | 43.4
234814 | 2022-04-26 14:56 | 12.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.4211 | μmol/L | 12.9534 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.319 | 93201.5356 | 209383.5917 | 27.3 | 43.4
234824 | 2022-04-26 14:56 | 13.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.5226 | μmol/L | 12.9534 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.315 | 93190.5348 | 209372.9485 | 27.3 | 43.4
234834 | 2022-04-26 14:56 | 13.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.2484 | μmol/L | 12.9717 | °C | 1019 | hPa | Humid | 28 | 0 | 0 | 22.319 | 93175.3159 | 209386.3266 | 27.3 | 43.4
234844 | 2022-04-26 14:57 | 13.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.1939 | μmol/L | 12.99 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.314 | 93164.9851 | 209386.5826 | 27.3 | 43.4
234854 | 2022-04-26 14:57 | 14.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.2789 | μmol/L | 13.0022 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.306 | 93154.0854 | 209381.2668 | 27.3 | 43.4
234864 | 2022-04-26 14:57 | 14.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.0849 | μmol/L | 13.0144 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.309 | 93147.8651 | 209385.0918 | 27.3 | 43.4
234874 | 2022-04-26 14:58 | 14.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.9418 | μmol/L | 13.0266 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.31 | 93143.6357 | 209389.497 | 27.3 | 43.4
234884 | 2022-04-26 14:58 | 15.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.1281 | μmol/L | 13.0388 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.298 | 93116.8212 | 209389.682 | 27.3 | 43.4
234894 | 2022-04-26 14:58 | 15.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.0439 | μmol/L | 13.0449 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.299 | 93114.8381 | 209385.148 | 27.3 | 43.4
234904 | 2022-04-26 14:59 | 15.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.8926 | μmol/L | 13.0632 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.298 | 93105.3349 | 209382.5851 | 27.3 | 43.4
234914 | 2022-04-26 14:59 | 16.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.927 | μmol/L | 13.0754 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.292 | 93093.9811 | 209389.4528 | 27.3 | 43.4
234924 | 2022-04-26 14:59 | 16.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.9107 | μmol/L | 13.0876 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.288 | 93087.2364 | 209395.4912 | 27.3 | 43.4
234934 | 2022-04-26 15:00 | 16.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.7597 | μmol/L | 13.1059 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.287 | 93070.1601 | 209389.9808 | 27.3 | 43.4
234944 | 2022-04-26 15:00 | 17.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.7597 | μmol/L | 13.1059 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.287 | 93053.2143 | 209381.7312 | 27.3 | 43.4
234954 | 2022-04-26 15:00 | 17.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.626 | μmol/L | 13.1303 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.283 | 93043.4629 | 209388.0966 | 27.3 | 43.4
234964 | 2022-04-26 15:01 | 17.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.5086 | μmol/L | 13.1425 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.283 | 93037.225 | 209375.4963 | 27.3 | 43.4
234974 | 2022-04-26 15:01 | 18.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.6605 | μmol/L | 13.1425 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.277 | 93023.2416 | 209386.7974 | 27.3 | 43.4
234984 | 2022-04-26 15:01 | 18.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.4924 | μmol/L | 13.1547 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.279 | 93014.4856 | 209377.3594 | 27.3 | 43.4
234994 | 2022-04-26 15:02 | 18.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.3671 | μmol/L | 13.173 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.277 | 93010.2385 | 209382.0236 | 27.3 | 43.4
235004 | 2022-04-26 15:02 | 19.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.3763 | μmol/L | 13.1852 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.272 | 92932.8404 | 209371.2955 | 27.3 | 43.4
235014 | 2022-04-26 15:02 | 19.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.2431 | μmol/L | 13.2096 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.268 | 92930.1508 | 209366.1557 | 27.3 | 43.4
235024 | 2022-04-26 15:03 | 19.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.2351 | μmol/L | 13.2157 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.266 | 92918.6081 | 209370.763 | 27.3 | 43.4
235034 | 2022-04-26 15:03 | 20.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.0595 | μmol/L | 13.234 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.266 | 92909.6624 | 209363.7862 | 27.3 | 43.4
235044 | 2022-04-26 15:03 | 20.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.1021 | μmol/L | 13.2401 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.262 | 92898.4511 | 209359.0492 | 27.3 | 43.4
235054 | 2022-04-26 15:04 | 20.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.9266 | μmol/L | 13.2584 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.262 | 92893.2186 | 209359.1043 | 27.3 | 43.4
235064 | 2022-04-26 15:04 | 21.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.9692 | μmol/L | 13.2645 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.258 | 92885.2226 | 209353.6976 | 27.3 | 43.4
235074 | 2022-04-26 15:04 | 21.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.9028 | μmol/L | 13.2767 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.256 | 92870.0343 | 209347.6008 | 27.3 | 43.4
235084 | 2022-04-26 15:05 | 21.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.9455 | μmol/L | 13.2828 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.252 | 92853.2158 | 209355.7615 | 27.3 | 43.4
235094 | 2022-04-26 15:05 | 22.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.7196 | μmol/L | 13.3011 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.254 | 92850.1342 | 209350.8666 | 27.3 | 43.4
235104 | 2022-04-26 15:05 | 22.6628 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.6786 | μmol/L | 13.3133 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.251 | 92566.0147 | 209340.2256 | 27.3 | 43.4
235114 | 2022-04-26 15:06 | 22.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.7134 | μmol/L | 13.3255 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.245 | 92553.4824 | 209342.4676 | 27.3 | 43.4
235124 | 2022-04-26 15:06 | 23.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.6298 | μmol/L | 13.3316 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.246 | 92541.3093 | 209342.1687 | 27.3 | 43.4
235134 | 2022-04-26 15:06 | 23.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.6472 | μmol/L | 13.3377 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.243 | 92537.0914 | 209345.6446 | 27.3 | 43.4
235144 | 2022-04-26 15:07 | 23.9963 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.48 | μmol/L | 13.3499 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.245 | 92532.3742 | 209349.3422 | 27.3 | 43.4
235154 | 2022-04-26 15:07 | 24.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.4818 | μmol/L | 13.3682 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.238 | 92522.9333 | 209350.6507 | 27.3 | 43.4
235164 | 2022-04-26 15:07 | 24.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.4488 | μmol/L | 13.3743 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.237 | 92515.2999 | 209339.1891 | 27.3 | 43.4
235174 | 2022-04-26 15:08 | 24.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.3575 | μmol/L | 13.3865 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.236 | 92502.3219 | 209349.4819 | 27.3 | 43.4
235184 | 2022-04-26 15:08 | 25.3296 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.4002 | μmol/L | 13.3926 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.232 | 92484.6433 | 209335.9909 | 27.3 | 43.4
235194 | 2022-04-26 15:08 | 25.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.4934 | μmol/L | 13.3987 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.226 | 92478.6548 | 209327.6801 | 27.3 | 43.4
235204 | 2022-04-26 15:09 | 25.9962 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.3769 | μmol/L | 13.4109 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.226 | 92473.8399 | 209341.2314 | 27.3 | 43.4
235214 | 2022-04-26 15:09 | 26.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.3692 | μmol/L | 13.417 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.224 | 92460.8164 | 209331.6801 | 27.3 | 43.4
235224 | 2022-04-26 15:09 | 26.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.2527 | μmol/L | 13.4292 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.224 | 92439.3736 | 209336.5763 | 27.3 | 43.4
235234 | 2022-04-26 15:10 | 26.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.1868 | μmol/L | 13.4414 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.222 | 92438.3965 | 209330.1728 | 27.3 | 43.4
235244 | 2022-04-26 15:10 | 27.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.1714 | μmol/L | 13.4536 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.218 | 92432.7158 | 209341.1804 | 27.3 | 43.4
235254 | 2022-04-26 15:10 | 27.6627 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.088 | μmol/L | 13.4597 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.219 | 92428.7182 | 209330.0914 | 27.3 | 43.4
235264 | 2022-04-26 15:11 | 27.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.9718 | μmol/L | 13.4719 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.219 | 92426.2583 | 209335.3899 | 27.3 | 43.4
235274 | 2022-04-26 15:11 | 28.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.0398 | μmol/L | 13.478 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.214 | 92415.1515 | 209339.7755 | 27.3 | 43.4
235284 | 2022-04-26 15:11 | 28.6629 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.0398 | μmol/L | 13.478 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.214 | 92409.1027 | 209336.2105 | 27.3 | 43.4
235294 | 2022-04-26 15:12 | 28.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.9083 | μmol/L | 13.5024 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.21 | 92399.5498 | 209340.0188 | 27.3 | 43.4
235304 | 2022-04-26 15:12 | 29.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.6837 | μmol/L | 13.5207 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.212 | 92397.3682 | 209341.4632 | 27.3 | 43.4
235314 | 2022-04-26 15:12 | 29.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.7921 | μmol/L | 13.5146 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.21 | 92392.1882 | 209336.3238 | 27.3 | 43.4
235324 | 2022-04-26 15:13 | 29.996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.6685 | μmol/L | 13.5329 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.208 | 92373.8853 | 209319.0864 | 27.3 | 43.4
235334 | 2022-04-26 15:13 | 30.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.6861 | μmol/L | 13.539 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.205 | 92386.8741 | 209321.2592 | 27.3 | 43.4
235344 | 2022-04-26 15:13 | 30.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.4694 | μmol/L | 13.5512 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.209 | 92382.5638 | 209325.7191 | 27.3 | 43.4
235354 | 2022-04-26 15:14 | 30.9961 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.4618 | μmol/L | 13.5573 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.207 | 92384.122 | 209321.229 | 27.3 | 43.4
235364 | 2022-04-26 15:14 | 31.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.3963 | μmol/L | 13.5695 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.205 | 92385.0578 | 209335.8615 | 27.3 | 43.4
235374 | 2022-04-26 15:14 | 31.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.3635 | μmol/L | 13.5756 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.204 | 92377.4146 | 209331.6615 | 27.3 | 43.4
235384 | 2022-04-26 15:15 | 31.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.3308 | μmol/L | 13.5817 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.203 | 92373.2651 | 209337.2883 | 27.3 | 43.4
235394 | 2022-04-26 15:15 | 32.3294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.215 | μmol/L | 13.5939 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.203 | 92376.485 | 209327.9811 | 27.3 | 43.4
235404 | 2022-04-26 15:15 | 32.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.3082 | μmol/L | 13.6 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.197 | 92366.2321 | 209331.6484 | 27.3 | 43.4
235414 | 2022-04-26 15:16 | 32.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.0918 | μmol/L | 13.6122 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.201 | 92361.1042 | 209319.0313 | 27.3 | 43.4
235424 | 2022-04-26 15:16 | 33.3295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.0592 | μmol/L | 13.6183 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.2 | 92361.5066 | 209327.7232 | 27.3 | 43.4