## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
234425 | 2022-04-26 14:43 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.053 | μmol/L | 12.5263 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.18 | 76403.3363 | 286175.4596 | 28.7 | 67.6
234433 | 2022-04-26 14:43 | 0.42822 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.2922 | μmol/L | 12.5142 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.174 | 76393.5694 | 286208.8059 | 28.7 | 67.6
234445 | 2022-04-26 14:43 | 0.67153 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.3764 | μmol/L | 12.5202 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.168 | 76380.6865 | 286210.0443 | 28.7 | 67.6
234455 | 2022-04-26 14:44 | 1.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.3439 | μmol/L | 12.5081 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.174 | 76367.3462 | 286203.5546 | 28.7 | 67.6
234465 | 2022-04-26 14:44 | 1.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.2922 | μmol/L | 12.5142 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.174 | 76359.231 | 286205.393 | 28.7 | 67.6
234475 | 2022-04-26 14:44 | 1.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.1598 | μmol/L | 12.5324 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.173 | 76352.7855 | 286203.489 | 28.7 | 67.6
234485 | 2022-04-26 14:45 | 2.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.176 | μmol/L | 12.5384 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.17 | 76339.6103 | 286200.5157 | 28.7 | 67.6
234495 | 2022-04-26 14:45 | 2.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.1052 | μmol/L | 12.5627 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.164 | 76325.0802 | 286201.2544 | 28.7 | 67.6
234505 | 2022-04-26 14:45 | 2.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9503 | μmol/L | 12.5809 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.164 | 76313.0475 | 286197.0337 | 28.7 | 67.6
234515 | 2022-04-26 14:46 | 3.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.8119 | μmol/L | 12.6052 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.161 | 76305.9012 | 286187.617 | 28.7 | 67.6
234525 | 2022-04-26 14:46 | 3.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.8797 | μmol/L | 12.6052 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.158 | 76300.9976 | 286203.4618 | 28.7 | 67.6
234535 | 2022-04-26 14:46 | 3.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.8508 | μmol/L | 12.6113 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.157 | 76291.3778 | 286189.7634 | 28.7 | 67.6
234545 | 2022-04-26 14:47 | 4.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.5769 | μmol/L | 12.6356 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.16 | 76284.2182 | 286200.5266 | 28.7 | 67.6
234555 | 2022-04-26 14:47 | 4.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.5417 | μmol/L | 12.6477 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.157 | 76279.878 | 286180.7041 | 28.7 | 67.6
234565 | 2022-04-26 14:47 | 4.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.5229 | μmol/L | 12.6659 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.151 | 76275.63 | 286188.7606 | 28.7 | 67.6
234575 | 2022-04-26 14:48 | 5.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.3523 | μmol/L | 12.6781 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.154 | 76266.7111 | 286178.2256 | 28.7 | 67.6
234585 | 2022-04-26 14:48 | 5.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.1756 | μmol/L | 12.6963 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.155 | 76267.1497 | 286178.2845 | 28.7 | 67.6
234595 | 2022-04-26 14:48 | 5.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.2144 | μmol/L | 12.7024 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.151 | 76255.7516 | 286193.9106 | 28.7 | 67.6
234605 | 2022-04-26 14:49 | 6.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.2409 | μmol/L | 12.7206 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.143 | 76251.059 | 286191.2541 | 28.7 | 67.6
234615 | 2022-04-26 14:49 | 6.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.0029 | μmol/L | 12.7327 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.149 | 76253.2477 | 286185.6594 | 28.7 | 67.6
234625 | 2022-04-26 14:49 | 6.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.0807 | μmol/L | 12.7449 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.141 | 76243.6272 | 286202.6555 | 28.7 | 67.6
234635 | 2022-04-26 14:50 | 7.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.0622 | μmol/L | 12.7631 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.135 | 76231.9358 | 286202.2979 | 28.7 | 67.6
234645 | 2022-04-26 14:50 | 7.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.8694 | μmol/L | 12.7752 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.139 | 76226.8832 | 286193.1702 | 28.7 | 67.6
234655 | 2022-04-26 14:50 | 7.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.9248 | μmol/L | 12.7874 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.132 | 76222.6981 | 286202.1004 | 28.7 | 67.6
234665 | 2022-04-26 14:51 | 8.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.7998 | μmol/L | 12.7995 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.133 | 76212.4321 | 286195.9708 | 28.7 | 67.6
234675 | 2022-04-26 14:51 | 8.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.7424 | μmol/L | 12.8117 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.131 | 76203.9089 | 286201.8005 | 28.7 | 67.6
234685 | 2022-04-26 14:51 | 8.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.634 | μmol/L | 12.8299 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.129 | 76200.1822 | 286204.9148 | 28.7 | 67.6
234695 | 2022-04-26 14:52 | 9.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3559 | μmol/L | 12.8602 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.13 | 76194.7854 | 286203.3223 | 28.7 | 67.6
234705 | 2022-04-26 14:52 | 9.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3316 | μmol/L | 12.8845 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.122 | 76187.8128 | 286210.6636 | 28.7 | 67.6
234715 | 2022-04-26 14:52 | 9.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3585 | μmol/L | 12.9028 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.114 | 76183.9388 | 286191.7331 | 28.7 | 67.6
234725 | 2022-04-26 14:53 | 10.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.246 | μmol/L | 12.9028 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.119 | 76175.1734 | 286201.8243 | 28.7 | 67.6
234735 | 2022-04-26 14:53 | 10.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2564 | μmol/L | 12.9149 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.114 | 76162.149 | 286203.2871 | 28.7 | 67.6
234745 | 2022-04-26 14:53 | 10.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1259 | μmol/L | 12.9331 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.113 | 76157.2676 | 286197.8605 | 28.7 | 67.6
234755 | 2022-04-26 14:54 | 11.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1424 | μmol/L | 12.9392 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.11 | 76150.948 | 286197.7874 | 28.7 | 67.6
234765 | 2022-04-26 14:54 | 11.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0405 | μmol/L | 12.9513 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.11 | 76141.6685 | 286206.0719 | 28.7 | 67.6
234775 | 2022-04-26 14:54 | 11.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0735 | μmol/L | 12.9635 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.104 | 76130.6831 | 286204.2857 | 28.7 | 67.6
234785 | 2022-04-26 14:55 | 12.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0106 | μmol/L | 12.9817 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.1 | 76123.7563 | 286197.4806 | 28.7 | 67.6
234795 | 2022-04-26 14:55 | 12.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9657 | μmol/L | 12.9817 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.102 | 76116.3095 | 286200.1402 | 28.7 | 67.6
234805 | 2022-04-26 14:55 | 12.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9029 | μmol/L | 12.9999 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.098 | 76112.9088 | 286206.198 | 28.7 | 67.6
234815 | 2022-04-26 14:56 | 13.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7053 | μmol/L | 13.0181 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.1 | 76100.2738 | 286204.7396 | 28.7 | 67.6
234825 | 2022-04-26 14:56 | 13.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9016 | μmol/L | 13.0242 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.089 | 76094.2313 | 286195.8217 | 28.7 | 67.6
234835 | 2022-04-26 14:56 | 13.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7266 | μmol/L | 13.0424 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.09 | 76083.2739 | 286185.062 | 28.7 | 67.6
234845 | 2022-04-26 14:57 | 14.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7207 | μmol/L | 13.0485 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.088 | 76082.8203 | 286192.9028 | 28.7 | 67.6
234855 | 2022-04-26 14:57 | 14.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7031 | μmol/L | 13.0667 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.082 | 76070.8329 | 286189.5056 | 28.7 | 67.6
234865 | 2022-04-26 14:57 | 14.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6748 | μmol/L | 13.0728 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.081 | 76068.3717 | 286190.0992 | 28.7 | 67.6
234875 | 2022-04-26 14:58 | 15.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5507 | μmol/L | 13.0849 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.082 | 76061.8529 | 286180.8589 | 28.7 | 67.6
234885 | 2022-04-26 14:58 | 15.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6796 | μmol/L | 13.091 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.074 | 76050.8809 | 286197.1587 | 28.7 | 67.6
234895 | 2022-04-26 14:58 | 15.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.4318 | μmol/L | 13.1153 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.076 | 76043.4373 | 286195.0825 | 28.7 | 67.6
234905 | 2022-04-26 14:59 | 16.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.3586 | μmol/L | 13.1214 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.077 | 76034.7464 | 286181.2398 | 28.7 | 67.6
234915 | 2022-04-26 14:59 | 16.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.4875 | μmol/L | 13.1274 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.069 | 76015.877 | 286173.8371 | 28.7 | 67.6
234925 | 2022-04-26 14:59 | 16.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.2847 | μmol/L | 13.1517 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.069 | 76012.3872 | 286189.3341 | 28.7 | 67.6
234935 | 2022-04-26 15:00 | 17.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.2847 | μmol/L | 13.1517 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.069 | 76007.3785 | 286167.5539 | 28.7 | 67.6
234945 | 2022-04-26 15:00 | 17.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.2898 | μmol/L | 13.1699 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.062 | 76002.8172 | 286182.3531 | 28.7 | 67.6
234955 | 2022-04-26 15:00 | 17.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.0989 | μmol/L | 13.1821 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.066 | 75991.9718 | 286179.1375 | 28.7 | 67.6
234965 | 2022-04-26 15:01 | 18.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.1661 | μmol/L | 13.1821 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.063 | 75986.2545 | 286173.6179 | 28.7 | 67.6
234975 | 2022-04-26 15:01 | 18.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.1995 | μmol/L | 13.1942 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.057 | 75983.1077 | 286179.371 | 28.7 | 67.6
234985 | 2022-04-26 15:01 | 18.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.1207 | μmol/L | 13.2064 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.056 | 75969.3463 | 286178.4483 | 28.7 | 67.6
234995 | 2022-04-26 15:02 | 19.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.1541 | μmol/L | 13.2185 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.05 | 75966.0666 | 286162.942 | 28.7 | 67.6
235005 | 2022-04-26 15:02 | 19.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.1876 | μmol/L | 13.2307 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.044 | 75948.8317 | 286169.6462 | 28.7 | 67.6
235015 | 2022-04-26 15:02 | 19.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.991 | μmol/L | 13.2489 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.046 | 75936.9043 | 286150.0113 | 28.7 | 67.6
235025 | 2022-04-26 15:03 | 20.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.89 | μmol/L | 13.261 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.046 | 75931.0001 | 286148.5114 | 28.7 | 67.6
235035 | 2022-04-26 15:03 | 20.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.8619 | μmol/L | 13.2671 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.045 | 75920.0388 | 286136.4433 | 28.7 | 67.6
235045 | 2022-04-26 15:03 | 20.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.8114 | μmol/L | 13.2732 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.045 | 75913.892 | 286135.2399 | 28.7 | 67.6
235055 | 2022-04-26 15:04 | 21.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.873 | μmol/L | 13.2792 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.04 | 75907.3832 | 286131.7111 | 28.7 | 67.6
235065 | 2022-04-26 15:04 | 21.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.772 | μmol/L | 13.2914 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.04 | 75898.4058 | 286122.9153 | 28.7 | 67.6
235075 | 2022-04-26 15:04 | 21.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.8336 | μmol/L | 13.2975 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.035 | 75894.1658 | 286128.0361 | 28.7 | 67.6
235085 | 2022-04-26 15:05 | 22.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.6375 | μmol/L | 13.3157 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.037 | 75887.2835 | 286115.1496 | 28.7 | 67.6
235095 | 2022-04-26 15:05 | 22.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.5367 | μmol/L | 13.3278 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.037 | 75879.925 | 286119.6863 | 28.7 | 67.6
235105 | 2022-04-26 15:05 | 22.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.5031 | μmol/L | 13.34 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.034 | 75861.7918 | 286114.3209 | 28.7 | 67.6
235115 | 2022-04-26 15:06 | 23.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.5367 | μmol/L | 13.3521 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.028 | 75862.47 | 286107.344 | 28.7 | 67.6
235125 | 2022-04-26 15:06 | 23.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.3688 | μmol/L | 13.3643 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.031 | 75853.4062 | 286108.3685 | 28.7 | 67.6
235135 | 2022-04-26 15:06 | 23.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.1732 | μmol/L | 13.3825 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.033 | 75850.3486 | 286100.9475 | 28.7 | 67.6
235145 | 2022-04-26 15:07 | 24.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.19 | μmol/L | 13.3886 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.03 | 75846.2064 | 286104.8465 | 28.7 | 67.6
235155 | 2022-04-26 15:07 | 24.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.2012 | μmol/L | 13.4007 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.025 | 75845.7025 | 286102.125 | 28.7 | 67.6
235165 | 2022-04-26 15:07 | 24.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.3354 | μmol/L | 13.4007 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.019 | 75837.2086 | 286104.487 | 28.7 | 67.6
235175 | 2022-04-26 15:08 | 25.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.1175 | μmol/L | 13.4189 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.022 | 75824.6054 | 286085.194 | 28.7 | 67.6
235185 | 2022-04-26 15:08 | 25.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.1791 | μmol/L | 13.425 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.017 | 75823.7158 | 286086.6839 | 28.7 | 67.6
235195 | 2022-04-26 15:08 | 25.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.0563 | μmol/L | 13.4371 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.018 | 75813.9881 | 286083.729 | 28.7 | 67.6
235205 | 2022-04-26 15:09 | 26.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.9335 | μmol/L | 13.4493 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.019 | 75810.552 | 286077.2725 | 28.7 | 67.6
235215 | 2022-04-26 15:09 | 26.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.0621 | μmol/L | 13.4554 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.011 | 75802.6477 | 286080.2303 | 28.7 | 67.6
235225 | 2022-04-26 15:09 | 26.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.917 | μmol/L | 13.4675 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.013 | 75803.8273 | 286073.7288 | 28.7 | 67.6
235235 | 2022-04-26 15:10 | 27.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.8614 | μmol/L | 13.4797 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.011 | 75792.3485 | 286061.1142 | 28.7 | 67.6
235245 | 2022-04-26 15:10 | 27.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.7219 | μmol/L | 13.4857 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.015 | 75791.1418 | 286063.1919 | 28.7 | 67.6
235255 | 2022-04-26 15:10 | 27.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.8003 | μmol/L | 13.4979 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.007 | 75787.3711 | 286068.5593 | 28.7 | 67.6
235265 | 2022-04-26 15:11 | 28.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.7001 | μmol/L | 13.51 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.007 | 75780.9287 | 286052.6337 | 28.7 | 67.6
235275 | 2022-04-26 15:11 | 28.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.5945 | μmol/L | 13.5282 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.005 | 75788.8144 | 286086.6341 | 28.7 | 67.6
235285 | 2022-04-26 15:11 | 28.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.5276 | μmol/L | 13.5282 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.008 | 75780.483 | 286065.2568 | 28.7 | 67.6
235295 | 2022-04-26 15:12 | 29.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.5614 | μmol/L | 13.5404 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.002 | 75773.4327 | 286082.1227 | 28.7 | 67.6
235305 | 2022-04-26 15:12 | 29.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.5783 | μmol/L | 13.5465 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.999 | 75770.2407 | 286077.7615 | 28.7 | 67.6
235315 | 2022-04-26 15:12 | 29.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.4782 | μmol/L | 13.5586 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.999 | 75768.7956 | 286066.4552 | 28.7 | 67.6
235325 | 2022-04-26 15:13 | 30.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.3167 | μmol/L | 13.5647 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.004 | 75765.6405 | 286076.2295 | 28.7 | 67.6
235335 | 2022-04-26 15:13 | 30.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.3059 | μmol/L | 13.5768 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23 | 75761.7526 | 286072.5856 | 28.7 | 67.6
235345 | 2022-04-26 15:13 | 30.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.3005 | μmol/L | 13.5829 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.998 | 75762.0299 | 286082.0179 | 28.7 | 67.6
235355 | 2022-04-26 15:14 | 31.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.3174 | μmol/L | 13.589 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.995 | 75762.4072 | 286075.9965 | 28.7 | 67.6
235365 | 2022-04-26 15:14 | 31.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.1952 | μmol/L | 13.6011 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.996 | 75758.081 | 286072.9957 | 28.7 | 67.6
235375 | 2022-04-26 15:14 | 31.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.1622 | μmol/L | 13.6133 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.993 | 75753.3932 | 286060.3941 | 28.7 | 67.6
235385 | 2022-04-26 15:15 | 32.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.0624 | μmol/L | 13.6254 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.993 | 75752.3999 | 286054.1415 | 28.7 | 67.6
235395 | 2022-04-26 15:15 | 32.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.0571 | μmol/L | 13.6315 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.991 | 75744.4838 | 286061.1165 | 28.7 | 67.6
235405 | 2022-04-26 15:15 | 32.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.0464 | μmol/L | 13.6436 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.987 | 75732.3866 | 286055.8561 | 28.7 | 67.6
235415 | 2022-04-26 15:16 | 33.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.9075 | μmol/L | 13.6497 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.991 | 75734.1573 | 286057.9029 | 28.7 | 67.6
235425 | 2022-04-26 15:16 | 33.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.7972 | μmol/L | 13.674 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.987 | 75735.8194 | 286046.2887 | 28.7 | 67.6