## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 14:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
236434 | 2022-05-10 14:02 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.3259 | μmol/L | 18.6335 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.477 | 132706.5775 | 293693.9228 | 59.9307 | 38.1
236443 | 2022-05-10 14:02 | 0.38787 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.0513 | μmol/L | 18.6519 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.541 | 133057.3515 | 293622.494 | 59.9307 | 38.1
236454 | 2022-05-10 14:02 | 0.66564 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.6934 | μmol/L | 18.6458 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.563 | 133160.0712 | 293582.4217 | 59.9307 | 38.1
236464 | 2022-05-10 14:03 | 0.99873 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.2953 | μmol/L | 18.6519 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.583 | 133240.4375 | 293518.1679 | 59.9307 | 38.1
236474 | 2022-05-10 14:03 | 1.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.9519 | μmol/L | 18.658 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.6 | 133305.7344 | 293482.092 | 59.9307 | 38.1
236484 | 2022-05-10 14:03 | 1.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.5529 | μmol/L | 18.6702 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.618 | 133360.9491 | 293418.0228 | 59.9307 | 38.1
236494 | 2022-05-10 14:04 | 1.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.2644 | μmol/L | 18.6763 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.632 | 133406.9807 | 293350.4561 | 59.9307 | 38.1
236504 | 2022-05-10 14:04 | 2.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.956 | μmol/L | 18.6885 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.645 | 133456.9751 | 293312.338 | 59.9307 | 38.1
236514 | 2022-05-10 14:04 | 2.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.5947 | μmol/L | 18.7007 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.661 | 133493.6579 | 293240.3519 | 59.9307 | 38.1
236524 | 2022-05-10 14:05 | 2.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.3077 | μmol/L | 18.7068 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.675 | 133554.6435 | 293198.9346 | 59.9307 | 38.1
236534 | 2022-05-10 14:05 | 3.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.8261 | μmol/L | 18.7129 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.7 | 133605.6815 | 293131.395 | 59.9307 | 38.1
236544 | 2022-05-10 14:05 | 3.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.5757 | μmol/L | 18.719 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.712 | 133659.0104 | 293073.5848 | 59.9307 | 38.1
236554 | 2022-05-10 14:06 | 3.9987 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.2171 | μmol/L | 18.7312 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.728 | 133749.0293 | 293027.2649 | 59.9307 | 38.1
236564 | 2022-05-10 14:06 | 4.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.595 | μmol/L | 18.7435 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.759 | 133863.1993 | 292974.7124 | 59.9307 | 38.1
236574 | 2022-05-10 14:06 | 4.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 207.6447 | μmol/L | 18.7496 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.811 | 134151.9537 | 292911.7139 | 59.9307 | 38.1
236584 | 2022-05-10 14:07 | 4.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 206.3568 | μmol/L | 18.7435 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.887 | 134597.8963 | 292869.4669 | 59.9307 | 38.1
236594 | 2022-05-10 14:07 | 5.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 205.4677 | μmol/L | 18.7557 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.934 | 134831.4062 | 292824.7164 | 59.9307 | 38.1
236604 | 2022-05-10 14:07 | 5.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 205.0508 | μmol/L | 18.7618 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.956 | 134944.69 | 292772.7392 | 59.9307 | 38.1
236614 | 2022-05-10 14:08 | 5.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 204.6003 | μmol/L | 18.7679 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.98 | 135035.3154 | 292716.3055 | 59.9307 | 38.1
236624 | 2022-05-10 14:08 | 6.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 204.2 | μmol/L | 18.7801 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.999 | 135149.416 | 292674.3038 | 59.9307 | 38.1
236634 | 2022-05-10 14:08 | 6.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 203.6832 | μmol/L | 18.7862 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.027 | 135239.05 | 292617.5561 | 59.9307 | 38.1
236644 | 2022-05-10 14:09 | 6.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 203.2875 | μmol/L | 18.7923 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.048 | 135328.9768 | 292570.159 | 59.9307 | 38.1
236654 | 2022-05-10 14:09 | 7.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.9778 | μmol/L | 18.7984 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.064 | 135391.6672 | 292523.1688 | 59.9307 | 38.1
236664 | 2022-05-10 14:09 | 7.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.7394 | μmol/L | 18.7984 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.078 | 135442.1019 | 292487.6418 | 59.9307 | 38.1
236674 | 2022-05-10 14:10 | 7.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.4594 | μmol/L | 18.8167 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.088 | 135449.3053 | 292432.3323 | 59.9307 | 38.1
236684 | 2022-05-10 14:10 | 8.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.4085 | μmol/L | 18.8167 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.091 | 135430.5186 | 292371.9958 | 59.9307 | 38.1
236694 | 2022-05-10 14:10 | 8.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.304 | μmol/L | 18.8228 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.095 | 135386.1394 | 292317.4551 | 59.9307 | 38.1
236704 | 2022-05-10 14:11 | 8.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.27 | μmol/L | 18.8228 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.097 | 135348.1806 | 292262.6807 | 59.9307 | 38.1
236714 | 2022-05-10 14:11 | 9.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.1486 | μmol/L | 18.8289 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.102 | 135323.6625 | 292230.1763 | 59.9307 | 38.1
236724 | 2022-05-10 14:11 | 9.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.9934 | μmol/L | 18.8351 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.109 | 135316.7552 | 292182.0112 | 59.9307 | 38.1
236734 | 2022-05-10 14:12 | 9.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.7172 | μmol/L | 18.8473 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.121 | 135338.0973 | 292145.2615 | 59.9307 | 38.1
236744 | 2022-05-10 14:12 | 10.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.4414 | μmol/L | 18.8595 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.133 | 135362.0934 | 292085.4008 | 59.9307 | 38.1
236754 | 2022-05-10 14:12 | 10.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.3765 | μmol/L | 18.8534 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.139 | 135369.2362 | 292040.0206 | 59.9307 | 38.1
236764 | 2022-05-10 14:13 | 10.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.2894 | μmol/L | 18.8595 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.142 | 135340.1079 | 292009.0323 | 59.9307 | 38.1
236774 | 2022-05-10 14:13 | 11.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.2699 | μmol/L | 18.8656 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.141 | 135296.0027 | 291957.9247 | 59.9307 | 38.1
236784 | 2022-05-10 14:13 | 11.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.1128 | μmol/L | 18.8778 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.146 | 135271.0011 | 291911.5693 | 59.9307 | 38.1
236794 | 2022-05-10 14:14 | 11.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.0091 | μmol/L | 18.8839 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.15 | 135264.3218 | 291874.3974 | 59.9307 | 38.1
236804 | 2022-05-10 14:14 | 12.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.6865 | μmol/L | 18.89 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.167 | 135307.8891 | 291817.3341 | 59.9307 | 38.1
236814 | 2022-05-10 14:14 | 12.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3309 | μmol/L | 18.8961 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.186 | 135387.437 | 291792.5438 | 59.9307 | 38.1
236824 | 2022-05-10 14:15 | 12.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8421 | μmol/L | 18.9022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.213 | 135501.0475 | 291741.6394 | 59.9307 | 38.1
236834 | 2022-05-10 14:15 | 13.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3406 | μmol/L | 18.9022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.243 | 135660.5083 | 291709.3039 | 59.9307 | 38.1
236844 | 2022-05-10 14:15 | 13.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.7547 | μmol/L | 18.9083 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.276 | 135824.5967 | 291667.7042 | 59.9307 | 38.1
236854 | 2022-05-10 14:16 | 13.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.1874 | μmol/L | 18.9144 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.308 | 135988.1729 | 291630.9114 | 59.9307 | 38.1
236864 | 2022-05-10 14:16 | 14.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.6358 | μmol/L | 18.9267 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.337 | 136130.7278 | 291582.1681 | 59.9307 | 38.1
236874 | 2022-05-10 14:16 | 14.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1875 | μmol/L | 18.9328 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.362 | 136225.171 | 291553.4724 | 59.9307 | 38.1
236884 | 2022-05-10 14:17 | 14.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.0063 | μmol/L | 18.9328 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.373 | 136269.7699 | 291516.5716 | 59.9307 | 38.1
236894 | 2022-05-10 14:17 | 15.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.8062 | μmol/L | 18.9389 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.383 | 136283.7584 | 291471.4713 | 59.9307 | 38.1
236904 | 2022-05-10 14:17 | 15.6653 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.5268 | μmol/L | 18.9389 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.4 | 136331.9168 | 291431.1691 | 59.9307 | 38.1
236914 | 2022-05-10 14:18 | 15.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.2918 | μmol/L | 18.9511 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.41 | 136379.5225 | 291405.66 | 59.9307 | 38.1
236924 | 2022-05-10 14:18 | 16.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0434 | μmol/L | 18.9572 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.423 | 136432.0767 | 291372.9299 | 59.9307 | 38.1
236934 | 2022-05-10 14:18 | 16.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8307 | μmol/L | 18.9572 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.436 | 136471.3391 | 291318.9605 | 59.9307 | 38.1
236944 | 2022-05-10 14:19 | 16.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5529 | μmol/L | 18.9572 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.453 | 136540.129 | 291295.387 | 59.9307 | 38.1
236954 | 2022-05-10 14:19 | 17.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.235 | μmol/L | 18.9755 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.466 | 136600.4222 | 291250.8865 | 59.9307 | 38.1
236964 | 2022-05-10 14:19 | 17.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0043 | μmol/L | 18.9816 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.478 | 136628.7944 | 291228.4992 | 59.9307 | 38.1
236974 | 2022-05-10 14:20 | 17.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8769 | μmol/L | 18.9755 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.488 | 136665.7062 | 291185.5708 | 59.9307 | 38.1
236984 | 2022-05-10 14:20 | 18.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.5142 | μmol/L | 18.9877 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.506 | 136717.2282 | 291164.9964 | 59.9307 | 38.1
236994 | 2022-05-10 14:20 | 18.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3034 | μmol/L | 18.9877 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.519 | 136766.3982 | 291125.5849 | 59.9307 | 38.1
237004 | 2022-05-10 14:21 | 18.9987 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0578 | μmol/L | 18.9938 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.532 | 136811.4291 | 291085.9914 | 59.9307 | 38.1
237014 | 2022-05-10 14:21 | 19.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.8126 | μmol/L | 18.9999 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.545 | 136856.8953 | 291059.471 | 59.9307 | 38.1
237024 | 2022-05-10 14:21 | 19.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5677 | μmol/L | 19.006 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.558 | 136913.7628 | 291036.1394 | 59.9307 | 38.1
237034 | 2022-05-10 14:22 | 19.9987 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.3231 | μmol/L | 19.0122 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.571 | 136958.7251 | 290997.1175 | 59.9307 | 38.1
237044 | 2022-05-10 14:22 | 20.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0495 | μmol/L | 19.0122 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.588 | 137019.4345 | 290969.9484 | 59.9307 | 38.1
237054 | 2022-05-10 14:22 | 20.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6906 | μmol/L | 19.0244 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.606 | 137093.8161 | 290950.4831 | 59.9307 | 38.1
237064 | 2022-05-10 14:23 | 20.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.466 | μmol/L | 19.0244 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.62 | 137174.2067 | 290916.7953 | 59.9307 | 38.1
237074 | 2022-05-10 14:23 | 21.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.0924 | μmol/L | 19.0366 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.639 | 137267.79 | 290888.0674 | 59.9307 | 38.1
237084 | 2022-05-10 14:23 | 21.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.7888 | μmol/L | 19.0366 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.658 | 137328.546 | 290843.6209 | 59.9307 | 38.1
237094 | 2022-05-10 14:24 | 21.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.6292 | μmol/L | 19.0366 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.668 | 137400.9348 | 290824.6024 | 59.9307 | 38.1
237104 | 2022-05-10 14:24 | 22.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.276 | μmol/L | 19.0427 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.688 | 137465.8356 | 290795.2494 | 59.9307 | 38.1
237114 | 2022-05-10 14:24 | 22.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9871 | μmol/L | 19.0488 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.704 | 137536.9064 | 290770.2905 | 59.9307 | 38.1
237124 | 2022-05-10 14:25 | 22.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6828 | μmol/L | 19.0549 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.721 | 137620.336 | 290729.7392 | 59.9307 | 38.1
237134 | 2022-05-10 14:25 | 23.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3528 | μmol/L | 19.0488 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.744 | 137712.9857 | 290710.75 | 59.9307 | 38.1
237144 | 2022-05-10 14:25 | 23.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9653 | μmol/L | 19.0671 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.762 | 137801.8889 | 290674.3733 | 59.9307 | 38.1
237154 | 2022-05-10 14:26 | 23.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8102 | μmol/L | 19.061 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.774 | 137867.3986 | 290639.0322 | 59.9307 | 38.1
237164 | 2022-05-10 14:26 | 24.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5868 | μmol/L | 19.0671 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.786 | 137908.2764 | 290614.178 | 59.9307 | 38.1
237174 | 2022-05-10 14:26 | 24.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.3794 | μmol/L | 19.0732 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.797 | 137945.9246 | 290592.2015 | 59.9307 | 38.1
237184 | 2022-05-10 14:27 | 24.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.1251 | μmol/L | 19.0793 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.811 | 138004.6796 | 290566.5367 | 59.9307 | 38.1
237194 | 2022-05-10 14:27 | 25.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7928 | μmol/L | 19.0854 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.83 | 138097.154 | 290524.9781 | 59.9307 | 38.1
237204 | 2022-05-10 14:27 | 25.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.3701 | μmol/L | 19.0854 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.857 | 138248.1432 | 290514.7216 | 59.9307 | 38.1
237214 | 2022-05-10 14:28 | 25.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.9301 | μmol/L | 19.0915 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.883 | 138374.6522 | 290469.2532 | 59.9307 | 38.1
237224 | 2022-05-10 14:28 | 26.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.6469 | μmol/L | 19.0977 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.899 | 138440.2526 | 290447.3161 | 59.9307 | 38.1
237234 | 2022-05-10 14:28 | 26.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4135 | μmol/L | 19.0977 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.914 | 138487.4729 | 290436.831 | 59.9307 | 38.1
237244 | 2022-05-10 14:29 | 26.9987 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.3331 | μmol/L | 19.1038 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 24.917 | 138496.6824 | 290389.1044 | 59.9307 | 38.1