## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 14:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
236435 | 2022-05-10 14:02 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.0197 | μmol/L | 18.7463 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.089 | 96057.9819 | 212687.3213 | 27.3 | 43.4
236445 | 2022-05-10 14:02 | 0.36705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.8929 | μmol/L | 18.7463 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.141 | 96234.7237 | 212645.0215 | 27.3 | 43.4
236455 | 2022-05-10 14:02 | 0.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.4543 | μmol/L | 18.7585 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.157 | 96250.3466 | 212608.4881 | 27.3 | 43.4
236465 | 2022-05-10 14:03 | 0.99532 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.4293 | μmol/L | 18.7646 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.156 | 96219.9256 | 212579.7873 | 27.3 | 43.4
236475 | 2022-05-10 14:03 | 1.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.1209 | μmol/L | 18.7768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.166 | 96233.903 | 212536.752 | 27.3 | 43.4
236485 | 2022-05-10 14:03 | 1.6617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.7302 | μmol/L | 18.7829 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.182 | 96260.4712 | 212503.5563 | 27.3 | 43.4
236495 | 2022-05-10 14:04 | 1.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.4296 | μmol/L | 18.7829 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.196 | 96291.521 | 212471.3757 | 27.3 | 43.4
236505 | 2022-05-10 14:04 | 2.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.994 | μmol/L | 18.7951 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.212 | 96315.6425 | 212417.0976 | 27.3 | 43.4
236515 | 2022-05-10 14:04 | 2.6619 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.602 | μmol/L | 18.8074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.226 | 96348.3012 | 212383.9476 | 27.3 | 43.4
236525 | 2022-05-10 14:05 | 2.9951 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.2356 | μmol/L | 18.8135 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.241 | 96374.7766 | 212340.3303 | 27.3 | 43.4
236535 | 2022-05-10 14:05 | 3.3282 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.8058 | μmol/L | 18.8196 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.259 | 96402.8146 | 212298.5614 | 27.3 | 43.4
236545 | 2022-05-10 14:05 | 3.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.5258 | μmol/L | 18.8257 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.27 | 96451.5099 | 212279.1499 | 27.3 | 43.4
236555 | 2022-05-10 14:06 | 3.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.2249 | μmol/L | 18.8318 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.282 | 96475.5351 | 212233.7741 | 27.3 | 43.4
236565 | 2022-05-10 14:06 | 4.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.8396 | μmol/L | 18.8379 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.298 | 96503.1581 | 212196.0908 | 27.3 | 43.4
236575 | 2022-05-10 14:06 | 4.6617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.4762 | μmol/L | 18.844 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.313 | 96539.9162 | 212183.0904 | 27.3 | 43.4
236585 | 2022-05-10 14:07 | 4.9948 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.11 | μmol/L | 18.8562 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.326 | 96564.4773 | 212139.3379 | 27.3 | 43.4
236595 | 2022-05-10 14:07 | 5.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.7478 | μmol/L | 18.8624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.341 | 96602.2932 | 212115.6573 | 27.3 | 43.4
236605 | 2022-05-10 14:07 | 5.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.2987 | μmol/L | 18.8746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.358 | 96627.639 | 212074.8278 | 27.3 | 43.4
236615 | 2022-05-10 14:08 | 5.9948 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.9414 | μmol/L | 18.8746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.375 | 96649.955 | 212038.9529 | 27.3 | 43.4
236625 | 2022-05-10 14:08 | 6.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.833 | μmol/L | 18.8807 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.378 | 96663.9452 | 212003.1717 | 27.3 | 43.4
236635 | 2022-05-10 14:08 | 6.6616 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.4277 | μmol/L | 18.8929 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.393 | 96683.2794 | 211962.7109 | 27.3 | 43.4
236645 | 2022-05-10 14:09 | 6.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 246.2148 | μmol/L | 18.899 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.401 | 96696.8588 | 211930.7394 | 27.3 | 43.4
236655 | 2022-05-10 14:09 | 7.3282 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.9221 | μmol/L | 18.899 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.415 | 96715.1056 | 211900.0437 | 27.3 | 43.4
236665 | 2022-05-10 14:09 | 7.6616 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.6228 | μmol/L | 18.9112 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.425 | 96729.362 | 211867.474 | 27.3 | 43.4
236675 | 2022-05-10 14:10 | 7.995 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.4317 | μmol/L | 18.9173 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.432 | 96738.0641 | 211845.0091 | 27.3 | 43.4
236685 | 2022-05-10 14:10 | 8.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 245.0533 | μmol/L | 18.9234 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.448 | 96733.3954 | 211782.0036 | 27.3 | 43.4
236695 | 2022-05-10 14:10 | 8.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.9043 | μmol/L | 18.9296 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.453 | 96747.5015 | 211759.9564 | 27.3 | 43.4
236705 | 2022-05-10 14:11 | 8.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.6757 | μmol/L | 18.9296 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.464 | 96758.5432 | 211736.4144 | 27.3 | 43.4
236715 | 2022-05-10 14:11 | 9.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.3574 | μmol/L | 18.9418 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.475 | 96778.3111 | 211689.0679 | 27.3 | 43.4
236725 | 2022-05-10 14:11 | 9.6615 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 244.1952 | μmol/L | 18.9357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.485 | 96779.4189 | 211661.1806 | 27.3 | 43.4
236735 | 2022-05-10 14:12 | 9.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.75 | μmol/L | 18.954 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.5 | 96810.5982 | 211633.9511 | 27.3 | 43.4
236745 | 2022-05-10 14:12 | 10.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.4986 | μmol/L | 18.9601 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.51 | 96822.8569 | 211598.3354 | 27.3 | 43.4
236755 | 2022-05-10 14:12 | 10.6615 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.2304 | μmol/L | 18.9601 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.523 | 96856.5525 | 211570.7948 | 27.3 | 43.4
236765 | 2022-05-10 14:13 | 10.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.1686 | μmol/L | 18.9601 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.526 | 96868.0827 | 211530.2222 | 27.3 | 43.4
236775 | 2022-05-10 14:13 | 11.3283 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7909 | μmol/L | 18.9723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.54 | 96878.2515 | 211499.4363 | 27.3 | 43.4
236785 | 2022-05-10 14:13 | 11.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.6228 | μmol/L | 18.9784 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.546 | 96883.4084 | 211473.0395 | 27.3 | 43.4
236795 | 2022-05-10 14:14 | 11.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.4343 | μmol/L | 18.9845 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.553 | 96895.8542 | 211449.0087 | 27.3 | 43.4
236805 | 2022-05-10 14:14 | 12.3287 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.2086 | μmol/L | 18.9845 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.564 | 96900.5938 | 211413.083 | 27.3 | 43.4
236815 | 2022-05-10 14:14 | 12.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.959 | μmol/L | 18.9907 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.574 | 96910.9978 | 211397.1294 | 27.3 | 43.4
236825 | 2022-05-10 14:15 | 12.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.7098 | μmol/L | 18.9968 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.584 | 96916.6548 | 211352.5349 | 27.3 | 43.4
236835 | 2022-05-10 14:15 | 13.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.6858 | μmol/L | 19.0029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.583 | 96926.6341 | 211317.9409 | 27.3 | 43.4
236845 | 2022-05-10 14:15 | 13.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.42 | μmol/L | 19.0029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.596 | 96931.6236 | 211303.4816 | 27.3 | 43.4
236855 | 2022-05-10 14:16 | 13.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.1066 | μmol/L | 19.0151 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.607 | 96940.598 | 211285.9604 | 27.3 | 43.4
236865 | 2022-05-10 14:16 | 14.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.8752 | μmol/L | 19.0273 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.614 | 96945.0215 | 211245.4363 | 27.3 | 43.4
236875 | 2022-05-10 14:16 | 14.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.6679 | μmol/L | 19.0334 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.622 | 96947.0217 | 211226.33 | 27.3 | 43.4
236885 | 2022-05-10 14:17 | 14.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.4609 | μmol/L | 19.0395 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.63 | 96946.4751 | 211197.3338 | 27.3 | 43.4
236895 | 2022-05-10 14:17 | 15.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.315 | μmol/L | 19.0456 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.635 | 96954.308 | 211175.9712 | 27.3 | 43.4
236905 | 2022-05-10 14:17 | 15.6619 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.1489 | μmol/L | 19.0518 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.641 | 96967.8142 | 211154.5646 | 27.3 | 43.4
236915 | 2022-05-10 14:18 | 15.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.8851 | μmol/L | 19.0518 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.654 | 96974.7145 | 211118.6596 | 27.3 | 43.4
236925 | 2022-05-10 14:18 | 16.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.6991 | μmol/L | 19.0579 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.661 | 96989.5567 | 211085.9378 | 27.3 | 43.4
236935 | 2022-05-10 14:18 | 16.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.4323 | μmol/L | 19.064 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.672 | 97009.3623 | 211071.5832 | 27.3 | 43.4
236945 | 2022-05-10 14:19 | 16.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.3312 | μmol/L | 19.064 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.677 | 97017.7739 | 211055.5815 | 27.3 | 43.4
236955 | 2022-05-10 14:19 | 17.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.0209 | μmol/L | 19.0762 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.688 | 97032.112 | 211034.8653 | 27.3 | 43.4
236965 | 2022-05-10 14:19 | 17.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.8357 | μmol/L | 19.0823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.695 | 97041.2216 | 211011.6213 | 27.3 | 43.4
236975 | 2022-05-10 14:20 | 17.9953 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.7313 | μmol/L | 19.0884 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.698 | 97050.4901 | 210992.7437 | 27.3 | 43.4
236985 | 2022-05-10 14:20 | 18.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.5061 | μmol/L | 19.0945 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.707 | 97063.9436 | 210960.7837 | 27.3 | 43.4
236995 | 2022-05-10 14:20 | 18.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.3285 | μmol/L | 19.0884 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.718 | 97065.1462 | 210948.1592 | 27.3 | 43.4
237005 | 2022-05-10 14:21 | 18.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.1841 | μmol/L | 19.0945 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.723 | 97079.3539 | 210922.1924 | 27.3 | 43.4
237015 | 2022-05-10 14:21 | 19.3282 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.0398 | μmol/L | 19.1006 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.728 | 97086.7317 | 210900.8883 | 27.3 | 43.4
237025 | 2022-05-10 14:21 | 19.6616 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.7788 | μmol/L | 19.1006 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.741 | 97097.6874 | 210882.9835 | 27.3 | 43.4
237035 | 2022-05-10 14:22 | 19.9953 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.6312 | μmol/L | 19.1129 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.744 | 97104.387 | 210857.0456 | 27.3 | 43.4
237045 | 2022-05-10 14:22 | 20.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.551 | μmol/L | 19.1129 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.748 | 97117.4331 | 210835.6405 | 27.3 | 43.4
237055 | 2022-05-10 14:22 | 20.6615 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.287 | μmol/L | 19.119 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.759 | 97122.851 | 210827.9624 | 27.3 | 43.4
237065 | 2022-05-10 14:23 | 20.9951 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.1633 | μmol/L | 19.1251 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.763 | 97124.0409 | 210803.3684 | 27.3 | 43.4
237075 | 2022-05-10 14:23 | 21.3287 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.1269 | μmol/L | 19.119 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.767 | 97132.3942 | 210773.0874 | 27.3 | 43.4
237085 | 2022-05-10 14:23 | 21.6615 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.9126 | μmol/L | 19.1434 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.769 | 97115.5359 | 210748.5077 | 27.3 | 43.4
237095 | 2022-05-10 14:24 | 21.9949 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.8563 | μmol/L | 19.1373 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.774 | 97121.4136 | 210730.0298 | 27.3 | 43.4
237105 | 2022-05-10 14:24 | 22.3283 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.6295 | μmol/L | 19.1495 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.781 | 97118.6372 | 210713.0267 | 27.3 | 43.4
237115 | 2022-05-10 14:24 | 22.6618 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.6096 | μmol/L | 19.1495 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.782 | 97121.727 | 210702.6547 | 27.3 | 43.4
237125 | 2022-05-10 14:25 | 22.995 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.47 | μmol/L | 19.1495 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.789 | 97122.4832 | 210682.2668 | 27.3 | 43.4
237135 | 2022-05-10 14:25 | 23.3283 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.287 | μmol/L | 19.1556 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.796 | 97119.7797 | 210664.8773 | 27.3 | 43.4
237145 | 2022-05-10 14:25 | 23.6618 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.144 | μmol/L | 19.1617 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.801 | 97130.7795 | 210628.3285 | 27.3 | 43.4
237155 | 2022-05-10 14:26 | 23.9951 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.9415 | μmol/L | 19.1678 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.809 | 97144.4303 | 210614.144 | 27.3 | 43.4
237165 | 2022-05-10 14:26 | 24.3284 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.862 | μmol/L | 19.1678 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.813 | 97153.7883 | 210591.9471 | 27.3 | 43.4
237175 | 2022-05-10 14:26 | 24.6617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.6399 | μmol/L | 19.174 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.822 | 97171.2292 | 210569.3568 | 27.3 | 43.4
237185 | 2022-05-10 14:27 | 24.995 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.4216 | μmol/L | 19.174 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.833 | 97183.0779 | 210553.3291 | 27.3 | 43.4
237195 | 2022-05-10 14:27 | 25.3281 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.2558 | μmol/L | 19.1862 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.837 | 97196.1124 | 210543.0083 | 27.3 | 43.4
237205 | 2022-05-10 14:27 | 25.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.1172 | μmol/L | 19.1862 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.844 | 97207.0777 | 210526.3694 | 27.3 | 43.4
237215 | 2022-05-10 14:28 | 25.9951 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.9948 | μmol/L | 19.1923 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.848 | 97216.9827 | 210503.2863 | 27.3 | 43.4
237225 | 2022-05-10 14:28 | 26.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.7737 | μmol/L | 19.1984 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.857 | 97223.3106 | 210479.7106 | 27.3 | 43.4
237235 | 2022-05-10 14:28 | 26.6617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.6712 | μmol/L | 19.2045 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.86 | 97229.608 | 210465.4745 | 27.3 | 43.4
237245 | 2022-05-10 14:29 | 26.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.5527 | μmol/L | 19.2045 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.866 | 97231.6787 | 210453.9562 | 27.3 | 43.4