## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
237262 | 2022-05-10 14:50 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.9852 | μmol/L | 17.8764 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.067 | 125677.3677 | 289063.987 | 59.9307 | 38.1
237272 | 2022-05-10 14:50 | 0.32895 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.8057 | μmol/L | 17.8887 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.072 | 125692.8306 | 289029.8252 | 59.9307 | 38.1
237282 | 2022-05-10 14:50 | 0.66231 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.5103 | μmol/L | 17.9009 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.083 | 125698.9595 | 288992.4735 | 59.9307 | 38.1
237292 | 2022-05-10 14:51 | 0.99592 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.3699 | μmol/L | 17.9131 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.086 | 125707.1187 | 288970.0586 | 59.9307 | 38.1
237302 | 2022-05-10 14:51 | 1.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.1497 | μmol/L | 17.9314 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.091 | 125721.2006 | 288965.8614 | 59.9307 | 38.1
237312 | 2022-05-10 14:51 | 1.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.0726 | μmol/L | 17.9314 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.095 | 125739.2215 | 288939.1852 | 59.9307 | 38.1
237322 | 2022-05-10 14:52 | 1.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.8554 | μmol/L | 17.9436 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.102 | 125745.916 | 288912.744 | 59.9307 | 38.1
237332 | 2022-05-10 14:52 | 2.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.7346 | μmol/L | 17.9558 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.104 | 125762.7583 | 288895.2225 | 59.9307 | 38.1
237342 | 2022-05-10 14:52 | 2.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5755 | μmol/L | 17.968 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.108 | 125761.5732 | 288871.0662 | 59.9307 | 38.1
237352 | 2022-05-10 14:53 | 2.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.378 | μmol/L | 17.9802 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.114 | 125764.118 | 288845.1596 | 59.9307 | 38.1
237362 | 2022-05-10 14:53 | 3.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.3178 | μmol/L | 17.9863 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.115 | 125777.6928 | 288832.6981 | 59.9307 | 38.1
237372 | 2022-05-10 14:53 | 3.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.337 | μmol/L | 17.9863 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.114 | 125770.4841 | 288823.1048 | 59.9307 | 38.1
237382 | 2022-05-10 14:54 | 3.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.0988 | μmol/L | 18.0047 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.12 | 125774.7055 | 288804.2503 | 59.9307 | 38.1
237392 | 2022-05-10 14:54 | 4.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9593 | μmol/L | 18.0169 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.123 | 125765.4371 | 288766.9453 | 59.9307 | 38.1
237402 | 2022-05-10 14:54 | 4.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9158 | μmol/L | 18.0291 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.121 | 125775.3394 | 288764.7973 | 59.9307 | 38.1
237412 | 2022-05-10 14:55 | 4.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.7791 | μmol/L | 18.0352 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.126 | 125781.6724 | 288755.3823 | 59.9307 | 38.1
237422 | 2022-05-10 14:55 | 5.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.733 | μmol/L | 18.0535 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.122 | 125781.9138 | 288724.0799 | 59.9307 | 38.1
237432 | 2022-05-10 14:55 | 5.6624 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.5964 | μmol/L | 18.0596 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.127 | 125784.1056 | 288718.8813 | 59.9307 | 38.1
237442 | 2022-05-10 14:56 | 5.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.539 | μmol/L | 18.0596 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.13 | 125777.0151 | 288713.005 | 59.9307 | 38.1
237452 | 2022-05-10 14:56 | 6.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.5147 | μmol/L | 18.0718 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.127 | 125770.9785 | 288693.0463 | 59.9307 | 38.1
237462 | 2022-05-10 14:56 | 6.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.3757 | μmol/L | 18.084 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.13 | 125769.9641 | 288670.876 | 59.9307 | 38.1
237472 | 2022-05-10 14:57 | 6.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.3349 | μmol/L | 18.0901 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.13 | 125766.03 | 288669.2056 | 59.9307 | 38.1
237482 | 2022-05-10 14:57 | 7.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1552 | μmol/L | 18.1084 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.133 | 125757.8711 | 288640.5493 | 59.9307 | 38.1
237492 | 2022-05-10 14:57 | 7.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0571 | μmol/L | 18.1145 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.136 | 125754.6991 | 288621.9053 | 59.9307 | 38.1
237502 | 2022-05-10 14:58 | 7.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.9426 | μmol/L | 18.1145 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.142 | 125775.1358 | 288614.6518 | 59.9307 | 38.1
237512 | 2022-05-10 14:58 | 8.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8205 | μmol/L | 18.1329 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.142 | 125789.5682 | 288599.7091 | 59.9307 | 38.1
237522 | 2022-05-10 14:58 | 8.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6247 | μmol/L | 18.1451 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.148 | 125821.0842 | 288584.9081 | 59.9307 | 38.1
237532 | 2022-05-10 14:59 | 8.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.3936 | μmol/L | 18.1512 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.158 | 125852.7214 | 288566.9453 | 59.9307 | 38.1
237542 | 2022-05-10 14:59 | 9.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.2173 | μmol/L | 18.1634 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.163 | 125887.634 | 288550.3968 | 59.9307 | 38.1
237552 | 2022-05-10 14:59 | 9.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.0817 | μmol/L | 18.1695 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.168 | 125908.7697 | 288530.7683 | 59.9307 | 38.1
237562 | 2022-05-10 15:00 | 9.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.9462 | μmol/L | 18.1756 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.173 | 125931.3741 | 288529.3513 | 59.9307 | 38.1
237572 | 2022-05-10 15:00 | 10.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.7323 | μmol/L | 18.1878 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.18 | 125956.5251 | 288528.4451 | 59.9307 | 38.1
237582 | 2022-05-10 15:00 | 10.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.5756 | μmol/L | 18.2 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.184 | 125976.8282 | 288491.4775 | 59.9307 | 38.1
237592 | 2022-05-10 15:01 | 10.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.4808 | μmol/L | 18.2 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.189 | 126019.2311 | 288475.2583 | 59.9307 | 38.1
237602 | 2022-05-10 15:01 | 11.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.1186 | μmol/L | 18.2061 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.206 | 126064.8231 | 288459.3339 | 59.9307 | 38.1
237612 | 2022-05-10 15:01 | 11.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.8301 | μmol/L | 18.2183 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.217 | 126142.6406 | 288453.9437 | 59.9307 | 38.1
237622 | 2022-05-10 15:02 | 11.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.5445 | μmol/L | 18.2244 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.23 | 126218.2756 | 288433.5315 | 59.9307 | 38.1
237632 | 2022-05-10 15:02 | 12.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.1414 | μmol/L | 18.2428 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.245 | 126295.0688 | 288412.5242 | 59.9307 | 38.1
237642 | 2022-05-10 15:02 | 12.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.8568 | μmol/L | 18.2489 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.258 | 126375.6837 | 288402.6974 | 59.9307 | 38.1
237652 | 2022-05-10 15:03 | 12.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.5326 | μmol/L | 18.2611 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.271 | 126446.2554 | 288394.6953 | 59.9307 | 38.1
237662 | 2022-05-10 15:03 | 13.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.3826 | μmol/L | 18.2611 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.279 | 126509.3515 | 288383.1661 | 59.9307 | 38.1
237672 | 2022-05-10 15:03 | 13.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 220.0218 | μmol/L | 18.2733 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.294 | 126577.929 | 288352.9566 | 59.9307 | 38.1
237682 | 2022-05-10 15:04 | 13.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.7041 | μmol/L | 18.2733 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.311 | 126667.5757 | 288337.1313 | 59.9307 | 38.1
237692 | 2022-05-10 15:04 | 14.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.2861 | μmol/L | 18.2916 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.327 | 126752.9155 | 288332.1357 | 59.9307 | 38.1
237702 | 2022-05-10 15:04 | 14.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 219.0415 | μmol/L | 18.2977 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.338 | 126805.3937 | 288289.6869 | 59.9307 | 38.1
237712 | 2022-05-10 15:05 | 14.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.8344 | μmol/L | 18.3038 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.347 | 126850.1691 | 288282.087 | 59.9307 | 38.1
237722 | 2022-05-10 15:05 | 15.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.6647 | μmol/L | 18.3099 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.354 | 126871.8638 | 288263.2819 | 59.9307 | 38.1
237732 | 2022-05-10 15:05 | 15.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.625 | μmol/L | 18.316 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.354 | 126869.3629 | 288256.285 | 59.9307 | 38.1
237742 | 2022-05-10 15:06 | 15.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.5667 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.355 | 126847.2671 | 288245.4821 | 59.9307 | 38.1
237752 | 2022-05-10 15:06 | 16.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.5431 | μmol/L | 18.3343 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.352 | 126814.5418 | 288233.3321 | 59.9307 | 38.1
237762 | 2022-05-10 15:06 | 16.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.6309 | μmol/L | 18.3466 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.343 | 126768.2835 | 288220.2803 | 59.9307 | 38.1
237772 | 2022-05-10 15:07 | 16.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.6841 | μmol/L | 18.3527 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.338 | 126705.8583 | 288181.6464 | 59.9307 | 38.1
237782 | 2022-05-10 15:07 | 17.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.7027 | μmol/L | 18.3527 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.337 | 126670.219 | 288181.0782 | 59.9307 | 38.1
237792 | 2022-05-10 15:07 | 17.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.6394 | μmol/L | 18.371 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.334 | 126654.6382 | 288183.3109 | 59.9307 | 38.1
237802 | 2022-05-10 15:08 | 17.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.5812 | μmol/L | 18.3771 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.335 | 126623.5816 | 288165.5863 | 59.9307 | 38.1
237812 | 2022-05-10 15:08 | 18.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.5415 | μmol/L | 18.3832 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.335 | 126610.89 | 288147.1183 | 59.9307 | 38.1
237822 | 2022-05-10 15:08 | 18.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.5922 | μmol/L | 18.3954 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.328 | 126584.8622 | 288142.0278 | 59.9307 | 38.1
237832 | 2022-05-10 15:09 | 18.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.648 | μmol/L | 18.3954 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.325 | 126555.0598 | 288109.566 | 59.9307 | 38.1
237842 | 2022-05-10 15:09 | 19.3291 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.6058 | μmol/L | 18.4076 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.323 | 126520.7652 | 288102.9031 | 59.9307 | 38.1
237852 | 2022-05-10 15:09 | 19.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.5315 | μmol/L | 18.4076 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.327 | 126514.0866 | 288083.0916 | 59.9307 | 38.1
237862 | 2022-05-10 15:10 | 19.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.3805 | μmol/L | 18.4137 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.333 | 126582.0421 | 288081.6827 | 59.9307 | 38.1
237872 | 2022-05-10 15:10 | 20.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.7643 | μmol/L | 18.4259 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.362 | 126709.5529 | 288059.9714 | 59.9307 | 38.1
237882 | 2022-05-10 15:10 | 20.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.3764 | μmol/L | 18.4259 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.383 | 126849.3431 | 288063.3179 | 59.9307 | 38.1
237892 | 2022-05-10 15:11 | 20.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.9106 | μmol/L | 18.4381 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.404 | 126960.5834 | 288058.4659 | 59.9307 | 38.1
237902 | 2022-05-10 15:11 | 21.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.6138 | μmol/L | 18.4443 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.418 | 127039.5638 | 288046.9984 | 59.9307 | 38.1
237912 | 2022-05-10 15:11 | 21.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.3909 | μmol/L | 18.4504 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.428 | 127093.6506 | 288028.0834 | 59.9307 | 38.1
237922 | 2022-05-10 15:12 | 21.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.2074 | μmol/L | 18.4504 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.438 | 127136.8798 | 288022.7528 | 59.9307 | 38.1
237932 | 2022-05-10 15:12 | 22.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.1866 | μmol/L | 18.4565 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.437 | 127163.2365 | 288031.394 | 59.9307 | 38.1
237942 | 2022-05-10 15:12 | 22.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.0349 | μmol/L | 18.4687 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.441 | 127152.9119 | 288012.0237 | 59.9307 | 38.1
237952 | 2022-05-10 15:13 | 22.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.9383 | μmol/L | 18.4809 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.442 | 127151.1852 | 288009.6597 | 59.9307 | 38.1
237962 | 2022-05-10 15:13 | 23.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.92 | μmol/L | 18.4809 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.443 | 127136.6004 | 288004.1115 | 59.9307 | 38.1
237972 | 2022-05-10 15:13 | 23.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.0299 | μmol/L | 18.4809 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.437 | 127101.9703 | 287995.3486 | 59.9307 | 38.1
237982 | 2022-05-10 15:14 | 23.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.0249 | μmol/L | 18.4931 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.433 | 127084.8399 | 287987.3829 | 59.9307 | 38.1
237992 | 2022-05-10 15:14 | 24.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.0382 | μmol/L | 18.5053 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.428 | 127041.5283 | 287984.0449 | 59.9307 | 38.1
238002 | 2022-05-10 15:14 | 24.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.1091 | μmol/L | 18.5114 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.422 | 126991.256 | 287977.8912 | 59.9307 | 38.1
238012 | 2022-05-10 15:15 | 24.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.3108 | μmol/L | 18.5114 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.411 | 126938.6118 | 287969.1005 | 59.9307 | 38.1
238022 | 2022-05-10 15:15 | 25.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.4002 | μmol/L | 18.5175 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.404 | 126877.6677 | 287971.8624 | 59.9307 | 38.1
238032 | 2022-05-10 15:15 | 25.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.5447 | μmol/L | 18.5236 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.394 | 126812.1995 | 287954.4945 | 59.9307 | 38.1
238042 | 2022-05-10 15:16 | 25.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.6893 | μmol/L | 18.5297 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.384 | 126747.0331 | 287951.1238 | 59.9307 | 38.1