## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
237260 | 2022-05-10 14:50 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.6176 | μmol/L | 17.8004 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.949 | 73419.7665 | 286542.0714 | 28.7 | 67.6
237270 | 2022-05-10 14:50 | 0.33593 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.5165 | μmol/L | 17.8065 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.952 | 73410.6254 | 286534.2317 | 28.7 | 67.6
237280 | 2022-05-10 14:50 | 0.66853 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.4525 | μmol/L | 17.8187 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.951 | 73400.0491 | 286517.4084 | 28.7 | 67.6
237290 | 2022-05-10 14:51 | 1.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.3713 | μmol/L | 17.8248 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.953 | 73402.1129 | 286506.2311 | 28.7 | 67.6
237300 | 2022-05-10 14:51 | 1.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.1868 | μmol/L | 17.843 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.956 | 73385.7869 | 286477.6068 | 28.7 | 67.6
237310 | 2022-05-10 14:51 | 1.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.027 | μmol/L | 17.8491 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.962 | 73379.7834 | 286445.1935 | 28.7 | 67.6
237320 | 2022-05-10 14:52 | 2.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.8993 | μmol/L | 17.8734 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.96 | 73377.7158 | 286446.9917 | 28.7 | 67.6
237330 | 2022-05-10 14:52 | 2.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.86 | μmol/L | 17.8734 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.962 | 73372.0111 | 286430.2531 | 28.7 | 67.6
237340 | 2022-05-10 14:52 | 2.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.6956 | μmol/L | 17.8917 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.964 | 73367.0101 | 286403.474 | 28.7 | 67.6
237350 | 2022-05-10 14:53 | 3.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.6563 | μmol/L | 17.8917 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.966 | 73360.5508 | 286400.3311 | 28.7 | 67.6
237360 | 2022-05-10 14:53 | 3.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.6759 | μmol/L | 17.8917 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.965 | 73361.4716 | 286371.7227 | 28.7 | 67.6
237370 | 2022-05-10 14:53 | 3.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.394 | μmol/L | 17.9099 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.973 | 73347.0306 | 286354.5439 | 28.7 | 67.6
237380 | 2022-05-10 14:54 | 4.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.3108 | μmol/L | 17.9221 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.973 | 73351.7128 | 286356.2359 | 28.7 | 67.6
237390 | 2022-05-10 14:54 | 4.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.2888 | μmol/L | 17.9281 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.972 | 73333.2121 | 286325.8189 | 28.7 | 67.6
237400 | 2022-05-10 14:54 | 4.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.0466 | μmol/L | 17.9464 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.978 | 73343.8917 | 286331.9282 | 28.7 | 67.6
237410 | 2022-05-10 14:55 | 5.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.983 | μmol/L | 17.9586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.977 | 73331.68 | 286297.1266 | 28.7 | 67.6
237420 | 2022-05-10 14:55 | 5.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.0417 | μmol/L | 17.9586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.974 | 73320.2218 | 286298.1509 | 28.7 | 67.6
237430 | 2022-05-10 14:55 | 5.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.7607 | μmol/L | 17.9768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.982 | 73326.6266 | 286269.5237 | 28.7 | 67.6
237440 | 2022-05-10 14:56 | 6.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.7779 | μmol/L | 17.9829 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.979 | 73317.572 | 286265.7417 | 28.7 | 67.6
237450 | 2022-05-10 14:56 | 6.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.6558 | μmol/L | 17.995 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.981 | 73315.5115 | 286262.6363 | 28.7 | 67.6
237460 | 2022-05-10 14:56 | 6.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.5339 | μmol/L | 18.0072 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.983 | 73314.2249 | 286240.0931 | 28.7 | 67.6
237470 | 2022-05-10 14:57 | 7.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.4705 | μmol/L | 18.0194 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.982 | 73310.539 | 286228.3513 | 28.7 | 67.6
237480 | 2022-05-10 14:57 | 7.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.3706 | μmol/L | 18.0255 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.985 | 73321.4009 | 286224.3966 | 28.7 | 67.6
237490 | 2022-05-10 14:57 | 7.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.3292 | μmol/L | 18.0315 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.985 | 73316.7359 | 286220.7559 | 28.7 | 67.6
237500 | 2022-05-10 14:58 | 8.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.3463 | μmol/L | 18.0376 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.982 | 73319.8858 | 286207.0493 | 28.7 | 67.6
237510 | 2022-05-10 14:58 | 8.3362 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.1879 | μmol/L | 18.0437 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.988 | 73323.122 | 286194.1535 | 28.7 | 67.6
237520 | 2022-05-10 14:58 | 8.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.1052 | μmol/L | 18.0559 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.988 | 73313.9632 | 286181.5162 | 28.7 | 67.6
237530 | 2022-05-10 14:59 | 9.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.9689 | μmol/L | 18.0559 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.995 | 73313.215 | 286162.6219 | 28.7 | 67.6
237540 | 2022-05-10 14:59 | 9.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.9642 | μmol/L | 18.068 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.991 | 73313.1722 | 286156.7593 | 28.7 | 67.6
237550 | 2022-05-10 14:59 | 9.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.9642 | μmol/L | 18.068 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.991 | 73320.5271 | 286148.7676 | 28.7 | 67.6
237560 | 2022-05-10 15:00 | 10.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.8645 | μmol/L | 18.0741 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.994 | 73313.7709 | 286131.7227 | 28.7 | 67.6
237570 | 2022-05-10 15:00 | 10.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.8426 | μmol/L | 18.0802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.993 | 73300.5372 | 286128.219 | 28.7 | 67.6
237580 | 2022-05-10 15:00 | 10.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.8014 | μmol/L | 18.0863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.993 | 73300.5826 | 286097.5582 | 28.7 | 67.6
237590 | 2022-05-10 15:01 | 11.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.6799 | μmol/L | 18.0984 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.995 | 73302.045 | 286095.8576 | 28.7 | 67.6
237600 | 2022-05-10 15:01 | 11.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.5174 | μmol/L | 18.1167 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.997 | 73289.8103 | 286066.6808 | 28.7 | 67.6
237610 | 2022-05-10 15:01 | 11.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.5539 | μmol/L | 18.1228 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.993 | 73293.4647 | 286067.5866 | 28.7 | 67.6
237620 | 2022-05-10 15:02 | 12.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.2944 | μmol/L | 18.141 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23 | 73282.6207 | 286037.7436 | 28.7 | 67.6
237630 | 2022-05-10 15:02 | 12.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3091 | μmol/L | 18.1532 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.995 | 73277.9088 | 286030.2239 | 28.7 | 67.6
237640 | 2022-05-10 15:02 | 12.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.0887 | μmol/L | 18.1714 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23 | 73277.4966 | 286009.5473 | 28.7 | 67.6
237650 | 2022-05-10 15:03 | 13.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.0088 | μmol/L | 18.1775 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.002 | 73272.2848 | 285992.4687 | 28.7 | 67.6
237660 | 2022-05-10 15:03 | 13.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.946 | μmol/L | 18.1897 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.001 | 73268.4551 | 285972.7039 | 28.7 | 67.6
237670 | 2022-05-10 15:03 | 13.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8468 | μmol/L | 18.1957 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.004 | 73248.9124 | 285951.9712 | 28.7 | 67.6
237680 | 2022-05-10 15:04 | 14.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8058 | μmol/L | 18.2018 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.004 | 73244.3876 | 285925.7744 | 28.7 | 67.6
237690 | 2022-05-10 15:04 | 14.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8251 | μmol/L | 18.2018 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.003 | 73239.078 | 285903.1444 | 28.7 | 67.6
237700 | 2022-05-10 15:04 | 14.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.5882 | μmol/L | 18.214 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.011 | 73235.3566 | 285896.6186 | 28.7 | 67.6
237710 | 2022-05-10 15:05 | 15.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.6462 | μmol/L | 18.214 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.008 | 73228.6847 | 285895.2468 | 28.7 | 67.6
237720 | 2022-05-10 15:05 | 15.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.6246 | μmol/L | 18.2201 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.007 | 73216.9841 | 285858.798 | 28.7 | 67.6
237730 | 2022-05-10 15:05 | 15.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.5665 | μmol/L | 18.2201 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.01 | 73213.4597 | 285837.7888 | 28.7 | 67.6
237740 | 2022-05-10 15:06 | 16.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.422 | μmol/L | 18.2444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.009 | 73204.8577 | 285828.2117 | 28.7 | 67.6
237750 | 2022-05-10 15:06 | 16.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3617 | μmol/L | 18.2505 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.01 | 73194.587 | 285804.9917 | 28.7 | 67.6
237760 | 2022-05-10 15:06 | 16.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3185 | μmol/L | 18.2626 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.008 | 73186.1583 | 285769.7022 | 28.7 | 67.6
237770 | 2022-05-10 15:07 | 17.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.2968 | μmol/L | 18.2687 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.007 | 73186.7529 | 285784.1413 | 28.7 | 67.6
237780 | 2022-05-10 15:07 | 17.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0582 | μmol/L | 18.287 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.013 | 73182.8347 | 285765.8748 | 28.7 | 67.6
237790 | 2022-05-10 15:07 | 17.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.056 | μmol/L | 18.293 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.011 | 73181.2357 | 285747.0114 | 28.7 | 67.6
237800 | 2022-05-10 15:08 | 18.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0367 | μmol/L | 18.293 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.012 | 73180.7181 | 285746.7827 | 28.7 | 67.6
237810 | 2022-05-10 15:08 | 18.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0344 | μmol/L | 18.2991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.01 | 73177.7091 | 285733.5094 | 28.7 | 67.6
237820 | 2022-05-10 15:08 | 18.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.8585 | μmol/L | 18.3052 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.017 | 73165.8075 | 285724.9306 | 28.7 | 67.6
237830 | 2022-05-10 15:09 | 19.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7768 | μmol/L | 18.3174 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.017 | 73160.7179 | 285700.1502 | 28.7 | 67.6
237840 | 2022-05-10 15:09 | 19.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.736 | μmol/L | 18.3235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.017 | 73163.2205 | 285696.2533 | 28.7 | 67.6
237850 | 2022-05-10 15:09 | 19.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.6351 | μmol/L | 18.3356 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.018 | 73161.1901 | 285689.4143 | 28.7 | 67.6
237860 | 2022-05-10 15:10 | 20.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5944 | μmol/L | 18.3417 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.018 | 73169.8295 | 285680.2127 | 28.7 | 67.6
237870 | 2022-05-10 15:10 | 20.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4188 | μmol/L | 18.3478 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.025 | 73163.3767 | 285658.3216 | 28.7 | 67.6
237880 | 2022-05-10 15:10 | 20.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4336 | μmol/L | 18.3599 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.02 | 73157.9218 | 285650.4768 | 28.7 | 67.6
237890 | 2022-05-10 15:11 | 21.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.3136 | μmol/L | 18.3721 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.022 | 73158.8539 | 285634.7479 | 28.7 | 67.6
237900 | 2022-05-10 15:11 | 21.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.196 | μmol/L | 18.3782 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.026 | 73161.1508 | 285639.333 | 28.7 | 67.6
237910 | 2022-05-10 15:11 | 21.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.0977 | μmol/L | 18.3843 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.029 | 73162.1878 | 285613.7208 | 28.7 | 67.6
237920 | 2022-05-10 15:12 | 22.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.961 | μmol/L | 18.3904 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.034 | 73168.6715 | 285623.8432 | 28.7 | 67.6
237930 | 2022-05-10 15:12 | 22.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.0932 | μmol/L | 18.3964 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.025 | 73162.9263 | 285613.763 | 28.7 | 67.6
237940 | 2022-05-10 15:12 | 22.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.0695 | μmol/L | 18.4086 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.022 | 73157.6613 | 285603.1551 | 28.7 | 67.6
237950 | 2022-05-10 15:13 | 23.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.9735 | μmol/L | 18.4086 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.027 | 73158.5763 | 285599.2767 | 28.7 | 67.6
237960 | 2022-05-10 15:13 | 23.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.7365 | μmol/L | 18.4268 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.033 | 73159.6172 | 285609.585 | 28.7 | 67.6
237970 | 2022-05-10 15:13 | 23.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.8132 | μmol/L | 18.4268 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.029 | 73151.0959 | 285594.536 | 28.7 | 67.6
237980 | 2022-05-10 15:14 | 24.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.7534 | μmol/L | 18.4329 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.03 | 73148.6196 | 285584.2093 | 28.7 | 67.6
237990 | 2022-05-10 15:14 | 24.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.6531 | μmol/L | 18.4451 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.031 | 73163.7133 | 285577.6279 | 28.7 | 67.6
238000 | 2022-05-10 15:14 | 24.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.6339 | μmol/L | 18.4451 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.032 | 73161.5935 | 285576.9051 | 28.7 | 67.6
238010 | 2022-05-10 15:15 | 25.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.5911 | μmol/L | 18.4573 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.03 | 73159.1554 | 285560.5181 | 28.7 | 67.6
238020 | 2022-05-10 15:15 | 25.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.4548 | μmol/L | 18.4633 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.035 | 73156.6616 | 285562.2934 | 28.7 | 67.6
238030 | 2022-05-10 15:15 | 25.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.3185 | μmol/L | 18.4694 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.04 | 73158.8981 | 285552.4546 | 28.7 | 67.6
238040 | 2022-05-10 15:16 | 26.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.2949 | μmol/L | 18.4816 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.037 | 73168.7159 | 285553.9169 | 28.7 | 67.6