## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
237258 | 2022-05-10 14:50 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.7141 | μmol/L | 17.8685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.337 | 116900.4023 | 259921.5434 | 36.4 | 83.1
237268 | 2022-05-10 14:50 | 0.33641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.3492 | μmol/L | 17.8869 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.347 | 116959.5613 | 259899.4647 | 36.4 | 83.1
237278 | 2022-05-10 14:50 | 0.66993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.814 | μmol/L | 17.8992 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.367 | 117099.8914 | 259879.2554 | 36.4 | 83.1
237288 | 2022-05-10 14:51 | 1.0029 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.1491 | μmol/L | 17.9114 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.393 | 117270.239 | 259846.3116 | 36.4 | 83.1
237298 | 2022-05-10 14:51 | 1.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.4426 | μmol/L | 17.9237 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.421 | 117431.8333 | 259822.9245 | 36.4 | 83.1
237308 | 2022-05-10 14:51 | 1.6695 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.9382 | μmol/L | 17.9298 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.442 | 117586.5012 | 259822.9007 | 36.4 | 83.1
237318 | 2022-05-10 14:52 | 2.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.3829 | μmol/L | 17.9481 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.461 | 117692.4254 | 259814.9489 | 36.4 | 83.1
237328 | 2022-05-10 14:52 | 2.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.1231 | μmol/L | 17.9481 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.473 | 117809.2516 | 259782.6411 | 36.4 | 83.1
237338 | 2022-05-10 14:52 | 2.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.5051 | μmol/L | 17.9665 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.495 | 117903.7366 | 259754.1736 | 36.4 | 83.1
237348 | 2022-05-10 14:53 | 3.003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.104 | μmol/L | 17.9849 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.507 | 118005.3191 | 259737.9915 | 36.4 | 83.1
237358 | 2022-05-10 14:53 | 3.3362 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.8199 | μmol/L | 17.991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.518 | 118083.8463 | 259729.9647 | 36.4 | 83.1
237368 | 2022-05-10 14:53 | 3.6696 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.5318 | μmol/L | 18.0033 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.527 | 118118.736 | 259714.4008 | 36.4 | 83.1
237378 | 2022-05-10 14:54 | 4.0031 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.3298 | μmol/L | 18.0155 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.532 | 118129.6082 | 259697.5965 | 36.4 | 83.1
237388 | 2022-05-10 14:54 | 4.3364 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.3595 | μmol/L | 18.0339 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.524 | 115769.7928 | 259676.5486 | 36.4 | 83.1
237398 | 2022-05-10 14:54 | 4.6695 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.441 | μmol/L | 18.04 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.518 | 115648.1569 | 259664.2654 | 36.4 | 83.1
237408 | 2022-05-10 14:55 | 5.003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.561 | μmol/L | 18.0522 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.508 | 115397.1924 | 259641.2687 | 36.4 | 83.1
237418 | 2022-05-10 14:55 | 5.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.6383 | μmol/L | 18.0645 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.5 | 115309.1269 | 259630.5378 | 36.4 | 83.1
237428 | 2022-05-10 14:55 | 5.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.8231 | μmol/L | 18.0767 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.487 | 115165.7636 | 259608.1817 | 36.4 | 83.1
237438 | 2022-05-10 14:56 | 6.0029 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.922 | μmol/L | 18.089 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.478 | 115103.4004 | 259605.019 | 36.4 | 83.1
237448 | 2022-05-10 14:56 | 6.3361 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.1546 | μmol/L | 18.0951 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.465 | 115058.0534 | 259592.3542 | 36.4 | 83.1
237458 | 2022-05-10 14:56 | 6.6696 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.34 | μmol/L | 18.1074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.452 | 115003.4434 | 259576.1808 | 36.4 | 83.1
237468 | 2022-05-10 14:57 | 7.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.4609 | μmol/L | 18.1196 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.442 | 114948.0083 | 259567.0203 | 36.4 | 83.1
237478 | 2022-05-10 14:57 | 7.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7116 | μmol/L | 18.1319 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.426 | 114892.3254 | 259551.1457 | 36.4 | 83.1
237488 | 2022-05-10 14:57 | 7.6697 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.8328 | μmol/L | 18.1441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.416 | 114858.0995 | 259539.5192 | 36.4 | 83.1
237498 | 2022-05-10 14:58 | 8.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9758 | μmol/L | 18.1563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.405 | 114839.3872 | 259532.1522 | 36.4 | 83.1
237508 | 2022-05-10 14:58 | 8.3364 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9889 | μmol/L | 18.1686 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.4 | 114844.4361 | 259513.5305 | 36.4 | 83.1
237518 | 2022-05-10 14:58 | 8.6697 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9155 | μmol/L | 18.1808 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.399 | 114843.3562 | 259499.226 | 36.4 | 83.1
237528 | 2022-05-10 14:59 | 9.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9979 | μmol/L | 18.187 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.393 | 114858.118 | 259493.7407 | 36.4 | 83.1
237538 | 2022-05-10 14:59 | 9.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9287 | μmol/L | 18.1931 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.394 | 114829.6349 | 259481.9441 | 36.4 | 83.1
237548 | 2022-05-10 14:59 | 9.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.9377 | μmol/L | 18.2115 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.387 | 114729.4613 | 259456.2152 | 36.4 | 83.1
237558 | 2022-05-10 15:00 | 10.003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.7778 | μmol/L | 18.2237 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.39 | 114735.069 | 259452.1332 | 36.4 | 83.1
237568 | 2022-05-10 15:00 | 10.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.687 | μmol/L | 18.2298 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.392 | 114738.7113 | 259428.2708 | 36.4 | 83.1
237578 | 2022-05-10 15:00 | 10.6697 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.484 | μmol/L | 18.2421 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.397 | 114764.0257 | 259411.6341 | 36.4 | 83.1
237588 | 2022-05-10 15:01 | 11.0031 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.4366 | μmol/L | 18.2482 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.397 | 114799.4645 | 259398.6233 | 36.4 | 83.1
237598 | 2022-05-10 15:01 | 11.3363 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.277 | μmol/L | 18.2604 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.4 | 114838.6862 | 259383.7446 | 36.4 | 83.1
237608 | 2022-05-10 15:01 | 11.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.1433 | μmol/L | 18.2666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.404 | 114887.5259 | 259364.0816 | 36.4 | 83.1
237618 | 2022-05-10 15:02 | 12.0031 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.8504 | μmol/L | 18.2849 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.411 | 114918.794 | 259352.8796 | 36.4 | 83.1
237628 | 2022-05-10 15:02 | 12.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.8032 | μmol/L | 18.2911 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.411 | 114929.8358 | 259341.0768 | 36.4 | 83.1
237638 | 2022-05-10 15:02 | 12.6697 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.6871 | μmol/L | 18.3033 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.412 | 114924.4938 | 259323.9062 | 36.4 | 83.1
237648 | 2022-05-10 15:03 | 13.0029 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.6225 | μmol/L | 18.3033 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.415 | 114945.8657 | 259304.2048 | 36.4 | 83.1
237658 | 2022-05-10 15:03 | 13.3364 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.3775 | μmol/L | 18.3156 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.422 | 114990.27 | 259285.4598 | 36.4 | 83.1
237668 | 2022-05-10 15:03 | 13.6696 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0897 | μmol/L | 18.3278 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.431 | 115023.2241 | 259265.1532 | 36.4 | 83.1
237678 | 2022-05-10 15:04 | 14.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0426 | μmol/L | 18.3339 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.431 | 115024.4485 | 259249.5935 | 36.4 | 83.1
237688 | 2022-05-10 15:04 | 14.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9526 | μmol/L | 18.3401 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.433 | 115024.4426 | 259232.2827 | 36.4 | 83.1
237698 | 2022-05-10 15:04 | 14.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9013 | μmol/L | 18.3523 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.431 | 114991.4417 | 259206.5758 | 36.4 | 83.1
237708 | 2022-05-10 15:05 | 15.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0045 | μmol/L | 18.3584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.424 | 114954.7379 | 259194.2782 | 36.4 | 83.1
237718 | 2022-05-10 15:05 | 15.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0607 | μmol/L | 18.3707 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.417 | 114916.785 | 259174.1037 | 36.4 | 83.1
237728 | 2022-05-10 15:05 | 15.6696 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.164 | μmol/L | 18.3768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.41 | 114881.2764 | 259155.7899 | 36.4 | 83.1
237738 | 2022-05-10 15:06 | 16.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9583 | μmol/L | 18.3952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.413 | 114846.3052 | 259136.143 | 36.4 | 83.1
237748 | 2022-05-10 15:06 | 16.3362 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.126 | μmol/L | 18.4013 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.403 | 114802.1409 | 259124.9721 | 36.4 | 83.1
237758 | 2022-05-10 15:06 | 16.6696 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0749 | μmol/L | 18.4135 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.401 | 114766.3111 | 259120.1223 | 36.4 | 83.1
237768 | 2022-05-10 15:07 | 17.0031 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1097 | μmol/L | 18.4258 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.395 | 114717.8916 | 259095.2127 | 36.4 | 83.1
237778 | 2022-05-10 15:07 | 17.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.2602 | μmol/L | 18.4258 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.388 | 114651.6046 | 259089.8217 | 36.4 | 83.1
237788 | 2022-05-10 15:07 | 17.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.3637 | μmol/L | 18.4319 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.381 | 114587.0438 | 259080.583 | 36.4 | 83.1
237798 | 2022-05-10 15:08 | 18.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.4202 | μmol/L | 18.4442 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.374 | 114513.2774 | 259055.9177 | 36.4 | 83.1
237808 | 2022-05-10 15:08 | 18.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.575 | μmol/L | 18.438 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.369 | 114474.814 | 259050.9367 | 36.4 | 83.1
237818 | 2022-05-10 15:08 | 18.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.5628 | μmol/L | 18.4564 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.363 | 114436.8285 | 259031.9248 | 36.4 | 83.1
237828 | 2022-05-10 15:09 | 19.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.5978 | μmol/L | 18.4687 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.357 | 114408.9911 | 259024.7679 | 36.4 | 83.1
237838 | 2022-05-10 15:09 | 19.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.5036 | μmol/L | 18.4809 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.357 | 114406.4133 | 259011.2035 | 36.4 | 83.1
237848 | 2022-05-10 15:09 | 19.6696 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.5467 | μmol/L | 18.4809 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.355 | 114370.4462 | 258993.4318 | 36.4 | 83.1
237858 | 2022-05-10 15:10 | 20.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.6545 | μmol/L | 18.4809 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.35 | 114326.7342 | 258980.6395 | 36.4 | 83.1
237868 | 2022-05-10 15:10 | 20.3364 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.5561 | μmol/L | 18.4993 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.348 | 114296.9348 | 258966.6036 | 36.4 | 83.1
237878 | 2022-05-10 15:10 | 20.6698 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.5521 | μmol/L | 18.5054 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.346 | 114290.7871 | 258964.3346 | 36.4 | 83.1
237888 | 2022-05-10 15:11 | 21.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.4284 | μmol/L | 18.5299 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.343 | 114275.537 | 258944.6864 | 36.4 | 83.1
237898 | 2022-05-10 15:11 | 21.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.493 | μmol/L | 18.5299 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.34 | 114260.5728 | 258934.6751 | 36.4 | 83.1
237908 | 2022-05-10 15:11 | 21.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.5146 | μmol/L | 18.5299 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.339 | 114249.0974 | 258928.3713 | 36.4 | 83.1
237918 | 2022-05-10 15:12 | 22.0031 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.4419 | μmol/L | 18.5422 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.338 | 114224.1886 | 258914.547 | 36.4 | 83.1
237928 | 2022-05-10 15:12 | 22.3361 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.2792 | μmol/L | 18.5605 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.339 | 114184.398 | 258903.4442 | 36.4 | 83.1
237938 | 2022-05-10 15:12 | 22.6696 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.3438 | μmol/L | 18.5605 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.336 | 114181.3835 | 258898.8893 | 36.4 | 83.1
237948 | 2022-05-10 15:13 | 23.003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.3574 | μmol/L | 18.5728 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.331 | 114165.4064 | 258889.6482 | 36.4 | 83.1
237958 | 2022-05-10 15:13 | 23.3362 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.3358 | μmol/L | 18.5728 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.332 | 114144.2904 | 258865.0476 | 36.4 | 83.1
237968 | 2022-05-10 15:13 | 23.6698 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.3103 | μmol/L | 18.5789 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.331 | 114156.1551 | 258857.9279 | 36.4 | 83.1
237978 | 2022-05-10 15:14 | 24.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.1947 | μmol/L | 18.5911 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.332 | 114126.3951 | 258854.822 | 36.4 | 83.1
237988 | 2022-05-10 15:14 | 24.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.0186 | μmol/L | 18.5973 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.338 | 114134.4728 | 258838.4573 | 36.4 | 83.1
237998 | 2022-05-10 15:14 | 24.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8561 | μmol/L | 18.6156 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.339 | 114119.2946 | 258847.7715 | 36.4 | 83.1
238008 | 2022-05-10 15:15 | 25.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8992 | μmol/L | 18.6156 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.337 | 114091.3554 | 258835.2951 | 36.4 | 83.1
238018 | 2022-05-10 15:15 | 25.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.9343 | μmol/L | 18.6279 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.331 | 114070.1701 | 258826.1568 | 36.4 | 83.1
238028 | 2022-05-10 15:15 | 25.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8913 | μmol/L | 18.6279 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.333 | 114054.8095 | 258820.2119 | 36.4 | 83.1
238038 | 2022-05-10 15:16 | 26.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 252.8189 | μmol/L | 18.6401 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.332 | 114040.1213 | 258802.9139 | 36.4 | 83.1