## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
237256 | 2022-05-10 14:50 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.1185 | μmol/L | 17.732 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.988 | 122612.0673 | 283446.7665 | 59.9307 | 49.4
237266 | 2022-05-10 14:50 | 0.33149 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.9775 | μmol/L | 17.7382 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.993 | 122624.6492 | 283438.7145 | 59.9307 | 49.4
237276 | 2022-05-10 14:50 | 0.66499 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.8137 | μmol/L | 17.7505 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.997 | 122627.6572 | 283401.9668 | 59.9307 | 49.4
237286 | 2022-05-10 14:51 | 0.99798 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.5715 | μmol/L | 17.7629 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.005 | 122637.4734 | 283383.0969 | 59.9307 | 49.4
237296 | 2022-05-10 14:51 | 1.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4701 | μmol/L | 17.769 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.008 | 122644.7286 | 283358.1025 | 59.9307 | 49.4
237306 | 2022-05-10 14:51 | 1.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2252 | μmol/L | 17.7876 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.014 | 122666.3223 | 283340.9081 | 59.9307 | 49.4
237316 | 2022-05-10 14:52 | 1.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1436 | μmol/L | 17.7937 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.016 | 122674.9997 | 283315.267 | 59.9307 | 49.4
237326 | 2022-05-10 14:52 | 2.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.9414 | μmol/L | 17.8061 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.022 | 122695.085 | 283286.3014 | 59.9307 | 49.4
237336 | 2022-05-10 14:52 | 2.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.762 | μmol/L | 17.8122 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.029 | 122710.0362 | 283265.4482 | 59.9307 | 49.4
237346 | 2022-05-10 14:53 | 2.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.5992 | μmol/L | 17.8246 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.033 | 122717.7537 | 283264.726 | 59.9307 | 49.4
237356 | 2022-05-10 14:53 | 3.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.5343 | μmol/L | 17.8369 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.032 | 122724.794 | 283244.5865 | 59.9307 | 49.4
237366 | 2022-05-10 14:53 | 3.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.3522 | μmol/L | 17.8492 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.037 | 122728.9373 | 283229.218 | 59.9307 | 49.4
237376 | 2022-05-10 14:54 | 3.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.1898 | μmol/L | 17.8616 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.041 | 122717.4885 | 283225.4394 | 59.9307 | 49.4
237386 | 2022-05-10 14:54 | 4.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.1086 | μmol/L | 17.8678 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.043 | 122712.2267 | 283207.5609 | 59.9307 | 49.4
237396 | 2022-05-10 14:54 | 4.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.0049 | μmol/L | 17.8801 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.044 | 122721.3431 | 283204.3566 | 59.9307 | 49.4
237406 | 2022-05-10 14:55 | 4.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.9433 | μmol/L | 17.8863 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.045 | 122729.1193 | 283191.9105 | 59.9307 | 49.4
237416 | 2022-05-10 14:55 | 5.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.8818 | μmol/L | 17.8924 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.046 | 122726.6646 | 283193.198 | 59.9307 | 49.4
237426 | 2022-05-10 14:55 | 5.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7167 | μmol/L | 17.9109 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.048 | 122727.1066 | 283178.6815 | 59.9307 | 49.4
237436 | 2022-05-10 14:56 | 5.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6521 | μmol/L | 17.9233 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.047 | 122718.675 | 283159.8192 | 59.9307 | 49.4
237446 | 2022-05-10 14:56 | 6.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5322 | μmol/L | 17.9294 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.051 | 122719.7517 | 283127.1051 | 59.9307 | 49.4
237456 | 2022-05-10 14:56 | 6.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.4483 | μmol/L | 17.9418 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.051 | 122716.6916 | 283100.7709 | 59.9307 | 49.4
237466 | 2022-05-10 14:57 | 6.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.3255 | μmol/L | 17.9541 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.053 | 122717.8479 | 283101.4383 | 59.9307 | 49.4
237476 | 2022-05-10 14:57 | 7.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.2222 | μmol/L | 17.9665 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.054 | 122730.7718 | 283120.561 | 59.9307 | 49.4
237486 | 2022-05-10 14:57 | 7.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1997 | μmol/L | 17.9726 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.053 | 122723.1974 | 283083.9814 | 59.9307 | 49.4
237496 | 2022-05-10 14:58 | 7.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1742 | μmol/L | 17.985 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.05 | 122720.5054 | 283084.1519 | 59.9307 | 49.4
237506 | 2022-05-10 14:58 | 8.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8932 | μmol/L | 18.0035 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.058 | 122725.4524 | 283092.3278 | 59.9307 | 49.4
237516 | 2022-05-10 14:58 | 8.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.9933 | μmol/L | 17.9973 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.055 | 122709.4889 | 283061.9109 | 59.9307 | 49.4
237526 | 2022-05-10 14:59 | 8.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.826 | μmol/L | 18.022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.055 | 122700.2172 | 283048.0431 | 59.9307 | 49.4
237536 | 2022-05-10 14:59 | 9.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8199 | μmol/L | 18.0343 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.051 | 122694.0673 | 283050.448 | 59.9307 | 49.4
237546 | 2022-05-10 14:59 | 9.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.7587 | μmol/L | 18.0405 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.052 | 122687.195 | 283044.7858 | 59.9307 | 49.4
237556 | 2022-05-10 15:00 | 9.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.7006 | μmol/L | 18.0405 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.055 | 122694.8457 | 283013.49 | 59.9307 | 49.4
237566 | 2022-05-10 15:00 | 10.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.617 | μmol/L | 18.0528 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.055 | 122691.6852 | 283004.5886 | 59.9307 | 49.4
237576 | 2022-05-10 15:00 | 10.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.4366 | μmol/L | 18.0652 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.06 | 122701.8474 | 282993.6853 | 59.9307 | 49.4
237586 | 2022-05-10 15:01 | 10.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.3532 | μmol/L | 18.0775 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.06 | 122697.4872 | 282966.6354 | 59.9307 | 49.4
237596 | 2022-05-10 15:01 | 11.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.3145 | μmol/L | 18.0775 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.062 | 122692.7182 | 282952.6516 | 59.9307 | 49.4
237606 | 2022-05-10 15:01 | 11.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.17 | μmol/L | 18.096 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.063 | 122688.9946 | 282956.1788 | 59.9307 | 49.4
237616 | 2022-05-10 15:02 | 11.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.17 | μmol/L | 18.096 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.063 | 122693.3336 | 282917.2433 | 59.9307 | 49.4
237626 | 2022-05-10 15:02 | 12.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.0317 | μmol/L | 18.1022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.068 | 122687.6385 | 282908.939 | 59.9307 | 49.4
237636 | 2022-05-10 15:02 | 12.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.8325 | μmol/L | 18.1145 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.074 | 122693.867 | 282888.2568 | 59.9307 | 49.4
237646 | 2022-05-10 15:03 | 12.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.733 | μmol/L | 18.1207 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.077 | 122704.3058 | 282863.7385 | 59.9307 | 49.4
237656 | 2022-05-10 15:03 | 13.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.6692 | μmol/L | 18.133 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.076 | 122709.0318 | 282854.4575 | 59.9307 | 49.4
237666 | 2022-05-10 15:03 | 13.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.5504 | μmol/L | 18.1392 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.08 | 122699.6536 | 282834.031 | 59.9307 | 49.4
237676 | 2022-05-10 15:04 | 13.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.5445 | μmol/L | 18.1515 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.076 | 122701.3725 | 282821.7707 | 59.9307 | 49.4
237686 | 2022-05-10 15:04 | 14.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.4867 | μmol/L | 18.1515 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.079 | 122699.3191 | 282804.9782 | 59.9307 | 49.4
237696 | 2022-05-10 15:04 | 14.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.3236 | μmol/L | 18.1701 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.081 | 122688.2957 | 282782.0784 | 59.9307 | 49.4
237706 | 2022-05-10 15:05 | 14.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1829 | μmol/L | 18.1824 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.084 | 122686.0035 | 282776.0018 | 59.9307 | 49.4
237716 | 2022-05-10 15:05 | 15.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1607 | μmol/L | 18.1886 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.083 | 122677.5293 | 282760.9598 | 59.9307 | 49.4
237726 | 2022-05-10 15:05 | 15.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1385 | μmol/L | 18.1947 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.082 | 122664.8273 | 282742.93 | 59.9307 | 49.4
237736 | 2022-05-10 15:06 | 15.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.0008 | μmol/L | 18.2009 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.087 | 122667.8703 | 282731.7987 | 59.9307 | 49.4
237746 | 2022-05-10 15:06 | 16.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.8574 | μmol/L | 18.2194 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.088 | 122659.0706 | 282720.0822 | 59.9307 | 49.4
237756 | 2022-05-10 15:06 | 16.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.8988 | μmol/L | 18.2132 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.088 | 122661.6688 | 282715.0015 | 59.9307 | 49.4
237766 | 2022-05-10 15:07 | 16.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.7776 | μmol/L | 18.2256 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.09 | 122647.8291 | 282671.9288 | 59.9307 | 49.4
237776 | 2022-05-10 15:07 | 17.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.8131 | μmol/L | 18.2318 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.086 | 122633.7244 | 282694.3876 | 59.9307 | 49.4
237786 | 2022-05-10 15:07 | 17.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.6344 | μmol/L | 18.2441 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.091 | 122621.393 | 282683.9532 | 59.9307 | 49.4
237796 | 2022-05-10 15:08 | 17.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.6728 | μmol/L | 18.2441 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.089 | 122616.6576 | 282648.0999 | 59.9307 | 49.4
237806 | 2022-05-10 15:08 | 18.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.6699 | μmol/L | 18.2503 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.087 | 122595.8389 | 282623.6641 | 59.9307 | 49.4
237816 | 2022-05-10 15:08 | 18.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.4883 | μmol/L | 18.2688 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.09 | 122594.6034 | 282631.4983 | 59.9307 | 49.4
237826 | 2022-05-10 15:09 | 18.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.5075 | μmol/L | 18.2688 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.089 | 122581.1876 | 282621.4421 | 59.9307 | 49.4
237836 | 2022-05-10 15:09 | 19.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.4278 | μmol/L | 18.2749 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.091 | 122578.6575 | 282631.672 | 59.9307 | 49.4
237846 | 2022-05-10 15:09 | 19.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.3453 | μmol/L | 18.2873 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.091 | 122585.2705 | 282621.0331 | 59.9307 | 49.4
237856 | 2022-05-10 15:10 | 19.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.2628 | μmol/L | 18.2996 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.091 | 122567.8297 | 282618.0836 | 59.9307 | 49.4
237866 | 2022-05-10 15:10 | 20.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.2244 | μmol/L | 18.2996 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.093 | 122565.4601 | 282586.7775 | 59.9307 | 49.4
237876 | 2022-05-10 15:10 | 20.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.1228 | μmol/L | 18.312 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.094 | 122569.04 | 282595.3555 | 59.9307 | 49.4
237886 | 2022-05-10 15:11 | 20.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.1037 | μmol/L | 18.312 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.095 | 122565.8462 | 282581.7894 | 59.9307 | 49.4
237896 | 2022-05-10 15:11 | 21.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.9284 | μmol/L | 18.3181 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.102 | 122570.3751 | 282564.0382 | 59.9307 | 49.4
237906 | 2022-05-10 15:11 | 21.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.9198 | μmol/L | 18.3366 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.096 | 122575.8158 | 282551.5311 | 59.9307 | 49.4
237916 | 2022-05-10 15:12 | 21.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.7447 | μmol/L | 18.3428 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.103 | 122586.3415 | 282549.8497 | 59.9307 | 49.4
237926 | 2022-05-10 15:12 | 22.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.7227 | μmol/L | 18.349 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.102 | 122591.0814 | 282550.9474 | 59.9307 | 49.4
237936 | 2022-05-10 15:12 | 22.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.5449 | μmol/L | 18.3613 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.107 | 122595.6773 | 282542.2842 | 59.9307 | 49.4
237946 | 2022-05-10 15:13 | 22.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.4465 | μmol/L | 18.3675 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.11 | 122600.4468 | 282521.4604 | 59.9307 | 49.4
237956 | 2022-05-10 15:13 | 23.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3701 | μmol/L | 18.3675 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.114 | 122623.1292 | 282526.5486 | 59.9307 | 49.4
237966 | 2022-05-10 15:13 | 23.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3892 | μmol/L | 18.3675 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.113 | 122625.6753 | 282511.7452 | 59.9307 | 49.4
237976 | 2022-05-10 15:14 | 23.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.1326 | μmol/L | 18.386 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.12 | 122628.6942 | 282502.6702 | 59.9307 | 49.4
237986 | 2022-05-10 15:14 | 24.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.1707 | μmol/L | 18.386 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.118 | 122633.6561 | 282486.7442 | 59.9307 | 49.4
237996 | 2022-05-10 15:14 | 24.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.0344 | μmol/L | 18.3922 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.123 | 122646.4489 | 282496.1392 | 59.9307 | 49.4
238006 | 2022-05-10 15:15 | 24.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.8953 | μmol/L | 18.4045 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.126 | 122655.6268 | 282478.6811 | 59.9307 | 49.4
238016 | 2022-05-10 15:15 | 25.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.9143 | μmol/L | 18.4045 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.125 | 122673.5337 | 282479.5751 | 59.9307 | 49.4
238026 | 2022-05-10 15:15 | 25.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.8134 | μmol/L | 18.4169 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.126 | 122660.3127 | 282458.1127 | 59.9307 | 49.4
238036 | 2022-05-10 15:16 | 25.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.7182 | μmol/L | 18.4169 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.131 | 122669.9494 | 282463.368 | 59.9307 | 49.4
238046 | 2022-05-10 15:16 | 26.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.6174 | μmol/L | 18.4292 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.132 | 122680.4563 | 282440.1563 | 59.9307 | 49.4