## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 14:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
236442 | 2022-05-10 14:02 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.7566 | μmol/L | 18.2815 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.249 | 103777.9834 | 264308.904 | 32.55 | 27.7
236452 | 2022-05-10 14:02 | 0.33819 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 223.1158 | μmol/L | 18.2876 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.281 | 103926.7681 | 264269.9798 | 32.55 | 27.7
236462 | 2022-05-10 14:03 | 0.67132 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.7387 | μmol/L | 18.2937 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.299 | 103983.0051 | 264209.1004 | 32.55 | 27.7
236472 | 2022-05-10 14:03 | 1.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.1261 | μmol/L | 18.3243 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.321 | 104081.9359 | 264147.6548 | 32.55 | 27.7
236482 | 2022-05-10 14:03 | 1.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.8097 | μmol/L | 18.3243 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.338 | 104115.0656 | 264120.7171 | 32.55 | 27.7
236492 | 2022-05-10 14:04 | 1.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.3515 | μmol/L | 18.3488 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.354 | 104146.652 | 264072.9995 | 32.55 | 27.7
236502 | 2022-05-10 14:04 | 2.0048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.0704 | μmol/L | 18.3549 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.367 | 104186.7072 | 264025.9559 | 32.55 | 27.7
236512 | 2022-05-10 14:04 | 2.338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.3185 | μmol/L | 18.3793 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.399 | 104326.7121 | 263989.5042 | 32.55 | 27.7
236522 | 2022-05-10 14:05 | 2.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.8275 | μmol/L | 18.3671 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.43 | 104469.3102 | 263942.4623 | 32.55 | 27.7
236532 | 2022-05-10 14:05 | 3.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0105 | μmol/L | 18.3855 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.468 | 104619.9287 | 263889.8646 | 32.55 | 27.7
236542 | 2022-05-10 14:05 | 3.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.2851 | μmol/L | 18.4099 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.499 | 104745.6294 | 263863.6408 | 32.55 | 27.7
236552 | 2022-05-10 14:06 | 3.6714 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8233 | μmol/L | 18.4221 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.52 | 104805.593 | 263824.2329 | 32.55 | 27.7
236562 | 2022-05-10 14:06 | 4.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4566 | μmol/L | 18.4283 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.538 | 104885.1316 | 263786.181 | 32.55 | 27.7
236572 | 2022-05-10 14:06 | 4.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.852 | μmol/L | 18.4405 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.567 | 104951.1314 | 263737.8738 | 32.55 | 27.7
236582 | 2022-05-10 14:07 | 4.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.4086 | μmol/L | 18.4588 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.585 | 104990.1525 | 263703.2224 | 32.55 | 27.7
236592 | 2022-05-10 14:07 | 5.0048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.1889 | μmol/L | 18.465 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.595 | 105016.2057 | 263659.217 | 32.55 | 27.7
236602 | 2022-05-10 14:07 | 5.3379 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9843 | μmol/L | 18.4772 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.602 | 104983.3569 | 263639.467 | 32.55 | 27.7
236612 | 2022-05-10 14:08 | 5.6715 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.8519 | μmol/L | 18.4894 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.605 | 104980.5607 | 263593.0563 | 32.55 | 27.7
236622 | 2022-05-10 14:08 | 6.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.6688 | μmol/L | 18.4955 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.613 | 104986.7789 | 263543.1675 | 32.55 | 27.7
236632 | 2022-05-10 14:08 | 6.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7439 | μmol/L | 18.4894 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.611 | 104969.4063 | 263511.3418 | 32.55 | 27.7
236642 | 2022-05-10 14:09 | 6.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5937 | μmol/L | 18.5016 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.615 | 104933.2184 | 263459.8628 | 32.55 | 27.7
236652 | 2022-05-10 14:09 | 7.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.4584 | μmol/L | 18.52 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.616 | 104942.9676 | 263426.3338 | 32.55 | 27.7
236662 | 2022-05-10 14:09 | 7.3379 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1469 | μmol/L | 18.5322 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.629 | 104988.0179 | 263383.0533 | 32.55 | 27.7
236672 | 2022-05-10 14:10 | 7.6713 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7496 | μmol/L | 18.5383 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.649 | 105037.7008 | 263341.4801 | 32.55 | 27.7
236682 | 2022-05-10 14:10 | 8.0047 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4572 | μmol/L | 18.5506 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.661 | 105090.9665 | 263296.7789 | 32.55 | 27.7
236692 | 2022-05-10 14:10 | 8.3381 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.2187 | μmol/L | 18.5628 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.67 | 105102.2883 | 263279.2471 | 32.55 | 27.7
236702 | 2022-05-10 14:11 | 8.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0907 | μmol/L | 18.5689 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.675 | 105099.726 | 263224.5165 | 32.55 | 27.7
236712 | 2022-05-10 14:11 | 9.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.8883 | μmol/L | 18.5811 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.682 | 105121.4122 | 263200.9939 | 32.55 | 27.7
236722 | 2022-05-10 14:11 | 9.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.8171 | μmol/L | 18.5811 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.686 | 105120.2051 | 263158.6525 | 32.55 | 27.7
236732 | 2022-05-10 14:12 | 9.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5584 | μmol/L | 18.5995 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.694 | 105104.0922 | 263134.57 | 32.55 | 27.7
236742 | 2022-05-10 14:12 | 10.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2501 | μmol/L | 18.6117 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.707 | 105115.4034 | 263112.1486 | 32.55 | 27.7
236752 | 2022-05-10 14:12 | 10.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.105 | μmol/L | 18.6178 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.713 | 105133.391 | 263072.8924 | 32.55 | 27.7
236762 | 2022-05-10 14:13 | 10.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.96 | μmol/L | 18.6239 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.719 | 105146.8054 | 263038.3273 | 32.55 | 27.7
236772 | 2022-05-10 14:13 | 11.0046 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8714 | μmol/L | 18.6239 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.724 | 105146.9323 | 263002.0063 | 32.55 | 27.7
236782 | 2022-05-10 14:13 | 11.3379 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6317 | μmol/L | 18.6423 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.731 | 105140.3717 | 262973.0615 | 32.55 | 27.7
236792 | 2022-05-10 14:14 | 11.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.5787 | μmol/L | 18.6423 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.734 | 105135.2365 | 262944.5991 | 32.55 | 27.7
236802 | 2022-05-10 14:14 | 12.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.5225 | μmol/L | 18.6484 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.735 | 105134.5675 | 262917.1972 | 32.55 | 27.7
236812 | 2022-05-10 14:14 | 12.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4454 | μmol/L | 18.6606 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.735 | 105093.0227 | 262895.5493 | 32.55 | 27.7
236822 | 2022-05-10 14:15 | 12.6713 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4568 | μmol/L | 18.6729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.73 | 105047.1749 | 262853.0338 | 32.55 | 27.7
236832 | 2022-05-10 14:15 | 13.0047 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.3123 | μmol/L | 18.679 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.736 | 105012.2919 | 262826.8661 | 32.55 | 27.7
236842 | 2022-05-10 14:15 | 13.338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.3445 | μmol/L | 18.6851 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.732 | 104961.634 | 262809.3558 | 32.55 | 27.7
236852 | 2022-05-10 14:16 | 13.6714 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.3237 | μmol/L | 18.6912 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.731 | 104932.7729 | 262776.5085 | 32.55 | 27.7
236862 | 2022-05-10 14:16 | 14.0048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.9644 | μmol/L | 18.7034 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.747 | 104980.3616 | 262738.1173 | 32.55 | 27.7
236872 | 2022-05-10 14:16 | 14.338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.5593 | μmol/L | 18.7034 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.77 | 105078.3515 | 262723.1298 | 32.55 | 27.7
236882 | 2022-05-10 14:17 | 14.6714 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.3069 | μmol/L | 18.7157 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.78 | 105115.0475 | 262699.1714 | 32.55 | 27.7
236892 | 2022-05-10 14:17 | 15.0048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.1075 | μmol/L | 18.7279 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.787 | 105127.6663 | 262664.5936 | 32.55 | 27.7
236902 | 2022-05-10 14:17 | 15.3382 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.929 | μmol/L | 18.734 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.795 | 105144.235 | 262654.1385 | 32.55 | 27.7
236912 | 2022-05-10 14:18 | 15.6712 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.7125 | μmol/L | 18.7462 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.803 | 105146.5534 | 262625.0639 | 32.55 | 27.7
236922 | 2022-05-10 14:18 | 16.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.5137 | μmol/L | 18.7585 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.81 | 105153.3395 | 262601.443 | 32.55 | 27.7
236932 | 2022-05-10 14:18 | 16.3381 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.2976 | μmol/L | 18.7707 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.818 | 105178.2319 | 262575.5484 | 32.55 | 27.7
236942 | 2022-05-10 14:19 | 16.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.1722 | μmol/L | 18.7768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.823 | 105194.3826 | 262555.4255 | 32.55 | 27.7
236952 | 2022-05-10 14:19 | 17.0046 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.1024 | μmol/L | 18.7768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.827 | 105187.2725 | 262529.7244 | 32.55 | 27.7
236962 | 2022-05-10 14:19 | 17.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.9423 | μmol/L | 18.7829 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.834 | 105192.6311 | 262494.3344 | 32.55 | 27.7
236972 | 2022-05-10 14:20 | 17.6713 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.9217 | μmol/L | 18.7891 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.833 | 105173.5154 | 262473.7605 | 32.55 | 27.7
236982 | 2022-05-10 14:20 | 18.0048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.8631 | μmol/L | 18.8013 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.832 | 105146.6613 | 262438.7692 | 32.55 | 27.7
236992 | 2022-05-10 14:20 | 18.3382 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.7001 | μmol/L | 18.8135 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.837 | 105148.2712 | 262416.8148 | 32.55 | 27.7
237002 | 2022-05-10 14:21 | 18.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.6684 | μmol/L | 18.8074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.841 | 105163.2243 | 262398.0522 | 32.55 | 27.7
237012 | 2022-05-10 14:21 | 19.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.5465 | μmol/L | 18.8074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.848 | 105171.9756 | 262376.0174 | 32.55 | 27.7
237022 | 2022-05-10 14:21 | 19.3382 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.3285 | μmol/L | 18.8257 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.854 | 105190.0305 | 262360.079 | 32.55 | 27.7
237032 | 2022-05-10 14:22 | 19.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.0822 | μmol/L | 18.8319 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.866 | 105211.452 | 262327.1818 | 32.55 | 27.7
237042 | 2022-05-10 14:22 | 20.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.9371 | μmol/L | 18.8441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.87 | 105219.3484 | 262307.2461 | 32.55 | 27.7
237052 | 2022-05-10 14:22 | 20.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.0506 | μmol/L | 18.8257 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.87 | 105222.7595 | 262289.6787 | 32.55 | 27.7
237062 | 2022-05-10 14:23 | 20.6713 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.0191 | μmol/L | 18.8196 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.874 | 105217.9823 | 262286.3003 | 32.55 | 27.7
237072 | 2022-05-10 14:23 | 21.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.9119 | μmol/L | 18.8257 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.878 | 105201.3371 | 262258.641 | 32.55 | 27.7
237082 | 2022-05-10 14:23 | 21.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.6772 | μmol/L | 18.8441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.885 | 105213.8454 | 262224.1803 | 32.55 | 27.7
237092 | 2022-05-10 14:24 | 21.6715 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.3737 | μmol/L | 18.8624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.896 | 105259.2531 | 262193.2884 | 32.55 | 27.7
237102 | 2022-05-10 14:24 | 22.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.2119 | μmol/L | 18.8747 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.901 | 105257.1029 | 262171.2402 | 32.55 | 27.7
237112 | 2022-05-10 14:24 | 22.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.1366 | μmol/L | 18.8869 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.901 | 105237.0253 | 262157.6825 | 32.55 | 27.7
237122 | 2022-05-10 14:25 | 22.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.1853 | μmol/L | 18.893 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.896 | 105210.758 | 262147.2391 | 32.55 | 27.7
237132 | 2022-05-10 14:25 | 23.005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.1445 | μmol/L | 18.9052 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.894 | 105192.0895 | 262114.7408 | 32.55 | 27.7
237142 | 2022-05-10 14:25 | 23.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.1304 | μmol/L | 18.8991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.897 | 105177.8905 | 262097.7118 | 32.55 | 27.7
237152 | 2022-05-10 14:26 | 23.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.0033 | μmol/L | 18.9114 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.9 | 105164.6475 | 262078.2333 | 32.55 | 27.7
237162 | 2022-05-10 14:26 | 24.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.8763 | μmol/L | 18.9236 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.903 | 105156.0859 | 262065.5042 | 32.55 | 27.7
237172 | 2022-05-10 14:26 | 24.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.6774 | μmol/L | 18.9419 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.908 | 105165.4767 | 262033.9428 | 32.55 | 27.7
237182 | 2022-05-10 14:27 | 24.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.4537 | μmol/L | 18.9419 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.921 | 105223.2673 | 262025.9487 | 32.55 | 27.7
237192 | 2022-05-10 14:27 | 25.0046 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.2442 | μmol/L | 18.9481 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.931 | 105284.539 | 262000.513 | 32.55 | 27.7
237202 | 2022-05-10 14:27 | 25.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.0039 | μmol/L | 18.9481 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.945 | 105341.224 | 261963.506 | 32.55 | 27.7
237212 | 2022-05-10 14:28 | 25.6713 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.7638 | μmol/L | 18.9481 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.959 | 105373.709 | 261942.4577 | 32.55 | 27.7
237222 | 2022-05-10 14:28 | 26.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.5241 | μmol/L | 18.9481 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.973 | 105421.0271 | 261916.5199 | 32.55 | 27.7
237232 | 2022-05-10 14:28 | 26.338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.0875 | μmol/L | 18.9664 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.992 | 105480.92 | 261902.9802 | 32.55 | 27.7
237242 | 2022-05-10 14:29 | 26.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.0332 | μmol/L | 18.9725 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.993 | 105483.8213 | 261883.8237 | 32.55 | 27.7
237252 | 2022-05-10 14:29 | 27.0047 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.9959 | μmol/L | 18.9786 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.993 | 105467.2118 | 261866.2291 | 32.55 | 27.7