## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 16:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238050 | 2022-05-10 15:41 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.3362 | μmol/L | 17.9216 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.139 | 82167.1495 | 208811.9339 | 27.3 | 43.4
238060 | 2022-05-10 15:41 | 0.34085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.9079 | μmol/L | 17.9338 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.154 | 82192.0295 | 208806.3814 | 27.3 | 43.4
238070 | 2022-05-10 15:41 | 0.67385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.5207 | μmol/L | 17.9521 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.165 | 82222.3776 | 208813.9524 | 27.3 | 43.4
238080 | 2022-05-10 15:42 | 1.0078 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.208 | μmol/L | 17.9583 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.177 | 82259.3294 | 208801.9356 | 27.3 | 43.4
238090 | 2022-05-10 15:42 | 1.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.8958 | μmol/L | 17.9644 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.189 | 82290.1432 | 208800.607 | 27.3 | 43.4
238100 | 2022-05-10 15:42 | 1.6743 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4883 | μmol/L | 17.9827 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.201 | 82320.2826 | 208801.9275 | 27.3 | 43.4
238110 | 2022-05-10 15:43 | 2.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.3965 | μmol/L | 17.9888 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.203 | 82342.1945 | 208799.547 | 27.3 | 43.4
238120 | 2022-05-10 15:43 | 2.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.0596 | μmol/L | 18.001 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.214 | 82361.3153 | 208796.2158 | 27.3 | 43.4
238130 | 2022-05-10 15:43 | 2.6738 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.9461 | μmol/L | 18.0071 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.217 | 82373.1972 | 208786.1745 | 27.3 | 43.4
238140 | 2022-05-10 15:44 | 3.0077 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.6756 | μmol/L | 18.0193 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.225 | 82381.3309 | 208777.6726 | 27.3 | 43.4
238150 | 2022-05-10 15:44 | 3.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.5404 | μmol/L | 18.0254 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.229 | 82386.1478 | 208775.2628 | 27.3 | 43.4
238160 | 2022-05-10 15:44 | 3.6743 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.2921 | μmol/L | 18.0377 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.236 | 82393.7105 | 208762.6121 | 27.3 | 43.4
238170 | 2022-05-10 15:45 | 4.0075 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.1315 | μmol/L | 18.0499 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.239 | 82412.808 | 208762.4864 | 27.3 | 43.4
238180 | 2022-05-10 15:45 | 4.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.9094 | μmol/L | 18.056 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.247 | 82428.6616 | 208747.0108 | 27.3 | 43.4
238190 | 2022-05-10 15:45 | 4.6743 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.8658 | μmol/L | 18.056 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.249 | 82445.7625 | 208750.688 | 27.3 | 43.4
238200 | 2022-05-10 15:46 | 5.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5055 | μmol/L | 18.0743 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.259 | 82452.6864 | 208742.0974 | 27.3 | 43.4
238210 | 2022-05-10 15:46 | 5.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.3493 | μmol/L | 18.0804 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.264 | 82469.2718 | 208750.0333 | 27.3 | 43.4
238220 | 2022-05-10 15:46 | 5.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.1893 | μmol/L | 18.0926 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.267 | 82489.509 | 208743.7965 | 27.3 | 43.4
238230 | 2022-05-10 15:47 | 6.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.9898 | μmol/L | 18.0987 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.274 | 82522.4273 | 208745.9979 | 27.3 | 43.4
238240 | 2022-05-10 15:47 | 6.3407 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.6348 | μmol/L | 18.111 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.286 | 82546.4236 | 208746.7594 | 27.3 | 43.4
238250 | 2022-05-10 15:47 | 6.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.4831 | μmol/L | 18.111 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.293 | 82552.7535 | 208732.6876 | 27.3 | 43.4
238260 | 2022-05-10 15:48 | 7.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.3709 | μmol/L | 18.1171 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.296 | 82568.9944 | 208730.3268 | 27.3 | 43.4
238270 | 2022-05-10 15:48 | 7.3409 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.1034 | μmol/L | 18.1293 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.304 | 82575.8904 | 208730.2455 | 27.3 | 43.4
238280 | 2022-05-10 15:48 | 7.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.0385 | μmol/L | 18.1293 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.307 | 82592.3355 | 208729.1668 | 27.3 | 43.4
238290 | 2022-05-10 15:49 | 8.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.7714 | μmol/L | 18.1415 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.315 | 82615.0808 | 208717.1919 | 27.3 | 43.4
238300 | 2022-05-10 15:49 | 8.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.7067 | μmol/L | 18.1415 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.318 | 82637.3046 | 208721.4824 | 27.3 | 43.4
238310 | 2022-05-10 15:49 | 8.6743 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.2636 | μmol/L | 18.1598 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.332 | 82669.087 | 208712.1065 | 27.3 | 43.4
238320 | 2022-05-10 15:50 | 9.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.1129 | μmol/L | 18.1598 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.339 | 82707.4986 | 208712.9129 | 27.3 | 43.4
238330 | 2022-05-10 15:50 | 9.3409 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.8254 | μmol/L | 18.172 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.348 | 82736.3031 | 208706.8836 | 27.3 | 43.4
238340 | 2022-05-10 15:50 | 9.6738 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.5168 | μmol/L | 18.1843 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.358 | 82759.2225 | 208710.5522 | 27.3 | 43.4
238350 | 2022-05-10 15:51 | 10.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.5598 | μmol/L | 18.1843 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.356 | 82765.2586 | 208693.6599 | 27.3 | 43.4
238360 | 2022-05-10 15:51 | 10.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.2554 | μmol/L | 18.1904 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.368 | 82770.5754 | 208703.0761 | 27.3 | 43.4
238370 | 2022-05-10 15:51 | 10.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.0333 | μmol/L | 18.2026 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.374 | 82791.9151 | 208697.1152 | 27.3 | 43.4
238380 | 2022-05-10 15:52 | 11.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.7862 | μmol/L | 18.2209 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.379 | 82834.4472 | 208689.2643 | 27.3 | 43.4
238390 | 2022-05-10 15:52 | 11.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.3082 | μmol/L | 18.2331 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.397 | 82702.5103 | 208694.6563 | 27.3 | 43.4
238400 | 2022-05-10 15:52 | 11.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.8138 | μmol/L | 18.2392 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.418 | 82792.7761 | 208695.9458 | 27.3 | 43.4
238410 | 2022-05-10 15:53 | 12.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.2182 | μmol/L | 18.2392 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.446 | 82909.5826 | 208692.3376 | 27.3 | 43.4
238420 | 2022-05-10 15:53 | 12.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.5358 | μmol/L | 18.2453 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.476 | 83002.5318 | 208693.9504 | 27.3 | 43.4
238430 | 2022-05-10 15:53 | 12.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.919 | μmol/L | 18.2514 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.503 | 83101.0134 | 208687.8868 | 27.3 | 43.4
238440 | 2022-05-10 15:54 | 13.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.5105 | μmol/L | 18.2637 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.518 | 83160.6242 | 208669.9959 | 27.3 | 43.4
238450 | 2022-05-10 15:54 | 13.3407 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.1699 | μmol/L | 18.2698 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.532 | 83205.5405 | 208681.2348 | 27.3 | 43.4
238460 | 2022-05-10 15:54 | 13.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.9978 | μmol/L | 18.2759 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.538 | 83216.5461 | 208683.0035 | 27.3 | 43.4
238470 | 2022-05-10 15:55 | 14.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.8259 | μmol/L | 18.282 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.544 | 83233.0683 | 208698.1105 | 27.3 | 43.4
238480 | 2022-05-10 15:55 | 14.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.6082 | μmol/L | 18.2942 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.55 | 83244.0533 | 208684.1198 | 27.3 | 43.4
238490 | 2022-05-10 15:55 | 14.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.5205 | μmol/L | 18.3003 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.552 | 83244.1821 | 208668.1559 | 27.3 | 43.4
238500 | 2022-05-10 15:56 | 15.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.5585 | μmol/L | 18.3064 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.548 | 83239.4451 | 208662.0415 | 27.3 | 43.4
238510 | 2022-05-10 15:56 | 15.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.5126 | μmol/L | 18.3125 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.548 | 83228.2451 | 208665.524 | 27.3 | 43.4
238520 | 2022-05-10 15:56 | 15.6737 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.5507 | μmol/L | 18.3186 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.544 | 83201.2531 | 208670.281 | 27.3 | 43.4
238530 | 2022-05-10 15:57 | 16.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.518 | μmol/L | 18.337 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.539 | 83184.0093 | 208664.0963 | 27.3 | 43.4
238540 | 2022-05-10 15:57 | 16.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.4722 | μmol/L | 18.3431 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.539 | 83170.5141 | 208649.8448 | 27.3 | 43.4
238550 | 2022-05-10 15:57 | 16.6738 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.6688 | μmol/L | 18.3309 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.534 | 83152.4122 | 208660.7556 | 27.3 | 43.4
238560 | 2022-05-10 15:58 | 17.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.661 | μmol/L | 18.3431 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.53 | 83141.2411 | 208663.9272 | 27.3 | 43.4
238570 | 2022-05-10 15:58 | 17.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.7201 | μmol/L | 18.3492 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.525 | 83135.9235 | 208660.2697 | 27.3 | 43.4
238580 | 2022-05-10 15:58 | 17.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.6952 | μmol/L | 18.3553 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.524 | 83107.7455 | 208665.8821 | 27.3 | 43.4
238590 | 2022-05-10 15:59 | 18.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.6284 | μmol/L | 18.3614 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.525 | 83099.0821 | 208646.8703 | 27.3 | 43.4
238600 | 2022-05-10 15:59 | 18.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.7753 | μmol/L | 18.3614 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.518 | 83086.0164 | 208644.3485 | 27.3 | 43.4
238610 | 2022-05-10 15:59 | 18.6738 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.6665 | μmol/L | 18.3675 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.521 | 83086.1664 | 208641.4801 | 27.3 | 43.4
238620 | 2022-05-10 16:00 | 19.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.7886 | μmol/L | 18.3736 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.513 | 83066.2871 | 208642.0351 | 27.3 | 43.4
238630 | 2022-05-10 16:00 | 19.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.6969 | μmol/L | 18.3858 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.513 | 83040.6162 | 208647.3182 | 27.3 | 43.4