## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
234431 | 2022-04-26 14:43 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.6632 | μmol/L | 12.4228 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.131 | 78228.8843 | 260802.3544 | 32.55 | 27.7
234441 | 2022-04-26 14:43 | 0.32632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.6862 | μmol/L | 12.4411 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.123 | 78267.2529 | 260779.9225 | 32.55 | 27.7
234451 | 2022-04-26 14:44 | 0.65948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.4592 | μmol/L | 12.4594 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.126 | 78284.7105 | 260752.3656 | 32.55 | 27.7
234461 | 2022-04-26 14:44 | 0.99349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.2778 | μmol/L | 12.4777 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.127 | 78282.954 | 260730.4544 | 32.55 | 27.7
234471 | 2022-04-26 14:44 | 1.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.0966 | μmol/L | 12.496 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.128 | 78285.2992 | 260711.0217 | 32.55 | 27.7
234481 | 2022-04-26 14:45 | 1.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.9836 | μmol/L | 12.5144 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.126 | 78288.8254 | 260687.0581 | 32.55 | 27.7
234491 | 2022-04-26 14:45 | 1.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.9614 | μmol/L | 12.5327 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.12 | 78278.7593 | 260665.4381 | 32.55 | 27.7
234501 | 2022-04-26 14:45 | 2.3261 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.856 | μmol/L | 12.5449 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.12 | 78271.2656 | 260649.8838 | 32.55 | 27.7
234511 | 2022-04-26 14:46 | 2.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.7359 | μmol/L | 12.5693 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.116 | 78270.9202 | 260636.5781 | 32.55 | 27.7
234521 | 2022-04-26 14:46 | 2.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.7512 | μmol/L | 12.5754 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.113 | 78270.5096 | 260631.9706 | 32.55 | 27.7
234531 | 2022-04-26 14:46 | 3.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.5179 | μmol/L | 12.5998 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.114 | 78265.6186 | 260611.2195 | 32.55 | 27.7
234541 | 2022-04-26 14:47 | 3.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.4054 | μmol/L | 12.6181 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.112 | 78246.6961 | 260606.8244 | 32.55 | 27.7
234551 | 2022-04-26 14:47 | 3.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.2098 | μmol/L | 12.6303 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.116 | 78252.7872 | 260590.4832 | 32.55 | 27.7
234561 | 2022-04-26 14:47 | 4.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.188 | μmol/L | 12.6487 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.11 | 78251.0838 | 260593.1299 | 32.55 | 27.7
234571 | 2022-04-26 14:48 | 4.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.1509 | μmol/L | 12.6609 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.107 | 78244.4047 | 260596.1916 | 32.55 | 27.7
234581 | 2022-04-26 14:48 | 4.9928 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.0387 | μmol/L | 12.6792 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.105 | 78239.2629 | 260585.987 | 32.55 | 27.7
234591 | 2022-04-26 14:48 | 5.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.9646 | μmol/L | 12.7036 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.099 | 78227.6478 | 260566.27 | 32.55 | 27.7
234601 | 2022-04-26 14:49 | 5.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.9955 | μmol/L | 12.7158 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.093 | 78217.9409 | 260571.6847 | 32.55 | 27.7
234611 | 2022-04-26 14:49 | 5.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.7181 | μmol/L | 12.7402 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.096 | 78214.1306 | 260563.4029 | 32.55 | 27.7
234621 | 2022-04-26 14:49 | 6.3262 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.5682 | μmol/L | 12.7524 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.098 | 78213.2763 | 260558.7015 | 32.55 | 27.7
234631 | 2022-04-26 14:50 | 6.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.6741 | μmol/L | 12.7585 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.091 | 78213.1489 | 260537.5231 | 32.55 | 27.7
234641 | 2022-04-26 14:50 | 6.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.6598 | μmol/L | 12.7707 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.087 | 78205.0171 | 260531.9786 | 32.55 | 27.7
234651 | 2022-04-26 14:50 | 7.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.6682 | μmol/L | 12.7829 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.082 | 78199.0713 | 260523.9659 | 32.55 | 27.7
234661 | 2022-04-26 14:51 | 7.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.5184 | μmol/L | 12.7952 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.084 | 78181.5084 | 260511.3478 | 32.55 | 27.7
234671 | 2022-04-26 14:51 | 7.9928 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.4746 | μmol/L | 12.8135 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.079 | 78170.6219 | 260510.6415 | 32.55 | 27.7
234681 | 2022-04-26 14:51 | 8.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.4223 | μmol/L | 12.8196 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.079 | 78166.6091 | 260516.4302 | 32.55 | 27.7
234691 | 2022-04-26 14:52 | 8.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.3405 | μmol/L | 12.8318 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.078 | 78164.7539 | 260498.9993 | 32.55 | 27.7
234701 | 2022-04-26 14:52 | 8.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.4167 | μmol/L | 12.844 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.07 | 78170.058 | 260497.6126 | 32.55 | 27.7
234711 | 2022-04-26 14:52 | 9.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.2375 | μmol/L | 12.8623 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.071 | 78165.2128 | 260477.7473 | 32.55 | 27.7
234721 | 2022-04-26 14:53 | 9.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.2982 | μmol/L | 12.8684 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.066 | 78167.4665 | 260497.4156 | 32.55 | 27.7
234731 | 2022-04-26 14:53 | 9.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.0897 | μmol/L | 12.8928 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.066 | 78157.7726 | 260467.4806 | 32.55 | 27.7
234741 | 2022-04-26 14:53 | 10.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.0757 | μmol/L | 12.905 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.062 | 78146.5353 | 260462.3761 | 32.55 | 27.7
234751 | 2022-04-26 14:54 | 10.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.9941 | μmol/L | 12.9173 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.061 | 78137.5022 | 260459.6771 | 32.55 | 27.7
234761 | 2022-04-26 14:54 | 10.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.883 | μmol/L | 12.9356 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.059 | 78122.3019 | 260451.0077 | 32.55 | 27.7
234771 | 2022-04-26 14:54 | 11.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.8466 | μmol/L | 12.9478 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.056 | 78102.4798 | 260450.0553 | 32.55 | 27.7
234781 | 2022-04-26 14:55 | 11.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.7651 | μmol/L | 12.96 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.055 | 78098.2297 | 260433.848 | 32.55 | 27.7
234791 | 2022-04-26 14:55 | 11.9928 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.7669 | μmol/L | 12.9783 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.048 | 78093.5528 | 260449.3634 | 32.55 | 27.7
234801 | 2022-04-26 14:55 | 12.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.6111 | μmol/L | 12.9966 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.048 | 78093.1133 | 260431.119 | 32.55 | 27.7
234811 | 2022-04-26 14:56 | 12.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.6718 | μmol/L | 13.0027 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.043 | 78085.5938 | 260416.5279 | 32.55 | 27.7
234821 | 2022-04-26 14:56 | 12.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.6649 | μmol/L | 13.0088 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.041 | 78072.983 | 260424.225 | 32.55 | 27.7
234831 | 2022-04-26 14:56 | 13.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.4866 | μmol/L | 13.0271 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.042 | 78064.0445 | 260399.7104 | 32.55 | 27.7
234841 | 2022-04-26 14:57 | 13.6594 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.5699 | μmol/L | 13.0332 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.036 | 78064.2313 | 260396.8197 | 32.55 | 27.7
234851 | 2022-04-26 14:57 | 13.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.4142 | μmol/L | 13.0516 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.036 | 78059.3765 | 260405.8751 | 32.55 | 27.7
234861 | 2022-04-26 14:57 | 14.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.3781 | μmol/L | 13.0638 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.033 | 78053.9602 | 260388.0636 | 32.55 | 27.7
234871 | 2022-04-26 14:58 | 14.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.3488 | μmol/L | 13.0699 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.032 | 78049.3256 | 260390.193 | 32.55 | 27.7
234881 | 2022-04-26 14:58 | 14.9928 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.1483 | μmol/L | 13.0882 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.034 | 78054.2089 | 260386.311 | 32.55 | 27.7
234891 | 2022-04-26 14:58 | 15.326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.1573 | μmol/L | 13.1004 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.029 | 78055.3391 | 260393.5068 | 32.55 | 27.7
234901 | 2022-04-26 14:59 | 15.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.173 | μmol/L | 13.1065 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.026 | 78049.853 | 260371.4231 | 32.55 | 27.7
234911 | 2022-04-26 14:59 | 15.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.0538 | μmol/L | 13.1126 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.029 | 78048.5586 | 260365.5646 | 32.55 | 27.7
234921 | 2022-04-26 14:59 | 16.3262 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.0335 | μmol/L | 13.1309 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.023 | 78043.6713 | 260359.5041 | 32.55 | 27.7
234931 | 2022-04-26 15:00 | 16.6594 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.8784 | μmol/L | 13.1492 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.023 | 78026.8678 | 260352.9173 | 32.55 | 27.7
234941 | 2022-04-26 15:00 | 16.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.8425 | μmol/L | 13.1615 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.02 | 78016.6205 | 260341.1291 | 32.55 | 27.7
234951 | 2022-04-26 15:00 | 17.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.7841 | μmol/L | 13.1737 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.018 | 78006.3543 | 260334.3187 | 32.55 | 27.7
234961 | 2022-04-26 15:01 | 17.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.7774 | μmol/L | 13.1798 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.016 | 77998.1967 | 260342.8295 | 32.55 | 27.7
234971 | 2022-04-26 15:01 | 17.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.7349 | μmol/L | 13.1981 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.011 | 78007.0619 | 260329.665 | 32.55 | 27.7
234981 | 2022-04-26 15:01 | 18.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.7666 | μmol/L | 13.2103 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.005 | 77998.3277 | 260330.0886 | 32.55 | 27.7
234991 | 2022-04-26 15:02 | 18.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.6475 | μmol/L | 13.2164 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.008 | 77985.146 | 260334.3902 | 32.55 | 27.7
235001 | 2022-04-26 15:02 | 18.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.4995 | μmol/L | 13.2286 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.01 | 77976.1206 | 260306.7891 | 32.55 | 27.7
235011 | 2022-04-26 15:02 | 19.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.4862 | μmol/L | 13.2408 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.006 | 78318.4455 | 260298.7243 | 32.55 | 27.7
235021 | 2022-04-26 15:03 | 19.6594 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.5853 | μmol/L | 13.253 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.997 | 78309.0154 | 260305.3358 | 32.55 | 27.7
235031 | 2022-04-26 15:03 | 19.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.4149 | μmol/L | 13.2652 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23 | 78308.6853 | 260288.6062 | 32.55 | 27.7
235041 | 2022-04-26 15:03 | 20.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.2894 | μmol/L | 13.2775 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.001 | 78296.4358 | 260285.6701 | 32.55 | 27.7
235051 | 2022-04-26 15:04 | 20.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.2604 | μmol/L | 13.2836 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23 | 78291.6983 | 260288.2789 | 32.55 | 27.7
235061 | 2022-04-26 15:04 | 20.9928 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.308 | μmol/L | 13.3019 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.991 | 78272.1236 | 260259.359 | 32.55 | 27.7
235071 | 2022-04-26 15:04 | 21.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.0416 | μmol/L | 13.3202 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.996 | 78259.0748 | 260274.4348 | 32.55 | 27.7
235081 | 2022-04-26 15:05 | 21.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.0126 | μmol/L | 13.3263 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.995 | 78241.1026 | 260262.0116 | 32.55 | 27.7
235091 | 2022-04-26 15:05 | 21.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.179 | μmol/L | 13.3385 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.983 | 78229.1992 | 260265.3984 | 32.55 | 27.7
235101 | 2022-04-26 15:05 | 22.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.993 | μmol/L | 13.3446 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.989 | 78521.5115 | 260269.9056 | 32.55 | 27.7
235111 | 2022-04-26 15:06 | 22.6594 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8744 | μmol/L | 13.3507 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.992 | 78506.8532 | 260239.2797 | 32.55 | 27.7
235121 | 2022-04-26 15:06 | 22.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8325 | μmol/L | 13.369 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.987 | 78499.8996 | 260242.5494 | 32.55 | 27.7
235131 | 2022-04-26 15:06 | 23.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.7682 | μmol/L | 13.3874 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.983 | 78492.0791 | 260253.2514 | 32.55 | 27.7
235141 | 2022-04-26 15:07 | 23.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.7393 | μmol/L | 13.3935 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.982 | 78487.9155 | 260231.3411 | 32.55 | 27.7
235151 | 2022-04-26 15:07 | 23.9928 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.7199 | μmol/L | 13.4118 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.976 | 78486.3496 | 260237.1033 | 32.55 | 27.7
235161 | 2022-04-26 15:07 | 24.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.6911 | μmol/L | 13.4179 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.975 | 78487.7209 | 260226.9245 | 32.55 | 27.7
235171 | 2022-04-26 15:08 | 24.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.515 | μmol/L | 13.4362 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.976 | 78513.576 | 260221.6283 | 32.55 | 27.7
235181 | 2022-04-26 15:08 | 24.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.5534 | μmol/L | 13.4423 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.972 | 78495.5777 | 260222.4361 | 32.55 | 27.7
235191 | 2022-04-26 15:08 | 25.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4958 | μmol/L | 13.4545 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.97 | 78485.4094 | 260224.7095 | 32.55 | 27.7
235201 | 2022-04-26 15:09 | 25.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4734 | μmol/L | 13.4545 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.971 | 78479.4571 | 260223.8382 | 32.55 | 27.7
235211 | 2022-04-26 15:09 | 25.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4158 | μmol/L | 13.4667 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.969 | 78476.5045 | 260207.333 | 32.55 | 27.7
235221 | 2022-04-26 15:09 | 26.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.2847 | μmol/L | 13.485 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.968 | 78467.6448 | 260207.988 | 32.55 | 27.7
235231 | 2022-04-26 15:10 | 26.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4414 | μmol/L | 13.485 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.961 | 78449.5065 | 260197.075 | 32.55 | 27.7
235241 | 2022-04-26 15:10 | 26.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3168 | μmol/L | 13.4973 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.962 | 78443.6632 | 260200.3151 | 32.55 | 27.7
235251 | 2022-04-26 15:10 | 27.3261 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4223 | μmol/L | 13.5034 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.955 | 78444.2585 | 260188.0531 | 32.55 | 27.7
235261 | 2022-04-26 15:11 | 27.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3201 | μmol/L | 13.5156 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.955 | 78436.0128 | 260191.4453 | 32.55 | 27.7
235271 | 2022-04-26 15:11 | 27.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.2626 | μmol/L | 13.5278 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.953 | 78423.6903 | 260186.5283 | 32.55 | 27.7
235281 | 2022-04-26 15:11 | 28.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.2626 | μmol/L | 13.5278 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.953 | 78418.1904 | 260177.7033 | 32.55 | 27.7
235291 | 2022-04-26 15:12 | 28.6594 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1094 | μmol/L | 13.5461 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.953 | 78421.209 | 260185.3561 | 32.55 | 27.7
235301 | 2022-04-26 15:12 | 28.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9787 | μmol/L | 13.5644 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.952 | 78409.1127 | 260168.2069 | 32.55 | 27.7
235311 | 2022-04-26 15:12 | 29.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1416 | μmol/L | 13.5583 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.947 | 78407.0095 | 260173.3384 | 32.55 | 27.7
235321 | 2022-04-26 15:13 | 29.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0109 | μmol/L | 13.5766 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.946 | 78398.1818 | 260168.0926 | 32.55 | 27.7
235331 | 2022-04-26 15:13 | 29.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9759 | μmol/L | 13.5888 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.943 | 78384.9997 | 260150.5881 | 32.55 | 27.7
235341 | 2022-04-26 15:13 | 30.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.8293 | μmol/L | 13.6011 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.945 | 78386.9393 | 260145.2892 | 32.55 | 27.7
235351 | 2022-04-26 15:14 | 30.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.8615 | μmol/L | 13.6133 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.939 | 78383.6897 | 260162.3259 | 32.55 | 27.7
235361 | 2022-04-26 15:14 | 30.9927 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.7373 | μmol/L | 13.6255 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.94 | 78378.2703 | 260152.707 | 32.55 | 27.7
235371 | 2022-04-26 15:14 | 31.3261 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6864 | μmol/L | 13.6316 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.94 | 78358.3851 | 260149.2441 | 32.55 | 27.7
235381 | 2022-04-26 15:15 | 31.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.5846 | μmol/L | 13.6438 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.94 | 78352.3651 | 260141.6342 | 32.55 | 27.7
235391 | 2022-04-26 15:15 | 31.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6677 | μmol/L | 13.6499 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.934 | 78366.1042 | 260133.9676 | 32.55 | 27.7
235401 | 2022-04-26 15:15 | 32.3262 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.4705 | μmol/L | 13.6682 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.936 | 78370.2456 | 260123.9774 | 32.55 | 27.7
235411 | 2022-04-26 15:16 | 32.6594 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.4643 | μmol/L | 13.6743 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.934 | 78356.1449 | 260109.2815 | 32.55 | 27.7
235421 | 2022-04-26 15:16 | 32.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.5027 | μmol/L | 13.6804 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.93 | 78360.6092 | 260122.4284 | 32.55 | 27.7
235431 | 2022-04-26 15:16 | 33.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2896 | μmol/L | 13.6926 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.935 | 78362.5855 | 260108.8493 | 32.55 | 27.7