## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
235437 | 2022-04-26 15:37 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 297.5372 | μmol/L | 13.3283 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.368 | 107686.5881 | 258507.1975 | 36.4 | 83.1
235447 | 2022-04-26 15:38 | 0.34077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 298.2624 | μmol/L | 13.3344 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.337 | 107468.8453 | 258504.7874 | 36.4 | 83.1
235457 | 2022-04-26 15:38 | 0.67369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 298.7871 | μmol/L | 13.3589 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.307 | 107313.3524 | 258478.013 | 36.4 | 83.1
235467 | 2022-04-26 15:38 | 1.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.2956 | μmol/L | 13.3589 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.287 | 107187.8379 | 258469.137 | 36.4 | 83.1
235477 | 2022-04-26 15:39 | 1.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6782 | μmol/L | 13.3772 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.265 | 107081.0943 | 258454.2079 | 36.4 | 83.1
235487 | 2022-04-26 15:39 | 1.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.9934 | μmol/L | 13.3894 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.248 | 106993.5384 | 258454.8984 | 36.4 | 83.1
235497 | 2022-04-26 15:39 | 2.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.309 | μmol/L | 13.4017 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.231 | 106915.9069 | 258456.078 | 36.4 | 83.1
235507 | 2022-04-26 15:40 | 2.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.4378 | μmol/L | 13.42 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.219 | 106857.1966 | 258439.9478 | 36.4 | 83.1
235517 | 2022-04-26 15:40 | 2.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.66 | μmol/L | 13.4261 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.208 | 106801.0705 | 258439.8772 | 36.4 | 83.1
235527 | 2022-04-26 15:40 | 3.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6692 | μmol/L | 13.4384 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.203 | 106747.9461 | 258441.542 | 36.4 | 83.1
235537 | 2022-04-26 15:41 | 3.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7984 | μmol/L | 13.4567 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.191 | 106719.4702 | 258437.6525 | 36.4 | 83.1
235547 | 2022-04-26 15:41 | 3.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8591 | μmol/L | 13.4689 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.184 | 106691.2397 | 258439.7557 | 36.4 | 83.1
235557 | 2022-04-26 15:41 | 4.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0386 | μmol/L | 13.4689 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.177 | 106662.611 | 258435.9312 | 36.4 | 83.1
235567 | 2022-04-26 15:42 | 4.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0399 | μmol/L | 13.4873 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.17 | 106629.24 | 258428.6695 | 36.4 | 83.1
235577 | 2022-04-26 15:42 | 4.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2291 | μmol/L | 13.4995 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.158 | 106599.4076 | 258413.2086 | 36.4 | 83.1
235587 | 2022-04-26 15:42 | 5.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0845 | μmol/L | 13.5117 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.159 | 106578.365 | 258415.5022 | 36.4 | 83.1
235597 | 2022-04-26 15:43 | 5.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.1374 | μmol/L | 13.5301 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.15 | 106546.7208 | 258396.6399 | 36.4 | 83.1
235607 | 2022-04-26 15:43 | 5.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.1727 | μmol/L | 13.5423 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.144 | 106524.983 | 258401.8305 | 36.4 | 83.1
235617 | 2022-04-26 15:43 | 6.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0282 | μmol/L | 13.5545 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.145 | 106495.723 | 258377.9567 | 36.4 | 83.1
235627 | 2022-04-26 15:44 | 6.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.1406 | μmol/L | 13.5668 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.136 | 106473.4671 | 258385.5039 | 36.4 | 83.1
235637 | 2022-04-26 15:44 | 6.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2354 | μmol/L | 13.5729 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.13 | 106461.2268 | 258375.793 | 36.4 | 83.1
235647 | 2022-04-26 15:44 | 7.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2194 | μmol/L | 13.5851 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.126 | 106442.1437 | 258374.337 | 36.4 | 83.1
235657 | 2022-04-26 15:45 | 7.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0413 | μmol/L | 13.6035 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.126 | 106419.8228 | 258354.5873 | 36.4 | 83.1
235667 | 2022-04-26 15:45 | 7.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.059 | μmol/L | 13.6096 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.123 | 106397.9563 | 258346.7182 | 36.4 | 83.1
235677 | 2022-04-26 15:45 | 8.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9838 | μmol/L | 13.6279 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.119 | 106387.6927 | 258350.2122 | 36.4 | 83.1
235687 | 2022-04-26 15:46 | 8.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.1301 | μmol/L | 13.634 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.111 | 106362.4035 | 258339.3154 | 36.4 | 83.1
235697 | 2022-04-26 15:46 | 8.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2507 | μmol/L | 13.6402 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.104 | 106360.1332 | 258336.3047 | 36.4 | 83.1
235707 | 2022-04-26 15:46 | 9.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.97 | μmol/L | 13.6585 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.108 | 106347.1803 | 258341.7725 | 36.4 | 83.1
235717 | 2022-04-26 15:47 | 9.34 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9799 | μmol/L | 13.6707 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.103 | 106339.4214 | 258331.4988 | 36.4 | 83.1
235727 | 2022-04-26 15:47 | 9.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0156 | μmol/L | 13.683 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.097 | 106313.4991 | 258323.0916 | 36.4 | 83.1
235737 | 2022-04-26 15:47 | 10.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0334 | μmol/L | 13.6891 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.094 | 106295.1206 | 258312.7346 | 36.4 | 83.1
235747 | 2022-04-26 15:48 | 10.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0513 | μmol/L | 13.6952 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.091 | 106267.2075 | 258310.8125 | 36.4 | 83.1
235757 | 2022-04-26 15:48 | 10.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0278 | μmol/L | 13.7135 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.085 | 106250.5766 | 258304.5076 | 36.4 | 83.1
235767 | 2022-04-26 15:48 | 11.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0457 | μmol/L | 13.7197 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.082 | 106245.3288 | 258301.8569 | 36.4 | 83.1
235777 | 2022-04-26 15:49 | 11.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8938 | μmol/L | 13.738 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.081 | 106228.1717 | 258311.6015 | 36.4 | 83.1
235787 | 2022-04-26 15:49 | 11.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0223 | μmol/L | 13.738 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.076 | 106214.2255 | 258291.7099 | 36.4 | 83.1
235797 | 2022-04-26 15:49 | 12.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9296 | μmol/L | 13.7502 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.075 | 106203.0897 | 258281.6776 | 36.4 | 83.1
235807 | 2022-04-26 15:50 | 12.3401 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.837 | μmol/L | 13.7625 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.074 | 106182.6844 | 258274.6193 | 36.4 | 83.1
235817 | 2022-04-26 15:50 | 12.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0092 | μmol/L | 13.7686 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.065 | 106175.8942 | 258257.0682 | 36.4 | 83.1
235827 | 2022-04-26 15:50 | 13.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9423 | μmol/L | 13.7808 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.063 | 106173.4998 | 258249.1538 | 36.4 | 83.1
235837 | 2022-04-26 15:51 | 13.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8754 | μmol/L | 13.7931 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.061 | 106147.5839 | 258243.648 | 36.4 | 83.1
235847 | 2022-04-26 15:51 | 13.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8343 | μmol/L | 13.8053 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.058 | 106131.9757 | 258233.7138 | 36.4 | 83.1
235857 | 2022-04-26 15:51 | 14.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8266 | μmol/L | 13.8114 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.056 | 106119.2398 | 258226.4533 | 36.4 | 83.1
235867 | 2022-04-26 15:52 | 14.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7264 | μmol/L | 13.8297 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.053 | 106106.7879 | 258215.5963 | 36.4 | 83.1
235877 | 2022-04-26 15:52 | 14.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7368 | μmol/L | 13.842 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.048 | 106090.2784 | 258214.8716 | 36.4 | 83.1
235887 | 2022-04-26 15:52 | 15.0067 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8577 | μmol/L | 13.8481 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.041 | 106077.0116 | 258205.2885 | 36.4 | 83.1
235897 | 2022-04-26 15:53 | 15.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6444 | μmol/L | 13.8542 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.047 | 106061.1297 | 258203.1551 | 36.4 | 83.1
235907 | 2022-04-26 15:53 | 15.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.5367 | μmol/L | 13.8787 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.042 | 106041.8898 | 258178.291 | 36.4 | 83.1
235917 | 2022-04-26 15:53 | 16.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.5548 | μmol/L | 13.8848 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.039 | 106034.1568 | 258180.2009 | 36.4 | 83.1
235927 | 2022-04-26 15:54 | 16.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.4882 | μmol/L | 13.897 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.037 | 106028.5568 | 258172.9377 | 36.4 | 83.1
235937 | 2022-04-26 15:54 | 16.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.532 | μmol/L | 13.9031 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.033 | 105998.6205 | 258161.3103 | 36.4 | 83.1
235947 | 2022-04-26 15:54 | 17.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.5502 | μmol/L | 13.9093 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.03 | 105996.0448 | 258149.8185 | 36.4 | 83.1
235957 | 2022-04-26 15:55 | 17.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.5093 | μmol/L | 13.9215 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.027 | 105981.4108 | 258150.1253 | 36.4 | 83.1
235967 | 2022-04-26 15:55 | 17.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6379 | μmol/L | 13.9215 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.022 | 105978.0995 | 258161.355 | 36.4 | 83.1
235977 | 2022-04-26 15:55 | 18.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.4867 | μmol/L | 13.9398 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.021 | 105963.2949 | 258146.3681 | 36.4 | 83.1
235987 | 2022-04-26 15:56 | 18.3401 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.5048 | μmol/L | 13.9459 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.018 | 105956.1757 | 258151.7218 | 36.4 | 83.1
235997 | 2022-04-26 15:56 | 18.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.3356 | μmol/L | 13.9582 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.02 | 105930.4846 | 258130.2542 | 36.4 | 83.1
236007 | 2022-04-26 15:56 | 19.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.3538 | μmol/L | 13.9643 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.017 | 105929.6777 | 258126.8051 | 36.4 | 83.1
236017 | 2022-04-26 15:57 | 19.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.3056 | μmol/L | 13.9826 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.012 | 105919.5654 | 258117.1052 | 36.4 | 83.1
236027 | 2022-04-26 15:57 | 19.6734 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.2467 | μmol/L | 13.9888 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.012 | 105913.9469 | 258119.6747 | 36.4 | 83.1
236037 | 2022-04-26 15:57 | 20.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.2832 | μmol/L | 14.001 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.006 | 105903.7874 | 258098.389 | 36.4 | 83.1
236047 | 2022-04-26 15:58 | 20.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.1398 | μmol/L | 14.0132 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.007 | 105899.1552 | 258098.8906 | 36.4 | 83.1
236057 | 2022-04-26 15:58 | 20.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.2169 | μmol/L | 14.0132 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.004 | 105873.4 | 258078.7974 | 36.4 | 83.1
236067 | 2022-04-26 15:58 | 21.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.1837 | μmol/L | 14.0193 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.003 | 105873.1754 | 258079.6389 | 36.4 | 83.1
236077 | 2022-04-26 15:59 | 21.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.1357 | μmol/L | 14.0377 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.998 | 105849.5728 | 258069.8374 | 36.4 | 83.1
236087 | 2022-04-26 15:59 | 21.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.0952 | μmol/L | 14.0499 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.995 | 105837.1703 | 258055.0197 | 36.4 | 83.1
236097 | 2022-04-26 15:59 | 22.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.0695 | μmol/L | 14.0499 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.996 | 105826.7512 | 258049.0857 | 36.4 | 83.1
236107 | 2022-04-26 16:00 | 22.3401 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.0878 | μmol/L | 14.056 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.993 | 105809.7048 | 258044.4995 | 36.4 | 83.1
236117 | 2022-04-26 16:00 | 22.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.1832 | μmol/L | 14.0622 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.987 | 105794.697 | 258035.0169 | 36.4 | 83.1
236127 | 2022-04-26 16:00 | 23.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.0326 | μmol/L | 14.0805 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.986 | 105775.698 | 258036.9669 | 36.4 | 83.1
236137 | 2022-04-26 16:01 | 23.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.084 | μmol/L | 14.0805 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.984 | 105757.365 | 258011.4116 | 36.4 | 83.1
236147 | 2022-04-26 16:01 | 23.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.9408 | μmol/L | 14.0927 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.985 | 105757.975 | 258004.2397 | 36.4 | 83.1
236157 | 2022-04-26 16:01 | 24.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.9335 | μmol/L | 14.0988 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.983 | 105740.5214 | 257984.1851 | 36.4 | 83.1
236167 | 2022-04-26 16:02 | 24.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.7758 | μmol/L | 14.1233 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.98 | 105736.0924 | 257981.5165 | 36.4 | 83.1
236177 | 2022-04-26 16:02 | 24.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8271 | μmol/L | 14.1233 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.978 | 105718.8712 | 257956.367 | 36.4 | 83.1
236187 | 2022-04-26 16:02 | 25.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8125 | μmol/L | 14.1355 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.974 | 105707.7115 | 257963.2372 | 36.4 | 83.1
236197 | 2022-04-26 16:03 | 25.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8236 | μmol/L | 14.1478 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.969 | 105696.3908 | 257965.9693 | 36.4 | 83.1
236207 | 2022-04-26 16:03 | 25.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8236 | μmol/L | 14.1478 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.969 | 105678.6249 | 257942.9992 | 36.4 | 83.1
236217 | 2022-04-26 16:03 | 26.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8749 | μmol/L | 14.1478 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.967 | 105659.5005 | 257927.1633 | 36.4 | 83.1
236227 | 2022-04-26 16:04 | 26.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8017 | μmol/L | 14.1661 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.963 | 105644.8809 | 257921.584 | 36.4 | 83.1
236237 | 2022-04-26 16:04 | 26.6734 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6259 | μmol/L | 14.1845 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.963 | 105634.6477 | 257896.8525 | 36.4 | 83.1
236247 | 2022-04-26 16:04 | 27.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6772 | μmol/L | 14.1845 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.961 | 105624.5264 | 257903.614 | 36.4 | 83.1
236257 | 2022-04-26 16:05 | 27.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6042 | μmol/L | 14.2028 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.957 | 105607.1245 | 257886.8802 | 36.4 | 83.1
236267 | 2022-04-26 16:05 | 27.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6042 | μmol/L | 14.2028 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.957 | 105589.9681 | 257869.2391 | 36.4 | 83.1
236277 | 2022-04-26 16:05 | 28.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.597 | μmol/L | 14.2089 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.955 | 105576.3114 | 257849.5439 | 36.4 | 83.1
236287 | 2022-04-26 16:06 | 28.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6411 | μmol/L | 14.2151 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.951 | 105561.7601 | 257853.7514 | 36.4 | 83.1
236297 | 2022-04-26 16:06 | 28.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.5569 | μmol/L | 14.2212 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.952 | 105543.7766 | 257842.4096 | 36.4 | 83.1
236307 | 2022-04-26 16:06 | 29.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.484 | μmol/L | 14.2395 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.948 | 105544.3821 | 257844.0249 | 36.4 | 83.1
236317 | 2022-04-26 16:07 | 29.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6195 | μmol/L | 14.2334 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.945 | 105536.5097 | 257842.5589 | 36.4 | 83.1
236327 | 2022-04-26 16:07 | 29.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.444 | μmol/L | 14.2518 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.945 | 105512.6779 | 257842.0399 | 36.4 | 83.1
236337 | 2022-04-26 16:07 | 30.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.3855 | μmol/L | 14.2579 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.945 | 105506.5045 | 257832.4057 | 36.4 | 83.1
236347 | 2022-04-26 16:08 | 30.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.3712 | μmol/L | 14.2701 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.941 | 105501.0274 | 257831.026 | 36.4 | 83.1
236357 | 2022-04-26 16:08 | 30.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.2287 | μmol/L | 14.2823 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.942 | 105481.4292 | 257826.1542 | 36.4 | 83.1
236367 | 2022-04-26 16:08 | 31.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.3641 | μmol/L | 14.2762 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.939 | 105481.3533 | 257818.7432 | 36.4 | 83.1
236377 | 2022-04-26 16:09 | 31.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.1304 | μmol/L | 14.3007 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.939 | 105484.2177 | 257824.2896 | 36.4 | 83.1
236387 | 2022-04-26 16:09 | 31.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.2073 | μmol/L | 14.3007 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.936 | 105464.8072 | 257798.5879 | 36.4 | 83.1
236397 | 2022-04-26 16:09 | 32.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.1931 | μmol/L | 14.3129 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.932 | 105465.5903 | 257798.7924 | 36.4 | 83.1
236407 | 2022-04-26 16:10 | 32.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.0835 | μmol/L | 14.319 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.934 | 105447.7891 | 257786.035 | 36.4 | 83.1
236417 | 2022-04-26 16:10 | 32.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.0578 | μmol/L | 14.319 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.935 | 105433.4913 | 257778.9615 | 36.4 | 83.1
236427 | 2022-04-26 16:10 | 33.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.1718 | μmol/L | 14.3313 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 21.926 | 105418.0451 | 257779.6264 | 36.4 | 83.1