## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
235438 | 2022-04-26 15:38 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.8113 | μmol/L | 13.24 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.28 | 93192.39 | 287815.6216 | 30.45 | 114.2
235448 | 2022-04-26 15:38 | 0.33594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.199 | μmol/L | 13.2461 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.26 | 93083.0986 | 287800.4144 | 30.45 | 114.2
235458 | 2022-04-26 15:38 | 0.66901 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.5436 | μmol/L | 13.2523 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.242 | 92973.7393 | 287786.6116 | 30.45 | 114.2
235468 | 2022-04-26 15:39 | 1.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.7569 | μmol/L | 13.2584 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.23 | 92886.6709 | 287765.9541 | 30.45 | 114.2
235478 | 2022-04-26 15:39 | 1.336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.0364 | μmol/L | 13.2645 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.215 | 92815.7782 | 287752.1719 | 30.45 | 114.2
235488 | 2022-04-26 15:39 | 1.6694 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.0461 | μmol/L | 13.2768 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.21 | 92756.3586 | 287744.9541 | 30.45 | 114.2
235498 | 2022-04-26 15:40 | 2.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.1314 | μmol/L | 13.3013 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.197 | 92706.8086 | 287738.9778 | 30.45 | 114.2
235508 | 2022-04-26 15:40 | 2.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.1913 | μmol/L | 13.3075 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.192 | 92659.8001 | 287713.1332 | 30.45 | 114.2
235518 | 2022-04-26 15:40 | 2.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3834 | μmol/L | 13.3136 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.181 | 92610.9351 | 287709.2564 | 30.45 | 114.2
235528 | 2022-04-26 15:41 | 3.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4092 | μmol/L | 13.332 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.173 | 92579.1391 | 287705.6537 | 30.45 | 114.2
235538 | 2022-04-26 15:41 | 3.336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4912 | μmol/L | 13.3381 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.167 | 92531.5029 | 287690.467 | 30.45 | 114.2
235548 | 2022-04-26 15:41 | 3.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6335 | μmol/L | 13.3504 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.156 | 92489.3781 | 287695.5918 | 30.45 | 114.2
235558 | 2022-04-26 15:42 | 4.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5771 | μmol/L | 13.3627 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.154 | 92466.0139 | 287694.6815 | 30.45 | 114.2
235568 | 2022-04-26 15:42 | 4.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6533 | μmol/L | 13.3749 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.146 | 92436.9418 | 287685.1688 | 30.45 | 114.2
235578 | 2022-04-26 15:42 | 4.6693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7295 | μmol/L | 13.3872 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.138 | 92400.4822 | 287676.896 | 30.45 | 114.2
235588 | 2022-04-26 15:43 | 5.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7836 | μmol/L | 13.3995 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.131 | 92381.9241 | 287674.5584 | 30.45 | 114.2
235598 | 2022-04-26 15:43 | 5.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7334 | μmol/L | 13.4056 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.131 | 92366.0665 | 287650.8848 | 30.45 | 114.2
235608 | 2022-04-26 15:43 | 5.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7435 | μmol/L | 13.4179 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.126 | 92338.2753 | 287647.9283 | 30.45 | 114.2
235618 | 2022-04-26 15:44 | 6.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7816 | μmol/L | 13.424 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.122 | 92313.2353 | 287626.7609 | 30.45 | 114.2
235628 | 2022-04-26 15:44 | 6.336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8359 | μmol/L | 13.4363 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.115 | 92288.8152 | 287632.4046 | 30.45 | 114.2
235638 | 2022-04-26 15:44 | 6.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7797 | μmol/L | 13.4485 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.113 | 92256.8577 | 287614.7082 | 30.45 | 114.2
235648 | 2022-04-26 15:45 | 7.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.9446 | μmol/L | 13.4608 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.101 | 92225.4079 | 287618.5881 | 30.45 | 114.2
235658 | 2022-04-26 15:45 | 7.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8221 | μmol/L | 13.4731 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.102 | 92201.4015 | 287592.9533 | 30.45 | 114.2
235668 | 2022-04-26 15:45 | 7.6693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8825 | μmol/L | 13.4792 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.097 | 92184.4445 | 287605.3686 | 30.45 | 114.2
235678 | 2022-04-26 15:46 | 8.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8927 | μmol/L | 13.4915 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.092 | 92169.29 | 287592.062 | 30.45 | 114.2
235688 | 2022-04-26 15:46 | 8.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8646 | μmol/L | 13.4976 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.091 | 92149.6017 | 287593.0945 | 30.45 | 114.2
235698 | 2022-04-26 15:46 | 8.6695 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7083 | μmol/L | 13.5221 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.089 | 92138.7891 | 287592.6595 | 30.45 | 114.2
235708 | 2022-04-26 15:47 | 9.0026 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8188 | μmol/L | 13.5221 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.084 | 92126.8572 | 287579.7051 | 30.45 | 114.2
235718 | 2022-04-26 15:47 | 9.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.835 | μmol/L | 13.5283 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.081 | 92112.2982 | 287571.5946 | 30.45 | 114.2
235728 | 2022-04-26 15:47 | 9.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8512 | μmol/L | 13.5344 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.078 | 92097.9439 | 287557.3093 | 30.45 | 114.2
235738 | 2022-04-26 15:48 | 10.0027 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8114 | μmol/L | 13.5528 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.073 | 92096.2841 | 287552.0967 | 30.45 | 114.2
235748 | 2022-04-26 15:48 | 10.3359 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6891 | μmol/L | 13.5651 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.074 | 92094.862 | 287551.0829 | 30.45 | 114.2
235758 | 2022-04-26 15:48 | 10.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5286 | μmol/L | 13.5712 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.079 | 92088.9908 | 287546.8579 | 30.45 | 114.2
235768 | 2022-04-26 15:49 | 11.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4064 | μmol/L | 13.5835 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.08 | 92109.954 | 287547.3095 | 30.45 | 114.2
235778 | 2022-04-26 15:49 | 11.336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3564 | μmol/L | 13.5896 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.08 | 92107.9392 | 287540.4376 | 30.45 | 114.2
235788 | 2022-04-26 15:49 | 11.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.102 | μmol/L | 13.6019 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.087 | 92133.4575 | 287512.9378 | 30.45 | 114.2
235798 | 2022-04-26 15:50 | 12.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.9419 | μmol/L | 13.608 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.092 | 92153.0368 | 287514.1248 | 30.45 | 114.2
235808 | 2022-04-26 15:50 | 12.3361 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.754 | μmol/L | 13.6203 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.096 | 92178.0858 | 287519.9148 | 30.45 | 114.2
235818 | 2022-04-26 15:50 | 12.6692 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.4563 | μmol/L | 13.6325 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.105 | 92209.6231 | 287512.0998 | 30.45 | 114.2
235828 | 2022-04-26 15:51 | 13.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.3186 | μmol/L | 13.6387 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.109 | 92235.2674 | 287501.666 | 30.45 | 114.2
235838 | 2022-04-26 15:51 | 13.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.0873 | μmol/L | 13.6509 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.115 | 92266.0992 | 287484.6444 | 30.45 | 114.2
235848 | 2022-04-26 15:51 | 13.6694 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.697 | μmol/L | 13.6693 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.126 | 92292.4903 | 287465.4534 | 30.45 | 114.2
235858 | 2022-04-26 15:52 | 14.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.5436 | μmol/L | 13.6693 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.133 | 92338.7052 | 287472.594 | 30.45 | 114.2
235868 | 2022-04-26 15:52 | 14.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.2912 | μmol/L | 13.6816 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.14 | 92373.9097 | 287452.583 | 30.45 | 114.2
235878 | 2022-04-26 15:52 | 14.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.1324 | μmol/L | 13.6877 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.145 | 92413.9799 | 287446.1382 | 30.45 | 114.2
235888 | 2022-04-26 15:53 | 15.0028 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.8368 | μmol/L | 13.7 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.154 | 92444.0589 | 287426.8662 | 30.45 | 114.2
235898 | 2022-04-26 15:53 | 15.3359 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.607 | μmol/L | 13.7123 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.16 | 92472.4154 | 287425.702 | 30.45 | 114.2
235908 | 2022-04-26 15:53 | 15.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4704 | μmol/L | 13.7184 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.164 | 92494.8586 | 287422.8664 | 30.45 | 114.2
235918 | 2022-04-26 15:54 | 16.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3281 | μmol/L | 13.7307 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.166 | 92519.4675 | 287412.0073 | 30.45 | 114.2
235928 | 2022-04-26 15:54 | 16.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0669 | μmol/L | 13.7307 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.178 | 92553.337 | 287393.3506 | 30.45 | 114.2
235938 | 2022-04-26 15:54 | 16.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.751 | μmol/L | 13.743 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.188 | 92571.1911 | 287391.8913 | 30.45 | 114.2
235948 | 2022-04-26 15:55 | 17.0027 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.5383 | μmol/L | 13.7614 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.191 | 92598.1426 | 287397.6908 | 30.45 | 114.2
235958 | 2022-04-26 15:55 | 17.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.4891 | μmol/L | 13.7675 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.191 | 92616.7945 | 287386.0136 | 30.45 | 114.2
235968 | 2022-04-26 15:55 | 17.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.2505 | μmol/L | 13.7675 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.202 | 92640.5401 | 287381.2042 | 30.45 | 114.2
235978 | 2022-04-26 15:56 | 18.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.0657 | μmol/L | 13.7798 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.206 | 92660.3355 | 287372.3101 | 30.45 | 114.2
235988 | 2022-04-26 15:56 | 18.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9084 | μmol/L | 13.7859 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.211 | 92685.9614 | 287369.2202 | 30.45 | 114.2
235998 | 2022-04-26 15:56 | 18.6693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8104 | μmol/L | 13.7982 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.211 | 92711.5592 | 287361.0894 | 30.45 | 114.2
236008 | 2022-04-26 15:57 | 19.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.561 | μmol/L | 13.8104 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.218 | 92729.7526 | 287347.6422 | 30.45 | 114.2
236018 | 2022-04-26 15:57 | 19.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.4041 | μmol/L | 13.8166 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.223 | 92749.9085 | 287351.8174 | 30.45 | 114.2
236028 | 2022-04-26 15:57 | 19.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.22 | μmol/L | 13.8288 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.227 | 92772.9902 | 287339.2737 | 30.45 | 114.2
236038 | 2022-04-26 15:58 | 20.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.1223 | μmol/L | 13.8411 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.227 | 92788.6098 | 287333.8406 | 30.45 | 114.2
236048 | 2022-04-26 15:58 | 20.3361 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.9225 | μmol/L | 13.8472 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.234 | 92816.4944 | 287321.7937 | 30.45 | 114.2
236058 | 2022-04-26 15:58 | 20.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.7229 | μmol/L | 13.8534 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.241 | 92830.3271 | 287302.1501 | 30.45 | 114.2
236068 | 2022-04-26 15:59 | 21.0023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.7445 | μmol/L | 13.8534 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.24 | 92832.0613 | 287299.2677 | 30.45 | 114.2
236078 | 2022-04-26 15:59 | 21.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.4692 | μmol/L | 13.8718 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.246 | 92841.5675 | 287288.1402 | 30.45 | 114.2
236088 | 2022-04-26 15:59 | 21.6694 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.3503 | μmol/L | 13.884 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.247 | 92855.8112 | 287268.8386 | 30.45 | 114.2
236098 | 2022-04-26 16:00 | 22.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.253 | μmol/L | 13.8963 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.247 | 92859.2344 | 287271.9231 | 30.45 | 114.2
236108 | 2022-04-26 16:00 | 22.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.2316 | μmol/L | 13.8963 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.248 | 92875.4147 | 287274.8033 | 30.45 | 114.2
236118 | 2022-04-26 16:00 | 22.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.054 | μmol/L | 13.9024 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.254 | 92883.5642 | 287239.7968 | 30.45 | 114.2
236128 | 2022-04-26 16:01 | 23.0028 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.0269 | μmol/L | 13.9086 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.253 | 92904.7211 | 287252.4419 | 30.45 | 114.2
236138 | 2022-04-26 16:01 | 23.336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.8925 | μmol/L | 13.9147 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.257 | 92908.4365 | 287219.0816 | 30.45 | 114.2
236148 | 2022-04-26 16:01 | 23.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6882 | μmol/L | 13.927 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.262 | 92922.8215 | 287219.7594 | 30.45 | 114.2
236158 | 2022-04-26 16:02 | 24.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.5484 | μmol/L | 13.9392 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.264 | 92933.3524 | 287220.2577 | 30.45 | 114.2
236168 | 2022-04-26 16:02 | 24.3361 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.4301 | μmol/L | 13.9515 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.265 | 92940.16 | 287211.5577 | 30.45 | 114.2
236178 | 2022-04-26 16:02 | 24.6692 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.3817 | μmol/L | 13.9577 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.265 | 92945.6907 | 287201.2748 | 30.45 | 114.2
236188 | 2022-04-26 16:03 | 25.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.3063 | μmol/L | 13.9699 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.264 | 92948.0729 | 287178.1533 | 30.45 | 114.2
236198 | 2022-04-26 16:03 | 25.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.2365 | μmol/L | 13.9761 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.265 | 92939.8934 | 287170.6236 | 30.45 | 114.2
236208 | 2022-04-26 16:03 | 25.6695 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0114 | μmol/L | 13.9883 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.271 | 92953.5526 | 287156.9188 | 30.45 | 114.2
236218 | 2022-04-26 16:04 | 26.0026 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.9789 | μmol/L | 14.0006 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.268 | 92953.0031 | 287161.9107 | 30.45 | 114.2
236228 | 2022-04-26 16:04 | 26.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.9362 | μmol/L | 14.0006 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.27 | 92951.711 | 287135.5304 | 30.45 | 114.2
236238 | 2022-04-26 16:04 | 26.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.8451 | μmol/L | 14.0067 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.272 | 92945.0449 | 287136.3728 | 30.45 | 114.2
236248 | 2022-04-26 16:05 | 27.0028 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7913 | μmol/L | 14.019 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.27 | 92943.0996 | 287119.9935 | 30.45 | 114.2
236258 | 2022-04-26 16:05 | 27.336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6735 | μmol/L | 14.0313 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.271 | 92940.2239 | 287093.9022 | 30.45 | 114.2
236268 | 2022-04-26 16:05 | 27.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.7589 | μmol/L | 14.0313 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.267 | 92928.6737 | 287085.4185 | 30.45 | 114.2
236278 | 2022-04-26 16:06 | 28.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.5715 | μmol/L | 14.0497 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.269 | 92928.9382 | 287076.3214 | 30.45 | 114.2
236288 | 2022-04-26 16:06 | 28.3361 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.4593 | μmol/L | 14.0558 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.272 | 92927.0928 | 287072.1415 | 30.45 | 114.2
236298 | 2022-04-26 16:06 | 28.6694 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.4269 | μmol/L | 14.0681 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.269 | 92921.6298 | 287061.4564 | 30.45 | 114.2
236308 | 2022-04-26 16:07 | 29.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.3733 | μmol/L | 14.0803 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.267 | 92924.8292 | 287050.3955 | 30.45 | 114.2
236318 | 2022-04-26 16:07 | 29.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.1279 | μmol/L | 14.0926 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.274 | 92924.1668 | 287053.9458 | 30.45 | 114.2
236328 | 2022-04-26 16:07 | 29.6695 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.2557 | μmol/L | 14.0926 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.268 | 92919.9312 | 287052.6816 | 30.45 | 114.2
236338 | 2022-04-26 16:08 | 30.0026 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.0743 | μmol/L | 14.1049 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.272 | 92922.7631 | 287037.0834 | 30.45 | 114.2
236348 | 2022-04-26 16:08 | 30.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.0262 | μmol/L | 14.111 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.272 | 92933.5798 | 287040.2425 | 30.45 | 114.2
236358 | 2022-04-26 16:08 | 30.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.0475 | μmol/L | 14.111 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.271 | 92933.8777 | 287033.7241 | 30.45 | 114.2
236368 | 2022-04-26 16:09 | 31.0028 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8505 | μmol/L | 14.1172 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.278 | 92935.2677 | 287032.7688 | 30.45 | 114.2
236378 | 2022-04-26 16:09 | 31.3359 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.749 | μmol/L | 14.1356 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.276 | 92931.7806 | 287016.5305 | 30.45 | 114.2
236388 | 2022-04-26 16:09 | 31.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.749 | μmol/L | 14.1356 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.276 | 92941.4409 | 287007.4057 | 30.45 | 114.2
236398 | 2022-04-26 16:10 | 32.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.6531 | μmol/L | 14.1478 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.276 | 92938.4054 | 286993.7683 | 30.45 | 114.2
236408 | 2022-04-26 16:10 | 32.336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.5784 | μmol/L | 14.1601 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.275 | 92939.6403 | 287007.3494 | 30.45 | 114.2
236418 | 2022-04-26 16:10 | 32.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.403 | μmol/L | 14.1662 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.281 | 92950.0682 | 286991.4837 | 30.45 | 114.2
236428 | 2022-04-26 16:11 | 33.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.3284 | μmol/L | 14.1785 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.28 | 92943.8483 | 286972.4756 | 30.45 | 114.2