## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
235443 | 2022-04-26 15:38 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0637 | μmol/L | 13.3874 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.287 | 101933.4288 | 259878.9939 | 32.55 | 27.7
235454 | 2022-04-26 15:38 | 0.33389 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0986 | μmol/L | 13.3751 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.29 | 101842.7964 | 259833.0568 | 32.55 | 27.7
235464 | 2022-04-26 15:38 | 0.66713 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0637 | μmol/L | 13.3874 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.287 | 101767.9978 | 259811.8025 | 32.55 | 27.7
235473 | 2022-04-26 15:39 | 1.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0157 | μmol/L | 13.4118 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.28 | 101697.4993 | 259771.3867 | 32.55 | 27.7
235483 | 2022-04-26 15:39 | 1.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1546 | μmol/L | 13.424 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.269 | 101644.0266 | 259749.8561 | 32.55 | 27.7
235494 | 2022-04-26 15:39 | 1.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2849 | μmol/L | 13.424 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.263 | 101623.0606 | 259728.8081 | 32.55 | 27.7
235504 | 2022-04-26 15:40 | 2.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1067 | μmol/L | 13.4484 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.262 | 101676.227 | 259701.6333 | 32.55 | 27.7
235514 | 2022-04-26 15:40 | 2.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2805 | μmol/L | 13.4484 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.254 | 101679.7115 | 259684.1198 | 32.55 | 27.7
235524 | 2022-04-26 15:40 | 2.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3393 | μmol/L | 13.4545 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.249 | 101669.4196 | 259678.807 | 32.55 | 27.7
235533 | 2022-04-26 15:41 | 2.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2175 | μmol/L | 13.4667 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.25 | 101670.5295 | 259656.3393 | 32.55 | 27.7
235544 | 2022-04-26 15:41 | 3.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2415 | μmol/L | 13.485 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.242 | 101644.9916 | 259629.1999 | 32.55 | 27.7
235554 | 2022-04-26 15:41 | 3.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0482 | μmol/L | 13.5034 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.244 | 101647.7422 | 259643.938 | 32.55 | 27.7
235564 | 2022-04-26 15:42 | 3.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0788 | μmol/L | 13.5156 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.238 | 101607.5667 | 259630.0481 | 32.55 | 27.7
235574 | 2022-04-26 15:42 | 4.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1311 | μmol/L | 13.5278 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.231 | 101579.9954 | 259619.4957 | 32.55 | 27.7
235584 | 2022-04-26 15:42 | 4.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0401 | μmol/L | 13.5522 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.226 | 101556.0636 | 259586.9385 | 32.55 | 27.7
235594 | 2022-04-26 15:43 | 5 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1578 | μmol/L | 13.5644 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.216 | 101529.0788 | 259589.6983 | 32.55 | 27.7
235604 | 2022-04-26 15:43 | 5.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.232 | μmol/L | 13.5766 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.208 | 101489.218 | 259574.2224 | 32.55 | 27.7
235614 | 2022-04-26 15:43 | 5.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1911 | μmol/L | 13.5949 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.203 | 101459.9847 | 259564.4468 | 32.55 | 27.7
235624 | 2022-04-26 15:44 | 6.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4088 | μmol/L | 13.5949 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.193 | 101430.1851 | 259565.2558 | 32.55 | 27.7
235634 | 2022-04-26 15:44 | 6.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3525 | μmol/L | 13.6072 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.191 | 101419.8648 | 259540.9318 | 32.55 | 27.7
235644 | 2022-04-26 15:44 | 6.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2745 | μmol/L | 13.6194 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.19 | 101397.0965 | 259551.2601 | 32.55 | 27.7
235654 | 2022-04-26 15:45 | 7.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4269 | μmol/L | 13.6194 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.183 | 101353.5331 | 259550.3917 | 32.55 | 27.7
235664 | 2022-04-26 15:45 | 7.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4733 | μmol/L | 13.6377 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.174 | 101312.4468 | 259542.3727 | 32.55 | 27.7
235674 | 2022-04-26 15:45 | 7.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.498 | μmol/L | 13.656 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.166 | 101277.3311 | 259533.0652 | 32.55 | 27.7
235684 | 2022-04-26 15:46 | 7.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7379 | μmol/L | 13.656 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.155 | 101227.032 | 259520.0374 | 32.55 | 27.7
235694 | 2022-04-26 15:46 | 8.3339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.719 | μmol/L | 13.6743 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.149 | 101182.2925 | 259506.4989 | 32.55 | 27.7
235704 | 2022-04-26 15:46 | 8.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9311 | μmol/L | 13.6804 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.137 | 101144.4616 | 259506.8282 | 32.55 | 27.7
235714 | 2022-04-26 15:47 | 9.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1059 | μmol/L | 13.6804 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.129 | 101105.6495 | 259506.7188 | 32.55 | 27.7
235724 | 2022-04-26 15:47 | 9.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2466 | μmol/L | 13.6926 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.118 | 101054.365 | 259496.6466 | 32.55 | 27.7
235734 | 2022-04-26 15:47 | 9.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3811 | μmol/L | 13.711 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.105 | 101010.8591 | 259492.3527 | 32.55 | 27.7
235744 | 2022-04-26 15:48 | 10.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4563 | μmol/L | 13.7232 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.097 | 100958.7752 | 259480.7395 | 32.55 | 27.7
235754 | 2022-04-26 15:48 | 10.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5973 | μmol/L | 13.7354 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.086 | 100915.0547 | 259471.5557 | 32.55 | 27.7
235764 | 2022-04-26 15:48 | 10.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.635 | μmol/L | 13.7415 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.082 | 100864.2562 | 259472.612 | 32.55 | 27.7
235773 | 2022-04-26 15:49 | 11.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8578 | μmol/L | 13.7598 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.065 | 100681.9832 | 259463.0677 | 32.55 | 27.7
235783 | 2022-04-26 15:49 | 11.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9993 | μmol/L | 13.772 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.054 | 100685.8584 | 259456.9958 | 32.55 | 27.7
235794 | 2022-04-26 15:49 | 11.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3634 | μmol/L | 13.7598 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.042 | 100639.3162 | 259452.0745 | 32.55 | 27.7
235804 | 2022-04-26 15:50 | 12.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4049 | μmol/L | 13.7842 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.031 | 100602.4067 | 259436.0965 | 32.55 | 27.7
235813 | 2022-04-26 15:50 | 12.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3425 | μmol/L | 13.8026 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.027 | 100570.3237 | 259429.1775 | 32.55 | 27.7
235823 | 2022-04-26 15:50 | 12.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3964 | μmol/L | 13.8148 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.02 | 100531.718 | 259423.5249 | 32.55 | 27.7
235833 | 2022-04-26 15:51 | 12.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5886 | μmol/L | 13.8209 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.009 | 100501.1257 | 259414.5741 | 32.55 | 27.7
235844 | 2022-04-26 15:51 | 13.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6426 | μmol/L | 13.8331 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 23.002 | 100462.293 | 259408.5136 | 32.55 | 27.7
235854 | 2022-04-26 15:51 | 13.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8572 | μmol/L | 13.8392 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.99 | 100414.6639 | 259402.1436 | 32.55 | 27.7
235864 | 2022-04-26 15:52 | 14.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8732 | μmol/L | 13.8453 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.987 | 100394.1505 | 259386.7604 | 32.55 | 27.7
235873 | 2022-04-26 15:52 | 14.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8992 | μmol/L | 13.8636 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.979 | 100365.4609 | 259383.6616 | 32.55 | 27.7
235883 | 2022-04-26 15:52 | 14.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0036 | μmol/L | 13.8697 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.972 | 100344.7337 | 259378.0735 | 32.55 | 27.7
235894 | 2022-04-26 15:53 | 15.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1524 | μmol/L | 13.8758 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.963 | 100305.9868 | 259365.9651 | 32.55 | 27.7
235903 | 2022-04-26 15:53 | 15.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1403 | μmol/L | 13.888 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.959 | 100265.2621 | 259353.6187 | 32.55 | 27.7
235913 | 2022-04-26 15:53 | 15.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1505 | μmol/L | 13.9003 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.954 | 100227.6094 | 259340.5047 | 32.55 | 27.7
235924 | 2022-04-26 15:54 | 16.0007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.233 | μmol/L | 13.9064 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.948 | 100203.0916 | 259340.6054 | 32.55 | 27.7
235934 | 2022-04-26 15:54 | 16.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.3538 | μmol/L | 13.9186 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.938 | 100167.2616 | 259325.7726 | 32.55 | 27.7
235944 | 2022-04-26 15:54 | 16.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.4143 | μmol/L | 13.9247 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.933 | 100148.9653 | 259337.321 | 32.55 | 27.7
235954 | 2022-04-26 15:55 | 17 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2857 | μmol/L | 13.943 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.932 | 100130.5963 | 259335.1518 | 32.55 | 27.7
235964 | 2022-04-26 15:55 | 17.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2739 | μmol/L | 13.9552 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.928 | 100110.9417 | 259330.4899 | 32.55 | 27.7
235973 | 2022-04-26 15:55 | 17.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.423 | μmol/L | 13.9613 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.919 | 100084.789 | 259311.9605 | 32.55 | 27.7
235983 | 2022-04-26 15:56 | 17.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.389 | μmol/L | 13.9735 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.916 | 100083.1403 | 259317.6765 | 32.55 | 27.7
235994 | 2022-04-26 15:56 | 18.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.4998 | μmol/L | 13.9735 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.911 | 100071.8249 | 259317.4653 | 32.55 | 27.7
236003 | 2022-04-26 15:56 | 18.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.4939 | μmol/L | 13.9796 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.909 | 100056.4496 | 259309.047 | 32.55 | 27.7
236014 | 2022-04-26 15:57 | 18.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.3491 | μmol/L | 13.9919 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.911 | 100055.2273 | 259309.7788 | 32.55 | 27.7
236023 | 2022-04-26 15:57 | 19.3339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2872 | μmol/L | 14.0102 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.907 | 100055.7919 | 259295.1065 | 32.55 | 27.7
236034 | 2022-04-26 15:57 | 19.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.209 | μmol/L | 14.0224 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.906 | 100048.5094 | 259278.9168 | 32.55 | 27.7
236044 | 2022-04-26 15:58 | 20.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.181 | μmol/L | 14.0285 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.905 | 100050.833 | 259277.8607 | 32.55 | 27.7
236053 | 2022-04-26 15:58 | 20.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0749 | μmol/L | 14.0468 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.903 | 100049.9361 | 259268.907 | 32.55 | 27.7
236063 | 2022-04-26 15:58 | 20.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0866 | μmol/L | 14.0346 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.907 | 100054.6069 | 259269.9244 | 32.55 | 27.7
236074 | 2022-04-26 15:59 | 21.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8921 | μmol/L | 14.0529 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.909 | 100055.4044 | 259251.4206 | 32.55 | 27.7
236083 | 2022-04-26 15:59 | 21.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8141 | μmol/L | 14.0651 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.908 | 100065.0247 | 259247.4346 | 32.55 | 27.7
236093 | 2022-04-26 15:59 | 21.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6477 | μmol/L | 14.0774 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.911 | 100084.7523 | 259251.114 | 32.55 | 27.7
236104 | 2022-04-26 16:00 | 21.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5815 | μmol/L | 14.0774 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.914 | 100101.6714 | 259234.2286 | 32.55 | 27.7
236113 | 2022-04-26 16:00 | 22.3339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2771 | μmol/L | 14.0957 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.921 | 100131.9844 | 259229.9593 | 32.55 | 27.7
236123 | 2022-04-26 16:00 | 22.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1831 | μmol/L | 14.1018 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.923 | 100152.1751 | 259218.6996 | 32.55 | 27.7
236134 | 2022-04-26 16:01 | 23.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0009 | μmol/L | 14.1079 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.929 | 100176.9728 | 259206.141 | 32.55 | 27.7
236143 | 2022-04-26 16:01 | 23.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.841 | μmol/L | 14.114 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.934 | 100202.111 | 259191.1833 | 32.55 | 27.7
236153 | 2022-04-26 16:01 | 23.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6753 | μmol/L | 14.1262 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.937 | 100219.7331 | 259183.676 | 32.55 | 27.7
236164 | 2022-04-26 16:02 | 24.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5376 | μmol/L | 14.1323 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.941 | 100245.7006 | 259178.4948 | 32.55 | 27.7
236174 | 2022-04-26 16:02 | 24.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3502 | μmol/L | 14.1445 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.945 | 100263.2055 | 259164.8959 | 32.55 | 27.7
236183 | 2022-04-26 16:02 | 24.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2346 | μmol/L | 14.1506 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.948 | 100282.7241 | 259164.3886 | 32.55 | 27.7
236194 | 2022-04-26 16:03 | 25.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0532 | μmol/L | 14.1567 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.954 | 100298.7407 | 259145.6813 | 32.55 | 27.7
236203 | 2022-04-26 16:03 | 25.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9597 | μmol/L | 14.1629 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.956 | 100316.3158 | 259145.1557 | 32.55 | 27.7
236213 | 2022-04-26 16:03 | 25.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9759 | μmol/L | 14.169 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.953 | 100322.0522 | 259133.105 | 32.55 | 27.7
236223 | 2022-04-26 16:04 | 25.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7613 | μmol/L | 14.1873 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.956 | 100330.8155 | 259129.4648 | 32.55 | 27.7
236233 | 2022-04-26 16:04 | 26.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.646 | μmol/L | 14.1934 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.959 | 100334.2343 | 259111.9056 | 32.55 | 27.7
236244 | 2022-04-26 16:04 | 26.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6127 | μmol/L | 14.2056 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.956 | 100342.4299 | 259114.792 | 32.55 | 27.7
236254 | 2022-04-26 16:05 | 27.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.607 | μmol/L | 14.2117 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.954 | 100338.2213 | 259113.3974 | 32.55 | 27.7
236264 | 2022-04-26 16:05 | 27.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.486 | μmol/L | 14.2239 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.955 | 100320.6604 | 259091.2514 | 32.55 | 27.7
236273 | 2022-04-26 16:05 | 27.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4641 | μmol/L | 14.2239 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.956 | 100303.049 | 259079.1627 | 32.55 | 27.7
236284 | 2022-04-26 16:06 | 28.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5403 | μmol/L | 14.2361 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.948 | 100298.5783 | 259063.9419 | 32.55 | 27.7
236294 | 2022-04-26 16:06 | 28.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4195 | μmol/L | 14.2484 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.949 | 100279.1917 | 259065.1387 | 32.55 | 27.7
236304 | 2022-04-26 16:06 | 28.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4633 | μmol/L | 14.2484 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.947 | 100265.2338 | 259047.4161 | 32.55 | 27.7
236314 | 2022-04-26 16:07 | 28.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3806 | μmol/L | 14.2667 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.944 | 100265.0385 | 259050.062 | 32.55 | 27.7
236323 | 2022-04-26 16:07 | 29.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3806 | μmol/L | 14.2667 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.944 | 100258.99 | 259046.4151 | 32.55 | 27.7
236334 | 2022-04-26 16:07 | 29.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2817 | μmol/L | 14.2789 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.944 | 100253.0215 | 259046.7373 | 32.55 | 27.7
236344 | 2022-04-26 16:08 | 30.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2598 | μmol/L | 14.2789 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.945 | 100259.7785 | 259036.0304 | 32.55 | 27.7
236353 | 2022-04-26 16:08 | 30.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1335 | μmol/L | 14.2972 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.944 | 100250.6621 | 259033.0966 | 32.55 | 27.7
236364 | 2022-04-26 16:08 | 30.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1935 | μmol/L | 14.3033 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.939 | 100250.7045 | 259016.6575 | 32.55 | 27.7
236374 | 2022-04-26 16:09 | 31.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.166 | μmol/L | 14.3094 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.938 | 100238.8547 | 259010.4137 | 32.55 | 27.7
236384 | 2022-04-26 16:09 | 31.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0729 | μmol/L | 14.3155 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.94 | 100249.1126 | 259014.0195 | 32.55 | 27.7
236393 | 2022-04-26 16:09 | 31.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0398 | μmol/L | 14.3277 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.937 | 100250.9424 | 259010.2411 | 32.55 | 27.7
236404 | 2022-04-26 16:10 | 32.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8868 | μmol/L | 14.3277 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.944 | 100255.4359 | 258979.9631 | 32.55 | 27.7
236414 | 2022-04-26 16:10 | 32.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8101 | μmol/L | 14.34 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.943 | 100267.211 | 258979.5653 | 32.55 | 27.7
236423 | 2022-04-26 16:10 | 32.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6461 | μmol/L | 14.3522 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.946 | 100260.2661 | 258968.2214 | 32.55 | 27.7
236432 | 2022-04-26 16:11 | 32.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6024 | μmol/L | 14.3522 | °C | 1018 | hPa | Humid | 28 | 0 | 0 | 22.948 | 100273.6964 | 258965.272 | 32.55 | 27.7