## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 14:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
236433 | 2022-05-10 14:02 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 229.3729 | μmol/L | 18.7566 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.656 | 130108.1436 | 271059.7733 | 33.25 | 75.7
236444 | 2022-05-10 14:02 | 0.40719 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 227.2763 | μmol/L | 18.7566 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.764 | 130792.2509 | 271016.5215 | 33.25 | 75.7
236453 | 2022-05-10 14:02 | 0.66817 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 226.5994 | μmol/L | 18.7628 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.797 | 130984.7022 | 270973.4552 | 33.25 | 75.7
236463 | 2022-05-10 14:03 | 1.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 225.7744 | μmol/L | 18.7628 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.84 | 131189.0119 | 270910.7145 | 33.25 | 75.7
236473 | 2022-05-10 14:03 | 1.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 225.1029 | μmol/L | 18.7689 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.873 | 131374.4648 | 270857.9112 | 33.25 | 75.7
236483 | 2022-05-10 14:03 | 1.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 224.4719 | μmol/L | 18.775 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.904 | 131547.0554 | 270810.0243 | 33.25 | 75.7
236493 | 2022-05-10 14:04 | 2.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 223.8268 | μmol/L | 18.775 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.938 | 131708.3615 | 270766.6762 | 33.25 | 75.7
236503 | 2022-05-10 14:04 | 2.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 223.2729 | μmol/L | 18.7873 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.963 | 131854.2924 | 270706.5173 | 33.25 | 75.7
236513 | 2022-05-10 14:04 | 2.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 222.7422 | μmol/L | 18.7934 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.989 | 131990.4131 | 270655.3721 | 33.25 | 75.7
236523 | 2022-05-10 14:05 | 3.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 222.1943 | μmol/L | 18.7996 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.016 | 132101.5648 | 270595.3229 | 33.25 | 75.7
236533 | 2022-05-10 14:05 | 3.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.7763 | μmol/L | 18.8118 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.034 | 132212.1151 | 270555.5323 | 33.25 | 75.7
236543 | 2022-05-10 14:05 | 3.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.2872 | μmol/L | 18.818 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.058 | 132318.9407 | 270499.1046 | 33.25 | 75.7
236553 | 2022-05-10 14:06 | 4.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 220.8553 | μmol/L | 18.8241 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.079 | 132417.5955 | 270446.8113 | 33.25 | 75.7
236563 | 2022-05-10 14:06 | 4.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 220.443 | μmol/L | 18.8302 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.099 | 132497.6533 | 270391.4763 | 33.25 | 75.7
236573 | 2022-05-10 14:06 | 4.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 220.0873 | μmol/L | 18.8364 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.116 | 132597.0284 | 270361.954 | 33.25 | 75.7
236583 | 2022-05-10 14:07 | 5.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 219.7907 | μmol/L | 18.8364 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.132 | 132676.7247 | 270320.8354 | 33.25 | 75.7
236593 | 2022-05-10 14:07 | 5.3346 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 219.3993 | μmol/L | 18.8425 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.151 | 132745.2237 | 270257.006 | 33.25 | 75.7
236603 | 2022-05-10 14:07 | 5.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 219.0059 | μmol/L | 18.8548 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.168 | 132816.3331 | 270210.8101 | 33.25 | 75.7
236613 | 2022-05-10 14:08 | 6.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 218.5949 | μmol/L | 18.867 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.186 | 132886.4115 | 270162.8348 | 33.25 | 75.7
236623 | 2022-05-10 14:08 | 6.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 218.353 | μmol/L | 18.8732 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.197 | 132950.2208 | 270115.355 | 33.25 | 75.7
236633 | 2022-05-10 14:08 | 6.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 218.093 | μmol/L | 18.8793 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.209 | 132984.3551 | 270053.2138 | 33.25 | 75.7
236643 | 2022-05-10 14:09 | 7.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 217.8123 | μmol/L | 18.8916 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.22 | 133026.4963 | 270009.5569 | 33.25 | 75.7
236653 | 2022-05-10 14:09 | 7.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 217.5925 | μmol/L | 18.8916 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.232 | 133043.9609 | 269964.5635 | 33.25 | 75.7
236663 | 2022-05-10 14:09 | 7.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 217.3674 | μmol/L | 18.9038 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.24 | 133073.8451 | 269914.615 | 33.25 | 75.7
236673 | 2022-05-10 14:10 | 8.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 217.2029 | μmol/L | 18.9038 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.249 | 133094.9496 | 269861.4234 | 33.25 | 75.7
236683 | 2022-05-10 14:10 | 8.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 216.96 | μmol/L | 18.9161 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.258 | 133112.5778 | 269817.3166 | 33.25 | 75.7
236693 | 2022-05-10 14:10 | 8.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 216.8323 | μmol/L | 18.9161 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.265 | 133131.3925 | 269773.6306 | 33.25 | 75.7
236703 | 2022-05-10 14:11 | 9.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 216.7048 | μmol/L | 18.9161 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.272 | 133145.9647 | 269720.2256 | 33.25 | 75.7
236713 | 2022-05-10 14:11 | 9.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 216.5563 | μmol/L | 18.9222 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.278 | 133149.5159 | 269666.2429 | 33.25 | 75.7
236723 | 2022-05-10 14:11 | 9.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 216.3897 | μmol/L | 18.9284 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.285 | 133158.1062 | 269641.7212 | 33.25 | 75.7
236733 | 2022-05-10 14:12 | 10.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 216.3142 | μmol/L | 18.9345 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.287 | 133153.2523 | 269586.4148 | 33.25 | 75.7
236743 | 2022-05-10 14:12 | 10.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 216.1507 | μmol/L | 18.9345 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.296 | 133147.4617 | 269528.2048 | 33.25 | 75.7
236753 | 2022-05-10 14:12 | 10.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 216.0934 | μmol/L | 18.9406 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.297 | 133162.4525 | 269496.78 | 33.25 | 75.7
236763 | 2022-05-10 14:13 | 11.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 215.9272 | μmol/L | 18.9468 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.304 | 133157.0362 | 269448.2515 | 33.25 | 75.7
236773 | 2022-05-10 14:13 | 11.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 215.7975 | μmol/L | 18.9529 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.309 | 133155.4213 | 269408.1362 | 33.25 | 75.7
236783 | 2022-05-10 14:13 | 11.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 215.6859 | μmol/L | 18.959 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.313 | 133141.9479 | 269365.7847 | 33.25 | 75.7
236793 | 2022-05-10 14:14 | 12.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 215.5953 | μmol/L | 18.959 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.318 | 133145.6241 | 269325.4775 | 33.25 | 75.7
236803 | 2022-05-10 14:14 | 12.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 215.4449 | μmol/L | 18.9713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.322 | 133148.7676 | 269285.4209 | 33.25 | 75.7
236813 | 2022-05-10 14:14 | 12.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 215.3183 | μmol/L | 18.9713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.329 | 133153.2921 | 269238.2202 | 33.25 | 75.7
236823 | 2022-05-10 14:15 | 13.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 215.1681 | μmol/L | 18.9836 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.333 | 133154.1118 | 269194.6928 | 33.25 | 75.7
236833 | 2022-05-10 14:15 | 13.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 215.0388 | μmol/L | 18.9897 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.338 | 133159.6599 | 269154.0583 | 33.25 | 75.7
236843 | 2022-05-10 14:15 | 13.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.8764 | μmol/L | 18.9897 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.347 | 133158.4626 | 269126.4919 | 33.25 | 75.7
236853 | 2022-05-10 14:16 | 14.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.8043 | μmol/L | 18.9897 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.351 | 133155.814 | 269086.6933 | 33.25 | 75.7
236863 | 2022-05-10 14:16 | 14.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.6545 | μmol/L | 19.002 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.355 | 133140.1074 | 269047.5939 | 33.25 | 75.7
236873 | 2022-05-10 14:16 | 14.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.6545 | μmol/L | 19.002 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.355 | 133117.1769 | 269003.988 | 33.25 | 75.7
236883 | 2022-05-10 14:17 | 15.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.5408 | μmol/L | 19.0142 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.357 | 133106.5134 | 268965.2152 | 33.25 | 75.7
236893 | 2022-05-10 14:17 | 15.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.4328 | μmol/L | 19.0142 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.363 | 133097.3883 | 268926.1585 | 33.25 | 75.7
236903 | 2022-05-10 14:17 | 15.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.304 | μmol/L | 19.0204 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.368 | 133077.7356 | 268880.2072 | 33.25 | 75.7
236913 | 2022-05-10 14:18 | 16.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.322 | μmol/L | 19.0204 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.367 | 133070.7211 | 268859.6636 | 33.25 | 75.7
236923 | 2022-05-10 14:18 | 16.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.1905 | μmol/L | 19.0326 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.37 | 133068.3378 | 268818.1443 | 33.25 | 75.7
236933 | 2022-05-10 14:18 | 16.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.1159 | μmol/L | 19.0388 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.372 | 133060.5085 | 268779.5979 | 33.25 | 75.7
236943 | 2022-05-10 14:19 | 17.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.044 | μmol/L | 19.0388 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.376 | 133063.1373 | 268747.7881 | 33.25 | 75.7
236953 | 2022-05-10 14:19 | 17.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 214.044 | μmol/L | 19.0388 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.376 | 133040.523 | 268719.9017 | 33.25 | 75.7
236963 | 2022-05-10 14:19 | 17.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.8768 | μmol/L | 19.051 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.381 | 133020.4546 | 268684.3722 | 33.25 | 75.7
236973 | 2022-05-10 14:20 | 18.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.8382 | μmol/L | 19.0572 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.381 | 132999.7127 | 268646.6863 | 33.25 | 75.7
236983 | 2022-05-10 14:20 | 18.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.874 | μmol/L | 19.0572 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.379 | 132976.2967 | 268621.5448 | 33.25 | 75.7
236993 | 2022-05-10 14:20 | 18.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.7457 | μmol/L | 19.0633 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.384 | 132961.4741 | 268589.8079 | 33.25 | 75.7
237003 | 2022-05-10 14:21 | 19.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.7249 | μmol/L | 19.0694 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.383 | 132942.7476 | 268558.2791 | 33.25 | 75.7
237013 | 2022-05-10 14:21 | 19.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.7457 | μmol/L | 19.0633 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.384 | 132938.8314 | 268521.7135 | 33.25 | 75.7
237023 | 2022-05-10 14:21 | 19.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.5608 | μmol/L | 19.0756 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.39 | 132928.3297 | 268484.1954 | 33.25 | 75.7
237033 | 2022-05-10 14:22 | 20.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.5429 | μmol/L | 19.0756 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.391 | 132918.1173 | 268459.9484 | 33.25 | 75.7
237043 | 2022-05-10 14:22 | 20.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.4685 | μmol/L | 19.0817 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.393 | 132923.009 | 268429.099 | 33.25 | 75.7
237053 | 2022-05-10 14:22 | 20.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.3046 | μmol/L | 19.0878 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.4 | 132916.0114 | 268400.5514 | 33.25 | 75.7
237063 | 2022-05-10 14:23 | 21.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.2839 | μmol/L | 19.094 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.399 | 132920.4543 | 268369.618 | 33.25 | 75.7
237073 | 2022-05-10 14:23 | 21.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.1945 | μmol/L | 19.094 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.404 | 132909.8418 | 268335.0211 | 33.25 | 75.7
237083 | 2022-05-10 14:23 | 21.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.0638 | μmol/L | 19.1062 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.407 | 132902.0023 | 268304.2835 | 33.25 | 75.7
237093 | 2022-05-10 14:24 | 22.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 213.1202 | μmol/L | 19.1001 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.406 | 132899.0361 | 268278.5434 | 33.25 | 75.7
237103 | 2022-05-10 14:24 | 22.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.9745 | μmol/L | 19.1062 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.412 | 132881.9351 | 268246.9848 | 33.25 | 75.7
237113 | 2022-05-10 14:24 | 22.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.9031 | μmol/L | 19.1062 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.416 | 132925.2192 | 268214.3468 | 33.25 | 75.7
237123 | 2022-05-10 14:25 | 23.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.7191 | μmol/L | 19.1185 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.422 | 132926.5645 | 268179.9368 | 33.25 | 75.7
237133 | 2022-05-10 14:25 | 23.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.6835 | μmol/L | 19.1185 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.424 | 132929.5142 | 268147.832 | 33.25 | 75.7
237143 | 2022-05-10 14:25 | 23.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.6272 | μmol/L | 19.1246 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.425 | 132941.7222 | 268113.2986 | 33.25 | 75.7
237153 | 2022-05-10 14:26 | 24.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.4285 | μmol/L | 19.1308 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.434 | 132946.7898 | 268096.1189 | 33.25 | 75.7
237163 | 2022-05-10 14:26 | 24.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.4257 | μmol/L | 19.1369 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.432 | 132945.7893 | 268067.9724 | 33.25 | 75.7
237173 | 2022-05-10 14:26 | 24.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.2833 | μmol/L | 19.1369 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.44 | 132956.4027 | 268033.1846 | 33.25 | 75.7
237183 | 2022-05-10 14:27 | 25.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.1916 | μmol/L | 19.143 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.443 | 132958.6435 | 268009.6127 | 33.25 | 75.7
237193 | 2022-05-10 14:27 | 25.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.0644 | μmol/L | 19.1492 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.448 | 132956.9862 | 267984.8864 | 33.25 | 75.7
237203 | 2022-05-10 14:27 | 25.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.0083 | μmol/L | 19.1553 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.449 | 132964.8185 | 267960.1421 | 33.25 | 75.7
237213 | 2022-05-10 14:28 | 26.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 211.9195 | μmol/L | 19.1553 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.454 | 132968.1933 | 267939.7658 | 33.25 | 75.7
237223 | 2022-05-10 14:28 | 26.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 211.7924 | μmol/L | 19.1614 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.459 | 132968.0883 | 267909.5255 | 33.25 | 75.7
237233 | 2022-05-10 14:28 | 26.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 211.7747 | μmol/L | 19.1614 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.46 | 132968.5263 | 267871.6802 | 33.25 | 75.7
237243 | 2022-05-10 14:29 | 27.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 211.6506 | μmol/L | 19.1614 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.467 | 132974.043 | 267842.4563 | 33.25 | 75.7