## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 14:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
236436 | 2022-05-10 14:02 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 234.7252 | μmol/L | 18.6215 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.459 | 76737.5107 | 291782.6856 | 28.7 | 67.6
236446 | 2022-05-10 14:02 | 0.34606 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 234.317 | μmol/L | 18.6336 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.475 | 76764.8251 | 291739.3358 | 28.7 | 67.6
236456 | 2022-05-10 14:02 | 0.67411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 233.9297 | μmol/L | 18.6458 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.49 | 76776.3904 | 291699.9222 | 28.7 | 67.6
236466 | 2022-05-10 14:03 | 1.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 233.6677 | μmol/L | 18.6458 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.503 | 76802.7564 | 291622.6223 | 28.7 | 67.6
236476 | 2022-05-10 14:03 | 1.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 233.2213 | μmol/L | 18.658 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.521 | 76824.4392 | 291585.6266 | 28.7 | 67.6
236486 | 2022-05-10 14:03 | 1.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 233.141 | μmol/L | 18.658 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.525 | 76846.9315 | 291518.7906 | 28.7 | 67.6
236496 | 2022-05-10 14:04 | 2.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 232.6156 | μmol/L | 18.6701 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.547 | 76861.0221 | 291450.0862 | 28.7 | 67.6
236506 | 2022-05-10 14:04 | 2.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 232.3535 | μmol/L | 18.6762 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.558 | 76861.2408 | 291396.8227 | 28.7 | 67.6
236516 | 2022-05-10 14:04 | 2.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 232.2334 | μmol/L | 18.6762 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.564 | 76867.5068 | 291338.4819 | 28.7 | 67.6
236526 | 2022-05-10 14:05 | 3.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 231.8701 | μmol/L | 18.6884 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.578 | 76872.767 | 291288.4031 | 28.7 | 67.6
236536 | 2022-05-10 14:05 | 3.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 231.7068 | μmol/L | 18.7006 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.582 | 76872.3136 | 291224.3592 | 28.7 | 67.6
236546 | 2022-05-10 14:05 | 3.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 231.3662 | μmol/L | 18.7066 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.597 | 76867.2347 | 291166.2579 | 28.7 | 67.6
236556 | 2022-05-10 14:06 | 4.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 231.1255 | μmol/L | 18.7127 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.607 | 76872.4428 | 291108.7375 | 28.7 | 67.6
236566 | 2022-05-10 14:06 | 4.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 231.0044 | μmol/L | 18.7188 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.611 | 76870.4491 | 291051.9353 | 28.7 | 67.6
236576 | 2022-05-10 14:06 | 4.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.8039 | μmol/L | 18.7249 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.619 | 76880.5938 | 291009.3679 | 28.7 | 67.6
236586 | 2022-05-10 14:07 | 5.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.5224 | μmol/L | 18.737 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.629 | 76875.6316 | 290946.7796 | 28.7 | 67.6
236596 | 2022-05-10 14:07 | 5.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.3837 | μmol/L | 18.737 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.636 | 76864.691 | 290897.0923 | 28.7 | 67.6
236606 | 2022-05-10 14:07 | 5.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.1838 | μmol/L | 18.7431 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.644 | 76864.5143 | 290840.15 | 28.7 | 67.6
236616 | 2022-05-10 14:08 | 6.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.9445 | μmol/L | 18.7492 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.654 | 76869.1433 | 290780.3026 | 28.7 | 67.6
236626 | 2022-05-10 14:08 | 6.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.6266 | μmol/L | 18.7553 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.668 | 76874.8532 | 290718.0261 | 28.7 | 67.6
236636 | 2022-05-10 14:08 | 6.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.4651 | μmol/L | 18.7675 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.672 | 76868.2119 | 290667.6037 | 28.7 | 67.6
236646 | 2022-05-10 14:09 | 7.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.4275 | μmol/L | 18.7614 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.676 | 76860.7861 | 290621.2571 | 28.7 | 67.6
236656 | 2022-05-10 14:09 | 7.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.1873 | μmol/L | 18.7735 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.684 | 76847.8718 | 290565.5513 | 28.7 | 67.6
236666 | 2022-05-10 14:09 | 7.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.0673 | μmol/L | 18.7796 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.688 | 76860.5719 | 290520.4648 | 28.7 | 67.6
236676 | 2022-05-10 14:10 | 8.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.8098 | μmol/L | 18.7857 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.699 | 76856.2785 | 290452.3661 | 28.7 | 67.6
236686 | 2022-05-10 14:10 | 8.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.6507 | μmol/L | 18.7918 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.705 | 76847.7062 | 290410.4647 | 28.7 | 67.6
236696 | 2022-05-10 14:10 | 8.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.5666 | μmol/L | 18.81 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.703 | 76851.0574 | 290334.6574 | 28.7 | 67.6
236706 | 2022-05-10 14:11 | 9.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.4115 | μmol/L | 18.804 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.713 | 76837.7228 | 290283.5639 | 28.7 | 67.6
236716 | 2022-05-10 14:11 | 9.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.1762 | μmol/L | 18.804 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.725 | 76844.1366 | 290219.7917 | 28.7 | 67.6
236726 | 2022-05-10 14:11 | 9.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.9767 | μmol/L | 18.8161 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.731 | 76847.3544 | 290182.926 | 28.7 | 67.6
236736 | 2022-05-10 14:12 | 10.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.8593 | μmol/L | 18.8161 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.737 | 76840.5381 | 290141.4436 | 28.7 | 67.6
236746 | 2022-05-10 14:12 | 10.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.6014 | μmol/L | 18.8283 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.746 | 76829.3476 | 290061.0689 | 28.7 | 67.6
236756 | 2022-05-10 14:12 | 10.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.5409 | μmol/L | 18.8344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.747 | 76831.8876 | 290026.8137 | 28.7 | 67.6
236766 | 2022-05-10 14:13 | 11.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3829 | μmol/L | 18.8405 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.753 | 76828.425 | 289974.5313 | 28.7 | 67.6
236776 | 2022-05-10 14:13 | 11.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.1256 | μmol/L | 18.8526 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.762 | 76827.426 | 289926.1277 | 28.7 | 67.6
236786 | 2022-05-10 14:13 | 11.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.9114 | μmol/L | 18.8526 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.773 | 76836.6032 | 289887.0485 | 28.7 | 67.6
236796 | 2022-05-10 14:14 | 12.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8141 | μmol/L | 18.8526 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.778 | 76831.7581 | 289828.1732 | 28.7 | 67.6
236806 | 2022-05-10 14:14 | 12.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.6353 | μmol/L | 18.8648 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.783 | 76832.1757 | 289789.9642 | 28.7 | 67.6
236816 | 2022-05-10 14:14 | 12.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.5168 | μmol/L | 18.8709 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.787 | 76820.9486 | 289732.1276 | 28.7 | 67.6
236826 | 2022-05-10 14:15 | 13.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3013 | μmol/L | 18.877 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.796 | 76819.3838 | 289685.9738 | 28.7 | 67.6
236836 | 2022-05-10 14:15 | 13.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.2237 | μmol/L | 18.877 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.8 | 76822.4038 | 289631.217 | 28.7 | 67.6
236846 | 2022-05-10 14:15 | 13.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0105 | μmol/L | 18.877 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.811 | 76826.5701 | 289599.8155 | 28.7 | 67.6
236856 | 2022-05-10 14:16 | 14.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.813 | μmol/L | 18.8891 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.817 | 76828.0806 | 289549.3653 | 28.7 | 67.6
236866 | 2022-05-10 14:16 | 14.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7918 | μmol/L | 18.8952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.816 | 76810.6197 | 289499.689 | 28.7 | 67.6
236876 | 2022-05-10 14:16 | 14.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5771 | μmol/L | 18.9013 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.825 | 76810.2782 | 289456.5916 | 28.7 | 67.6
236886 | 2022-05-10 14:17 | 15.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4013 | μmol/L | 18.9074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.832 | 76812.6767 | 289411.8204 | 28.7 | 67.6
236896 | 2022-05-10 14:17 | 15.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.2854 | μmol/L | 18.9074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.838 | 76816.5047 | 289374.6167 | 28.7 | 67.6
236906 | 2022-05-10 14:17 | 15.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.9759 | μmol/L | 18.9256 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.848 | 76817.4884 | 289333.1456 | 28.7 | 67.6
236916 | 2022-05-10 14:18 | 16.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.9519 | μmol/L | 18.9256 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.849 | 76820.5319 | 289300.9643 | 28.7 | 67.6
236926 | 2022-05-10 14:18 | 16.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.7978 | μmol/L | 18.9256 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.857 | 76815.1216 | 289253.1512 | 28.7 | 67.6
236936 | 2022-05-10 14:18 | 16.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.6611 | μmol/L | 18.9317 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.862 | 76823.5422 | 289232.5945 | 28.7 | 67.6
236946 | 2022-05-10 14:19 | 17.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.4265 | μmol/L | 18.9439 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.87 | 76826.7234 | 289194.4439 | 28.7 | 67.6
236956 | 2022-05-10 14:19 | 17.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.3286 | μmol/L | 18.9499 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.873 | 76817.8056 | 289153.8778 | 28.7 | 67.6
236966 | 2022-05-10 14:19 | 17.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.269 | μmol/L | 18.956 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.874 | 76825.562 | 289108.5436 | 28.7 | 67.6
236976 | 2022-05-10 14:20 | 18.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.9985 | μmol/L | 18.9621 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.886 | 76834.7778 | 289071.8265 | 28.7 | 67.6
236986 | 2022-05-10 14:20 | 18.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.8049 | μmol/L | 18.9682 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.894 | 76829.4241 | 289042.3642 | 28.7 | 67.6
236996 | 2022-05-10 14:20 | 18.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.6728 | μmol/L | 18.9621 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.903 | 76825.8234 | 289014.8425 | 28.7 | 67.6
237006 | 2022-05-10 14:21 | 19.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.5139 | μmol/L | 18.9804 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.905 | 76832.5455 | 288966.1028 | 28.7 | 67.6
237016 | 2022-05-10 14:21 | 19.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.4738 | μmol/L | 18.9864 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.905 | 76835.7906 | 288928.31 | 28.7 | 67.6
237026 | 2022-05-10 14:21 | 19.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.3017 | μmol/L | 18.9864 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.914 | 76836.8949 | 288892.3032 | 28.7 | 67.6
237036 | 2022-05-10 14:22 | 20.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.1069 | μmol/L | 18.9986 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.92 | 76848.6028 | 288862.6526 | 28.7 | 67.6
237046 | 2022-05-10 14:22 | 20.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.9753 | μmol/L | 18.9925 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.929 | 76846.1508 | 288841.3408 | 28.7 | 67.6
237056 | 2022-05-10 14:22 | 20.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.859 | μmol/L | 18.9986 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.933 | 76845.0551 | 288808.3236 | 28.7 | 67.6
237066 | 2022-05-10 14:23 | 21.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.7598 | μmol/L | 19.0108 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.934 | 76840.7994 | 288767.1241 | 28.7 | 67.6
237076 | 2022-05-10 14:23 | 21.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.6075 | μmol/L | 19.0108 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.942 | 76853.2715 | 288731.9032 | 28.7 | 67.6
237086 | 2022-05-10 14:23 | 21.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.5675 | μmol/L | 19.0169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.942 | 76852.7479 | 288681.8758 | 28.7 | 67.6
237096 | 2022-05-10 14:24 | 22.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.3982 | μmol/L | 19.0108 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.953 | 76854.3737 | 288650.1404 | 28.7 | 67.6
237106 | 2022-05-10 14:24 | 22.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.2423 | μmol/L | 19.0229 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.957 | 76856.6301 | 288620.0845 | 28.7 | 67.6
237116 | 2022-05-10 14:24 | 22.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.1283 | μmol/L | 19.0229 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.963 | 76850.9839 | 288588.6735 | 28.7 | 67.6
237126 | 2022-05-10 14:25 | 23.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.0295 | μmol/L | 19.0351 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.964 | 76857.7038 | 288554.6833 | 28.7 | 67.6
237136 | 2022-05-10 14:25 | 23.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.8568 | μmol/L | 19.0412 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.971 | 76855.2432 | 288533.3817 | 28.7 | 67.6
237146 | 2022-05-10 14:25 | 23.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.6464 | μmol/L | 19.0473 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.98 | 76853.8805 | 288483.3062 | 28.7 | 67.6
237156 | 2022-05-10 14:26 | 24.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.493 | μmol/L | 19.0534 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.986 | 76870.8656 | 288442.1057 | 28.7 | 67.6
237166 | 2022-05-10 14:26 | 24.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.3397 | μmol/L | 19.0594 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.992 | 76880.083 | 288424.2459 | 28.7 | 67.6
237176 | 2022-05-10 14:26 | 24.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.0751 | μmol/L | 19.0594 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.006 | 76906.6174 | 288398.513 | 28.7 | 67.6
237186 | 2022-05-10 14:27 | 25.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.0374 | μmol/L | 19.0594 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.008 | 76915.2143 | 288355.8008 | 28.7 | 67.6
237196 | 2022-05-10 14:27 | 25.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.7713 | μmol/L | 19.0655 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.02 | 76935.5883 | 288340.455 | 28.7 | 67.6
237206 | 2022-05-10 14:27 | 25.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.6017 | μmol/L | 19.0655 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.029 | 76951.0479 | 288291.6281 | 28.7 | 67.6
237216 | 2022-05-10 14:28 | 26.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.2422 | μmol/L | 19.0716 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.046 | 76978.759 | 288277.5 | 28.7 | 67.6
237226 | 2022-05-10 14:28 | 26.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.1255 | μmol/L | 19.0838 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.048 | 77006.2196 | 288227.1886 | 28.7 | 67.6
237236 | 2022-05-10 14:28 | 26.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.8271 | μmol/L | 19.0777 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.066 | 77039.966 | 288198.4615 | 28.7 | 67.6
237246 | 2022-05-10 14:29 | 27.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5794 | μmol/L | 19.0899 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.075 | 77074.8882 | 288166.7654 | 28.7 | 67.6