## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
237261 | 2022-05-10 14:50 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.407 | μmol/L | 17.8544 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.205 | 93089.6462 | 209519.5799 | 27.3 | 43.4
237271 | 2022-05-10 14:50 | 0.33906 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.1047 | μmol/L | 17.8788 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.21 | 93073.5319 | 209497.3479 | 27.3 | 43.4
237281 | 2022-05-10 14:50 | 0.67302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.9027 | μmol/L | 17.885 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.217 | 93060.1357 | 209486.1662 | 27.3 | 43.4
237291 | 2022-05-10 14:51 | 1.006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.7589 | μmol/L | 17.9033 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.217 | 93049.8458 | 209474.9821 | 27.3 | 43.4
237301 | 2022-05-10 14:51 | 1.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.5972 | μmol/L | 17.9155 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.22 | 93037.3397 | 209463.4169 | 27.3 | 43.4
237311 | 2022-05-10 14:51 | 1.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4137 | μmol/L | 17.9277 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.224 | 93025.3724 | 209457.6236 | 27.3 | 43.4
237321 | 2022-05-10 14:52 | 2.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.318 | μmol/L | 17.9399 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.224 | 93003.138 | 209442.3588 | 27.3 | 43.4
237331 | 2022-05-10 14:52 | 2.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.1347 | μmol/L | 17.9521 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.228 | 92996.2566 | 209431.0714 | 27.3 | 43.4
237341 | 2022-05-10 14:52 | 2.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.9515 | μmol/L | 17.9644 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.232 | 92981.6753 | 209415.3736 | 27.3 | 43.4
237351 | 2022-05-10 14:53 | 3.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.8123 | μmol/L | 17.9766 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.234 | 92986.002 | 209404.1194 | 27.3 | 43.4
237361 | 2022-05-10 14:53 | 3.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.7826 | μmol/L | 17.9888 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.231 | 92973.7326 | 209392.0195 | 27.3 | 43.4
237371 | 2022-05-10 14:53 | 3.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.6911 | μmol/L | 17.9949 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.233 | 92964.2982 | 209390.5846 | 27.3 | 43.4
237381 | 2022-05-10 14:54 | 4.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.4685 | μmol/L | 18.001 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.241 | 92962.4433 | 209374.5687 | 27.3 | 43.4
237391 | 2022-05-10 14:54 | 4.3393 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.4607 | μmol/L | 18.0132 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.237 | 92955.727 | 209360.0954 | 27.3 | 43.4
237401 | 2022-05-10 14:54 | 4.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.2086 | μmol/L | 18.0315 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.242 | 92959.5028 | 209354.0276 | 27.3 | 43.4
237411 | 2022-05-10 14:55 | 5.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.0223 | μmol/L | 18.0499 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.244 | 92957.9529 | 209348.1997 | 27.3 | 43.4
237421 | 2022-05-10 14:55 | 5.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.953 | μmol/L | 18.056 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.245 | 92950.9843 | 209341.3587 | 27.3 | 43.4
237431 | 2022-05-10 14:55 | 5.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.7016 | μmol/L | 18.0743 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.25 | 92954.1373 | 209337.5795 | 27.3 | 43.4
237441 | 2022-05-10 14:56 | 6.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.6798 | μmol/L | 18.0743 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.251 | 92953.6441 | 209322.2135 | 27.3 | 43.4
237451 | 2022-05-10 14:56 | 6.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5631 | μmol/L | 18.0865 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.252 | 92954.1372 | 209323.6903 | 27.3 | 43.4
237461 | 2022-05-10 14:56 | 6.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.2724 | μmol/L | 18.0987 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.261 | 92955.5985 | 209319.6777 | 27.3 | 43.4
237471 | 2022-05-10 14:57 | 7.006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.3121 | μmol/L | 18.1048 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.257 | 92960.508 | 209298.0733 | 27.3 | 43.4
237481 | 2022-05-10 14:57 | 7.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.1304 | μmol/L | 18.1171 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.261 | 92949.5436 | 209294.5011 | 27.3 | 43.4
237491 | 2022-05-10 14:57 | 7.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.0358 | μmol/L | 18.1293 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.261 | 92947.717 | 209287.6836 | 27.3 | 43.4
237501 | 2022-05-10 14:58 | 8.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.9885 | μmol/L | 18.1354 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.261 | 92952.6448 | 209274.4245 | 27.3 | 43.4
237511 | 2022-05-10 14:58 | 8.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.8978 | μmol/L | 18.1415 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.263 | 92945.5876 | 209271.2905 | 27.3 | 43.4
237521 | 2022-05-10 14:58 | 8.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.5824 | μmol/L | 18.1598 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.271 | 92946.9282 | 209259.1151 | 27.3 | 43.4
237531 | 2022-05-10 14:59 | 9.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.488 | μmol/L | 18.172 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.271 | 92944.0396 | 209256.957 | 27.3 | 43.4
237541 | 2022-05-10 14:59 | 9.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.4663 | μmol/L | 18.172 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.272 | 92936.6457 | 209247.3514 | 27.3 | 43.4
237551 | 2022-05-10 14:59 | 9.6728 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.4115 | μmol/L | 18.1904 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.268 | 92936.3516 | 209236.4311 | 27.3 | 43.4
237561 | 2022-05-10 15:00 | 10.0061 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.0752 | μmol/L | 18.2087 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.277 | 92938.1122 | 209224.6318 | 27.3 | 43.4
237571 | 2022-05-10 15:00 | 10.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.223 | μmol/L | 18.2148 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.268 | 92939.3026 | 209217.2718 | 27.3 | 43.4
237581 | 2022-05-10 15:00 | 10.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.2013 | μmol/L | 18.2148 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.269 | 92933.0832 | 209202.0629 | 27.3 | 43.4
237591 | 2022-05-10 15:01 | 11.0063 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.934 | μmol/L | 18.227 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.277 | 92919.5272 | 209201.1697 | 27.3 | 43.4
237601 | 2022-05-10 15:01 | 11.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.8616 | μmol/L | 18.2392 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.276 | 92914.1272 | 209195.2626 | 27.3 | 43.4
237611 | 2022-05-10 15:01 | 11.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.8145 | μmol/L | 18.2453 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.276 | 92891.3236 | 209187.4225 | 27.3 | 43.4
237621 | 2022-05-10 15:02 | 12.0061 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.7675 | μmol/L | 18.2514 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.276 | 92882.2991 | 209167.0513 | 27.3 | 43.4
237631 | 2022-05-10 15:02 | 12.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.6265 | μmol/L | 18.2698 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.276 | 92890.2687 | 209152.3123 | 27.3 | 43.4
237641 | 2022-05-10 15:02 | 12.673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.7346 | μmol/L | 18.2698 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.271 | 92870.5486 | 209146.0301 | 27.3 | 43.4
237651 | 2022-05-10 15:03 | 13.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.7055 | μmol/L | 18.282 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.268 | 92860.6201 | 209132.0994 | 27.3 | 43.4
237661 | 2022-05-10 15:03 | 13.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.4857 | μmol/L | 18.2881 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.276 | 92848.4486 | 209119.0793 | 27.3 | 43.4
237671 | 2022-05-10 15:03 | 13.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.3271 | μmol/L | 18.3003 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.279 | 92836.6078 | 209121.0748 | 27.3 | 43.4
237681 | 2022-05-10 15:04 | 14.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.3196 | μmol/L | 18.3125 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.275 | 92823.5884 | 209113.5421 | 27.3 | 43.4
237691 | 2022-05-10 15:04 | 14.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.298 | μmol/L | 18.3125 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.276 | 92823.5838 | 209095.8915 | 27.3 | 43.4
237701 | 2022-05-10 15:04 | 14.6729 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.1001 | μmol/L | 18.3186 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.283 | 92817.6931 | 209090.7963 | 27.3 | 43.4
237711 | 2022-05-10 15:05 | 15.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.0064 | μmol/L | 18.3309 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.283 | 92824.4139 | 209068.9999 | 27.3 | 43.4
237721 | 2022-05-10 15:05 | 15.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.895 | μmol/L | 18.337 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.286 | 92832.5572 | 209071.6137 | 27.3 | 43.4
237731 | 2022-05-10 15:05 | 15.673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.6255 | μmol/L | 18.3553 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.292 | 92843.5436 | 209041.7705 | 27.3 | 43.4
237741 | 2022-05-10 15:06 | 16.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.3385 | μmol/L | 18.3675 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.301 | 92872.8363 | 209036.314 | 27.3 | 43.4
237751 | 2022-05-10 15:06 | 16.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.1882 | μmol/L | 18.3675 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.308 | 92908.7263 | 209029.1557 | 27.3 | 43.4
237761 | 2022-05-10 15:06 | 16.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.8375 | μmol/L | 18.3797 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.32 | 92940.6603 | 209017.307 | 27.3 | 43.4
237771 | 2022-05-10 15:07 | 17.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.5767 | μmol/L | 18.3858 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.33 | 92992.2352 | 209018.2213 | 27.3 | 43.4
237781 | 2022-05-10 15:07 | 17.3394 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.2307 | μmol/L | 18.3919 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.344 | 93027.3904 | 209004.1019 | 27.3 | 43.4
237791 | 2022-05-10 15:07 | 17.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.9707 | μmol/L | 18.3981 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.354 | 93081.4114 | 208994.1044 | 27.3 | 43.4
237801 | 2022-05-10 15:08 | 18.0063 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.7286 | μmol/L | 18.4103 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.361 | 93120.1767 | 208985.0112 | 27.3 | 43.4
237811 | 2022-05-10 15:08 | 18.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.2776 | μmol/L | 18.4164 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.38 | 93164.1014 | 208977.8144 | 27.3 | 43.4
237821 | 2022-05-10 15:08 | 18.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 250.1712 | μmol/L | 18.4164 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.385 | 93214.6239 | 208978.1445 | 27.3 | 43.4
237831 | 2022-05-10 15:09 | 19.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.8662 | μmol/L | 18.4286 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.395 | 93245.4749 | 208961.8491 | 27.3 | 43.4
237841 | 2022-05-10 15:09 | 19.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.5867 | μmol/L | 18.4347 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.406 | 93280.0603 | 208958.6753 | 27.3 | 43.4
237851 | 2022-05-10 15:09 | 19.6729 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.3249 | μmol/L | 18.4469 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.414 | 93299.0977 | 208947.1454 | 27.3 | 43.4
237861 | 2022-05-10 15:10 | 20.0062 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 249.1094 | μmol/L | 18.453 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.422 | 93325.7521 | 208949.0974 | 27.3 | 43.4
237871 | 2022-05-10 15:10 | 20.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.9962 | μmol/L | 18.4653 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.423 | 93339.3337 | 208929.3529 | 27.3 | 43.4
237881 | 2022-05-10 15:10 | 20.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.7388 | μmol/L | 18.4714 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.433 | 93364.3013 | 208933.6172 | 27.3 | 43.4
237891 | 2022-05-10 15:11 | 21.006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.7599 | μmol/L | 18.4714 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.432 | 93367.5791 | 208936.7476 | 27.3 | 43.4
237901 | 2022-05-10 15:11 | 21.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.6717 | μmol/L | 18.4775 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.434 | 93371.8449 | 208920.2588 | 27.3 | 43.4
237911 | 2022-05-10 15:11 | 21.6731 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.5587 | μmol/L | 18.4897 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.435 | 93367.3444 | 208922.849 | 27.3 | 43.4
237921 | 2022-05-10 15:12 | 22.006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.4879 | μmol/L | 18.5019 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.434 | 93377.4942 | 208911.7698 | 27.3 | 43.4
237931 | 2022-05-10 15:12 | 22.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.2981 | μmol/L | 18.5019 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.443 | 93365.2344 | 208917.2343 | 27.3 | 43.4
237941 | 2022-05-10 15:12 | 22.6727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.2696 | μmol/L | 18.5141 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.44 | 93360.4042 | 208901.3673 | 27.3 | 43.4
237951 | 2022-05-10 15:13 | 23.0063 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.22 | μmol/L | 18.5263 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.438 | 93363.5437 | 208915.3779 | 27.3 | 43.4
237961 | 2022-05-10 15:13 | 23.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.1989 | μmol/L | 18.5263 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.439 | 93356.3917 | 208899.0431 | 27.3 | 43.4
237971 | 2022-05-10 15:13 | 23.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.0861 | μmol/L | 18.5386 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.44 | 93353.7216 | 208884.6591 | 27.3 | 43.4
237981 | 2022-05-10 15:14 | 24.006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.0229 | μmol/L | 18.5386 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.443 | 93352.5535 | 208892.4041 | 27.3 | 43.4
237991 | 2022-05-10 15:14 | 24.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.0403 | μmol/L | 18.5447 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.44 | 93348.7842 | 208880.3301 | 27.3 | 43.4
238001 | 2022-05-10 15:14 | 24.6728 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 248.0787 | μmol/L | 18.5508 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.436 | 93329.9233 | 208879.1272 | 27.3 | 43.4
238011 | 2022-05-10 15:15 | 25.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.9239 | μmol/L | 18.563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.439 | 93324.4513 | 208873.633 | 27.3 | 43.4
238021 | 2022-05-10 15:15 | 25.3397 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.7729 | μmol/L | 18.5691 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.444 | 93325.8137 | 208865.1371 | 27.3 | 43.4
238031 | 2022-05-10 15:15 | 25.673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.6604 | μmol/L | 18.5813 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.445 | 93317.2467 | 208867.494 | 27.3 | 43.4
238041 | 2022-05-10 15:16 | 26.0062 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 247.7692 | μmol/L | 18.5752 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.442 | 93317.8928 | 208866.9238 | 27.3 | 43.4