## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 14:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
236441 | 2022-05-10 14:02 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.9205 | μmol/L | 18.638 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.607 | 80060.3456 | 267371.1161 | 26.25 | 74
236451 | 2022-05-10 14:02 | 0.33917 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.4476 | μmol/L | 18.6441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.631 | 80265.2568 | 267321.6919 | 26.25 | 74
236461 | 2022-05-10 14:03 | 0.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.4564 | μmol/L | 18.6624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.624 | 80206.2644 | 267274.5 | 26.25 | 74
236471 | 2022-05-10 14:03 | 1.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.6338 | μmol/L | 18.6685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.612 | 80102.2946 | 267209.7913 | 26.25 | 74
236481 | 2022-05-10 14:03 | 1.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8084 | μmol/L | 18.6807 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.598 | 80006.4275 | 267160.1617 | 26.25 | 74
236491 | 2022-05-10 14:04 | 1.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8807 | μmol/L | 18.6807 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.594 | 79971.6877 | 267088.7226 | 26.25 | 74
236501 | 2022-05-10 14:04 | 2.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8203 | μmol/L | 18.6929 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.593 | 79929.5785 | 267036.3888 | 26.25 | 74
236511 | 2022-05-10 14:04 | 2.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.7449 | μmol/L | 18.699 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.595 | 79874.7494 | 266985.5985 | 26.25 | 74
236521 | 2022-05-10 14:05 | 2.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.7057 | μmol/L | 18.705 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.595 | 79865.3921 | 266914.717 | 26.25 | 74
236531 | 2022-05-10 14:05 | 3.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.6092 | μmol/L | 18.7172 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.596 | 79884.6095 | 266865.5247 | 26.25 | 74
236541 | 2022-05-10 14:05 | 3.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.4766 | μmol/L | 18.7294 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.599 | 79895.9415 | 266805.7621 | 26.25 | 74
236551 | 2022-05-10 14:06 | 3.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.3472 | μmol/L | 18.7355 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.604 | 79902.3997 | 266749.9088 | 26.25 | 74
236561 | 2022-05-10 14:06 | 4.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.2029 | μmol/L | 18.7355 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.612 | 79919.4204 | 266692.5749 | 26.25 | 74
236571 | 2022-05-10 14:06 | 4.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.0377 | μmol/L | 18.7416 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.619 | 79929.4108 | 266636.0746 | 26.25 | 74
236581 | 2022-05-10 14:07 | 4.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.5818 | μmol/L | 18.7538 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.64 | 79936.1731 | 266576.8001 | 26.25 | 74
236591 | 2022-05-10 14:07 | 5.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.432 | μmol/L | 18.766 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.644 | 79864.8688 | 266518.7435 | 26.25 | 74
236601 | 2022-05-10 14:07 | 5.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.2315 | μmol/L | 18.7721 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.653 | 79897.1684 | 266467.3022 | 26.25 | 74
236611 | 2022-05-10 14:08 | 5.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0522 | μmol/L | 18.7721 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.663 | 79894.9966 | 266403.7482 | 26.25 | 74
236621 | 2022-05-10 14:08 | 6.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7449 | μmol/L | 18.7781 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.678 | 79911.8665 | 266353.7356 | 26.25 | 74
236631 | 2022-05-10 14:08 | 6.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.5692 | μmol/L | 18.7721 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.69 | 79911.4867 | 266297.7759 | 26.25 | 74
236641 | 2022-05-10 14:09 | 6.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.2921 | μmol/L | 18.7903 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.699 | 79916.8763 | 266219.4425 | 26.25 | 74
236651 | 2022-05-10 14:09 | 7.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.1316 | μmol/L | 18.7903 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.708 | 79945.2269 | 266168.0488 | 26.25 | 74
236661 | 2022-05-10 14:09 | 7.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.8049 | μmol/L | 18.8025 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.722 | 79971.2623 | 266112.2949 | 26.25 | 74
236671 | 2022-05-10 14:10 | 7.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.5737 | μmol/L | 18.8025 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.735 | 79988.7437 | 266059.7669 | 26.25 | 74
236681 | 2022-05-10 14:10 | 8.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2303 | μmol/L | 18.8147 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.75 | 80010.4892 | 266008.998 | 26.25 | 74
236691 | 2022-05-10 14:10 | 8.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.9467 | μmol/L | 18.8147 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.766 | 80021.6105 | 265956.4096 | 26.25 | 74
236701 | 2022-05-10 14:11 | 8.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.4984 | μmol/L | 18.8269 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.787 | 80070.0413 | 265921.1974 | 26.25 | 74
236711 | 2022-05-10 14:11 | 9.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.3187 | μmol/L | 18.833 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.795 | 80039.4927 | 265850.8046 | 26.25 | 74
236721 | 2022-05-10 14:11 | 9.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.104 | μmol/L | 18.8391 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.805 | 80070.3998 | 265791.3273 | 26.25 | 74
236731 | 2022-05-10 14:12 | 9.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.8895 | μmol/L | 18.8452 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.815 | 80088.9331 | 265742.9856 | 26.25 | 74
236741 | 2022-05-10 14:12 | 10.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.7281 | μmol/L | 18.8513 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.822 | 80093.7753 | 265689.3253 | 26.25 | 74
236751 | 2022-05-10 14:12 | 10.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.4789 | μmol/L | 18.8573 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.834 | 80114.2928 | 265625.4696 | 26.25 | 74
236761 | 2022-05-10 14:13 | 10.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.2476 | μmol/L | 18.8634 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.845 | 80115.2085 | 265584.0062 | 26.25 | 74
236771 | 2022-05-10 14:13 | 11.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 211.1775 | μmol/L | 18.8634 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.849 | 80068.9422 | 265545.3927 | 26.25 | 74
236781 | 2022-05-10 14:13 | 11.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.8765 | μmol/L | 18.8695 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.864 | 80078.7227 | 265492.9838 | 26.25 | 74
236791 | 2022-05-10 14:14 | 11.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.7828 | μmol/L | 18.8817 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.865 | 80115.6202 | 265455.3394 | 26.25 | 74
236801 | 2022-05-10 14:14 | 12.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.5349 | μmol/L | 18.8878 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.877 | 80093.6847 | 265399.9941 | 26.25 | 74
236811 | 2022-05-10 14:14 | 12.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.3223 | μmol/L | 18.8939 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.887 | 80113.6576 | 265352.1903 | 26.25 | 74
236821 | 2022-05-10 14:15 | 12.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.2319 | μmol/L | 18.9 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.89 | 80101.4783 | 265320.7373 | 26.25 | 74
236831 | 2022-05-10 14:15 | 13.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.1765 | μmol/L | 18.9061 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.891 | 80077.2642 | 265276.3014 | 26.25 | 74
236841 | 2022-05-10 14:15 | 13.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.0719 | μmol/L | 18.9061 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.897 | 80041.6675 | 265235.4853 | 26.25 | 74
236851 | 2022-05-10 14:16 | 13.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.1037 | μmol/L | 18.9122 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.893 | 79998.3983 | 265192.8946 | 26.25 | 74
236861 | 2022-05-10 14:16 | 14.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 210.1354 | μmol/L | 18.9183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.889 | 79968.2129 | 265140.1944 | 26.25 | 74
236871 | 2022-05-10 14:16 | 14.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.9898 | μmol/L | 18.9305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.893 | 79928.7722 | 265107.1821 | 26.25 | 74
236881 | 2022-05-10 14:17 | 14.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.9027 | μmol/L | 18.9305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.898 | 79913.7118 | 265059.8832 | 26.25 | 74
236891 | 2022-05-10 14:17 | 15.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.7778 | μmol/L | 18.9365 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.903 | 79901.1482 | 265015.8451 | 26.25 | 74
236901 | 2022-05-10 14:17 | 15.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.789 | μmol/L | 18.9487 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.898 | 79898.7412 | 264979.5414 | 26.25 | 74
236911 | 2022-05-10 14:18 | 15.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.6877 | μmol/L | 18.9426 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.906 | 79901.1062 | 264949.7399 | 26.25 | 74
236921 | 2022-05-10 14:18 | 16.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.5803 | μmol/L | 18.9487 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.91 | 79884.6105 | 264910.5425 | 26.25 | 74
236931 | 2022-05-10 14:18 | 16.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.4034 | μmol/L | 18.9548 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.918 | 79844.093 | 264855.8984 | 26.25 | 74
236941 | 2022-05-10 14:19 | 16.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 209.0298 | μmol/L | 18.9731 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.933 | 79869.1528 | 264821.4876 | 26.25 | 74
236951 | 2022-05-10 14:19 | 17.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.822 | μmol/L | 18.9731 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.945 | 79889.6975 | 264798.4523 | 26.25 | 74
236961 | 2022-05-10 14:19 | 17.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.6601 | μmol/L | 18.9853 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.95 | 79937.6508 | 264757.7014 | 26.25 | 74
236971 | 2022-05-10 14:20 | 17.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.404 | μmol/L | 18.9792 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.967 | 79977.853 | 264731.9502 | 26.25 | 74
236981 | 2022-05-10 14:20 | 18.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.915 | μmol/L | 18.9914 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.991 | 80031.1282 | 264681.085 | 26.25 | 74
236991 | 2022-05-10 14:20 | 18.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.4507 | μmol/L | 18.9914 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 24.018 | 80131.9757 | 264670.1248 | 26.25 | 74
237001 | 2022-05-10 14:21 | 18.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.3133 | μmol/L | 18.9914 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 24.026 | 80157.4924 | 264622.8728 | 26.25 | 74
237011 | 2022-05-10 14:21 | 19.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.2759 | μmol/L | 18.9975 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 24.026 | 80180.6676 | 264587.8182 | 26.25 | 74
237021 | 2022-05-10 14:21 | 19.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.293 | μmol/L | 18.9975 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 24.025 | 80117.1277 | 264571.7788 | 26.25 | 74
237031 | 2022-05-10 14:22 | 19.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.3071 | μmol/L | 19.0036 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 24.022 | 80051.8513 | 264521.052 | 26.25 | 74
237041 | 2022-05-10 14:22 | 20.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.3695 | μmol/L | 19.0157 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 24.014 | 80030.3645 | 264491.563 | 26.25 | 74
237051 | 2022-05-10 14:22 | 20.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.421 | μmol/L | 19.0157 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 24.011 | 79994.7502 | 264463.9754 | 26.25 | 74
237061 | 2022-05-10 14:23 | 20.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.5179 | μmol/L | 19.0279 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 24.001 | 79949.4951 | 264431.9697 | 26.25 | 74
237071 | 2022-05-10 14:23 | 21.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.621 | μmol/L | 19.0279 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.995 | 79937.2129 | 264391.6873 | 26.25 | 74
237081 | 2022-05-10 14:23 | 21.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.5148 | μmol/L | 19.034 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.999 | 79937.6094 | 264363.0767 | 26.25 | 74
237091 | 2022-05-10 14:24 | 21.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.5633 | μmol/L | 19.0401 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.994 | 79927.4992 | 264331.0797 | 26.25 | 74
237101 | 2022-05-10 14:24 | 22.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.6149 | μmol/L | 19.0401 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.991 | 79908.6896 | 264295.2628 | 26.25 | 74
237111 | 2022-05-10 14:24 | 22.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.7322 | μmol/L | 19.0462 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.982 | 79845.0689 | 264263.123 | 26.25 | 74
237121 | 2022-05-10 14:25 | 22.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.8324 | μmol/L | 19.0523 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.974 | 79816.0228 | 264237.71 | 26.25 | 74
237131 | 2022-05-10 14:25 | 23.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.1081 | μmol/L | 19.0523 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.958 | 79748.7974 | 264198.1615 | 26.25 | 74
237141 | 2022-05-10 14:25 | 23.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.105 | μmol/L | 19.0584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.956 | 79689.2319 | 264179.3825 | 26.25 | 74
237151 | 2022-05-10 14:26 | 23.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.1303 | μmol/L | 19.0767 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.948 | 79628.5673 | 264128.2967 | 26.25 | 74
237161 | 2022-05-10 14:26 | 24.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.1334 | μmol/L | 19.0706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.95 | 79604.379 | 264106.8934 | 26.25 | 74
237171 | 2022-05-10 14:26 | 24.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.2369 | μmol/L | 19.0706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.944 | 79566.4971 | 264079.7783 | 26.25 | 74
237181 | 2022-05-10 14:27 | 24.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.3893 | μmol/L | 19.0767 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.933 | 79539.792 | 264044.5842 | 26.25 | 74
237191 | 2022-05-10 14:27 | 25.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.3517 | μmol/L | 19.0828 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.933 | 79497.3017 | 264019.994 | 26.25 | 74
237201 | 2022-05-10 14:27 | 25.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.5215 | μmol/L | 19.0889 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.921 | 79458.077 | 263994.6915 | 26.25 | 74
237211 | 2022-05-10 14:28 | 25.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.5012 | μmol/L | 19.095 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.92 | 79405.3918 | 263960.6975 | 26.25 | 74
237221 | 2022-05-10 14:28 | 26.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.7118 | μmol/L | 19.0889 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.91 | 79357.94 | 263925.0975 | 26.25 | 74
237231 | 2022-05-10 14:28 | 26.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.7404 | μmol/L | 19.101 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.904 | 79283.7686 | 263896.7419 | 26.25 | 74
237241 | 2022-05-10 14:29 | 26.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.7231 | μmol/L | 19.101 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.905 | 79270.5085 | 263868.316 | 26.25 | 74
237251 | 2022-05-10 14:29 | 27.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 208.8443 | μmol/L | 19.101 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.898 | 79263.7441 | 263840.0444 | 26.25 | 74