## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
237254 | 2022-05-10 14:50 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.6572 | μmol/L | 17.6513 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.174 | 105749.3492 | 262266.6809 | 26.25 | 74
237264 | 2022-05-10 14:50 | 0.33541 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.4007 | μmol/L | 17.6574 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.185 | 105789.0288 | 262249.7665 | 26.25 | 74
237274 | 2022-05-10 14:50 | 0.66912 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.2967 | μmol/L | 17.6696 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.186 | 105814.4053 | 262225.214 | 26.25 | 74
237284 | 2022-05-10 14:51 | 1.0022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.8045 | μmol/L | 17.6817 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.207 | 105932.0161 | 262211.2908 | 26.25 | 74
237294 | 2022-05-10 14:51 | 1.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.1782 | μmol/L | 17.6939 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.235 | 106062.9725 | 262182.5887 | 26.25 | 74
237304 | 2022-05-10 14:51 | 1.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.8464 | μmol/L | 17.7 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.25 | 106152.609 | 262168.4428 | 26.25 | 74
237314 | 2022-05-10 14:52 | 2.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.3737 | μmol/L | 17.7183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.268 | 106247.8678 | 262155.1085 | 26.25 | 74
237324 | 2022-05-10 14:52 | 2.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.9823 | μmol/L | 17.7305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.284 | 106331.8227 | 262120.4618 | 26.25 | 74
237334 | 2022-05-10 14:52 | 2.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.5342 | μmol/L | 17.7427 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.303 | 106434.9582 | 262103.321 | 26.25 | 74
237344 | 2022-05-10 14:53 | 3.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.0106 | μmol/L | 17.7548 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.326 | 106591.6963 | 262087.055 | 26.25 | 74
237354 | 2022-05-10 14:53 | 3.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.6825 | μmol/L | 17.7609 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.341 | 106679.2736 | 262083.6493 | 26.25 | 74
237364 | 2022-05-10 14:53 | 3.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.4053 | μmol/L | 17.7792 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.349 | 106751.0821 | 262064.5571 | 26.25 | 74
237374 | 2022-05-10 14:54 | 4.0027 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0334 | μmol/L | 17.7975 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.362 | 106818.688 | 262053.4908 | 26.25 | 74
237384 | 2022-05-10 14:54 | 4.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.9091 | μmol/L | 17.8157 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.362 | 106853.595 | 262036.8534 | 26.25 | 74
237394 | 2022-05-10 14:54 | 4.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0993 | μmol/L | 17.8157 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.352 | 106792.165 | 262024.9506 | 26.25 | 74
237404 | 2022-05-10 14:55 | 5.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.2034 | μmol/L | 17.834 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.34 | 106708.6511 | 262009.9153 | 26.25 | 74
237414 | 2022-05-10 14:55 | 5.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.33 | μmol/L | 17.8462 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.329 | 106687.5011 | 261977.8589 | 26.25 | 74
237424 | 2022-05-10 14:55 | 5.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.3804 | μmol/L | 17.8584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.322 | 106693.5262 | 261979.653 | 26.25 | 74
237434 | 2022-05-10 14:56 | 6.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.4276 | μmol/L | 17.8766 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.313 | 106701.4462 | 261965.7398 | 26.25 | 74
237444 | 2022-05-10 14:56 | 6.3362 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.3099 | μmol/L | 17.8827 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.317 | 106754.6738 | 261940.1133 | 26.25 | 74
237454 | 2022-05-10 14:56 | 6.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.1698 | μmol/L | 17.8949 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.32 | 106836.6485 | 261942.43 | 26.25 | 74
237464 | 2022-05-10 14:57 | 7.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0489 | μmol/L | 17.9071 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.322 | 106851.4882 | 261928.1419 | 26.25 | 74
237474 | 2022-05-10 14:57 | 7.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0837 | μmol/L | 17.9132 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.318 | 106845.233 | 261908.828 | 26.25 | 74
237484 | 2022-05-10 14:57 | 7.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0166 | μmol/L | 17.9315 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.315 | 106853.4728 | 261887.4312 | 26.25 | 74
237494 | 2022-05-10 14:58 | 8.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.991 | μmol/L | 17.9436 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.312 | 106852.436 | 261884.2197 | 26.25 | 74
237504 | 2022-05-10 14:58 | 8.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.9496 | μmol/L | 17.9497 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.312 | 106847.247 | 261871.2815 | 26.25 | 74
237514 | 2022-05-10 14:58 | 8.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0382 | μmol/L | 17.9619 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.303 | 106842.4992 | 261866.4825 | 26.25 | 74
237524 | 2022-05-10 14:59 | 9.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.1459 | μmol/L | 17.9741 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.293 | 106825.3018 | 261858.116 | 26.25 | 74
237534 | 2022-05-10 14:59 | 9.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.1013 | μmol/L | 17.9863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.291 | 106813.074 | 261828.9663 | 26.25 | 74
237544 | 2022-05-10 14:59 | 9.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.1775 | μmol/L | 17.9863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.287 | 106811.4996 | 261815.2069 | 26.25 | 74
237554 | 2022-05-10 15:00 | 10.0029 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0724 | μmol/L | 18.0045 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.286 | 106826.6016 | 261808.2181 | 26.25 | 74
237564 | 2022-05-10 15:00 | 10.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.085 | μmol/L | 18.0167 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.281 | 106813.5067 | 261778.0393 | 26.25 | 74
237574 | 2022-05-10 15:00 | 10.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.0246 | μmol/L | 18.0228 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.282 | 106830.5052 | 261780.0021 | 26.25 | 74
237584 | 2022-05-10 15:01 | 11.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.961 | μmol/L | 18.035 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.281 | 106851.4117 | 261768.8283 | 26.25 | 74
237594 | 2022-05-10 15:01 | 11.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.9006 | μmol/L | 18.0411 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.282 | 106848.6992 | 261734.9273 | 26.25 | 74
237604 | 2022-05-10 15:01 | 11.669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.8338 | μmol/L | 18.0594 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.279 | 106833.5039 | 261723.5617 | 26.25 | 74
237614 | 2022-05-10 15:02 | 12.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.7735 | μmol/L | 18.0654 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.28 | 106806.8108 | 261706.1208 | 26.25 | 74
237624 | 2022-05-10 15:02 | 12.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.6909 | μmol/L | 18.0776 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.28 | 106805.2927 | 261684.668 | 26.25 | 74
237634 | 2022-05-10 15:02 | 12.669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.7258 | μmol/L | 18.0837 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.276 | 106793.1728 | 261665.0259 | 26.25 | 74
237644 | 2022-05-10 15:03 | 13.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.5482 | μmol/L | 18.0959 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.281 | 106790.2928 | 261658.2186 | 26.25 | 74
237654 | 2022-05-10 15:03 | 13.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.45 | μmol/L | 18.102 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.284 | 106814.081 | 261634.8748 | 26.25 | 74
237664 | 2022-05-10 15:03 | 13.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.2536 | μmol/L | 18.1142 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.29 | 106818.0022 | 261620.6169 | 26.25 | 74
237674 | 2022-05-10 15:04 | 14.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0797 | μmol/L | 18.1203 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.297 | 106849.9008 | 261593.3961 | 26.25 | 74
237684 | 2022-05-10 15:04 | 14.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.0196 | μmol/L | 18.1264 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.298 | 106858.1374 | 261570.1537 | 26.25 | 74
237694 | 2022-05-10 15:04 | 14.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.8837 | μmol/L | 18.1324 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.303 | 106877.0376 | 261548.0333 | 26.25 | 74
237704 | 2022-05-10 15:05 | 15.0022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.7069 | μmol/L | 18.1446 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.308 | 106919.0086 | 261527.2007 | 26.25 | 74
237714 | 2022-05-10 15:05 | 15.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.0925 | μmol/L | 18.1629 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.334 | 107003.1439 | 261513.1905 | 26.25 | 74
237724 | 2022-05-10 15:05 | 15.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4113 | μmol/L | 18.169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.368 | 107218.7473 | 261502.5475 | 26.25 | 74
237734 | 2022-05-10 15:06 | 16.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.2057 | μmol/L | 18.1812 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.428 | 107497.7041 | 261487.6244 | 26.25 | 74
237744 | 2022-05-10 15:06 | 16.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.3639 | μmol/L | 18.1873 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.471 | 107738.1855 | 261462.4423 | 26.25 | 74
237754 | 2022-05-10 15:06 | 16.669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.7079 | μmol/L | 18.1994 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.502 | 107894.2961 | 261451.6432 | 26.25 | 74
237764 | 2022-05-10 15:07 | 17.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.1128 | μmol/L | 18.2055 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.532 | 108055.1156 | 261434.4719 | 26.25 | 74
237774 | 2022-05-10 15:07 | 17.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.3843 | μmol/L | 18.2238 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.565 | 108240.4486 | 261424.9925 | 26.25 | 74
237784 | 2022-05-10 15:07 | 17.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.8884 | μmol/L | 18.2238 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.592 | 108402.1231 | 261404.0981 | 26.25 | 74
237794 | 2022-05-10 15:08 | 18.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.2227 | μmol/L | 18.236 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.624 | 108592.8397 | 261392.1126 | 26.25 | 74
237804 | 2022-05-10 15:08 | 18.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.5412 | μmol/L | 18.2482 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.657 | 108760.304 | 261376.9417 | 26.25 | 74
237814 | 2022-05-10 15:08 | 18.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.9051 | μmol/L | 18.2482 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.692 | 108907.3164 | 261372.6514 | 26.25 | 74
237824 | 2022-05-10 15:09 | 19.0022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.6447 | μmol/L | 18.2604 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.702 | 108991.6923 | 261359.1427 | 26.25 | 74
237834 | 2022-05-10 15:09 | 19.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.4916 | μmol/L | 18.2725 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.651 | 108742.4935 | 261343.7121 | 26.25 | 74
237844 | 2022-05-10 15:09 | 19.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.5247 | μmol/L | 18.2786 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.647 | 108702.0656 | 261335.4669 | 26.25 | 74
237854 | 2022-05-10 15:10 | 20.0027 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.9407 | μmol/L | 18.2847 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.622 | 108568.7687 | 261323.39 | 26.25 | 74
237864 | 2022-05-10 15:10 | 20.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.9492 | μmol/L | 18.303 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.615 | 108526.5805 | 261325.3273 | 26.25 | 74
237874 | 2022-05-10 15:10 | 20.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.9492 | μmol/L | 18.303 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.615 | 108539.2467 | 261312.5486 | 26.25 | 74
237884 | 2022-05-10 15:11 | 21.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.8149 | μmol/L | 18.3152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.618 | 108525.2397 | 261302.6383 | 26.25 | 74
237894 | 2022-05-10 15:11 | 21.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.0157 | μmol/L | 18.3152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.607 | 108512.9316 | 261286.9879 | 26.25 | 74
237904 | 2022-05-10 15:11 | 21.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.9727 | μmol/L | 18.3274 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.605 | 108497.3547 | 261272.5328 | 26.25 | 74
237914 | 2022-05-10 15:12 | 22.0029 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.9877 | μmol/L | 18.3335 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.602 | 108491.9979 | 261262.3468 | 26.25 | 74
237924 | 2022-05-10 15:12 | 22.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.9082 | μmol/L | 18.3456 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.602 | 108450.4779 | 261268.3728 | 26.25 | 74
237934 | 2022-05-10 15:12 | 22.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.8287 | μmol/L | 18.3578 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.602 | 108457.4209 | 261242.3136 | 26.25 | 74
237944 | 2022-05-10 15:13 | 23.0027 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.7342 | μmol/L | 18.3639 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.605 | 108495.2589 | 261249.1377 | 26.25 | 74
237954 | 2022-05-10 15:13 | 23.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.4179 | μmol/L | 18.3761 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.618 | 108544.2485 | 261251.5933 | 26.25 | 74
237964 | 2022-05-10 15:13 | 23.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.2145 | μmol/L | 18.3822 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.627 | 108606.547 | 261249.1329 | 26.25 | 74
237974 | 2022-05-10 15:14 | 24.0022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.0145 | μmol/L | 18.3822 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.638 | 108659.2254 | 261231.7722 | 26.25 | 74
237984 | 2022-05-10 15:14 | 24.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.866 | μmol/L | 18.3883 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.644 | 108672.2042 | 261223.5694 | 26.25 | 74
237994 | 2022-05-10 15:14 | 24.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.7474 | μmol/L | 18.4066 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.644 | 108678.4264 | 261211.3165 | 26.25 | 74
238004 | 2022-05-10 15:15 | 25.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.7111 | μmol/L | 18.4066 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.646 | 108711.1324 | 261206.5022 | 26.25 | 74
238014 | 2022-05-10 15:15 | 25.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.3751 | μmol/L | 18.4248 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.658 | 108780.034 | 261204.8251 | 26.25 | 74
238024 | 2022-05-10 15:15 | 25.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.2335 | μmol/L | 18.4187 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.668 | 108849.0108 | 261179.3521 | 26.25 | 74
238034 | 2022-05-10 15:16 | 26.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.9081 | μmol/L | 18.4187 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.686 | 108939.2948 | 261178.8676 | 26.25 | 74
238044 | 2022-05-10 15:16 | 26.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.4539 | μmol/L | 18.4248 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.709 | 109056.0032 | 261181.3911 | 26.25 | 74