## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 16:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238048 | 2022-05-10 15:41 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.1129 | μmol/L | 18.0514 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.125 | 121628.5312 | 265299.7563 | 33.25 | 75.7
238058 | 2022-05-10 15:41 | 0.33832 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 244.7705 | μmol/L | 18.0637 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.137 | 121729.9595 | 265308.2587 | 33.25 | 75.7
238068 | 2022-05-10 15:41 | 0.67145 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 244.3891 | μmol/L | 18.0698 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.153 | 121812.0717 | 265278.4152 | 33.25 | 75.7
238078 | 2022-05-10 15:42 | 1.0052 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 244.0688 | μmol/L | 18.0821 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.164 | 121889.6596 | 265267.653 | 33.25 | 75.7
238088 | 2022-05-10 15:42 | 1.3379 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.77 | μmol/L | 18.0944 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.174 | 121961.0213 | 265257.9954 | 33.25 | 75.7
238098 | 2022-05-10 15:42 | 1.6715 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.4951 | μmol/L | 18.1005 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.185 | 122031.5319 | 265230.0553 | 33.25 | 75.7
238108 | 2022-05-10 15:43 | 2.0053 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.2834 | μmol/L | 18.1066 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.193 | 122096.7446 | 265227.4962 | 33.25 | 75.7
238118 | 2022-05-10 15:43 | 2.3381 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.0066 | μmol/L | 18.1189 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.202 | 122153.6154 | 265225.9844 | 33.25 | 75.7
238128 | 2022-05-10 15:43 | 2.672 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.7327 | μmol/L | 18.125 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.213 | 122209.5851 | 265208.0852 | 33.25 | 75.7
238138 | 2022-05-10 15:44 | 3.005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.5608 | μmol/L | 18.1373 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.217 | 122266.0952 | 265207.5627 | 33.25 | 75.7
238148 | 2022-05-10 15:44 | 3.3386 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.2642 | μmol/L | 18.1496 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.227 | 122309.5157 | 265187.9588 | 33.25 | 75.7
238158 | 2022-05-10 15:44 | 3.6717 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.1185 | μmol/L | 18.1496 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.234 | 122357.9247 | 265178.2784 | 33.25 | 75.7
238168 | 2022-05-10 15:45 | 4.0048 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.8433 | μmol/L | 18.1618 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.243 | 122403.6492 | 265163.1725 | 33.25 | 75.7
238178 | 2022-05-10 15:45 | 4.3379 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.8433 | μmol/L | 18.1618 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.243 | 122430.1334 | 265165.6195 | 33.25 | 75.7
238188 | 2022-05-10 15:45 | 4.6719 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.7213 | μmol/L | 18.1557 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.251 | 122477.4009 | 265144.3239 | 33.25 | 75.7
238198 | 2022-05-10 15:46 | 5.005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.5553 | μmol/L | 18.1557 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.259 | 122511.4562 | 265138.5523 | 33.25 | 75.7
238208 | 2022-05-10 15:46 | 5.3381 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.2757 | μmol/L | 18.1802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.264 | 122542.4832 | 265130.227 | 33.25 | 75.7
238218 | 2022-05-10 15:46 | 5.6713 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.9809 | μmol/L | 18.1925 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.274 | 122594.4963 | 265121.8238 | 33.25 | 75.7
238228 | 2022-05-10 15:47 | 6.0052 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.8517 | μmol/L | 18.2047 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.276 | 122630.2333 | 265103.958 | 33.25 | 75.7
238238 | 2022-05-10 15:47 | 6.3383 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.5343 | μmol/L | 18.2231 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.285 | 122666.133 | 265092.4271 | 33.25 | 75.7
238248 | 2022-05-10 15:47 | 6.6714 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.4286 | μmol/L | 18.2293 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.288 | 122691.8084 | 265088.3871 | 33.25 | 75.7
238258 | 2022-05-10 15:48 | 7.0053 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.2611 | μmol/L | 18.2354 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.294 | 122737.8349 | 265083.1402 | 33.25 | 75.7
238268 | 2022-05-10 15:48 | 7.3385 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.9728 | μmol/L | 18.2354 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.308 | 122800.6361 | 265071.973 | 33.25 | 75.7
238278 | 2022-05-10 15:48 | 7.6716 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.888 | μmol/L | 18.2415 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.31 | 122840.807 | 265076.7117 | 33.25 | 75.7
238288 | 2022-05-10 15:49 | 8.0047 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.6747 | μmol/L | 18.2599 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.314 | 122865.4739 | 265070.0487 | 33.25 | 75.7
238298 | 2022-05-10 15:49 | 8.3387 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.4437 | μmol/L | 18.2722 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.321 | 122888.7991 | 265039.2078 | 33.25 | 75.7
238308 | 2022-05-10 15:49 | 8.6718 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.4412 | μmol/L | 18.2783 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.319 | 122912.7433 | 265052.8871 | 33.25 | 75.7
238318 | 2022-05-10 15:50 | 9.0049 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.1899 | μmol/L | 18.2906 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.327 | 122947.4556 | 265046.0327 | 33.25 | 75.7
238328 | 2022-05-10 15:50 | 9.3381 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.0439 | μmol/L | 18.2967 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.332 | 122974.8255 | 265031.2451 | 33.25 | 75.7
238338 | 2022-05-10 15:50 | 9.6717 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.8955 | μmol/L | 18.309 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.335 | 123004.8754 | 265022.6653 | 33.25 | 75.7
238348 | 2022-05-10 15:51 | 10.0046 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.6449 | μmol/L | 18.3212 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.343 | 123026.5971 | 265003.9733 | 33.25 | 75.7
238358 | 2022-05-10 15:51 | 10.3384 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.6423 | μmol/L | 18.3274 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.341 | 123046.3323 | 264998.7464 | 33.25 | 75.7
238368 | 2022-05-10 15:51 | 10.6713 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.4354 | μmol/L | 18.3335 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.349 | 123069.6586 | 265003.3222 | 33.25 | 75.7
238378 | 2022-05-10 15:52 | 11.0053 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.3512 | μmol/L | 18.3396 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.351 | 123085.2133 | 264990.411 | 33.25 | 75.7
238388 | 2022-05-10 15:52 | 11.3385 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.2441 | μmol/L | 18.3519 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.352 | 121497.7863 | 264997.3877 | 33.25 | 75.7
238398 | 2022-05-10 15:52 | 11.6719 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.1599 | μmol/L | 18.358 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.354 | 121396.2897 | 264986.347 | 33.25 | 75.7
238408 | 2022-05-10 15:53 | 12.005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.1574 | μmol/L | 18.3642 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.352 | 121374.7628 | 264973.627 | 33.25 | 75.7
238418 | 2022-05-10 15:53 | 12.3387 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.0121 | μmol/L | 18.3703 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.357 | 120816.5604 | 264968.5523 | 33.25 | 75.7
238428 | 2022-05-10 15:53 | 12.6716 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.9306 | μmol/L | 18.3703 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.361 | 120809.648 | 264964.7876 | 33.25 | 75.7
238438 | 2022-05-10 15:54 | 13.0047 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.8236 | μmol/L | 18.3826 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.362 | 120810.5025 | 264958.9609 | 33.25 | 75.7
238448 | 2022-05-10 15:54 | 13.3385 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.6989 | μmol/L | 18.3887 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.366 | 120805.3266 | 264966.9838 | 33.25 | 75.7
238458 | 2022-05-10 15:54 | 13.6713 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.5489 | μmol/L | 18.4071 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.367 | 120775.7894 | 264962.7695 | 33.25 | 75.7
238468 | 2022-05-10 15:55 | 14.0053 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.4244 | μmol/L | 18.4132 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.371 | 120765.3022 | 264952.6277 | 33.25 | 75.7
238478 | 2022-05-10 15:55 | 14.3384 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.5083 | μmol/L | 18.4071 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.369 | 120729.3831 | 264943.6247 | 33.25 | 75.7
238488 | 2022-05-10 15:55 | 14.6715 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.5464 | μmol/L | 18.4132 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.365 | 120709.3975 | 264929.4127 | 33.25 | 75.7
238498 | 2022-05-10 15:56 | 15.0049 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.3381 | μmol/L | 18.4255 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.371 | 120704.1913 | 264923.1996 | 33.25 | 75.7
238508 | 2022-05-10 15:56 | 15.3386 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.2187 | μmol/L | 18.4194 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.379 | 120735.0272 | 264924.2716 | 33.25 | 75.7
238518 | 2022-05-10 15:56 | 15.6719 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.0893 | μmol/L | 18.4378 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.379 | 120772.6016 | 264913.9284 | 33.25 | 75.7
238528 | 2022-05-10 15:57 | 16.0052 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 236.8611 | μmol/L | 18.45 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.386 | 120781.6783 | 264912.5557 | 33.25 | 75.7
238538 | 2022-05-10 15:57 | 16.3385 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 236.7598 | μmol/L | 18.45 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.391 | 120795.7136 | 264919.75 | 33.25 | 75.7
238548 | 2022-05-10 15:57 | 16.672 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 236.5952 | μmol/L | 18.4561 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.397 | 120812.0167 | 264910.6058 | 33.25 | 75.7
238558 | 2022-05-10 15:58 | 17.0052 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 236.3928 | μmol/L | 18.4561 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.407 | 120867.2482 | 264899.0939 | 33.25 | 75.7
238568 | 2022-05-10 15:58 | 17.3381 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 236.1881 | μmol/L | 18.4623 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.415 | 120931.6737 | 264898.3703 | 33.25 | 75.7
238578 | 2022-05-10 15:58 | 17.6713 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.8827 | μmol/L | 18.4684 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.428 | 120971.3241 | 264893.8398 | 33.25 | 75.7
238588 | 2022-05-10 15:59 | 18.0046 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.7794 | μmol/L | 18.4745 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.431 | 120985.6518 | 264878.6196 | 33.25 | 75.7
238598 | 2022-05-10 15:59 | 18.3386 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.739 | μmol/L | 18.4745 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.433 | 120965.1545 | 264879.4239 | 33.25 | 75.7
238608 | 2022-05-10 15:59 | 18.672 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.4494 | μmol/L | 18.4929 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.441 | 120984.5129 | 264869.442 | 33.25 | 75.7
238618 | 2022-05-10 16:00 | 19.0053 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.2859 | μmol/L | 18.4991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.447 | 120990.8129 | 264860.5867 | 33.25 | 75.7
238628 | 2022-05-10 16:00 | 19.3385 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.306 | μmol/L | 18.4991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.446 | 120973.5025 | 264850.7131 | 33.25 | 75.7