## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 16:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238049 | 2022-05-10 15:41 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.6065 | μmol/L | 17.968 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.003 | 119908.2098 | 287859.5859 | 59.9307 | 38.1
238059 | 2022-05-10 15:41 | 0.33903 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.2905 | μmol/L | 17.9802 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.015 | 119967.5314 | 287833.2201 | 59.9307 | 38.1
238069 | 2022-05-10 15:41 | 0.67192 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 227.0525 | μmol/L | 17.9924 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.023 | 120019.7494 | 287826.7714 | 59.9307 | 38.1
238079 | 2022-05-10 15:42 | 1.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.7981 | μmol/L | 17.9985 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.034 | 120069.109 | 287814.6827 | 59.9307 | 38.1
238089 | 2022-05-10 15:42 | 1.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.6987 | μmol/L | 18.0047 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.037 | 120113.9552 | 287807.7264 | 59.9307 | 38.1
238099 | 2022-05-10 15:42 | 1.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.4009 | μmol/L | 18.023 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.046 | 120142.1594 | 287795.7707 | 59.9307 | 38.1
238109 | 2022-05-10 15:43 | 2.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.2631 | μmol/L | 18.0291 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.051 | 120177.3702 | 287785.7853 | 59.9307 | 38.1
238119 | 2022-05-10 15:43 | 2.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 226.0457 | μmol/L | 18.0413 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.058 | 120218.2732 | 287775.4813 | 59.9307 | 38.1
238129 | 2022-05-10 15:43 | 2.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.9274 | μmol/L | 18.0474 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.062 | 120261.165 | 287753.9463 | 59.9307 | 38.1
238139 | 2022-05-10 15:44 | 3.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.7129 | μmol/L | 18.0535 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.071 | 120284.9996 | 287756.6407 | 59.9307 | 38.1
238149 | 2022-05-10 15:44 | 3.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.5852 | μmol/L | 18.0718 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.071 | 120318.8658 | 287743.151 | 59.9307 | 38.1
238159 | 2022-05-10 15:44 | 3.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.3781 | μmol/L | 18.0718 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.082 | 120358.5274 | 287738.3464 | 59.9307 | 38.1
238169 | 2022-05-10 15:45 | 4.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 225.2602 | μmol/L | 18.0779 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.086 | 120377.7965 | 287728.0574 | 59.9307 | 38.1
238179 | 2022-05-10 15:45 | 4.3384 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9646 | μmol/L | 18.0962 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.095 | 120406.0368 | 287711.5558 | 59.9307 | 38.1
238189 | 2022-05-10 15:45 | 4.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.9429 | μmol/L | 18.1023 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.094 | 120424.6145 | 287702.9623 | 59.9307 | 38.1
238199 | 2022-05-10 15:46 | 5.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.8661 | μmol/L | 18.1023 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.098 | 120447.9405 | 287695.3909 | 59.9307 | 38.1
238209 | 2022-05-10 15:46 | 5.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.6839 | μmol/L | 18.1145 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.103 | 120462.7722 | 287676.9842 | 59.9307 | 38.1
238219 | 2022-05-10 15:46 | 5.6717 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.5639 | μmol/L | 18.1268 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.105 | 120476.6654 | 287678.052 | 59.9307 | 38.1
238229 | 2022-05-10 15:47 | 6.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.5423 | μmol/L | 18.1329 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.104 | 120491.6467 | 287664.1898 | 59.9307 | 38.1
238239 | 2022-05-10 15:47 | 6.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.4249 | μmol/L | 18.139 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.108 | 120494.0632 | 287663.5807 | 59.9307 | 38.1
238249 | 2022-05-10 15:47 | 6.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.293 | μmol/L | 18.1451 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.113 | 120499.3321 | 287652.242 | 59.9307 | 38.1
238259 | 2022-05-10 15:48 | 7.0049 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1733 | μmol/L | 18.1573 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.115 | 120517.2726 | 287645.7536 | 59.9307 | 38.1
238269 | 2022-05-10 15:48 | 7.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.1325 | μmol/L | 18.1634 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.115 | 120520.7526 | 287643.7911 | 59.9307 | 38.1
238279 | 2022-05-10 15:48 | 7.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 224.0274 | μmol/L | 18.1756 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.116 | 120530.1099 | 287638.9787 | 59.9307 | 38.1
238289 | 2022-05-10 15:49 | 8.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8696 | μmol/L | 18.1878 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.12 | 120532.1602 | 287626.9845 | 59.9307 | 38.1
238299 | 2022-05-10 15:49 | 8.3384 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.8124 | μmol/L | 18.1878 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.123 | 120542.351 | 287618.9989 | 59.9307 | 38.1
238309 | 2022-05-10 15:49 | 8.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7692 | μmol/L | 18.2 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.121 | 120534.4288 | 287610.4301 | 59.9307 | 38.1
238319 | 2022-05-10 15:50 | 9.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.7286 | μmol/L | 18.2061 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.121 | 120540.1086 | 287613.6991 | 59.9307 | 38.1
238329 | 2022-05-10 15:50 | 9.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.6735 | μmol/L | 18.2122 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.122 | 120543.5465 | 287596.4925 | 59.9307 | 38.1
238339 | 2022-05-10 15:50 | 9.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.5541 | μmol/L | 18.2244 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.124 | 120537.8958 | 287582.5004 | 59.9307 | 38.1
238349 | 2022-05-10 15:51 | 10.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.528 | μmol/L | 18.2305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.123 | 120536.8147 | 287574.6318 | 59.9307 | 38.1
238359 | 2022-05-10 15:51 | 10.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.4539 | μmol/L | 18.2367 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.125 | 120534.4171 | 287577.0195 | 59.9307 | 38.1
238369 | 2022-05-10 15:51 | 10.6715 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.3897 | μmol/L | 18.2428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.126 | 120538.5513 | 287569.7431 | 59.9307 | 38.1
238379 | 2022-05-10 15:52 | 11.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.3276 | μmol/L | 18.255 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.125 | 120536.1502 | 287561.8756 | 59.9307 | 38.1
238389 | 2022-05-10 15:52 | 11.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.237 | μmol/L | 18.255 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.13 | 120465.4591 | 287571.0686 | 59.9307 | 38.1
238399 | 2022-05-10 15:52 | 11.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.1513 | μmol/L | 18.2672 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.13 | 120481.0153 | 287555.0576 | 59.9307 | 38.1
238409 | 2022-05-10 15:53 | 12.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.0348 | μmol/L | 18.2733 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.134 | 120478.5153 | 287568.4501 | 59.9307 | 38.1
238419 | 2022-05-10 15:53 | 12.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 223.0203 | μmol/L | 18.2733 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.135 | 120483.4002 | 287553.9758 | 59.9307 | 38.1
238429 | 2022-05-10 15:53 | 12.6717 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.8778 | μmol/L | 18.2855 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.138 | 120495.6624 | 287563.6388 | 59.9307 | 38.1
238439 | 2022-05-10 15:54 | 13.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.8824 | μmol/L | 18.2855 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.138 | 120499.5231 | 287546.3875 | 59.9307 | 38.1
238449 | 2022-05-10 15:54 | 13.3384 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.78 | μmol/L | 18.3038 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.137 | 120509.3236 | 287536.7097 | 59.9307 | 38.1
238459 | 2022-05-10 15:54 | 13.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.7396 | μmol/L | 18.3099 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.137 | 120507.7858 | 287550.1268 | 59.9307 | 38.1
238469 | 2022-05-10 15:55 | 14.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.6233 | μmol/L | 18.316 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.141 | 120513.6814 | 287546.0312 | 59.9307 | 38.1
238479 | 2022-05-10 15:55 | 14.3384 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.4856 | μmol/L | 18.3282 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.144 | 120521.275 | 287536.7327 | 59.9307 | 38.1
238489 | 2022-05-10 15:55 | 14.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.5024 | μmol/L | 18.3221 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.145 | 120527.2429 | 287513.5534 | 59.9307 | 38.1
238499 | 2022-05-10 15:56 | 15.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.3884 | μmol/L | 18.3343 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.147 | 120528.6975 | 287522.6959 | 59.9307 | 38.1
238509 | 2022-05-10 15:56 | 15.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.4073 | μmol/L | 18.3343 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.146 | 120524.3755 | 287511.0173 | 59.9307 | 38.1
238519 | 2022-05-10 15:56 | 15.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.3266 | μmol/L | 18.3466 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.146 | 120538.0316 | 287492.7658 | 59.9307 | 38.1
238529 | 2022-05-10 15:57 | 16.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.2817 | μmol/L | 18.3527 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.146 | 120524.4927 | 287499.3671 | 59.9307 | 38.1
238539 | 2022-05-10 15:57 | 16.3384 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.3004 | μmol/L | 18.3649 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.141 | 120519.2785 | 287484.5178 | 59.9307 | 38.1
238549 | 2022-05-10 15:57 | 16.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.2033 | μmol/L | 18.371 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.144 | 120513.5736 | 287489.6372 | 59.9307 | 38.1
238559 | 2022-05-10 15:58 | 17.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.3194 | μmol/L | 18.3649 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.14 | 120495.4439 | 287494.5887 | 59.9307 | 38.1
238569 | 2022-05-10 15:58 | 17.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.2577 | μmol/L | 18.3771 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.139 | 120492.3648 | 287485.8522 | 59.9307 | 38.1
238579 | 2022-05-10 15:58 | 17.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.1392 | μmol/L | 18.3893 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.141 | 120500.1509 | 287493.2747 | 59.9307 | 38.1
238589 | 2022-05-10 15:59 | 18.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.2174 | μmol/L | 18.3832 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.139 | 120499.3521 | 287479.1633 | 59.9307 | 38.1
238599 | 2022-05-10 15:59 | 18.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 222.1157 | μmol/L | 18.3893 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.142 | 120516.7828 | 287481.357 | 59.9307 | 38.1
238609 | 2022-05-10 15:59 | 18.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.9594 | μmol/L | 18.4015 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.146 | 120540.1583 | 287477.9884 | 59.9307 | 38.1
238619 | 2022-05-10 16:00 | 19.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.9027 | μmol/L | 18.4015 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.149 | 120552.4484 | 287477.8258 | 59.9307 | 38.1
238629 | 2022-05-10 16:00 | 19.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 221.789 | μmol/L | 18.4137 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 23.151 | 120556.9232 | 287476.7077 | 59.9307 | 38.1