## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 16:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238052 | 2022-05-10 15:41 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.17 | μmol/L | 17.8747 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.179 | 108640.7912 | 258536.7043 | 36.4 | 83.1
238062 | 2022-05-10 15:41 | 0.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.8262 | μmol/L | 17.8869 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.19 | 108647.1948 | 258531.9197 | 36.4 | 83.1
238072 | 2022-05-10 15:41 | 0.66536 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.603 | μmol/L | 17.8869 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.2 | 108634.2419 | 258528.886 | 36.4 | 83.1
238082 | 2022-05-10 15:42 | 0.99898 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.2335 | μmol/L | 17.9053 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.21 | 108625.0969 | 258517.7082 | 36.4 | 83.1
238092 | 2022-05-10 15:42 | 1.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.0023 | μmol/L | 17.9175 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.216 | 108606.9127 | 258501.224 | 36.4 | 83.1
238102 | 2022-05-10 15:42 | 1.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.0245 | μmol/L | 17.9175 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.215 | 108605.203 | 258496.2198 | 36.4 | 83.1
238112 | 2022-05-10 15:43 | 1.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 260.8338 | μmol/L | 17.9359 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.217 | 108586.1944 | 258480.1724 | 36.4 | 83.1
238122 | 2022-05-10 15:43 | 2.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 260.7004 | μmol/L | 17.9359 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.223 | 108574.9799 | 258469.7166 | 36.4 | 83.1
238132 | 2022-05-10 15:43 | 2.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 260.4168 | μmol/L | 17.9604 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.227 | 108566.2496 | 258475.4641 | 36.4 | 83.1
238142 | 2022-05-10 15:44 | 2.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 260.1686 | μmol/L | 17.9665 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.236 | 108548.3517 | 258462.2239 | 36.4 | 83.1
238152 | 2022-05-10 15:44 | 3.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.9385 | μmol/L | 17.9788 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.242 | 108614.1326 | 258453.4506 | 36.4 | 83.1
238162 | 2022-05-10 15:44 | 3.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.8014 | μmol/L | 17.9849 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.246 | 108618.7671 | 258440.6365 | 36.4 | 83.1
238172 | 2022-05-10 15:45 | 3.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.6422 | μmol/L | 17.991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.251 | 108585.0519 | 258439.8434 | 36.4 | 83.1
238182 | 2022-05-10 15:45 | 4.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.3642 | μmol/L | 18.0094 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.257 | 108598.109 | 258439.8904 | 36.4 | 83.1
238192 | 2022-05-10 15:45 | 4.6654 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.2979 | μmol/L | 18.0094 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.26 | 108611.7713 | 258419.8152 | 36.4 | 83.1
238202 | 2022-05-10 15:46 | 4.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.1349 | μmol/L | 18.0216 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.263 | 108603.9045 | 258412.9554 | 36.4 | 83.1
238212 | 2022-05-10 15:46 | 5.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.9236 | μmol/L | 18.04 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.266 | 108591.4513 | 258412.1945 | 36.4 | 83.1
238222 | 2022-05-10 15:46 | 5.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.699 | μmol/L | 18.0461 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.274 | 108593.9911 | 258396.0579 | 36.4 | 83.1
238232 | 2022-05-10 15:47 | 5.9987 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.5144 | μmol/L | 18.0584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.278 | 108581.8479 | 258385.3636 | 36.4 | 83.1
238242 | 2022-05-10 15:47 | 6.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.198 | μmol/L | 18.0706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.288 | 108597.0174 | 258385.6581 | 36.4 | 83.1
238252 | 2022-05-10 15:47 | 6.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.2817 | μmol/L | 18.0767 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.282 | 108592.3382 | 258379.379 | 36.4 | 83.1
238262 | 2022-05-10 15:48 | 6.9988 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.9395 | μmol/L | 18.0951 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.291 | 108589.7333 | 258365.029 | 36.4 | 83.1
238272 | 2022-05-10 15:48 | 7.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.8213 | μmol/L | 18.1074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.292 | 108581.2844 | 258371.1909 | 36.4 | 83.1
238282 | 2022-05-10 15:48 | 7.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.8433 | μmol/L | 18.1074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.291 | 108580.1896 | 258348.218 | 36.4 | 83.1
238292 | 2022-05-10 15:49 | 7.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.7209 | μmol/L | 18.1257 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.29 | 108554.3333 | 258360.3571 | 36.4 | 83.1
238302 | 2022-05-10 15:49 | 8.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.7606 | μmol/L | 18.1319 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.286 | 108522.1592 | 258334.6932 | 36.4 | 83.1
238312 | 2022-05-10 15:49 | 8.6653 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.6426 | μmol/L | 18.1441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.287 | 108510.4509 | 258337.6883 | 36.4 | 83.1
238322 | 2022-05-10 15:50 | 8.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.6822 | μmol/L | 18.1502 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.283 | 108488.3042 | 258337.7301 | 36.4 | 83.1
238332 | 2022-05-10 15:50 | 9.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.7 | μmol/L | 18.1563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.28 | 108461.8661 | 258321.6331 | 36.4 | 83.1
238342 | 2022-05-10 15:50 | 9.6653 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.6739 | μmol/L | 18.1625 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.279 | 108442.931 | 258319.8842 | 36.4 | 83.1
238352 | 2022-05-10 15:51 | 9.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.5998 | μmol/L | 18.1747 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.278 | 108420.9953 | 258321.2856 | 36.4 | 83.1
238362 | 2022-05-10 15:51 | 10.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.6833 | μmol/L | 18.1808 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.272 | 108393.8086 | 258302.7956 | 36.4 | 83.1
238372 | 2022-05-10 15:51 | 10.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.6312 | μmol/L | 18.1931 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.27 | 108346.5098 | 258286.0252 | 36.4 | 83.1
238382 | 2022-05-10 15:52 | 10.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.6229 | μmol/L | 18.2053 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.266 | 108339.1783 | 258297.5046 | 36.4 | 83.1
238392 | 2022-05-10 15:52 | 11.3321 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.579 | μmol/L | 18.2053 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.268 | 107374.0433 | 258282.0111 | 36.4 | 83.1
238402 | 2022-05-10 15:52 | 11.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.483 | μmol/L | 18.2176 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.268 | 107407.2083 | 258273.3829 | 36.4 | 83.1
238412 | 2022-05-10 15:53 | 11.9987 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.5749 | μmol/L | 18.2115 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.266 | 107310.6745 | 258276.1391 | 36.4 | 83.1
238422 | 2022-05-10 15:53 | 12.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.4569 | μmol/L | 18.2237 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.267 | 107337.7002 | 258266.4417 | 36.4 | 83.1
238432 | 2022-05-10 15:53 | 12.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.1378 | μmol/L | 18.2421 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.275 | 107357.5541 | 258258.2866 | 36.4 | 83.1
238442 | 2022-05-10 15:54 | 12.9987 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.1296 | μmol/L | 18.2543 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.271 | 107376.6562 | 258253.3739 | 36.4 | 83.1
238452 | 2022-05-10 15:54 | 13.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.0639 | μmol/L | 18.2543 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.274 | 107386.3422 | 258254.0945 | 36.4 | 83.1
238462 | 2022-05-10 15:54 | 13.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.0639 | μmol/L | 18.2543 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.274 | 107413.8016 | 258248.5248 | 36.4 | 83.1
238472 | 2022-05-10 15:55 | 13.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.7276 | μmol/L | 18.2666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.285 | 107472.6707 | 258242.4975 | 36.4 | 83.1
238482 | 2022-05-10 15:55 | 14.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.5488 | μmol/L | 18.2727 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.291 | 107514.7761 | 258234.8259 | 36.4 | 83.1
238492 | 2022-05-10 15:55 | 14.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.1696 | μmol/L | 18.2849 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.304 | 107594.6715 | 258208.678 | 36.4 | 83.1
238502 | 2022-05-10 15:56 | 14.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.8606 | μmol/L | 18.2911 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.316 | 107663.0203 | 258225.5706 | 36.4 | 83.1
238512 | 2022-05-10 15:56 | 15.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.6389 | μmol/L | 18.2972 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.324 | 107723.6013 | 258202.5266 | 36.4 | 83.1
238522 | 2022-05-10 15:56 | 15.6655 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.127 | μmol/L | 18.3156 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.341 | 107780.122 | 258204.1903 | 36.4 | 83.1
238532 | 2022-05-10 15:57 | 15.9987 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.0403 | μmol/L | 18.3156 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.345 | 107851.7792 | 258212.5703 | 36.4 | 83.1
238542 | 2022-05-10 15:57 | 16.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.6637 | μmol/L | 18.3278 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.358 | 107921.9183 | 258191.4976 | 36.4 | 83.1
238552 | 2022-05-10 15:57 | 16.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.3784 | μmol/L | 18.3339 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.369 | 108007.6164 | 258191.4477 | 36.4 | 83.1
238562 | 2022-05-10 15:58 | 16.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.0935 | μmol/L | 18.3401 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.38 | 108073.3042 | 258197.3348 | 36.4 | 83.1
238572 | 2022-05-10 15:58 | 17.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.9557 | μmol/L | 18.3523 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.382 | 108123.92 | 258193.5219 | 36.4 | 83.1
238582 | 2022-05-10 15:58 | 17.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 253.8653 | μmol/L | 18.3584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.384 | 108109.5924 | 258189.7453 | 36.4 | 83.1
238592 | 2022-05-10 15:59 | 17.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.077 | μmol/L | 18.3646 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.372 | 108088.5732 | 258197.8948 | 36.4 | 83.1
238602 | 2022-05-10 15:59 | 18.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.1593 | μmol/L | 18.3707 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.366 | 108043.639 | 258180.976 | 36.4 | 83.1
238612 | 2022-05-10 15:59 | 18.6655 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.3105 | μmol/L | 18.3707 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.359 | 108047.8667 | 258168.3628 | 36.4 | 83.1
238622 | 2022-05-10 16:00 | 18.9988 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.2159 | μmol/L | 18.3829 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.359 | 108045.3148 | 258161.6339 | 36.4 | 83.1
238632 | 2022-05-10 16:00 | 19.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 254.0781 | μmol/L | 18.3952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.361 | 108070.1025 | 258160.6001 | 36.4 | 83.1