## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 16:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238054 | 2022-05-10 15:41 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.7016 | μmol/L | 17.658 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.784 | 114622.1595 | 282308.9149 | 59.9307 | 49.4
238064 | 2022-05-10 15:41 | 0.34083 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.4938 | μmol/L | 17.6703 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.79 | 114661.4489 | 282287.4527 | 59.9307 | 49.4
238074 | 2022-05-10 15:41 | 0.67379 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.0588 | μmol/L | 17.695 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.803 | 114696.9848 | 282275.6291 | 59.9307 | 49.4
238084 | 2022-05-10 15:42 | 1.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.8749 | μmol/L | 17.7012 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.81 | 114738.3597 | 282262.3439 | 59.9307 | 49.4
238094 | 2022-05-10 15:42 | 1.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.6247 | μmol/L | 17.7197 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.816 | 114772.0685 | 282246.2792 | 59.9307 | 49.4
238104 | 2022-05-10 15:42 | 1.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.4782 | μmol/L | 17.732 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.819 | 114797.7577 | 282226.8662 | 59.9307 | 49.4
238114 | 2022-05-10 15:43 | 2.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.2978 | μmol/L | 17.732 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.828 | 114831.3481 | 282223.5328 | 59.9307 | 49.4
238124 | 2022-05-10 15:43 | 2.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.1315 | μmol/L | 17.7444 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.832 | 114852.5387 | 282209.0845 | 59.9307 | 49.4
238134 | 2022-05-10 15:43 | 2.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.9653 | μmol/L | 17.7567 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.836 | 114880.5342 | 282211.0423 | 59.9307 | 49.4
238144 | 2022-05-10 15:44 | 3.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.6763 | μmol/L | 17.7752 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.844 | 114904.239 | 282200.6631 | 59.9307 | 49.4
238154 | 2022-05-10 15:44 | 3.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.5704 | μmol/L | 17.7876 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.845 | 114937.9304 | 282202.818 | 59.9307 | 49.4
238164 | 2022-05-10 15:44 | 3.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.4676 | μmol/L | 17.7937 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.848 | 114953.0356 | 282189.181 | 59.9307 | 49.4
238174 | 2022-05-10 15:45 | 4.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.3049 | μmol/L | 17.7999 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.854 | 114960.9226 | 282164.0283 | 59.9307 | 49.4
238184 | 2022-05-10 15:45 | 4.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1593 | μmol/L | 17.8122 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.857 | 114977.2106 | 282153.7762 | 59.9307 | 49.4
238194 | 2022-05-10 15:45 | 4.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.9571 | μmol/L | 17.8184 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.865 | 114989.1598 | 282157.08 | 59.9307 | 49.4
238204 | 2022-05-10 15:46 | 5.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.8884 | μmol/L | 17.8369 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.862 | 114997.6899 | 282153.2535 | 59.9307 | 49.4
238214 | 2022-05-10 15:46 | 5.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.7232 | μmol/L | 17.8492 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.866 | 115005.8622 | 282140.5383 | 59.9307 | 49.4
238224 | 2022-05-10 15:46 | 5.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6575 | μmol/L | 17.8616 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.865 | 115018.121 | 282137.3911 | 59.9307 | 49.4
238234 | 2022-05-10 15:47 | 6.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.575 | μmol/L | 17.8678 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.867 | 115013.873 | 282147.1419 | 59.9307 | 49.4
238244 | 2022-05-10 15:47 | 6.3408 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5124 | μmol/L | 17.8739 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.868 | 115030.1876 | 282137.669 | 59.9307 | 49.4
238254 | 2022-05-10 15:47 | 6.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.4468 | μmol/L | 17.8863 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.867 | 115028.4408 | 282119.2246 | 59.9307 | 49.4
238264 | 2022-05-10 15:48 | 7.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.1599 | μmol/L | 17.9048 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.875 | 115043.1996 | 282106.8858 | 59.9307 | 49.4
238274 | 2022-05-10 15:48 | 7.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.157 | μmol/L | 17.9109 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.873 | 115053.8672 | 282103.4293 | 59.9307 | 49.4
238284 | 2022-05-10 15:48 | 7.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.1341 | μmol/L | 17.9171 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.872 | 115058.5525 | 282114.1386 | 59.9307 | 49.4
238294 | 2022-05-10 15:49 | 8.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.0122 | μmol/L | 17.9233 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.876 | 115061.3011 | 282099.2503 | 59.9307 | 49.4
238304 | 2022-05-10 15:49 | 8.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9864 | μmol/L | 17.9356 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.873 | 115054.0864 | 282092.679 | 59.9307 | 49.4
238314 | 2022-05-10 15:49 | 8.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7824 | μmol/L | 17.948 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.879 | 115059.448 | 282087.5268 | 59.9307 | 49.4
238324 | 2022-05-10 15:50 | 9.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.717 | μmol/L | 17.9603 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.878 | 115066.8001 | 282078.6355 | 59.9307 | 49.4
238334 | 2022-05-10 15:50 | 9.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.5924 | μmol/L | 17.9726 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.88 | 115076.6201 | 282090.4697 | 59.9307 | 49.4
238344 | 2022-05-10 15:50 | 9.6742 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.5301 | μmol/L | 17.9788 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.881 | 115070.7749 | 282065.5023 | 59.9307 | 49.4
238354 | 2022-05-10 15:51 | 10.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4055 | μmol/L | 17.9911 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.883 | 115075.7495 | 282073.6722 | 59.9307 | 49.4
238364 | 2022-05-10 15:51 | 10.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.3858 | μmol/L | 17.9911 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.884 | 115074.8051 | 282075.2221 | 59.9307 | 49.4
238374 | 2022-05-10 15:51 | 10.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.2584 | μmol/L | 18.0096 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.884 | 115067.0694 | 282056.9644 | 59.9307 | 49.4
238384 | 2022-05-10 15:52 | 11.0079 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.1538 | μmol/L | 18.022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.885 | 115055.2093 | 282041.4925 | 59.9307 | 49.4
238394 | 2022-05-10 15:52 | 11.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.292 | μmol/L | 18.022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.878 | 113302.8972 | 282043.1344 | 59.9307 | 49.4
238404 | 2022-05-10 15:52 | 11.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.1282 | μmol/L | 18.0343 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.882 | 113308.2778 | 282021.6588 | 59.9307 | 49.4
238414 | 2022-05-10 15:53 | 12.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.9841 | μmol/L | 18.0467 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.885 | 113459.3265 | 282022.1751 | 59.9307 | 49.4
238424 | 2022-05-10 15:53 | 12.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.9615 | μmol/L | 18.0528 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.884 | 113469.4852 | 282041.1931 | 59.9307 | 49.4
238434 | 2022-05-10 15:53 | 12.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.8994 | μmol/L | 18.059 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.885 | 113458.9515 | 282028.313 | 59.9307 | 49.4
238444 | 2022-05-10 15:54 | 13.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.9162 | μmol/L | 18.0652 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.882 | 113459.5423 | 282044.8837 | 59.9307 | 49.4
238454 | 2022-05-10 15:54 | 13.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.8118 | μmol/L | 18.0775 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.883 | 113452.1777 | 282007.9832 | 59.9307 | 49.4
238464 | 2022-05-10 15:54 | 13.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.8315 | μmol/L | 18.0775 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.882 | 113455.2419 | 282015.8156 | 59.9307 | 49.4
238474 | 2022-05-10 15:55 | 14.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.8257 | μmol/L | 18.0898 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.878 | 113446.8624 | 282016.6152 | 59.9307 | 49.4
238484 | 2022-05-10 15:55 | 14.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.6622 | μmol/L | 18.1022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.882 | 113439.893 | 281993.7035 | 59.9307 | 49.4
238494 | 2022-05-10 15:55 | 14.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.6199 | μmol/L | 18.1084 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.882 | 113438.0247 | 281990.1667 | 59.9307 | 49.4
238504 | 2022-05-10 15:56 | 15.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.5748 | μmol/L | 18.1207 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.88 | 113442.5659 | 281996.3906 | 59.9307 | 49.4
238514 | 2022-05-10 15:56 | 15.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.5157 | μmol/L | 18.1207 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.883 | 113443.0361 | 282005.4262 | 59.9307 | 49.4
238524 | 2022-05-10 15:56 | 15.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4115 | μmol/L | 18.133 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.884 | 113444.5816 | 281989.3942 | 59.9307 | 49.4
238534 | 2022-05-10 15:57 | 16.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.3889 | μmol/L | 18.1392 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.883 | 113442.0867 | 281974.9687 | 59.9307 | 49.4
238544 | 2022-05-10 15:57 | 16.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4057 | μmol/L | 18.1454 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.88 | 113445.5263 | 281973.7562 | 59.9307 | 49.4
238554 | 2022-05-10 15:57 | 16.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2848 | μmol/L | 18.1515 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.884 | 113459.2983 | 281967.4921 | 59.9307 | 49.4
238564 | 2022-05-10 15:58 | 17.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2229 | μmol/L | 18.1577 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.885 | 113456.5971 | 281980.4643 | 59.9307 | 49.4
238574 | 2022-05-10 15:58 | 17.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1611 | μmol/L | 18.1639 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.886 | 113460.7058 | 281979.5003 | 59.9307 | 49.4
238584 | 2022-05-10 15:58 | 17.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1357 | μmol/L | 18.1762 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.883 | 113463.2595 | 281978.3737 | 59.9307 | 49.4
238594 | 2022-05-10 15:59 | 18.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.0178 | μmol/L | 18.1762 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.889 | 113458.4965 | 281960.8335 | 59.9307 | 49.4
238604 | 2022-05-10 15:59 | 18.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.0346 | μmol/L | 18.1824 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.886 | 113456.3453 | 281962.4551 | 59.9307 | 49.4
238614 | 2022-05-10 15:59 | 18.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8913 | μmol/L | 18.1947 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.889 | 113457.6755 | 281950.2076 | 59.9307 | 49.4
238624 | 2022-05-10 16:00 | 19.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8689 | μmol/L | 18.2009 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.888 | 113457.6258 | 281948.064 | 59.9307 | 49.4
238634 | 2022-05-10 16:00 | 19.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7061 | μmol/L | 18.2132 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 22.892 | 113456.8666 | 281946.0762 | 59.9307 | 49.4