## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 16:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238057 | 2022-05-10 15:41 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.2984 | μmol/L | 17.5417 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.814 | 96584.3286 | 260030.9176 | 32.55 | 27.7
238067 | 2022-05-10 15:41 | 0.34054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.9907 | μmol/L | 17.554 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.825 | 96617.168 | 260001.7437 | 32.55 | 27.7
238077 | 2022-05-10 15:41 | 0.67432 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.6769 | μmol/L | 17.5784 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.832 | 96661.0748 | 259972.9539 | 32.55 | 27.7
238087 | 2022-05-10 15:42 | 1.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.3068 | μmol/L | 17.5968 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.844 | 96712.4576 | 259943.1256 | 32.55 | 27.7
238097 | 2022-05-10 15:42 | 1.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.0404 | μmol/L | 17.609 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.853 | 96753.8929 | 259908.7592 | 32.55 | 27.7
238107 | 2022-05-10 15:42 | 1.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.7545 | μmol/L | 17.6212 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.863 | 96801.571 | 259893.5526 | 32.55 | 27.7
238117 | 2022-05-10 15:43 | 2.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.5917 | μmol/L | 17.6273 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.869 | 96841.2745 | 259868.2216 | 32.55 | 27.7
238127 | 2022-05-10 15:43 | 2.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.3398 | μmol/L | 17.6518 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.873 | 96863.977 | 259862.2798 | 32.55 | 27.7
238137 | 2022-05-10 15:43 | 2.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.194 | μmol/L | 17.664 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.876 | 96891.3874 | 259839.1639 | 32.55 | 27.7
238147 | 2022-05-10 15:44 | 3.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.9028 | μmol/L | 17.6885 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.882 | 96912.3883 | 259822.4538 | 32.55 | 27.7
238157 | 2022-05-10 15:44 | 3.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.7836 | μmol/L | 17.6885 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.888 | 96942.5737 | 259804.5583 | 32.55 | 27.7
238167 | 2022-05-10 15:44 | 3.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.5755 | μmol/L | 17.7068 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.892 | 96970.8992 | 259789.6997 | 32.55 | 27.7
238177 | 2022-05-10 15:45 | 4.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.493 | μmol/L | 17.7129 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.894 | 96985.5301 | 259785.9014 | 32.55 | 27.7
238187 | 2022-05-10 15:45 | 4.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.2686 | μmol/L | 17.7251 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.901 | 97019.0823 | 259788.6248 | 32.55 | 27.7
238197 | 2022-05-10 15:45 | 4.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.1236 | μmol/L | 17.7374 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.904 | 97025.6724 | 259760.7081 | 32.55 | 27.7
238207 | 2022-05-10 15:46 | 5.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.9557 | μmol/L | 17.7557 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.906 | 97054.0843 | 259736.8307 | 32.55 | 27.7
238217 | 2022-05-10 15:46 | 5.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.8536 | μmol/L | 17.7618 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.909 | 97071.0739 | 259720.5079 | 32.55 | 27.7
238227 | 2022-05-10 15:46 | 5.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.6662 | μmol/L | 17.7802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.912 | 97089.3319 | 259733.2947 | 32.55 | 27.7
238237 | 2022-05-10 15:47 | 6.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.5841 | μmol/L | 17.7863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.914 | 97119.1957 | 259736.2931 | 32.55 | 27.7
238247 | 2022-05-10 15:47 | 6.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.5185 | μmol/L | 17.7985 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.913 | 97126.3109 | 259713.2549 | 32.55 | 27.7
238257 | 2022-05-10 15:47 | 6.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.4561 | μmol/L | 17.8046 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.914 | 97139.7114 | 259709.1825 | 32.55 | 27.7
238267 | 2022-05-10 15:48 | 7.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.3117 | μmol/L | 17.8168 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.917 | 97150.6765 | 259691.4022 | 32.55 | 27.7
238277 | 2022-05-10 15:48 | 7.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.0854 | μmol/L | 17.8352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.922 | 97157.0184 | 259683.1818 | 32.55 | 27.7
238287 | 2022-05-10 15:48 | 7.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.02 | μmol/L | 17.8474 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.921 | 97170.939 | 259684.8522 | 32.55 | 27.7
238297 | 2022-05-10 15:49 | 8.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.9153 | μmol/L | 17.8596 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.922 | 97172.6674 | 259656.8141 | 32.55 | 27.7
238307 | 2022-05-10 15:49 | 8.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.7909 | μmol/L | 17.8719 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.924 | 97184.1334 | 259642.0812 | 32.55 | 27.7
238317 | 2022-05-10 15:49 | 8.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.7028 | μmol/L | 17.8902 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.922 | 97194.0398 | 259652.0422 | 32.55 | 27.7
238327 | 2022-05-10 15:50 | 9.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.621 | μmol/L | 17.8963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.924 | 97207.3986 | 259650.0354 | 32.55 | 27.7
238337 | 2022-05-10 15:50 | 9.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.5983 | μmol/L | 17.9024 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.923 | 97217.9575 | 259632.8982 | 32.55 | 27.7
238347 | 2022-05-10 15:50 | 9.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.3563 | μmol/L | 17.9147 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.931 | 97226.5527 | 259617.8097 | 32.55 | 27.7
238357 | 2022-05-10 15:51 | 10.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.2911 | μmol/L | 17.9269 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.93 | 97235.4804 | 259608.6969 | 32.55 | 27.7
238367 | 2022-05-10 15:51 | 10.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.1083 | μmol/L | 17.9391 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.935 | 97250.563 | 259594.7222 | 32.55 | 27.7
238377 | 2022-05-10 15:51 | 10.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.9845 | μmol/L | 17.9513 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.937 | 97258.3986 | 259575.5787 | 32.55 | 27.7
238387 | 2022-05-10 15:52 | 11.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.8968 | μmol/L | 17.9697 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.935 | 95511.591 | 259570.839 | 32.55 | 27.7
238397 | 2022-05-10 15:52 | 11.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.8514 | μmol/L | 17.9819 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.933 | 95469.9661 | 259560.7286 | 32.55 | 27.7
238407 | 2022-05-10 15:52 | 11.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.8937 | μmol/L | 17.9758 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.933 | 95469.579 | 259552.3447 | 32.55 | 27.7
238417 | 2022-05-10 15:53 | 12.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.7669 | μmol/L | 17.9941 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.933 | 95330.878 | 259564.8533 | 32.55 | 27.7
238427 | 2022-05-10 15:53 | 12.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.5589 | μmol/L | 18.0186 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.935 | 95328.9828 | 259557.9593 | 32.55 | 27.7
238437 | 2022-05-10 15:53 | 12.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.5332 | μmol/L | 18.0308 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.932 | 95341.9178 | 259555.1798 | 32.55 | 27.7
238447 | 2022-05-10 15:54 | 13.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.4097 | μmol/L | 18.0431 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.934 | 95345.2529 | 259546.357 | 32.55 | 27.7
238457 | 2022-05-10 15:54 | 13.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.4879 | μmol/L | 18.0431 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.93 | 95349.0035 | 259528.9366 | 32.55 | 27.7
238467 | 2022-05-10 15:54 | 13.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.4488 | μmol/L | 18.0431 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.932 | 95352.7044 | 259530.8981 | 32.55 | 27.7
238477 | 2022-05-10 15:55 | 14.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.2186 | μmol/L | 18.0736 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.933 | 95361.5137 | 259521.6334 | 32.55 | 27.7
238487 | 2022-05-10 15:55 | 14.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.1179 | μmol/L | 18.0797 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.936 | 95369.2338 | 259521.3052 | 32.55 | 27.7
238497 | 2022-05-10 15:55 | 14.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.1313 | μmol/L | 18.092 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.931 | 95389.9543 | 259515.0633 | 32.55 | 27.7
238507 | 2022-05-10 15:56 | 15.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.9466 | μmol/L | 18.1103 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.934 | 95395.8712 | 259511.3806 | 32.55 | 27.7
238517 | 2022-05-10 15:56 | 15.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.9826 | μmol/L | 18.1164 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.93 | 95403.7456 | 259509.2278 | 32.55 | 27.7
238527 | 2022-05-10 15:56 | 15.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.0051 | μmol/L | 18.1103 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.931 | 95419.0578 | 259502.8155 | 32.55 | 27.7
238537 | 2022-05-10 15:57 | 16.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.9435 | μmol/L | 18.1164 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.932 | 95424.6319 | 259509.3683 | 32.55 | 27.7
238547 | 2022-05-10 15:57 | 16.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.882 | μmol/L | 18.1225 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.933 | 95424.7809 | 259496.8675 | 32.55 | 27.7
238557 | 2022-05-10 15:57 | 16.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.8204 | μmol/L | 18.1287 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.934 | 95420.7473 | 259488.6859 | 32.55 | 27.7
238567 | 2022-05-10 15:58 | 17.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.8369 | μmol/L | 18.1348 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.931 | 95429.708 | 259480.3472 | 32.55 | 27.7
238577 | 2022-05-10 15:58 | 17.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.7304 | μmol/L | 18.1531 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.93 | 95448.5689 | 259461.3502 | 32.55 | 27.7
238587 | 2022-05-10 15:58 | 17.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.7079 | μmol/L | 18.1592 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.929 | 95447.3444 | 259462.1814 | 32.55 | 27.7
238597 | 2022-05-10 15:59 | 18.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.702 | μmol/L | 18.1715 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.925 | 95442.9237 | 259448.8029 | 32.55 | 27.7
238607 | 2022-05-10 15:59 | 18.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.5401 | μmol/L | 18.1837 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.929 | 95445.3864 | 259436.7203 | 32.55 | 27.7
238617 | 2022-05-10 15:59 | 18.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.4952 | μmol/L | 18.1959 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.927 | 95448.9974 | 259443.7482 | 32.55 | 27.7
238627 | 2022-05-10 16:00 | 19.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.5341 | μmol/L | 18.1959 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.925 | 95448.3305 | 259423.7711 | 32.55 | 27.7
238637 | 2022-05-10 16:00 | 19.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.4697 | μmol/L | 18.2081 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.924 | 95443.6179 | 259409.9708 | 32.55 | 27.7