## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
235439 | 2022-04-26 15:38 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.2556 | μmol/L | 13.2687 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.154 | 109030.3897 | 282128.9099 | 59.9307 | 49.4
235449 | 2022-04-26 15:38 | 0.33415 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.6934 | μmol/L | 13.2748 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.132 | 108949.6975 | 282108.715 | 59.9307 | 49.4
235459 | 2022-04-26 15:38 | 0.66716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0143 | μmol/L | 13.2872 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.113 | 108865.5809 | 282086.1978 | 59.9307 | 49.4
235469 | 2022-04-26 15:39 | 1.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.4251 | μmol/L | 13.2995 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.09 | 108761.9423 | 282083.0283 | 59.9307 | 49.4
235479 | 2022-04-26 15:39 | 1.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.7983 | μmol/L | 13.3056 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.071 | 108660.8904 | 282063.5097 | 59.9307 | 49.4
235489 | 2022-04-26 15:39 | 1.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.2331 | μmol/L | 13.318 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.047 | 108529.7526 | 282064.1579 | 59.9307 | 49.4
235499 | 2022-04-26 15:40 | 2.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.685 | μmol/L | 13.3365 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.02 | 108404.3615 | 282056.2124 | 59.9307 | 49.4
235509 | 2022-04-26 15:40 | 2.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.0831 | μmol/L | 13.3426 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23 | 108286.641 | 282054.6068 | 59.9307 | 49.4
235519 | 2022-04-26 15:40 | 2.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.4144 | μmol/L | 13.3488 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.983 | 108196.2942 | 282028.7725 | 59.9307 | 49.4
235529 | 2022-04-26 15:41 | 3.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.5983 | μmol/L | 13.3673 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.968 | 108120.5811 | 282002.3341 | 59.9307 | 49.4
235539 | 2022-04-26 15:41 | 3.3338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.7662 | μmol/L | 13.3796 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.956 | 108070.4156 | 282009.3846 | 59.9307 | 49.4
235549 | 2022-04-26 15:41 | 3.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.0083 | μmol/L | 13.3857 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.943 | 108011.7014 | 282008.2657 | 59.9307 | 49.4
235559 | 2022-04-26 15:42 | 4.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.041 | μmol/L | 13.3981 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.937 | 107976.409 | 282001.0194 | 59.9307 | 49.4
235569 | 2022-04-26 15:42 | 4.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.1478 | μmol/L | 13.4042 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.93 | 107938.9154 | 282002.7789 | 59.9307 | 49.4
235579 | 2022-04-26 15:42 | 4.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.413 | μmol/L | 13.4104 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.916 | 107878.6688 | 282006.2067 | 59.9307 | 49.4
235589 | 2022-04-26 15:43 | 5.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.5982 | μmol/L | 13.4289 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.901 | 107815.5838 | 281989.3749 | 59.9307 | 49.4
235599 | 2022-04-26 15:43 | 5.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.5858 | μmol/L | 13.4412 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.897 | 107781.0857 | 281994.6862 | 59.9307 | 49.4
235609 | 2022-04-26 15:43 | 5.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.6929 | μmol/L | 13.4474 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.89 | 107730.844 | 281974.8448 | 59.9307 | 49.4
235619 | 2022-04-26 15:44 | 6.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.7424 | μmol/L | 13.4658 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.881 | 107698.449 | 281975.9082 | 59.9307 | 49.4
235629 | 2022-04-26 15:44 | 6.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.7755 | μmol/L | 13.4782 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.875 | 107655.2512 | 281965.4526 | 59.9307 | 49.4
235639 | 2022-04-26 15:44 | 6.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.8889 | μmol/L | 13.4782 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.87 | 107606.5981 | 281944.2659 | 59.9307 | 49.4
235649 | 2022-04-26 15:45 | 7.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0295 | μmol/L | 13.4966 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.857 | 107549.0664 | 281938.7754 | 59.9307 | 49.4
235659 | 2022-04-26 15:45 | 7.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0854 | μmol/L | 13.509 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.85 | 107494.9394 | 281940.6242 | 59.9307 | 49.4
235669 | 2022-04-26 15:45 | 7.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.1763 | μmol/L | 13.509 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.846 | 107464.8629 | 281935.6796 | 59.9307 | 49.4
235679 | 2022-04-26 15:46 | 8.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.3915 | μmol/L | 13.5213 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.832 | 107413.4166 | 281921.5687 | 59.9307 | 49.4
235689 | 2022-04-26 15:46 | 8.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.396 | μmol/L | 13.5398 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.825 | 107371.0886 | 281927.8902 | 59.9307 | 49.4
235699 | 2022-04-26 15:46 | 8.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.5949 | μmol/L | 13.5459 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.814 | 107329.4054 | 281922.9515 | 59.9307 | 49.4
235709 | 2022-04-26 15:47 | 9.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.6679 | μmol/L | 13.5644 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.804 | 107278.5283 | 281901.8931 | 59.9307 | 49.4
235719 | 2022-04-26 15:47 | 9.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.8047 | μmol/L | 13.5644 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.798 | 107235.6073 | 281912.424 | 59.9307 | 49.4
235729 | 2022-04-26 15:47 | 9.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.8322 | μmol/L | 13.5829 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.79 | 107186.3034 | 281913.2198 | 59.9307 | 49.4
235739 | 2022-04-26 15:48 | 10.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.0544 | μmol/L | 13.5891 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.778 | 107137.7557 | 281899.6979 | 59.9307 | 49.4
235749 | 2022-04-26 15:48 | 10.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.9847 | μmol/L | 13.6137 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.772 | 107073.4115 | 281892.3427 | 59.9307 | 49.4
235759 | 2022-04-26 15:48 | 10.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.1843 | μmol/L | 13.6199 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.761 | 107047.2237 | 281904.7662 | 59.9307 | 49.4
235769 | 2022-04-26 15:49 | 11.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.1267 | μmol/L | 13.6322 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.759 | 106998.6383 | 281887.0124 | 59.9307 | 49.4
235779 | 2022-04-26 15:49 | 11.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.3264 | μmol/L | 13.6384 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.748 | 106956.5272 | 281894.0725 | 59.9307 | 49.4
235789 | 2022-04-26 15:49 | 11.667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.3603 | μmol/L | 13.6507 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.742 | 106924.3717 | 281880.1906 | 59.9307 | 49.4
235799 | 2022-04-26 15:50 | 12.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.4399 | μmol/L | 13.663 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.734 | 106885.9871 | 281868.4656 | 59.9307 | 49.4
235809 | 2022-04-26 15:50 | 12.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.5544 | μmol/L | 13.663 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.729 | 106845.1678 | 281866.6211 | 59.9307 | 49.4
235819 | 2022-04-26 15:50 | 12.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.6859 | μmol/L | 13.6692 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.721 | 106820.1252 | 281868.3411 | 59.9307 | 49.4
235829 | 2022-04-26 15:51 | 13.0003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.8805 | μmol/L | 13.6815 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.708 | 106779.4118 | 281846.1865 | 59.9307 | 49.4
235839 | 2022-04-26 15:51 | 13.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.7023 | μmol/L | 13.7 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.709 | 106744.7105 | 281865.3431 | 59.9307 | 49.4
235849 | 2022-04-26 15:51 | 13.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.8798 | μmol/L | 13.7061 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.699 | 106702.7749 | 281823.1893 | 59.9307 | 49.4
235859 | 2022-04-26 15:52 | 14.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.851 | μmol/L | 13.7123 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.698 | 106659.9799 | 281831.5267 | 59.9307 | 49.4
235869 | 2022-04-26 15:52 | 14.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.0805 | μmol/L | 13.7123 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.688 | 106640.3197 | 281828.6984 | 59.9307 | 49.4
235879 | 2022-04-26 15:52 | 14.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.0571 | μmol/L | 13.7369 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.68 | 106611.9723 | 281799.7247 | 59.9307 | 49.4
235889 | 2022-04-26 15:53 | 15.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.172 | μmol/L | 13.7369 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.675 | 106575.8618 | 281798.2556 | 59.9307 | 49.4
235899 | 2022-04-26 15:53 | 15.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.0626 | μmol/L | 13.7554 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.673 | 106548.6844 | 281792.7198 | 59.9307 | 49.4
235909 | 2022-04-26 15:53 | 15.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.1027 | μmol/L | 13.7616 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.669 | 106514.0359 | 281801.7755 | 59.9307 | 49.4
235919 | 2022-04-26 15:54 | 16.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2979 | μmol/L | 13.7739 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.656 | 106479.0236 | 281778.0304 | 59.9307 | 49.4
235929 | 2022-04-26 15:54 | 16.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2232 | μmol/L | 13.7801 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.657 | 106446.9674 | 281769.0701 | 59.9307 | 49.4
235939 | 2022-04-26 15:54 | 16.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2806 | μmol/L | 13.7924 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.65 | 106430.9153 | 281786.9664 | 59.9307 | 49.4
235949 | 2022-04-26 15:55 | 17.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.223 | μmol/L | 13.8047 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.648 | 106411.7475 | 281755.6918 | 59.9307 | 49.4
235959 | 2022-04-26 15:55 | 17.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.4013 | μmol/L | 13.8109 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.638 | 106382.9052 | 281766.4189 | 59.9307 | 49.4
235969 | 2022-04-26 15:55 | 17.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2575 | μmol/L | 13.817 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.642 | 106361.3882 | 281766.9674 | 59.9307 | 49.4
235979 | 2022-04-26 15:56 | 18.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3035 | μmol/L | 13.817 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.64 | 106337.9309 | 281760.1604 | 59.9307 | 49.4
235989 | 2022-04-26 15:56 | 18.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.361 | μmol/L | 13.8294 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.633 | 106329.4153 | 281764.3998 | 59.9307 | 49.4
235999 | 2022-04-26 15:56 | 18.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3323 | μmol/L | 13.8355 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.632 | 106312.4219 | 281747.5756 | 59.9307 | 49.4
236009 | 2022-04-26 15:57 | 19.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.482 | μmol/L | 13.8478 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.621 | 106297.6411 | 281755.007 | 59.9307 | 49.4
236019 | 2022-04-26 15:57 | 19.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.4705 | μmol/L | 13.8602 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.617 | 106283.9357 | 281741.9252 | 59.9307 | 49.4
236029 | 2022-04-26 15:57 | 19.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.321 | μmol/L | 13.8725 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.619 | 106271.447 | 281724.7447 | 59.9307 | 49.4
236039 | 2022-04-26 15:58 | 20.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3326 | μmol/L | 13.8848 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.614 | 106258.1045 | 281729.5309 | 59.9307 | 49.4
236049 | 2022-04-26 15:58 | 20.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3787 | μmol/L | 13.8848 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.612 | 106240.3989 | 281729.0118 | 59.9307 | 49.4
236059 | 2022-04-26 15:58 | 20.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.35 | μmol/L | 13.891 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.611 | 106218.122 | 281715.7202 | 59.9307 | 49.4
236069 | 2022-04-26 15:59 | 21.0005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3673 | μmol/L | 13.8971 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.608 | 106197.7899 | 281679.8793 | 59.9307 | 49.4
236079 | 2022-04-26 15:59 | 21.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3043 | μmol/L | 13.9156 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.604 | 106182.1132 | 281672.2835 | 59.9307 | 49.4
236089 | 2022-04-26 15:59 | 21.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3677 | μmol/L | 13.9218 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.599 | 106163.9096 | 281694.1527 | 59.9307 | 49.4
236099 | 2022-04-26 16:00 | 22.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.4829 | μmol/L | 13.9218 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.594 | 106143.2646 | 281672.7296 | 59.9307 | 49.4
236109 | 2022-04-26 16:00 | 22.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.4312 | μmol/L | 13.928 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.594 | 106123.245 | 281682.3706 | 59.9307 | 49.4
236119 | 2022-04-26 16:00 | 22.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.4486 | μmol/L | 13.9341 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.591 | 106107.3489 | 281678.4148 | 59.9307 | 49.4
236129 | 2022-04-26 16:01 | 23.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3626 | μmol/L | 13.9526 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.588 | 106086.1855 | 281665.5824 | 59.9307 | 49.4
236139 | 2022-04-26 16:01 | 23.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.38 | μmol/L | 13.9588 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.585 | 106070.228 | 281652.9387 | 59.9307 | 49.4
236149 | 2022-04-26 16:01 | 23.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3172 | μmol/L | 13.9772 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.581 | 106063.0856 | 281653.3148 | 59.9307 | 49.4
236159 | 2022-04-26 16:02 | 24.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.438 | μmol/L | 13.9711 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.578 | 106042.7328 | 281643.2524 | 59.9307 | 49.4
236169 | 2022-04-26 16:02 | 24.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.306 | μmol/L | 13.9896 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.577 | 106025.1091 | 281631.4859 | 59.9307 | 49.4
236179 | 2022-04-26 16:02 | 24.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3235 | μmol/L | 13.9957 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.574 | 106016.7231 | 281623.8559 | 59.9307 | 49.4
236189 | 2022-04-26 16:03 | 25.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2433 | μmol/L | 14.0081 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.573 | 105996.4789 | 281621.1965 | 59.9307 | 49.4
236199 | 2022-04-26 16:03 | 25.3338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2949 | μmol/L | 14.0019 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.573 | 105985.9006 | 281616.8712 | 59.9307 | 49.4
236209 | 2022-04-26 16:03 | 25.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3068 | μmol/L | 14.0142 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.568 | 105976.2723 | 281613.6942 | 59.9307 | 49.4
236219 | 2022-04-26 16:04 | 26.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2552 | μmol/L | 14.0204 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.568 | 105957.0474 | 281592.8248 | 59.9307 | 49.4
236229 | 2022-04-26 16:04 | 26.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2441 | μmol/L | 14.0327 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.564 | 105944.72 | 281586.3377 | 59.9307 | 49.4
236239 | 2022-04-26 16:04 | 26.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2211 | μmol/L | 14.0327 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.565 | 105927.1916 | 281573.6527 | 59.9307 | 49.4
236249 | 2022-04-26 16:05 | 27.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2045 | μmol/L | 14.0512 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.559 | 105913.1592 | 281569.5313 | 59.9307 | 49.4
236259 | 2022-04-26 16:05 | 27.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2045 | μmol/L | 14.0512 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.559 | 105888.8564 | 281542.2633 | 59.9307 | 49.4
236269 | 2022-04-26 16:05 | 27.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.199 | μmol/L | 14.0574 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.557 | 105878.3799 | 281545.5705 | 59.9307 | 49.4
236279 | 2022-04-26 16:06 | 28.0005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.165 | μmol/L | 14.0697 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.554 | 105865.6025 | 281528.2555 | 59.9307 | 49.4
236289 | 2022-04-26 16:06 | 28.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.1595 | μmol/L | 14.0758 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.552 | 105849.2511 | 281523.1733 | 59.9307 | 49.4
236299 | 2022-04-26 16:06 | 28.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.0104 | μmol/L | 14.0882 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.554 | 105830.4996 | 281522.7016 | 59.9307 | 49.4
236309 | 2022-04-26 16:07 | 29.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.051 | μmol/L | 14.0943 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.55 | 105820.2678 | 281529.4068 | 59.9307 | 49.4
236319 | 2022-04-26 16:07 | 29.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.0685 | μmol/L | 14.1005 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.547 | 105809.9814 | 281517.8834 | 59.9307 | 49.4
236329 | 2022-04-26 16:07 | 29.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.017 | μmol/L | 14.1067 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.547 | 105793.6057 | 281515.1634 | 59.9307 | 49.4
236339 | 2022-04-26 16:08 | 30.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.9776 | μmol/L | 14.1251 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.542 | 105779.3934 | 281514.5346 | 59.9307 | 49.4
236349 | 2022-04-26 16:08 | 30.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.0182 | μmol/L | 14.1313 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.538 | 105764.1162 | 281501.7799 | 59.9307 | 49.4
236359 | 2022-04-26 16:08 | 30.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.0589 | μmol/L | 14.1375 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.534 | 105745.2429 | 281484.7533 | 59.9307 | 49.4
236369 | 2022-04-26 16:09 | 31.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.1049 | μmol/L | 14.1375 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.532 | 105739.8655 | 281499.4825 | 59.9307 | 49.4
236379 | 2022-04-26 16:09 | 31.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.0074 | μmol/L | 14.1436 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.534 | 105740.6883 | 281504.1118 | 59.9307 | 49.4
236389 | 2022-04-26 16:09 | 31.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.002 | μmol/L | 14.1498 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.532 | 105723.635 | 281472.8231 | 59.9307 | 49.4
236399 | 2022-04-26 16:10 | 32.0005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.8476 | μmol/L | 14.1683 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.532 | 105724.4028 | 281481.6222 | 59.9307 | 49.4
236409 | 2022-04-26 16:10 | 32.3336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.9167 | μmol/L | 14.1683 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.529 | 105711.6585 | 281482.5783 | 59.9307 | 49.4
236419 | 2022-04-26 16:10 | 32.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.8476 | μmol/L | 14.1683 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.532 | 105705.8318 | 281484.6103 | 59.9307 | 49.4
236429 | 2022-04-26 16:11 | 33.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.8599 | μmol/L | 14.1806 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.527 | 105703.3777 | 281465.9231 | 59.9307 | 49.4