## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
234423 | 2022-04-26 14:43 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.1361 | μmol/L | 12.4596 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.248 | 130377.0173 | 288650.4283 | 59.9307 | 38.1
234437 | 2022-04-26 14:43 | 0.47681 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.9077 | μmol/L | 12.484 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.249 | 130399.3575 | 288622.0116 | 59.9307 | 38.1
234443 | 2022-04-26 14:43 | 0.67061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.7956 | μmol/L | 12.484 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.254 | 130427.2058 | 288616.8378 | 59.9307 | 38.1
234453 | 2022-04-26 14:44 | 1.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.6032 | μmol/L | 12.4962 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.258 | 130461.7525 | 288603.6118 | 59.9307 | 38.1
234463 | 2022-04-26 14:44 | 1.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.3082 | μmol/L | 12.5206 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.262 | 130472.3153 | 288588.7962 | 59.9307 | 38.1
234473 | 2022-04-26 14:44 | 1.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.228 | μmol/L | 12.5328 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.261 | 130458.193 | 288585.1177 | 59.9307 | 38.1
234483 | 2022-04-26 14:45 | 2.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.2083 | μmol/L | 12.5511 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.255 | 130435.6223 | 288567.5108 | 59.9307 | 38.1
234493 | 2022-04-26 14:45 | 2.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.3136 | μmol/L | 12.5572 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.248 | 130387.9446 | 288559.577 | 59.9307 | 38.1
234503 | 2022-04-26 14:45 | 2.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.294 | μmol/L | 12.5754 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.242 | 130347.9922 | 288566.6908 | 59.9307 | 38.1
234513 | 2022-04-26 14:46 | 3.0036 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.6103 | μmol/L | 12.5937 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.221 | 130206.3817 | 288549.8939 | 59.9307 | 38.1
234523 | 2022-04-26 14:46 | 3.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.0395 | μmol/L | 12.612 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.195 | 130075.334 | 288552.1564 | 59.9307 | 38.1
234533 | 2022-04-26 14:46 | 3.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.1325 | μmol/L | 12.6303 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.184 | 129980.4061 | 288548.1593 | 59.9307 | 38.1
234543 | 2022-04-26 14:47 | 4.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.2319 | μmol/L | 12.6425 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.175 | 129923.6121 | 288545.6713 | 59.9307 | 38.1
234553 | 2022-04-26 14:47 | 4.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.2126 | μmol/L | 12.6608 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.169 | 129890.6142 | 288531.9358 | 59.9307 | 38.1
234563 | 2022-04-26 14:47 | 4.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.2545 | μmol/L | 12.6852 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.158 | 129855.6821 | 288538.957 | 59.9307 | 38.1
234573 | 2022-04-26 14:48 | 5.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.3155 | μmol/L | 12.6913 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.153 | 129814.9288 | 288518.5765 | 59.9307 | 38.1
234583 | 2022-04-26 14:48 | 5.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.2226 | μmol/L | 12.7156 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.148 | 129774.1053 | 288520.6292 | 59.9307 | 38.1
234593 | 2022-04-26 14:48 | 5.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.3062 | μmol/L | 12.7217 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.142 | 129738.871 | 288523.9866 | 59.9307 | 38.1
234603 | 2022-04-26 14:49 | 6.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.3547 | μmol/L | 12.74 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.133 | 129703.7641 | 288523.9983 | 59.9307 | 38.1
234613 | 2022-04-26 14:49 | 6.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.4095 | μmol/L | 12.7522 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.126 | 129668.9751 | 288530.6987 | 59.9307 | 38.1
234623 | 2022-04-26 14:49 | 6.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.4645 | μmol/L | 12.7644 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.119 | 129633.8786 | 288521.5769 | 59.9307 | 38.1
234633 | 2022-04-26 14:50 | 7.0036 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.4744 | μmol/L | 12.7766 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.114 | 129588.8618 | 288512.6632 | 59.9307 | 38.1
234643 | 2022-04-26 14:50 | 7.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.443 | μmol/L | 12.8071 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.104 | 129544.0113 | 288509.6123 | 59.9307 | 38.1
234653 | 2022-04-26 14:50 | 7.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.4981 | μmol/L | 12.8193 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.097 | 129510.6008 | 288519.3184 | 59.9307 | 38.1
234663 | 2022-04-26 14:51 | 8.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.6045 | μmol/L | 12.8254 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.09 | 129470.0257 | 288503.3895 | 59.9307 | 38.1
234673 | 2022-04-26 14:51 | 8.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.631 | μmol/L | 12.8437 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.082 | 129434.3234 | 288517.7155 | 59.9307 | 38.1
234683 | 2022-04-26 14:51 | 8.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.6924 | μmol/L | 12.8497 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.077 | 129408.4052 | 288504.0528 | 59.9307 | 38.1
234693 | 2022-04-26 14:52 | 9.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.5548 | μmol/L | 12.8741 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.074 | 129380.5355 | 288510.6455 | 59.9307 | 38.1
234703 | 2022-04-26 14:52 | 9.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.5588 | μmol/L | 12.8924 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.067 | 129343.9889 | 288500.964 | 59.9307 | 38.1
234713 | 2022-04-26 14:52 | 9.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.6655 | μmol/L | 12.8985 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.06 | 129316.0368 | 288496.6288 | 59.9307 | 38.1
234723 | 2022-04-26 14:53 | 10.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.5957 | μmol/L | 12.9229 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.054 | 129274.2796 | 288483.1306 | 59.9307 | 38.1
234733 | 2022-04-26 14:53 | 10.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.7476 | μmol/L | 12.929 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.045 | 129254.7409 | 288488.8179 | 59.9307 | 38.1
234743 | 2022-04-26 14:53 | 10.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.645 | μmol/L | 12.9412 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.045 | 129218.6581 | 288482.0428 | 59.9307 | 38.1
234753 | 2022-04-26 14:54 | 11.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.6267 | μmol/L | 12.9595 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.039 | 129190.9236 | 288485.8139 | 59.9307 | 38.1
234763 | 2022-04-26 14:54 | 11.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.6883 | μmol/L | 12.9656 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.034 | 129172.1211 | 288490.1411 | 59.9307 | 38.1
234773 | 2022-04-26 14:54 | 11.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.5798 | μmol/L | 12.9839 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.032 | 129151.3548 | 288470.9227 | 59.9307 | 38.1
234783 | 2022-04-26 14:55 | 12.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.6415 | μmol/L | 12.99 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.027 | 129126.5687 | 288483.4706 | 59.9307 | 38.1
234793 | 2022-04-26 14:55 | 12.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.6172 | μmol/L | 13.0143 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.019 | 129114.7715 | 288484.1407 | 59.9307 | 38.1
234803 | 2022-04-26 14:55 | 12.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.6112 | μmol/L | 13.0204 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.017 | 129093.7949 | 288455.3631 | 59.9307 | 38.1
234813 | 2022-04-26 14:56 | 13.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.5088 | μmol/L | 13.0326 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.017 | 129081.8067 | 288463.0264 | 59.9307 | 38.1
234823 | 2022-04-26 14:56 | 13.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.4397 | μmol/L | 13.057 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.011 | 129072.8056 | 288463.416 | 59.9307 | 38.1
234833 | 2022-04-26 14:56 | 13.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.5525 | μmol/L | 13.057 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.006 | 129059.6565 | 288460.9344 | 59.9307 | 38.1
234843 | 2022-04-26 14:57 | 14.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.3314 | μmol/L | 13.0753 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.009 | 129040.0412 | 288457.0891 | 59.9307 | 38.1
234853 | 2022-04-26 14:57 | 14.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.2969 | μmol/L | 13.0875 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.006 | 129036.9701 | 288467.0621 | 59.9307 | 38.1
234863 | 2022-04-26 14:57 | 14.6706 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.2459 | μmol/L | 13.0936 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.006 | 129034.352 | 288450.0474 | 59.9307 | 38.1
234873 | 2022-04-26 14:58 | 15.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.1948 | μmol/L | 13.0997 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.006 | 129034.567 | 288457.9157 | 59.9307 | 38.1
234883 | 2022-04-26 14:58 | 15.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.9457 | μmol/L | 13.1241 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.008 | 129031.7331 | 288462.481 | 59.9307 | 38.1
234893 | 2022-04-26 14:58 | 15.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.9563 | μmol/L | 13.1363 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.003 | 129033.9541 | 288449.2254 | 59.9307 | 38.1
234903 | 2022-04-26 14:59 | 16.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.8994 | μmol/L | 13.1485 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.001 | 129026.3059 | 288449.0131 | 59.9307 | 38.1
234913 | 2022-04-26 14:59 | 16.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.8935 | μmol/L | 13.1546 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.999 | 129026.7813 | 288439.2874 | 59.9307 | 38.1
234923 | 2022-04-26 14:59 | 16.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.7633 | μmol/L | 13.1728 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.998 | 129015.471 | 288443.8129 | 59.9307 | 38.1
234933 | 2022-04-26 15:00 | 17.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.684 | μmol/L | 13.185 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.997 | 129009.5696 | 288449.6308 | 59.9307 | 38.1
234943 | 2022-04-26 15:00 | 17.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.6497 | μmol/L | 13.1972 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.994 | 129001.569 | 288435.1107 | 59.9307 | 38.1
234953 | 2022-04-26 15:00 | 17.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.593 | μmol/L | 13.2094 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.992 | 128984.3193 | 288437.3502 | 59.9307 | 38.1
234963 | 2022-04-26 15:01 | 18.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.5871 | μmol/L | 13.2155 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.99 | 128987.9129 | 288451.8734 | 59.9307 | 38.1
234973 | 2022-04-26 15:01 | 18.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.5246 | μmol/L | 13.2338 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.986 | 128982.2493 | 288437.2182 | 59.9307 | 38.1
234983 | 2022-04-26 15:01 | 18.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.5413 | μmol/L | 13.2399 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.983 | 128974.1554 | 288448.8016 | 59.9307 | 38.1
234993 | 2022-04-26 15:02 | 19.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.4622 | μmol/L | 13.2521 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.982 | 128943.5305 | 288437.7304 | 59.9307 | 38.1
235003 | 2022-04-26 15:02 | 19.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.4506 | μmol/L | 13.2643 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.978 | 128865.0612 | 288417.9573 | 59.9307 | 38.1
235013 | 2022-04-26 15:02 | 19.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.3265 | μmol/L | 13.2765 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.979 | 128853.9057 | 288420.0567 | 59.9307 | 38.1
235023 | 2022-04-26 15:03 | 20.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.2642 | μmol/L | 13.2948 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.975 | 128834.9163 | 288411.9687 | 59.9307 | 38.1
235033 | 2022-04-26 15:03 | 20.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.2078 | μmol/L | 13.307 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.973 | 128824.5386 | 288402.2471 | 59.9307 | 38.1
235043 | 2022-04-26 15:03 | 20.6706 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.2245 | μmol/L | 13.3131 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.97 | 128810.1755 | 288400.6868 | 59.9307 | 38.1
235053 | 2022-04-26 15:04 | 21.0036 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.1963 | μmol/L | 13.3192 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.969 | 128807.4807 | 288391.7016 | 59.9307 | 38.1
235063 | 2022-04-26 15:04 | 21.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.2298 | μmol/L | 13.3314 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.963 | 128773.9204 | 288382.4842 | 59.9307 | 38.1
235073 | 2022-04-26 15:04 | 21.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.1676 | μmol/L | 13.3496 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.959 | 128744.8941 | 288375.0582 | 59.9307 | 38.1
235083 | 2022-04-26 15:05 | 22.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.3026 | μmol/L | 13.3496 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.953 | 128726.7826 | 288372.9353 | 59.9307 | 38.1
235093 | 2022-04-26 15:05 | 22.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.1505 | μmol/L | 13.3679 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.953 | 128701.234 | 288369.3686 | 59.9307 | 38.1
235103 | 2022-04-26 15:05 | 22.6701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.0717 | μmol/L | 13.3801 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.952 | 128759.2351 | 288376.0308 | 59.9307 | 38.1
235113 | 2022-04-26 15:06 | 23.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.0604 | μmol/L | 13.3923 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.948 | 128741.9373 | 288370.3258 | 59.9307 | 38.1
235123 | 2022-04-26 15:06 | 23.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.1053 | μmol/L | 13.3923 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.946 | 128735.6313 | 288362.0029 | 59.9307 | 38.1
235133 | 2022-04-26 15:06 | 23.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.9029 | μmol/L | 13.4167 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.946 | 128719.7277 | 288363.7446 | 59.9307 | 38.1
235143 | 2022-04-26 15:07 | 24.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.0321 | μmol/L | 13.4228 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.938 | 128708.1911 | 288357.7454 | 59.9307 | 38.1
235153 | 2022-04-26 15:07 | 24.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.886 | μmol/L | 13.435 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.94 | 128683.2848 | 288349.442 | 59.9307 | 38.1
235163 | 2022-04-26 15:07 | 24.6706 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.9759 | μmol/L | 13.435 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.936 | 128679.672 | 288371.2604 | 59.9307 | 38.1
235173 | 2022-04-26 15:08 | 25.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.8411 | μmol/L | 13.4594 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.933 | 128666.0261 | 288359.6035 | 59.9307 | 38.1
235183 | 2022-04-26 15:08 | 25.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.9029 | μmol/L | 13.4655 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.928 | 128657.6701 | 288355.5393 | 59.9307 | 38.1
235193 | 2022-04-26 15:08 | 25.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.7794 | μmol/L | 13.4777 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.929 | 128652.4781 | 288355.5981 | 59.9307 | 38.1
235203 | 2022-04-26 15:09 | 26.0034 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.7513 | μmol/L | 13.4838 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.928 | 128634.8559 | 288348.4036 | 59.9307 | 38.1
235213 | 2022-04-26 15:09 | 26.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.7626 | μmol/L | 13.496 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.923 | 128622.3588 | 288348.5618 | 59.9307 | 38.1
235223 | 2022-04-26 15:09 | 26.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.7066 | μmol/L | 13.5082 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.921 | 128597.7029 | 288340.9977 | 59.9307 | 38.1
235233 | 2022-04-26 15:10 | 27.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.673 | μmol/L | 13.5204 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.918 | 128576.4987 | 288329.8391 | 59.9307 | 38.1
235243 | 2022-04-26 15:10 | 27.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.69 | μmol/L | 13.5264 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.915 | 128551.7291 | 288343.2336 | 59.9307 | 38.1
235253 | 2022-04-26 15:10 | 27.6706 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6509 | μmol/L | 13.5447 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.91 | 128540.8513 | 288333.4637 | 59.9307 | 38.1
235263 | 2022-04-26 15:11 | 28.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6679 | μmol/L | 13.5508 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.907 | 128513.5683 | 288338.148 | 59.9307 | 38.1
235273 | 2022-04-26 15:11 | 28.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6569 | μmol/L | 13.563 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.903 | 128490.4807 | 288336.7948 | 59.9307 | 38.1
235283 | 2022-04-26 15:11 | 28.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.7242 | μmol/L | 13.563 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.9 | 128469.5308 | 288331.9577 | 59.9307 | 38.1
235293 | 2022-04-26 15:12 | 29.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6853 | μmol/L | 13.5813 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.895 | 128454.639 | 288326.603 | 59.9307 | 38.1
235303 | 2022-04-26 15:12 | 29.3369 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.7078 | μmol/L | 13.5813 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.894 | 128433.7243 | 288330.4241 | 59.9307 | 38.1
235313 | 2022-04-26 15:12 | 29.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6464 | μmol/L | 13.5996 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.89 | 128418.229 | 288331.1103 | 59.9307 | 38.1
235323 | 2022-04-26 15:13 | 30.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6634 | μmol/L | 13.6057 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.887 | 128402.4939 | 288327.6971 | 59.9307 | 38.1
235333 | 2022-04-26 15:13 | 30.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6805 | μmol/L | 13.6118 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.884 | 128387.3846 | 288325.902 | 59.9307 | 38.1
235343 | 2022-04-26 15:13 | 30.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.7424 | μmol/L | 13.6179 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.879 | 128363.2115 | 288331.3487 | 59.9307 | 38.1
235353 | 2022-04-26 15:14 | 31.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6362 | μmol/L | 13.6362 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.877 | 128346.0968 | 288325.2108 | 59.9307 | 38.1
235363 | 2022-04-26 15:14 | 31.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6587 | μmol/L | 13.6362 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.876 | 128326.0792 | 288328.9993 | 59.9307 | 38.1
235373 | 2022-04-26 15:14 | 31.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6928 | μmol/L | 13.6484 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.87 | 128303.1864 | 288319.0199 | 59.9307 | 38.1
235383 | 2022-04-26 15:15 | 32.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6146 | μmol/L | 13.6606 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.869 | 128295.0665 | 288319.1534 | 59.9307 | 38.1
235393 | 2022-04-26 15:15 | 32.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.6263 | μmol/L | 13.6728 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.864 | 128287.1488 | 288328.641 | 59.9307 | 38.1
235403 | 2022-04-26 15:15 | 32.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.638 | μmol/L | 13.685 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.859 | 128271.6497 | 288311.1393 | 59.9307 | 38.1
235413 | 2022-04-26 15:16 | 33.0036 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.7279 | μmol/L | 13.685 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.855 | 128260.4711 | 288316.9808 | 59.9307 | 38.1
235423 | 2022-04-26 15:16 | 33.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.5095 | μmol/L | 13.7033 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.858 | 128260.0983 | 288309.9116 | 59.9307 | 38.1