## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
234427 | 2022-04-26 14:43 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.7606 | μmol/L | 12.3447 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.482 | 94982.5727 | 289098.8073 | 30.45 | 114.2
234438 | 2022-04-26 14:43 | 0.37518 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2246 | μmol/L | 12.3631 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.454 | 94858.7878 | 289101.5157 | 30.45 | 114.2
234447 | 2022-04-26 14:44 | 0.66867 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2917 | μmol/L | 12.3815 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.444 | 94766.1057 | 289099.8157 | 30.45 | 114.2
234457 | 2022-04-26 14:44 | 1.0026 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.6243 | μmol/L | 12.3998 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.422 | 94668.5498 | 289073.7478 | 30.45 | 114.2
234467 | 2022-04-26 14:44 | 1.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8246 | μmol/L | 12.4182 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.406 | 94581.1161 | 289070.1641 | 30.45 | 114.2
234477 | 2022-04-26 14:45 | 1.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.1945 | μmol/L | 12.4244 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.387 | 94494.8551 | 289053.8292 | 30.45 | 114.2
234487 | 2022-04-26 14:45 | 2.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.337 | μmol/L | 12.455 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.369 | 94402.2323 | 289040.1382 | 30.45 | 114.2
234497 | 2022-04-26 14:45 | 2.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.5745 | μmol/L | 12.4612 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.356 | 94323.2475 | 289039.925 | 30.45 | 114.2
234507 | 2022-04-26 14:46 | 2.6692 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7315 | μmol/L | 12.4796 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.342 | 94255.6567 | 289021.6335 | 30.45 | 114.2
234517 | 2022-04-26 14:46 | 3.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9626 | μmol/L | 12.4918 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.327 | 94182.9075 | 289012.1827 | 30.45 | 114.2
234527 | 2022-04-26 14:46 | 3.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0532 | μmol/L | 12.5102 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.316 | 94121.4473 | 289000.9628 | 30.45 | 114.2
234537 | 2022-04-26 14:47 | 3.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2401 | μmol/L | 12.5225 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.303 | 94061.0576 | 288997.8683 | 30.45 | 114.2
234547 | 2022-04-26 14:47 | 4.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5096 | μmol/L | 12.5409 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.284 | 94000.63 | 288980.1188 | 30.45 | 114.2
234557 | 2022-04-26 14:47 | 4.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4443 | μmol/L | 12.5593 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.28 | 93949.9452 | 288972.8022 | 30.45 | 114.2
234567 | 2022-04-26 14:48 | 4.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.6025 | μmol/L | 12.5777 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.266 | 93900.7682 | 288963.7609 | 30.45 | 114.2
234577 | 2022-04-26 14:48 | 5.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.7609 | μmol/L | 12.5961 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.252 | 93849.7818 | 288959.9627 | 30.45 | 114.2
234587 | 2022-04-26 14:48 | 5.336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9556 | μmol/L | 12.6022 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.241 | 93805.6366 | 288949.7456 | 30.45 | 114.2
234597 | 2022-04-26 14:49 | 5.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.98 | μmol/L | 12.6206 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.233 | 93764.1919 | 288943.0818 | 30.45 | 114.2
234607 | 2022-04-26 14:49 | 6.0023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1905 | μmol/L | 12.6329 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.219 | 93724.854 | 288958.3295 | 30.45 | 114.2
234617 | 2022-04-26 14:49 | 6.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1545 | μmol/L | 12.6451 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.216 | 93687.5165 | 288943.8806 | 30.45 | 114.2
234627 | 2022-04-26 14:50 | 6.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1791 | μmol/L | 12.6635 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.208 | 93659.744 | 288937.4907 | 30.45 | 114.2
234637 | 2022-04-26 14:50 | 7.0026 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.307 | μmol/L | 12.6697 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.2 | 93626.5184 | 288923.9153 | 30.45 | 114.2
234647 | 2022-04-26 14:50 | 7.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4574 | μmol/L | 12.6758 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.191 | 93597.0325 | 288920.594 | 30.45 | 114.2
234657 | 2022-04-26 14:51 | 7.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4081 | μmol/L | 12.7003 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.184 | 93565.4746 | 288917.1261 | 30.45 | 114.2
234667 | 2022-04-26 14:51 | 8.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4778 | μmol/L | 12.7187 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.174 | 93535.5792 | 288915.7069 | 30.45 | 114.2
234677 | 2022-04-26 14:51 | 8.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.5161 | μmol/L | 12.7248 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.17 | 93507.8196 | 288903.2885 | 30.45 | 114.2
234687 | 2022-04-26 14:52 | 8.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.496 | μmol/L | 12.7432 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.164 | 93483.4443 | 288904.0276 | 30.45 | 114.2
234697 | 2022-04-26 14:52 | 9.0022 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.5277 | μmol/L | 12.7555 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.158 | 93469.2558 | 288886.6583 | 30.45 | 114.2
234707 | 2022-04-26 14:52 | 9.3353 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.5369 | μmol/L | 12.7678 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.153 | 93452.4909 | 288890.1776 | 30.45 | 114.2
234717 | 2022-04-26 14:53 | 9.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4429 | μmol/L | 12.7923 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.148 | 93434.8579 | 288873.5804 | 30.45 | 114.2
234727 | 2022-04-26 14:53 | 10.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4522 | μmol/L | 12.8046 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.143 | 93423.5357 | 288887.5849 | 30.45 | 114.2
234737 | 2022-04-26 14:53 | 10.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4231 | μmol/L | 12.8107 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.142 | 93403.8443 | 288873.6609 | 30.45 | 114.2
234747 | 2022-04-26 14:54 | 10.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.5739 | μmol/L | 12.8168 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.133 | 93384.0077 | 288864.0266 | 30.45 | 114.2
234757 | 2022-04-26 14:54 | 11.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4127 | μmol/L | 12.8414 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.131 | 93370.6452 | 288881.2994 | 30.45 | 114.2
234767 | 2022-04-26 14:54 | 11.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4961 | μmol/L | 12.8475 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.125 | 93341.7883 | 288869.9595 | 30.45 | 114.2
234777 | 2022-04-26 14:55 | 11.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4315 | μmol/L | 12.8659 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.121 | 93323.9597 | 288853.1666 | 30.45 | 114.2
234787 | 2022-04-26 14:55 | 12.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4699 | μmol/L | 12.872 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.117 | 93311.0381 | 288845.6256 | 30.45 | 114.2
234797 | 2022-04-26 14:55 | 12.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4279 | μmol/L | 12.8904 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.112 | 93292.8956 | 288843.3852 | 30.45 | 114.2
234807 | 2022-04-26 14:56 | 12.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4309 | μmol/L | 12.9088 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.105 | 93280.3151 | 288826.7389 | 30.45 | 114.2
234817 | 2022-04-26 14:56 | 13.0023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.5209 | μmol/L | 12.9088 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.101 | 93256.3543 | 288830.3016 | 30.45 | 114.2
234827 | 2022-04-26 14:56 | 13.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4339 | μmol/L | 12.9272 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.098 | 93241.6368 | 288817.3445 | 30.45 | 114.2
234837 | 2022-04-26 14:57 | 13.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3246 | μmol/L | 12.9456 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.096 | 93225.4949 | 288817.4315 | 30.45 | 114.2
234847 | 2022-04-26 14:57 | 14.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4756 | μmol/L | 12.9517 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.087 | 93202.9279 | 288825.0005 | 30.45 | 114.2
234857 | 2022-04-26 14:57 | 14.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3663 | μmol/L | 12.9701 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.085 | 93185.8566 | 288813.8881 | 30.45 | 114.2
234867 | 2022-04-26 14:58 | 14.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.331 | μmol/L | 12.9824 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.082 | 93169.0159 | 288811.5649 | 30.45 | 114.2
234877 | 2022-04-26 14:58 | 15.0026 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4082 | μmol/L | 12.9947 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.074 | 93160.6238 | 288811.4928 | 30.45 | 114.2
234887 | 2022-04-26 14:58 | 15.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3729 | μmol/L | 13.0069 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.071 | 93148.0572 | 288788.2933 | 30.45 | 114.2
234897 | 2022-04-26 14:59 | 15.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3601 | μmol/L | 13.0192 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.067 | 93122.3106 | 288793.4873 | 30.45 | 114.2
234907 | 2022-04-26 14:59 | 16.0022 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3249 | μmol/L | 13.0315 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.064 | 93103.9372 | 288793.0687 | 30.45 | 114.2
234917 | 2022-04-26 14:59 | 16.3353 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3797 | μmol/L | 13.0437 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.057 | 93090.8209 | 288793.434 | 30.45 | 114.2
234927 | 2022-04-26 15:00 | 16.6693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4634 | μmol/L | 13.0499 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.051 | 93066.5273 | 288772.2178 | 30.45 | 114.2
234937 | 2022-04-26 15:00 | 17.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.4733 | μmol/L | 13.0621 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.046 | 93058.7541 | 288782.336 | 30.45 | 114.2
234947 | 2022-04-26 15:00 | 17.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3642 | μmol/L | 13.0805 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.044 | 93039.302 | 288783.3572 | 30.45 | 114.2
234957 | 2022-04-26 15:01 | 17.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3742 | μmol/L | 13.0928 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.039 | 93013.4771 | 288756.1219 | 30.45 | 114.2
234967 | 2022-04-26 15:01 | 18.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3904 | μmol/L | 13.0989 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.036 | 93004.4683 | 288751.8849 | 30.45 | 114.2
234977 | 2022-04-26 15:01 | 18.3359 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3778 | μmol/L | 13.1112 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.032 | 92999.0361 | 288762.4996 | 30.45 | 114.2
234987 | 2022-04-26 15:02 | 18.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2852 | μmol/L | 13.1357 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.027 | 92983.4166 | 288747.4996 | 30.45 | 114.2
234997 | 2022-04-26 15:02 | 19.0022 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.279 | μmol/L | 13.1419 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.025 | 92972.3575 | 288726.324 | 30.45 | 114.2
235007 | 2022-04-26 15:02 | 19.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2603 | μmol/L | 13.1603 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.019 | 92961.5199 | 288731.8427 | 30.45 | 114.2
235017 | 2022-04-26 15:03 | 19.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2991 | μmol/L | 13.1664 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.015 | 92941.3758 | 288716.468 | 30.45 | 114.2
235027 | 2022-04-26 15:03 | 20.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2641 | μmol/L | 13.1787 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.012 | 92929.8078 | 288707.2779 | 30.45 | 114.2
235037 | 2022-04-26 15:03 | 20.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2968 | μmol/L | 13.1909 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.006 | 92920.5654 | 288721.3201 | 30.45 | 114.2
235047 | 2022-04-26 15:04 | 20.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1555 | μmol/L | 13.1971 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.01 | 92897.2992 | 288691.3154 | 30.45 | 114.2
235057 | 2022-04-26 15:04 | 21.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1431 | μmol/L | 13.2093 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23.006 | 92882.9304 | 288689.1277 | 30.45 | 114.2
235067 | 2022-04-26 15:04 | 21.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2782 | μmol/L | 13.2093 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 23 | 92874.4137 | 288672.7567 | 30.45 | 114.2
235077 | 2022-04-26 15:05 | 21.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1696 | μmol/L | 13.2277 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.998 | 92861.0495 | 288674.1668 | 30.45 | 114.2
235087 | 2022-04-26 15:05 | 22.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.0837 | μmol/L | 13.2461 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.995 | 92843.5883 | 288665.4977 | 30.45 | 114.2
235097 | 2022-04-26 15:05 | 22.3353 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.0039 | μmol/L | 13.2584 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.994 | 92840.3028 | 288664.8435 | 30.45 | 114.2
235107 | 2022-04-26 15:06 | 22.6693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1225 | μmol/L | 13.2523 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.991 | 92831.2901 | 288653.716 | 30.45 | 114.2
235117 | 2022-04-26 15:06 | 23.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.008 | μmol/L | 13.2768 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.987 | 92821.2423 | 288652.9889 | 30.45 | 114.2
235127 | 2022-04-26 15:06 | 23.3355 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9733 | μmol/L | 13.2891 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.984 | 92812.2324 | 288633.7079 | 30.45 | 114.2
235137 | 2022-04-26 15:07 | 23.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8547 | μmol/L | 13.2952 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.987 | 92799.2026 | 288637.8295 | 30.45 | 114.2
235147 | 2022-04-26 15:07 | 24.0026 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9325 | μmol/L | 13.3075 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.979 | 92792.314 | 288625.5144 | 30.45 | 114.2
235157 | 2022-04-26 15:07 | 24.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8815 | μmol/L | 13.3136 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.979 | 92784.0981 | 288625.6712 | 30.45 | 114.2
235167 | 2022-04-26 15:08 | 24.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8243 | μmol/L | 13.3259 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.977 | 92773.8218 | 288618.9257 | 30.45 | 114.2
235177 | 2022-04-26 15:08 | 25.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8572 | μmol/L | 13.3381 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.971 | 92772.087 | 288615.5892 | 30.45 | 114.2
235187 | 2022-04-26 15:08 | 25.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.7327 | μmol/L | 13.3504 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.972 | 92761.1346 | 288608.5356 | 30.45 | 114.2
235197 | 2022-04-26 15:09 | 25.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8677 | μmol/L | 13.3504 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.966 | 92757.1347 | 288606.5046 | 30.45 | 114.2
235207 | 2022-04-26 15:09 | 26.0026 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.6307 | μmol/L | 13.3627 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.972 | 92751.7603 | 288601.2181 | 30.45 | 114.2
235217 | 2022-04-26 15:09 | 26.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5677 | μmol/L | 13.3811 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.968 | 92740.5499 | 288597.6028 | 30.45 | 114.2
235227 | 2022-04-26 15:10 | 26.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.6066 | μmol/L | 13.3872 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.964 | 92731.6295 | 288577.1292 | 30.45 | 114.2
235237 | 2022-04-26 15:10 | 27.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5212 | μmol/L | 13.4056 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.961 | 92726.9825 | 288582.0761 | 30.45 | 114.2
235247 | 2022-04-26 15:10 | 27.336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4703 | μmol/L | 13.4117 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.961 | 92720.4106 | 288578.9792 | 30.45 | 114.2
235257 | 2022-04-26 15:11 | 27.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4524 | μmol/L | 13.4301 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.955 | 92716.5714 | 288566.5277 | 30.45 | 114.2
235267 | 2022-04-26 15:11 | 28.0023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4134 | μmol/L | 13.424 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.959 | 92712.4742 | 288551.861 | 30.45 | 114.2
235277 | 2022-04-26 15:11 | 28.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4299 | μmol/L | 13.4301 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.956 | 92699.1751 | 288550.1599 | 30.45 | 114.2
235287 | 2022-04-26 15:12 | 28.6693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.418 | μmol/L | 13.4424 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.952 | 92692.54 | 288557.9994 | 30.45 | 114.2
235297 | 2022-04-26 15:12 | 29.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2265 | μmol/L | 13.4547 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.956 | 92678.9002 | 288548.7146 | 30.45 | 114.2
235307 | 2022-04-26 15:12 | 29.3355 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.3044 | μmol/L | 13.4669 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.948 | 92684.1612 | 288534.6834 | 30.45 | 114.2
235317 | 2022-04-26 15:13 | 29.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2701 | μmol/L | 13.4792 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.945 | 92669.0707 | 288532.5233 | 30.45 | 114.2
235327 | 2022-04-26 15:13 | 30.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1012 | μmol/L | 13.4915 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.948 | 92664.9208 | 288534.8304 | 30.45 | 114.2
235337 | 2022-04-26 15:13 | 30.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0894 | μmol/L | 13.5037 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.944 | 92671.442 | 288534.4225 | 30.45 | 114.2
235347 | 2022-04-26 15:14 | 30.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1792 | μmol/L | 13.5037 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.94 | 92663.3256 | 288523.7772 | 30.45 | 114.2
235357 | 2022-04-26 15:14 | 31.0026 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1001 | μmol/L | 13.516 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.939 | 92655.5318 | 288525.6348 | 30.45 | 114.2
235367 | 2022-04-26 15:14 | 31.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0717 | μmol/L | 13.5221 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.938 | 92654.689 | 288515.464 | 30.45 | 114.2
235377 | 2022-04-26 15:15 | 31.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0883 | μmol/L | 13.5283 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.935 | 92643.057 | 288502.5436 | 30.45 | 114.2
235387 | 2022-04-26 15:15 | 32.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9644 | μmol/L | 13.5405 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.936 | 92638.9405 | 288510.1776 | 30.45 | 114.2
235397 | 2022-04-26 15:15 | 32.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0483 | μmol/L | 13.5467 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.93 | 92639.0609 | 288509.8399 | 30.45 | 114.2
235407 | 2022-04-26 15:16 | 32.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9469 | μmol/L | 13.5589 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.93 | 92629.2585 | 288504.7218 | 30.45 | 114.2
235417 | 2022-04-26 15:16 | 33.0022 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0308 | μmol/L | 13.5651 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.924 | 92618.2727 | 288491.6996 | 30.45 | 114.2
235427 | 2022-04-26 15:16 | 33.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.8845 | μmol/L | 13.5773 | °C | 1017 | hPa | Humid | 28 | 0 | 0 | 22.926 | 92615.1779 | 288490.2794 | 30.45 | 114.2