## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-04-26 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
234428 | 2022-04-26 14:43 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.0788 | μmol/L | 12.3324 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.157 | 123614.273 | 282977.8429 | 59.9307 | 49.4
234432 | 2022-04-26 14:43 | 0.34612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.0111 | μmol/L | 12.3509 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.153 | 123577.7939 | 282978.2969 | 59.9307 | 49.4
234448 | 2022-04-26 14:44 | 0.67306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.9435 | μmol/L | 12.3693 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.149 | 123546.7228 | 282947.7415 | 59.9307 | 49.4
234458 | 2022-04-26 14:44 | 1.0062 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.7627 | μmol/L | 12.4063 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.143 | 123517.4047 | 282942.2855 | 59.9307 | 49.4
234468 | 2022-04-26 14:44 | 1.3395 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.7555 | μmol/L | 12.4124 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.141 | 123499.6877 | 282941.347 | 59.9307 | 49.4
234478 | 2022-04-26 14:45 | 1.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.6497 | μmol/L | 12.4248 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.141 | 123477.1403 | 282928.7938 | 59.9307 | 49.4
234488 | 2022-04-26 14:45 | 2.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.6051 | μmol/L | 12.4432 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.136 | 123455.3309 | 282924.8909 | 59.9307 | 49.4
234498 | 2022-04-26 14:45 | 2.3398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.5222 | μmol/L | 12.4556 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.135 | 123433.0656 | 282898.8278 | 59.9307 | 49.4
234508 | 2022-04-26 14:46 | 2.6729 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.485 | μmol/L | 12.4679 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.132 | 123403.8513 | 282904.7989 | 59.9307 | 49.4
234518 | 2022-04-26 14:46 | 3.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.4406 | μmol/L | 12.4864 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.127 | 123397.3781 | 282893.3433 | 59.9307 | 49.4
234528 | 2022-04-26 14:46 | 3.34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3806 | μmol/L | 12.4987 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.125 | 123373.2282 | 282886.9025 | 59.9307 | 49.4
234538 | 2022-04-26 14:47 | 3.6731 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2907 | μmol/L | 12.5172 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.122 | 123349.8907 | 282880.1312 | 59.9307 | 49.4
234548 | 2022-04-26 14:47 | 4.0062 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.1397 | μmol/L | 12.5295 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.124 | 123341.7564 | 282888.4067 | 59.9307 | 49.4
234558 | 2022-04-26 14:47 | 4.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.0956 | μmol/L | 12.548 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.119 | 123317.9655 | 282875.8724 | 59.9307 | 49.4
234568 | 2022-04-26 14:48 | 4.6733 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.0813 | μmol/L | 12.5603 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.115 | 123292.9093 | 282861.7781 | 59.9307 | 49.4
234578 | 2022-04-26 14:48 | 5.0064 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.9689 | μmol/L | 12.5787 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.113 | 123276.6411 | 282856.4251 | 59.9307 | 49.4
234588 | 2022-04-26 14:48 | 5.3395 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.9548 | μmol/L | 12.5911 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.109 | 123258.9073 | 282869.7365 | 59.9307 | 49.4
234598 | 2022-04-26 14:49 | 5.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.8951 | μmol/L | 12.6034 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.107 | 123231.3138 | 282861.9665 | 59.9307 | 49.4
234608 | 2022-04-26 14:49 | 6.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.9265 | μmol/L | 12.6157 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.101 | 123224.3716 | 282874.3395 | 59.9307 | 49.4
234618 | 2022-04-26 14:49 | 6.3398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.7915 | μmol/L | 12.6342 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.1 | 123211.7541 | 282865.2853 | 59.9307 | 49.4
234628 | 2022-04-26 14:50 | 6.6729 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.7092 | μmol/L | 12.6465 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.099 | 123204.6085 | 282869.6208 | 59.9307 | 49.4
234638 | 2022-04-26 14:50 | 7.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.6427 | μmol/L | 12.665 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.095 | 123188.2762 | 282882.5775 | 59.9307 | 49.4
234648 | 2022-04-26 14:50 | 7.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.5535 | μmol/L | 12.6835 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.092 | 123157.0372 | 282863.3164 | 59.9307 | 49.4
234658 | 2022-04-26 14:51 | 7.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.5168 | μmol/L | 12.6958 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.089 | 123151.1978 | 282867.5646 | 59.9307 | 49.4
234668 | 2022-04-26 14:51 | 8.0064 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.5029 | μmol/L | 12.7081 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.085 | 123125.6772 | 282871.7583 | 59.9307 | 49.4
234678 | 2022-04-26 14:51 | 8.3395 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.4435 | μmol/L | 12.7204 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.083 | 123107.3861 | 282855.8622 | 59.9307 | 49.4
234688 | 2022-04-26 14:52 | 8.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.3841 | μmol/L | 12.7327 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.081 | 123096.0424 | 282850.0925 | 59.9307 | 49.4
234698 | 2022-04-26 14:52 | 9.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.4158 | μmol/L | 12.7451 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.075 | 123088.9167 | 282834.1292 | 59.9307 | 49.4
234708 | 2022-04-26 14:52 | 9.3397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.3041 | μmol/L | 12.7635 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.073 | 123066.2553 | 282856.4592 | 59.9307 | 49.4
234718 | 2022-04-26 14:53 | 9.6728 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.3131 | μmol/L | 12.7759 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.068 | 123059.8773 | 282836.8317 | 59.9307 | 49.4
234728 | 2022-04-26 14:53 | 10.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.2311 | μmol/L | 12.7882 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.067 | 123036.6246 | 282851.8533 | 59.9307 | 49.4
234738 | 2022-04-26 14:53 | 10.34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.169 | μmol/L | 12.8067 | °C | 1019 | hPa | Humid | 28 | 1 | 0 | 23.063 | 123022.2623 | 282846.1091 | 59.9307 | 49.4
234748 | 2022-04-26 14:54 | 10.6731 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.106 | μmol/L | 12.819 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.061 | 123005.3714 | 282851.4264 | 59.9307 | 49.4
234758 | 2022-04-26 14:54 | 11.0063 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.0923 | μmol/L | 12.8313 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.057 | 122985.1272 | 282834.5541 | 59.9307 | 49.4
234768 | 2022-04-26 14:54 | 11.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.1014 | μmol/L | 12.8436 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.052 | 122962.1 | 282843.5412 | 59.9307 | 49.4
234778 | 2022-04-26 14:55 | 11.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.0878 | μmol/L | 12.8559 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.048 | 122950.8561 | 282844.1396 | 59.9307 | 49.4
234788 | 2022-04-26 14:55 | 12.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.9538 | μmol/L | 12.8744 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.047 | 122935.5089 | 282836.6074 | 59.9307 | 49.4
234798 | 2022-04-26 14:55 | 12.3396 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.8881 | μmol/L | 12.8929 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.043 | 122927.9032 | 282838.2199 | 59.9307 | 49.4
234808 | 2022-04-26 14:56 | 12.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.904 | μmol/L | 12.8991 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.04 | 122915.8839 | 282826.6165 | 59.9307 | 49.4
234818 | 2022-04-26 14:56 | 13.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.8746 | μmol/L | 12.9052 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.039 | 122900.8267 | 282810.5118 | 59.9307 | 49.4
234828 | 2022-04-26 14:56 | 13.3399 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.9065 | μmol/L | 12.9175 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.033 | 122890.5513 | 282826.5485 | 59.9307 | 49.4
234838 | 2022-04-26 14:57 | 13.6729 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.8249 | μmol/L | 12.9299 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.032 | 122868.0165 | 282812.6408 | 59.9307 | 49.4
234848 | 2022-04-26 14:57 | 14.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.8342 | μmol/L | 12.9422 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.027 | 122862.1751 | 282819.0641 | 59.9307 | 49.4
234858 | 2022-04-26 14:57 | 14.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.73 | μmol/L | 12.9545 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.027 | 122845.097 | 282809.5839 | 59.9307 | 49.4
234868 | 2022-04-26 14:58 | 14.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.7166 | μmol/L | 12.9668 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.023 | 122830.5982 | 282799.1415 | 59.9307 | 49.4
234878 | 2022-04-26 14:58 | 15.0063 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.742 | μmol/L | 12.9853 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.015 | 122820.3865 | 282795.5975 | 59.9307 | 49.4
234888 | 2022-04-26 14:58 | 15.3395 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.6379 | μmol/L | 12.9976 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.015 | 122811.7106 | 282800.0137 | 59.9307 | 49.4
234898 | 2022-04-26 14:59 | 15.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.6766 | μmol/L | 13.0038 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.011 | 122809.5809 | 282795.3072 | 59.9307 | 49.4
234908 | 2022-04-26 14:59 | 16.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.5659 | μmol/L | 13.0223 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.009 | 122795.7331 | 282796.1155 | 59.9307 | 49.4
234918 | 2022-04-26 14:59 | 16.3398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.4099 | μmol/L | 13.0407 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.009 | 122781.7866 | 282792.4805 | 59.9307 | 49.4
234928 | 2022-04-26 15:00 | 16.6729 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.3967 | μmol/L | 13.0531 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.005 | 122768.2502 | 282782.2449 | 59.9307 | 49.4
234938 | 2022-04-26 15:00 | 17.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.3901 | μmol/L | 13.0592 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23.003 | 122755.6318 | 282781.3422 | 59.9307 | 49.4
234948 | 2022-04-26 15:00 | 17.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.3543 | μmol/L | 13.0715 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 23 | 122749.474 | 282766.6451 | 59.9307 | 49.4
234958 | 2022-04-26 15:01 | 17.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.2665 | μmol/L | 13.09 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.997 | 122739.676 | 282778.4916 | 59.9307 | 49.4
234968 | 2022-04-26 15:01 | 18.0063 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.2373 | μmol/L | 13.0962 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.996 | 122723.3773 | 282776.9143 | 59.9307 | 49.4
234978 | 2022-04-26 15:01 | 18.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.2015 | μmol/L | 13.1085 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.993 | 122720.5449 | 282769.4322 | 59.9307 | 49.4
234988 | 2022-04-26 15:02 | 18.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.114 | μmol/L | 13.127 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.99 | 122709.0325 | 282770.492 | 59.9307 | 49.4
234998 | 2022-04-26 15:02 | 19.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0783 | μmol/L | 13.1393 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.987 | 122694.7251 | 282759.7093 | 59.9307 | 49.4
235008 | 2022-04-26 15:02 | 19.3397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.1398 | μmol/L | 13.1455 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.982 | 122701.5471 | 282763.6859 | 59.9307 | 49.4
235018 | 2022-04-26 15:03 | 19.6728 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0134 | μmol/L | 13.1578 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.983 | 122691.2416 | 282744.8059 | 59.9307 | 49.4
235028 | 2022-04-26 15:03 | 20.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0231 | μmol/L | 13.1701 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.978 | 122681.3012 | 282749.4395 | 59.9307 | 49.4
235038 | 2022-04-26 15:03 | 20.3399 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.8516 | μmol/L | 13.1824 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.981 | 122669.0086 | 282727.9651 | 59.9307 | 49.4
235048 | 2022-04-26 15:04 | 20.673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.8322 | μmol/L | 13.2009 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.975 | 122655.6423 | 282737.516 | 59.9307 | 49.4
235058 | 2022-04-26 15:04 | 21.0062 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.8776 | μmol/L | 13.2009 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.973 | 122629.2056 | 282743.1136 | 59.9307 | 49.4
235068 | 2022-04-26 15:04 | 21.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.7514 | μmol/L | 13.2132 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.974 | 122625.4175 | 282715.7282 | 59.9307 | 49.4
235078 | 2022-04-26 15:05 | 21.6733 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.7095 | μmol/L | 13.2317 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.969 | 122602.6988 | 282704.6542 | 59.9307 | 49.4
235088 | 2022-04-26 15:05 | 22.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.7937 | μmol/L | 13.2379 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.963 | 122603.2048 | 282706.0927 | 59.9307 | 49.4
235098 | 2022-04-26 15:05 | 22.3396 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.6741 | μmol/L | 13.244 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.966 | 122611.1238 | 282717.4331 | 59.9307 | 49.4
235108 | 2022-04-26 15:06 | 22.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.5644 | μmol/L | 13.2625 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.964 | 122585.0083 | 282697.2778 | 59.9307 | 49.4
235118 | 2022-04-26 15:06 | 23.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.529 | μmol/L | 13.2748 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.961 | 122577.3919 | 282694.5593 | 59.9307 | 49.4
235128 | 2022-04-26 15:06 | 23.3398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.4547 | μmol/L | 13.281 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.962 | 122574.2116 | 282719.8192 | 59.9307 | 49.4
235138 | 2022-04-26 15:07 | 23.6729 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.442 | μmol/L | 13.2933 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.958 | 122555.9997 | 282697.6802 | 59.9307 | 49.4
235148 | 2022-04-26 15:07 | 24.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.3841 | μmol/L | 13.3056 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.956 | 122550.0502 | 282698.4178 | 59.9307 | 49.4
235158 | 2022-04-26 15:07 | 24.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.394 | μmol/L | 13.318 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.951 | 122546.0717 | 282684.6338 | 59.9307 | 49.4
235168 | 2022-04-26 15:08 | 24.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.3135 | μmol/L | 13.3303 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.95 | 122533.4871 | 282672.4021 | 59.9307 | 49.4
235178 | 2022-04-26 15:08 | 25.0064 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.3525 | μmol/L | 13.3365 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.946 | 122531.3498 | 282678.9843 | 59.9307 | 49.4
235188 | 2022-04-26 15:08 | 25.3396 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.3009 | μmol/L | 13.3426 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.946 | 122520.0898 | 282667.2515 | 59.9307 | 49.4
235198 | 2022-04-26 15:09 | 25.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.1401 | μmol/L | 13.3673 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.944 | 122510.1118 | 282664.3067 | 59.9307 | 49.4
235208 | 2022-04-26 15:09 | 26.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.2079 | μmol/L | 13.3673 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.941 | 122503.5159 | 282663.4486 | 59.9307 | 49.4
235218 | 2022-04-26 15:09 | 26.3398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.0309 | μmol/L | 13.3857 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.942 | 122486.945 | 282664.4219 | 59.9307 | 49.4
235228 | 2022-04-26 15:10 | 26.6729 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.0246 | μmol/L | 13.3919 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.94 | 122478.4075 | 282652.7187 | 59.9307 | 49.4
235238 | 2022-04-26 15:10 | 27.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.967 | μmol/L | 13.4042 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.938 | 122474.4139 | 282666.0191 | 59.9307 | 49.4
235248 | 2022-04-26 15:10 | 27.34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.9833 | μmol/L | 13.4104 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.935 | 122463.4527 | 282658.3196 | 59.9307 | 49.4
235258 | 2022-04-26 15:11 | 27.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.8805 | μmol/L | 13.4227 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.935 | 122464.2616 | 282643.9678 | 59.9307 | 49.4
235268 | 2022-04-26 15:11 | 28.0063 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.8969 | μmol/L | 13.4289 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.932 | 122464.1074 | 282637.1759 | 59.9307 | 49.4
235278 | 2022-04-26 15:11 | 28.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.6976 | μmol/L | 13.4474 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.934 | 122452.2866 | 282647.748 | 59.9307 | 49.4
235288 | 2022-04-26 15:12 | 28.6733 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.675 | μmol/L | 13.4474 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.935 | 122448.9706 | 282649.0179 | 59.9307 | 49.4
235298 | 2022-04-26 15:12 | 29.0064 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.6051 | μmol/L | 13.472 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.929 | 122441.3768 | 282643.0521 | 59.9307 | 49.4
235308 | 2022-04-26 15:12 | 29.3395 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.5313 | μmol/L | 13.4782 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.93 | 122438.2797 | 282632.1164 | 59.9307 | 49.4
235318 | 2022-04-26 15:13 | 29.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.5251 | μmol/L | 13.4843 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.928 | 122434.8623 | 282634.3115 | 59.9307 | 49.4
235328 | 2022-04-26 15:13 | 30.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.3775 | μmol/L | 13.4966 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.93 | 122445.093 | 282646.4995 | 59.9307 | 49.4
235338 | 2022-04-26 15:13 | 30.3396 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.4226 | μmol/L | 13.4966 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.928 | 122442.5476 | 282621.6592 | 59.9307 | 49.4
235348 | 2022-04-26 15:14 | 30.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.2914 | μmol/L | 13.5151 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.927 | 122439.5264 | 282628.8038 | 59.9307 | 49.4
235358 | 2022-04-26 15:14 | 31.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.189 | μmol/L | 13.5274 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.927 | 122449.749 | 282627.7414 | 59.9307 | 49.4
235368 | 2022-04-26 15:14 | 31.3397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.1829 | μmol/L | 13.5336 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.925 | 122453.4148 | 282610.3728 | 59.9307 | 49.4
235378 | 2022-04-26 15:15 | 31.673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.0867 | μmol/L | 13.5398 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.927 | 122468.4596 | 282629.495 | 59.9307 | 49.4
235388 | 2022-04-26 15:15 | 32.0062 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.8658 | μmol/L | 13.5583 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.93 | 122468.0864 | 282624.5233 | 59.9307 | 49.4
235398 | 2022-04-26 15:15 | 32.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.8086 | μmol/L | 13.5706 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.928 | 122471.8423 | 282619.9008 | 59.9307 | 49.4
235408 | 2022-04-26 15:16 | 32.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.8086 | μmol/L | 13.5706 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.928 | 122465.9911 | 282616.2372 | 59.9307 | 49.4
235418 | 2022-04-26 15:16 | 33.0062 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.7065 | μmol/L | 13.5829 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.928 | 122477.5456 | 282603.5953 | 59.9307 | 49.4
235428 | 2022-04-26 15:16 | 33.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.7393 | μmol/L | 13.5952 | °C | 1018 | hPa | Humid | 28 | 1 | 0 | 22.922 | 122497.7801 | 282608.3282 | 59.9307 | 49.4