## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 14:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
236438 | 2022-05-10 14:02 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.6988 | μmol/L | 18.6354 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.443 | 80634.9368 | 295277.1978 | 30.45 | 114.2
236448 | 2022-05-10 14:02 | 0.33507 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.6916 | μmol/L | 18.6477 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.494 | 80643.4077 | 295209.7472 | 30.45 | 114.2
236458 | 2022-05-10 14:02 | 0.66814 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.9429 | μmol/L | 18.66 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.531 | 80594.0768 | 295146.3447 | 30.45 | 114.2
236468 | 2022-05-10 14:03 | 1.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.3262 | μmol/L | 18.6661 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.563 | 80591.9728 | 295088.3256 | 30.45 | 114.2
236478 | 2022-05-10 14:03 | 1.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.5417 | μmol/L | 18.6907 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.598 | 80600.0342 | 295033.3818 | 30.45 | 114.2
236488 | 2022-05-10 14:03 | 1.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.8911 | μmol/L | 18.703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.63 | 80609.032 | 294967.2441 | 30.45 | 114.2
236498 | 2022-05-10 14:04 | 2.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.391 | μmol/L | 18.703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.658 | 80616.9896 | 294894.2003 | 30.45 | 114.2
236508 | 2022-05-10 14:04 | 2.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.7295 | μmol/L | 18.7091 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.693 | 80650.1003 | 294815.8557 | 30.45 | 114.2
236518 | 2022-05-10 14:04 | 2.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.1589 | μmol/L | 18.7153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.723 | 80683.2116 | 294759.0912 | 30.45 | 114.2
236528 | 2022-05-10 14:05 | 3.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.699 | μmol/L | 18.7153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.749 | 80700.2181 | 294691.3824 | 30.45 | 114.2
236538 | 2022-05-10 14:05 | 3.335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.1994 | μmol/L | 18.7275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.773 | 80696.9128 | 294644.682 | 30.45 | 114.2
236548 | 2022-05-10 14:05 | 3.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.7687 | μmol/L | 18.746 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.791 | 80680.1749 | 294573.392 | 30.45 | 114.2
236558 | 2022-05-10 14:06 | 4.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.3741 | μmol/L | 18.7644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.807 | 80662.6452 | 294512.1461 | 30.45 | 114.2
236568 | 2022-05-10 14:06 | 4.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.1868 | μmol/L | 18.7521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.822 | 80637.9207 | 294447.7229 | 30.45 | 114.2
236578 | 2022-05-10 14:06 | 4.6683 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.9914 | μmol/L | 18.7583 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.831 | 80605.6742 | 294384.2101 | 30.45 | 114.2
236588 | 2022-05-10 14:07 | 5.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.6159 | μmol/L | 18.7767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.846 | 80576.4292 | 294333.7754 | 30.45 | 114.2
236598 | 2022-05-10 14:07 | 5.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5139 | μmol/L | 18.7705 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.854 | 80534.7518 | 294277.9752 | 30.45 | 114.2
236608 | 2022-05-10 14:07 | 5.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.3018 | μmol/L | 18.7767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.864 | 80506.7497 | 294217.6526 | 30.45 | 114.2
236618 | 2022-05-10 14:08 | 6.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.0899 | μmol/L | 18.7828 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.874 | 80484.7604 | 294151.6948 | 30.45 | 114.2
236628 | 2022-05-10 14:08 | 6.3349 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.9012 | μmol/L | 18.7767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.887 | 80451.4327 | 294092.7371 | 30.45 | 114.2
236638 | 2022-05-10 14:08 | 6.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.6898 | μmol/L | 18.7828 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.897 | 80427.483 | 294047.8365 | 30.45 | 114.2
236648 | 2022-05-10 14:09 | 7.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.4557 | μmol/L | 18.8013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.904 | 80401.0675 | 293975.4585 | 30.45 | 114.2
236658 | 2022-05-10 14:09 | 7.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.294 | μmol/L | 18.8135 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.909 | 80372.2975 | 293928.7957 | 30.45 | 114.2
236668 | 2022-05-10 14:09 | 7.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.0141 | μmol/L | 18.8197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.923 | 80340.7871 | 293864.9991 | 30.45 | 114.2
236678 | 2022-05-10 14:10 | 8.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.8874 | μmol/L | 18.832 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.926 | 80312.1442 | 293809.2365 | 30.45 | 114.2
236688 | 2022-05-10 14:10 | 8.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.821 | μmol/L | 18.8258 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.932 | 80281.6965 | 293756.818 | 30.45 | 114.2
236698 | 2022-05-10 14:10 | 8.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.6626 | μmol/L | 18.832 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.939 | 80251.44 | 293699.2029 | 30.45 | 114.2
236708 | 2022-05-10 14:11 | 9.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.5907 | μmol/L | 18.8381 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.941 | 80214.513 | 293643.1169 | 30.45 | 114.2
236718 | 2022-05-10 14:11 | 9.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.5334 | μmol/L | 18.8504 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.94 | 80162.1618 | 293585.4144 | 30.45 | 114.2
236728 | 2022-05-10 14:11 | 9.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.4471 | μmol/L | 18.8504 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.945 | 80131.0655 | 293524.7396 | 30.45 | 114.2
236738 | 2022-05-10 14:12 | 10.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.3753 | μmol/L | 18.8565 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.947 | 80091.4512 | 293459.9725 | 30.45 | 114.2
236748 | 2022-05-10 14:12 | 10.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.1856 | μmol/L | 18.8565 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.958 | 80061.6007 | 293411.304 | 30.45 | 114.2
236758 | 2022-05-10 14:12 | 10.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.0767 | μmol/L | 18.8688 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.96 | 80037.3193 | 293344.9782 | 30.45 | 114.2
236768 | 2022-05-10 14:13 | 11.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.8846 | μmol/L | 18.875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.969 | 80003.5829 | 293277.5224 | 30.45 | 114.2
236778 | 2022-05-10 14:13 | 11.335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.8674 | μmol/L | 18.875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.97 | 79967.6447 | 293237.4277 | 30.45 | 114.2
236788 | 2022-05-10 14:13 | 11.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.7071 | μmol/L | 18.8873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.975 | 79924.95 | 293194.5867 | 30.45 | 114.2
236798 | 2022-05-10 14:14 | 12.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.6727 | μmol/L | 18.8873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.977 | 79905.9881 | 293123.3847 | 30.45 | 114.2
236808 | 2022-05-10 14:14 | 12.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.4494 | μmol/L | 18.8873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.99 | 79887.7259 | 293090.7561 | 30.45 | 114.2
236818 | 2022-05-10 14:14 | 12.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.2724 | μmol/L | 18.8996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.996 | 79859.5736 | 293041.2062 | 30.45 | 114.2
236828 | 2022-05-10 14:15 | 13.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.3266 | μmol/L | 18.8934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.995 | 79833.1839 | 292986.4978 | 30.45 | 114.2
236838 | 2022-05-10 14:15 | 13.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.1468 | μmol/L | 18.9118 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.999 | 79796.1404 | 292944.3858 | 30.45 | 114.2
236848 | 2022-05-10 14:15 | 13.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.0584 | μmol/L | 18.918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.002 | 79767.337 | 292897.0182 | 30.45 | 114.2
236858 | 2022-05-10 14:16 | 14.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.9871 | μmol/L | 18.9241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.004 | 79741.6531 | 292844.1009 | 30.45 | 114.2
236868 | 2022-05-10 14:16 | 14.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.9386 | μmol/L | 18.918 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.009 | 79710.1227 | 292795.5421 | 30.45 | 114.2
236878 | 2022-05-10 14:16 | 14.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.762 | μmol/L | 18.9303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.015 | 79684.0412 | 292751.6062 | 30.45 | 114.2
236888 | 2022-05-10 14:17 | 15.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.7564 | μmol/L | 18.9426 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.011 | 79650.3165 | 292699.8905 | 30.45 | 114.2
236898 | 2022-05-10 14:17 | 15.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.6908 | μmol/L | 18.9364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.017 | 79630.6138 | 292665.6226 | 30.45 | 114.2
236908 | 2022-05-10 14:17 | 15.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.5287 | μmol/L | 18.9548 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.02 | 79599.0391 | 292610.7902 | 30.45 | 114.2
236918 | 2022-05-10 14:18 | 16.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.4406 | μmol/L | 18.961 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.023 | 79584.1324 | 292572.8164 | 30.45 | 114.2
236928 | 2022-05-10 14:18 | 16.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.3184 | μmol/L | 18.9671 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.028 | 79551.1505 | 292536.2653 | 30.45 | 114.2
236938 | 2022-05-10 14:18 | 16.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.1792 | μmol/L | 18.9733 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.034 | 79528.3938 | 292474.5964 | 30.45 | 114.2
236948 | 2022-05-10 14:19 | 17.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.1452 | μmol/L | 18.9733 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.036 | 79504.0896 | 292431.3784 | 30.45 | 114.2
236958 | 2022-05-10 14:19 | 17.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.1452 | μmol/L | 18.9733 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.036 | 79470.3728 | 292391.4809 | 30.45 | 114.2
236968 | 2022-05-10 14:19 | 17.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.0885 | μmol/L | 18.9856 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.035 | 79436.4617 | 292370.8129 | 30.45 | 114.2
236978 | 2022-05-10 14:20 | 18.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.8985 | μmol/L | 18.9917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.044 | 79413.2087 | 292312.7062 | 30.45 | 114.2
236988 | 2022-05-10 14:20 | 18.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.8419 | μmol/L | 19.004 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.043 | 79389.0805 | 292265.3375 | 30.45 | 114.2
236998 | 2022-05-10 14:20 | 18.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.7936 | μmol/L | 18.9979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.048 | 79371.1603 | 292227.994 | 30.45 | 114.2
237008 | 2022-05-10 14:21 | 19.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.6889 | μmol/L | 19.004 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.052 | 79351.2463 | 292196.2816 | 30.45 | 114.2
237018 | 2022-05-10 14:21 | 19.335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.6351 | μmol/L | 19.0101 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.053 | 79329.8829 | 292159.5966 | 30.45 | 114.2
237028 | 2022-05-10 14:21 | 19.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5135 | μmol/L | 19.0163 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.058 | 79312.3323 | 292113.4261 | 30.45 | 114.2
237038 | 2022-05-10 14:22 | 20.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.474 | μmol/L | 19.0286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.056 | 79286.6349 | 292076.6144 | 30.45 | 114.2
237048 | 2022-05-10 14:22 | 20.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3694 | μmol/L | 19.0347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.06 | 79257.6666 | 292031.9873 | 30.45 | 114.2
237058 | 2022-05-10 14:22 | 20.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3043 | μmol/L | 19.0286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.066 | 79245.6606 | 292008.5975 | 30.45 | 114.2
237068 | 2022-05-10 14:23 | 21.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.2649 | μmol/L | 19.0409 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.064 | 79224.8536 | 291968.6888 | 30.45 | 114.2
237078 | 2022-05-10 14:23 | 21.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.2112 | μmol/L | 19.047 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.065 | 79198.5002 | 291932.0813 | 30.45 | 114.2
237088 | 2022-05-10 14:23 | 21.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.1068 | μmol/L | 19.0531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.069 | 79180.2315 | 291890.6921 | 30.45 | 114.2
237098 | 2022-05-10 14:24 | 22.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.056 | μmol/L | 19.0531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.072 | 79154.738 | 291840.5043 | 30.45 | 114.2
237108 | 2022-05-10 14:24 | 22.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.0729 | μmol/L | 19.0531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.071 | 79137.7775 | 291806.045 | 30.45 | 114.2
237118 | 2022-05-10 14:24 | 22.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.915 | μmol/L | 19.0654 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.076 | 79122.1461 | 291767.9452 | 30.45 | 114.2
237128 | 2022-05-10 14:25 | 23.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.8501 | μmol/L | 19.0593 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.082 | 79107.0484 | 291726.0351 | 30.45 | 114.2
237138 | 2022-05-10 14:25 | 23.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.7769 | μmol/L | 19.0716 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.082 | 79091.1055 | 291694.5933 | 30.45 | 114.2
237148 | 2022-05-10 14:25 | 23.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.6896 | μmol/L | 19.0777 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.085 | 79066.9429 | 291655.0366 | 30.45 | 114.2
237158 | 2022-05-10 14:26 | 24.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.6389 | μmol/L | 19.0777 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.088 | 79059.4626 | 291618.5431 | 30.45 | 114.2
237168 | 2022-05-10 14:26 | 24.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.5996 | μmol/L | 19.09 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.086 | 79047.1188 | 291583.2561 | 30.45 | 114.2
237178 | 2022-05-10 14:26 | 24.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.3943 | μmol/L | 19.0962 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.096 | 79040.2635 | 291546.4891 | 30.45 | 114.2
237188 | 2022-05-10 14:27 | 25.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.3801 | μmol/L | 19.09 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.099 | 79021.379 | 291512.3 | 30.45 | 114.2
237198 | 2022-05-10 14:27 | 25.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.2762 | μmol/L | 19.0962 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.103 | 79002.3889 | 291492.1357 | 30.45 | 114.2
237208 | 2022-05-10 14:27 | 25.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.1891 | μmol/L | 19.1023 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.106 | 78982.8971 | 291450.888 | 30.45 | 114.2
237218 | 2022-05-10 14:28 | 26.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.0516 | μmol/L | 19.1084 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.112 | 78971.0557 | 291414.4392 | 30.45 | 114.2
237228 | 2022-05-10 14:28 | 26.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.0151 | μmol/L | 19.1146 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.112 | 78962.153 | 291376.9336 | 30.45 | 114.2
237238 | 2022-05-10 14:28 | 26.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.8918 | μmol/L | 19.1269 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.115 | 78951.7216 | 291339.0583 | 30.45 | 114.2
237248 | 2022-05-10 14:29 | 27.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.7881 | μmol/L | 19.133 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.119 | 78930.4718 | 291317.4741 | 30.45 | 114.2