## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
237257 | 2022-05-10 14:50 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.9369 | μmol/L | 17.7878 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.298 | 88963.2794 | 289541.4127 | 30.45 | 114.2
237267 | 2022-05-10 14:50 | 0.33307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.7378 | μmol/L | 17.8062 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.302 | 88960.4153 | 289517.4497 | 30.45 | 114.2
237277 | 2022-05-10 14:50 | 0.66592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.561 | μmol/L | 17.8185 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.307 | 88930.2029 | 289486.3487 | 30.45 | 114.2
237287 | 2022-05-10 14:51 | 0.99909 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.3873 | μmol/L | 17.8246 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.314 | 88899.2823 | 289452.2396 | 30.45 | 114.2
237297 | 2022-05-10 14:51 | 1.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.2077 | μmol/L | 17.843 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.317 | 88883.7119 | 289425.8296 | 30.45 | 114.2
237307 | 2022-05-10 14:51 | 1.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.9557 | μmol/L | 17.8553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.326 | 88874.6541 | 289404.8221 | 30.45 | 114.2
237317 | 2022-05-10 14:52 | 1.9998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.9935 | μmol/L | 17.8553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.324 | 88846.3237 | 289391.0481 | 30.45 | 114.2
237327 | 2022-05-10 14:52 | 2.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.7229 | μmol/L | 17.8676 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.334 | 88846.7498 | 289372.4556 | 30.45 | 114.2
237337 | 2022-05-10 14:52 | 2.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.7199 | μmol/L | 17.8737 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.332 | 88829.078 | 289338.0108 | 30.45 | 114.2
237347 | 2022-05-10 14:53 | 2.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6383 | μmol/L | 17.886 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.332 | 88816.9462 | 289321.9885 | 30.45 | 114.2
237357 | 2022-05-10 14:53 | 3.3331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.5379 | μmol/L | 17.8983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.333 | 88798.6801 | 289302.7394 | 30.45 | 114.2
237367 | 2022-05-10 14:53 | 3.6661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.4376 | μmol/L | 17.9106 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.334 | 88755.5121 | 289273.0185 | 30.45 | 114.2
237377 | 2022-05-10 14:54 | 3.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.3185 | μmol/L | 17.9229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.336 | 88748.2823 | 289257.5165 | 30.45 | 114.2
237387 | 2022-05-10 14:54 | 4.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.1647 | μmol/L | 17.929 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.342 | 88720.775 | 289239.6434 | 30.45 | 114.2
237397 | 2022-05-10 14:54 | 4.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.2342 | μmol/L | 17.9413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.334 | 88694.6236 | 289225.6724 | 30.45 | 114.2
237407 | 2022-05-10 14:55 | 4.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0339 | μmol/L | 17.9659 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.336 | 88692.1593 | 289200.4511 | 30.45 | 114.2
237417 | 2022-05-10 14:55 | 5.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0716 | μmol/L | 17.9659 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.334 | 88658.7832 | 289176.4238 | 30.45 | 114.2
237427 | 2022-05-10 14:55 | 5.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.9715 | μmol/L | 17.9782 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.335 | 88649.2874 | 289166.6207 | 30.45 | 114.2
237437 | 2022-05-10 14:56 | 5.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.8339 | μmol/L | 17.9904 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.338 | 88634.1479 | 289138.7365 | 30.45 | 114.2
237447 | 2022-05-10 14:56 | 6.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.8251 | μmol/L | 18.0089 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.332 | 88617.1204 | 289124.8956 | 30.45 | 114.2
237457 | 2022-05-10 14:56 | 6.6661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.731 | μmol/L | 18.0089 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.337 | 88606.451 | 289110.073 | 30.45 | 114.2
237467 | 2022-05-10 14:57 | 6.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.6282 | μmol/L | 18.0273 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.336 | 88578.2364 | 289101.4922 | 30.45 | 114.2
237477 | 2022-05-10 14:57 | 7.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5096 | μmol/L | 18.0396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.338 | 88566.9838 | 289085.952 | 30.45 | 114.2
237487 | 2022-05-10 14:57 | 7.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5443 | μmol/L | 18.0457 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.334 | 88550.0784 | 289059.8465 | 30.45 | 114.2
237497 | 2022-05-10 14:58 | 7.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.4475 | μmol/L | 18.0519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.337 | 88532.0703 | 289043.2434 | 30.45 | 114.2
237507 | 2022-05-10 14:58 | 8.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.4041 | μmol/L | 18.0641 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.335 | 88520.5104 | 289032.432 | 30.45 | 114.2
237517 | 2022-05-10 14:58 | 8.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.2669 | μmol/L | 18.0764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.338 | 88506.9725 | 289021.3173 | 30.45 | 114.2
237527 | 2022-05-10 14:59 | 8.9998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.2452 | μmol/L | 18.0826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.337 | 88489.0217 | 288990.3842 | 30.45 | 114.2
237537 | 2022-05-10 14:59 | 9.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.2048 | μmol/L | 18.0887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.337 | 88469.7449 | 288978.2908 | 30.45 | 114.2
237547 | 2022-05-10 14:59 | 9.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.0893 | μmol/L | 18.0948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.341 | 88449.2619 | 288966.5709 | 30.45 | 114.2
237557 | 2022-05-10 15:00 | 9.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.0648 | μmol/L | 18.1071 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.338 | 88442.2061 | 288951.742 | 30.45 | 114.2
237567 | 2022-05-10 15:00 | 10.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.9494 | μmol/L | 18.1133 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.342 | 88434.1516 | 288946.3916 | 30.45 | 114.2
237577 | 2022-05-10 15:00 | 10.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.9653 | μmol/L | 18.1194 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.339 | 88424.7137 | 288926.3239 | 30.45 | 114.2
237587 | 2022-05-10 15:01 | 10.9998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.8284 | μmol/L | 18.1317 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.342 | 88416.3344 | 288909.9313 | 30.45 | 114.2
237597 | 2022-05-10 15:01 | 11.3331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.7693 | μmol/L | 18.1378 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.343 | 88385.669 | 288888.8788 | 30.45 | 114.2
237607 | 2022-05-10 15:01 | 11.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.7046 | μmol/L | 18.1563 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.34 | 88370.6889 | 288874.7122 | 30.45 | 114.2
237617 | 2022-05-10 15:02 | 11.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.5333 | μmol/L | 18.1624 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.347 | 88355.1694 | 288838.4606 | 30.45 | 114.2
237627 | 2022-05-10 15:02 | 12.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4556 | μmol/L | 18.1686 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.349 | 88343.9939 | 288835.4843 | 30.45 | 114.2
237637 | 2022-05-10 15:02 | 12.6664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4284 | μmol/L | 18.187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.344 | 88315.8826 | 288814.1972 | 30.45 | 114.2
237647 | 2022-05-10 15:03 | 12.9998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4658 | μmol/L | 18.187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.342 | 88299.4102 | 288776.1551 | 30.45 | 114.2
237657 | 2022-05-10 15:03 | 13.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4845 | μmol/L | 18.187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.341 | 88274.9164 | 288745.971 | 30.45 | 114.2
237667 | 2022-05-10 15:03 | 13.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.3451 | μmol/L | 18.2054 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.342 | 88246.4759 | 288742.8789 | 30.45 | 114.2
237677 | 2022-05-10 15:04 | 13.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4414 | μmol/L | 18.1993 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.339 | 88233.2259 | 288707.0292 | 30.45 | 114.2
237687 | 2022-05-10 15:04 | 14.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2833 | μmol/L | 18.2177 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.341 | 88208.1691 | 288708.1454 | 30.45 | 114.2
237697 | 2022-05-10 15:04 | 14.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2618 | μmol/L | 18.2238 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.34 | 88190.9646 | 288683.7315 | 30.45 | 114.2
237707 | 2022-05-10 15:05 | 14.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2777 | μmol/L | 18.23 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.337 | 88162.6172 | 288663.8889 | 30.45 | 114.2
237717 | 2022-05-10 15:05 | 15.3331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2188 | μmol/L | 18.2361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.338 | 88136.9538 | 288639.0175 | 30.45 | 114.2
237727 | 2022-05-10 15:05 | 15.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1385 | μmol/L | 18.2484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.338 | 88126.7743 | 288623.547 | 30.45 | 114.2
237737 | 2022-05-10 15:06 | 15.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0582 | μmol/L | 18.2607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.338 | 88101.4702 | 288603.017 | 30.45 | 114.2
237747 | 2022-05-10 15:06 | 16.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0582 | μmol/L | 18.2607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.338 | 88087.6319 | 288572.0684 | 30.45 | 114.2
237757 | 2022-05-10 15:06 | 16.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0339 | μmol/L | 18.273 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.335 | 88076.3324 | 288565.9518 | 30.45 | 114.2
237767 | 2022-05-10 15:07 | 16.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9592 | μmol/L | 18.273 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.339 | 88065.6137 | 288545.9923 | 30.45 | 114.2
237777 | 2022-05-10 15:07 | 17.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8417 | μmol/L | 18.2853 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.341 | 88053.7785 | 288518.1573 | 30.45 | 114.2
237787 | 2022-05-10 15:07 | 17.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7429 | μmol/L | 18.2975 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.342 | 88040.4549 | 288512.5729 | 30.45 | 114.2
237797 | 2022-05-10 15:08 | 17.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7429 | μmol/L | 18.2975 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.342 | 88036.1309 | 288486.6698 | 30.45 | 114.2
237807 | 2022-05-10 15:08 | 18.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6283 | μmol/L | 18.3037 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.346 | 88030.9491 | 288464.6198 | 30.45 | 114.2
237817 | 2022-05-10 15:08 | 18.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5668 | μmol/L | 18.316 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.345 | 88022.5766 | 288456.4117 | 30.45 | 114.2
237827 | 2022-05-10 15:09 | 18.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6041 | μmol/L | 18.316 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.343 | 88010.0202 | 288440.8661 | 30.45 | 114.2
237837 | 2022-05-10 15:09 | 19.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.484 | μmol/L | 18.3344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.343 | 87992.734 | 288419.0381 | 30.45 | 114.2
237847 | 2022-05-10 15:09 | 19.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3723 | μmol/L | 18.3344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.349 | 87995.9499 | 288397.3509 | 30.45 | 114.2
237857 | 2022-05-10 15:10 | 19.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1595 | μmol/L | 18.3528 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.354 | 87992.282 | 288388.2204 | 30.45 | 114.2
237867 | 2022-05-10 15:10 | 20.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1595 | μmol/L | 18.3528 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.354 | 87988.2539 | 288375.9288 | 30.45 | 114.2
237877 | 2022-05-10 15:10 | 20.6661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1009 | μmol/L | 18.359 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.355 | 87988.0882 | 288358.0246 | 30.45 | 114.2
237887 | 2022-05-10 15:11 | 20.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.9097 | μmol/L | 18.3713 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.361 | 87983.8118 | 288353.2533 | 30.45 | 114.2
237897 | 2022-05-10 15:11 | 21.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.9654 | μmol/L | 18.3713 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.358 | 87973.5185 | 288339.7979 | 30.45 | 114.2
237907 | 2022-05-10 15:11 | 21.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.8828 | μmol/L | 18.3897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.356 | 87974.1485 | 288329.8911 | 30.45 | 114.2
237917 | 2022-05-10 15:12 | 21.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7344 | μmol/L | 18.3897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.364 | 87976.8254 | 288300.8325 | 30.45 | 114.2
237927 | 2022-05-10 15:12 | 22.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.79 | μmol/L | 18.3897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.361 | 87978.0471 | 288297.9148 | 30.45 | 114.2
237937 | 2022-05-10 15:12 | 22.6664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5805 | μmol/L | 18.402 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.368 | 87974.2779 | 288278.6381 | 30.45 | 114.2
237947 | 2022-05-10 15:13 | 22.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3925 | μmol/L | 18.4081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.376 | 87986.338 | 288271.8958 | 30.45 | 114.2
237957 | 2022-05-10 15:13 | 23.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3528 | μmol/L | 18.4143 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.376 | 87988.9213 | 288248.9309 | 30.45 | 114.2
237967 | 2022-05-10 15:13 | 23.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.202 | μmol/L | 18.4204 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.382 | 88007.3395 | 288249.1297 | 30.45 | 114.2
237977 | 2022-05-10 15:14 | 23.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0883 | μmol/L | 18.4265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.386 | 88002.5593 | 288243.1867 | 30.45 | 114.2
237987 | 2022-05-10 15:14 | 24.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.9931 | μmol/L | 18.4327 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.389 | 88013.5149 | 288232.3599 | 30.45 | 114.2
237997 | 2022-05-10 15:14 | 24.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.8953 | μmol/L | 18.445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.39 | 88025.3992 | 288225.0166 | 30.45 | 114.2
238007 | 2022-05-10 15:15 | 24.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.7107 | μmol/L | 18.445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.4 | 88040.5952 | 288198.391 | 30.45 | 114.2
238017 | 2022-05-10 15:15 | 25.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.5447 | μmol/L | 18.445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.409 | 88071.6938 | 288188.6919 | 30.45 | 114.2
238027 | 2022-05-10 15:15 | 25.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.3734 | μmol/L | 18.4573 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.414 | 88089.4064 | 288194.7187 | 30.45 | 114.2
238037 | 2022-05-10 15:16 | 25.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.3154 | μmol/L | 18.4634 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.415 | 88089.2744 | 288171.1462 | 30.45 | 114.2