## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 15:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
237255 | 2022-05-10 14:50 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.9983 | μmol/L | 17.6665 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.609 | 132523.2719 | 297376.5634 | 33.25 | 68.6
237265 | 2022-05-10 14:50 | 0.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.0617 | μmol/L | 17.6847 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.599 | 132461.8166 | 297364.6221 | 33.25 | 68.6
237275 | 2022-05-10 14:50 | 0.66094 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.9735 | μmol/L | 17.6969 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.599 | 132413.0706 | 297357.8972 | 33.25 | 68.6
237285 | 2022-05-10 14:51 | 0.99393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.8411 | μmol/L | 17.7151 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.599 | 132379.7451 | 297326.0851 | 33.25 | 68.6
237295 | 2022-05-10 14:51 | 1.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.8458 | μmol/L | 17.7334 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.592 | 132335.4343 | 297291.6915 | 33.25 | 68.6
237305 | 2022-05-10 14:51 | 1.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.7233 | μmol/L | 17.7638 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.587 | 132313.9954 | 297277.7977 | 33.25 | 68.6
237315 | 2022-05-10 14:52 | 1.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.2687 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.59 | 132263.4744 | 297245.3583 | 33.25 | 68.6
237325 | 2022-05-10 14:52 | 2.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.2248 | μmol/L | 17.8489 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.581 | 132219.9633 | 297229.4144 | 33.25 | 68.6
237335 | 2022-05-10 14:52 | 2.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.425 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.582 | 132195.9127 | 297218.9292 | 33.25 | 68.6
237345 | 2022-05-10 14:53 | 2.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.5474 | μmol/L | 17.8064 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.58 | 132055.4097 | 297175.6316 | 33.25 | 68.6
237355 | 2022-05-10 14:53 | 3.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.5374 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.583 | 132013.0987 | 297152.6698 | 33.25 | 68.6
237365 | 2022-05-10 14:53 | 3.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.474 | μmol/L | 17.8246 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.577 | 132003.3696 | 297141.3519 | 33.25 | 68.6
237375 | 2022-05-10 14:54 | 3.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.3712 | μmol/L | 17.8368 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.578 | 131997.2915 | 297112.1473 | 33.25 | 68.6
237385 | 2022-05-10 14:54 | 4.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.3811 | μmol/L | 17.8489 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.573 | 131986.7102 | 297111.3132 | 33.25 | 68.6
237395 | 2022-05-10 14:54 | 4.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.2541 | μmol/L | 17.8611 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.575 | 131951.22 | 297087.6325 | 33.25 | 68.6
237405 | 2022-05-10 14:55 | 4.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.225 | μmol/L | 17.8672 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.574 | 131948.291 | 297076.9621 | 33.25 | 68.6
237415 | 2022-05-10 14:55 | 5.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.2005 | μmol/L | 17.8794 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.571 | 131919.3026 | 297044.3977 | 33.25 | 68.6
237425 | 2022-05-10 14:55 | 5.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.1127 | μmol/L | 17.8915 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.571 | 131901.8827 | 297029.075 | 33.25 | 68.6
237435 | 2022-05-10 14:56 | 5.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.0544 | μmol/L | 17.9098 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.567 | 131855.3559 | 297012.7839 | 33.25 | 68.6
237445 | 2022-05-10 14:56 | 6.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.801 | μmol/L | 17.9341 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.571 | 131842.7861 | 296987.3686 | 33.25 | 68.6
237455 | 2022-05-10 14:56 | 6.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.8352 | μmol/L | 17.9402 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.567 | 131846.931 | 296967.8863 | 33.25 | 68.6
237465 | 2022-05-10 14:57 | 6.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.7719 | μmol/L | 17.9463 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.568 | 131827.1697 | 296959.3477 | 33.25 | 68.6
237475 | 2022-05-10 14:57 | 7.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.7428 | μmol/L | 17.9584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.565 | 131793.9546 | 296951.3191 | 33.25 | 68.6
237485 | 2022-05-10 14:57 | 7.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.7575 | μmol/L | 17.9645 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.562 | 131798.4436 | 296947.8095 | 33.25 | 68.6
237495 | 2022-05-10 14:58 | 7.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.6067 | μmol/L | 17.9828 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.563 | 131798.4574 | 296929.8272 | 33.25 | 68.6
237505 | 2022-05-10 14:58 | 8.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.5192 | μmol/L | 17.9949 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.563 | 131801.9704 | 296899.4472 | 33.25 | 68.6
237515 | 2022-05-10 14:58 | 8.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.4171 | μmol/L | 18.001 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.566 | 131817.5722 | 296888.0013 | 33.25 | 68.6
237525 | 2022-05-10 14:59 | 8.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.286 | μmol/L | 18.0193 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.566 | 131818.0812 | 296865.6805 | 33.25 | 68.6
237535 | 2022-05-10 14:59 | 9.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.8782 | μmol/L | 18.0497 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.576 | 131861.6499 | 296838.9438 | 33.25 | 68.6
237545 | 2022-05-10 14:59 | 9.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.5729 | μmol/L | 18.0619 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.587 | 131881.4515 | 296834.6995 | 33.25 | 68.6
237555 | 2022-05-10 15:00 | 9.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.4467 | μmol/L | 18.0497 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.598 | 131940.5594 | 296816.8159 | 33.25 | 68.6
237565 | 2022-05-10 15:00 | 10.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.2143 | μmol/L | 18.0558 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.608 | 132017.656 | 296806.6906 | 33.25 | 68.6
237575 | 2022-05-10 15:00 | 10.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.0646 | μmol/L | 18.0679 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.611 | 131964.6298 | 296770.7014 | 33.25 | 68.6
237585 | 2022-05-10 15:01 | 10.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.9632 | μmol/L | 18.074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.614 | 131905.7919 | 296762.3068 | 33.25 | 68.6
237595 | 2022-05-10 15:01 | 11.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.9004 | μmol/L | 18.0862 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.613 | 131817.2894 | 296740.5779 | 33.25 | 68.6
237605 | 2022-05-10 15:01 | 11.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.973 | μmol/L | 18.0862 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.609 | 131777.5952 | 296724.6215 | 33.25 | 68.6
237615 | 2022-05-10 15:02 | 11.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.0022 | μmol/L | 18.0984 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.603 | 131741.6782 | 296697.2557 | 33.25 | 68.6
237625 | 2022-05-10 15:02 | 12.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.9301 | μmol/L | 18.1166 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.6 | 131720.4758 | 296682.373 | 33.25 | 68.6
237635 | 2022-05-10 15:02 | 12.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.8532 | μmol/L | 18.1409 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.595 | 131686.7503 | 296651.9749 | 33.25 | 68.6
237645 | 2022-05-10 15:03 | 12.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.5067 | μmol/L | 18.1896 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.595 | 131657.3935 | 296632.4101 | 33.25 | 68.6
237655 | 2022-05-10 15:03 | 13.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.7045 | μmol/L | 18.1835 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.587 | 131631.489 | 296615.449 | 33.25 | 68.6
237665 | 2022-05-10 15:03 | 13.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.7911 | μmol/L | 18.1714 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.587 | 131603.8932 | 296589.6741 | 33.25 | 68.6
237675 | 2022-05-10 15:04 | 13.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.9552 | μmol/L | 18.1653 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.581 | 131575.2834 | 296568.6594 | 33.25 | 68.6
237685 | 2022-05-10 15:04 | 14.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.9119 | μmol/L | 18.1714 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.581 | 131541.6004 | 296551.7403 | 33.25 | 68.6
237695 | 2022-05-10 15:04 | 14.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.9072 | μmol/L | 18.1774 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.579 | 131479.8452 | 296523.938 | 33.25 | 68.6
237705 | 2022-05-10 15:05 | 14.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.9512 | μmol/L | 18.1896 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.572 | 131434.8948 | 296499.6809 | 33.25 | 68.6
237715 | 2022-05-10 15:05 | 15.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.0674 | μmol/L | 18.1957 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.564 | 131378.8157 | 296472.9238 | 33.25 | 68.6
237725 | 2022-05-10 15:05 | 15.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.0387 | μmol/L | 18.2079 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.561 | 131361.3223 | 296464.1099 | 33.25 | 68.6
237735 | 2022-05-10 15:06 | 15.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.0146 | μmol/L | 18.2079 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.562 | 131366.7822 | 296451.5815 | 33.25 | 68.6
237745 | 2022-05-10 15:06 | 16.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.7879 | μmol/L | 18.2261 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.567 | 131367.0289 | 296407.3748 | 33.25 | 68.6
237755 | 2022-05-10 15:06 | 16.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.6819 | μmol/L | 18.2383 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.568 | 131377.702 | 296403.1306 | 33.25 | 68.6
237765 | 2022-05-10 15:07 | 16.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.4896 | μmol/L | 18.2626 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.569 | 131388.0383 | 296382.6945 | 33.25 | 68.6
237775 | 2022-05-10 15:07 | 17.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.3305 | μmol/L | 18.2687 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.575 | 131403.1716 | 296377.5748 | 33.25 | 68.6
237785 | 2022-05-10 15:07 | 17.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.2148 | μmol/L | 18.2687 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.581 | 131425.901 | 296354.6756 | 33.25 | 68.6
237795 | 2022-05-10 15:08 | 17.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.056 | μmol/L | 18.2748 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.587 | 131435.4951 | 296334.9983 | 33.25 | 68.6
237805 | 2022-05-10 15:08 | 18.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.8397 | μmol/L | 18.2869 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.594 | 131462.4383 | 296315.6434 | 33.25 | 68.6
237815 | 2022-05-10 15:08 | 18.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.7487 | μmol/L | 18.2991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.594 | 131445.5934 | 296308.9663 | 33.25 | 68.6
237825 | 2022-05-10 15:09 | 18.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.6772 | μmol/L | 18.3174 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.591 | 131441.1032 | 296292.7273 | 33.25 | 68.6
237835 | 2022-05-10 15:09 | 19.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.5526 | μmol/L | 18.3295 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.593 | 131401.5914 | 296271.0045 | 33.25 | 68.6
237845 | 2022-05-10 15:09 | 19.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.6295 | μmol/L | 18.3295 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.589 | 131329.3523 | 296264.4647 | 33.25 | 68.6
237855 | 2022-05-10 15:10 | 19.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.6966 | μmol/L | 18.3235 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.588 | 131259.4245 | 296238.1515 | 33.25 | 68.6
237865 | 2022-05-10 15:10 | 20.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.668 | μmol/L | 18.3295 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.587 | 131255.6407 | 296224.2213 | 33.25 | 68.6
237875 | 2022-05-10 15:10 | 20.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.6105 | μmol/L | 18.3356 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.588 | 131270.9076 | 296223.5418 | 33.25 | 68.6
237885 | 2022-05-10 15:11 | 20.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.4137 | μmol/L | 18.3417 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.596 | 131307.6523 | 296207.7574 | 33.25 | 68.6
237895 | 2022-05-10 15:11 | 21.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.1931 | μmol/L | 18.3478 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.605 | 131364.9211 | 296187.5682 | 33.25 | 68.6
237905 | 2022-05-10 15:11 | 21.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.0207 | μmol/L | 18.3539 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.612 | 131412.6841 | 296193.8751 | 33.25 | 68.6
237915 | 2022-05-10 15:12 | 21.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.7962 | μmol/L | 18.3721 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.617 | 131449.3779 | 296182.1562 | 33.25 | 68.6
237925 | 2022-05-10 15:12 | 22.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.6145 | μmol/L | 18.3782 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.624 | 131467.1344 | 296162.5692 | 33.25 | 68.6
237935 | 2022-05-10 15:12 | 22.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.5145 | μmol/L | 18.3904 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.625 | 131498.8708 | 296164.383 | 33.25 | 68.6
237945 | 2022-05-10 15:13 | 22.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4187 | μmol/L | 18.3843 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.632 | 131533.1563 | 296148.7579 | 33.25 | 68.6
237955 | 2022-05-10 15:13 | 23.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.1896 | μmol/L | 18.3904 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.642 | 131581.0307 | 296144.189 | 33.25 | 68.6
237965 | 2022-05-10 15:13 | 23.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.9896 | μmol/L | 18.4025 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.648 | 131632.1832 | 296117.5732 | 33.25 | 68.6
237975 | 2022-05-10 15:14 | 23.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.6898 | μmol/L | 18.4147 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.659 | 131689.8973 | 296127.08 | 33.25 | 68.6
237985 | 2022-05-10 15:14 | 24.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.3534 | μmol/L | 18.4573 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.661 | 131753.2669 | 296097.5697 | 33.25 | 68.6
237995 | 2022-05-10 15:14 | 24.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.1352 | μmol/L | 18.4695 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.668 | 131748.3423 | 296113.9546 | 33.25 | 68.6
238005 | 2022-05-10 15:15 | 24.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.2631 | μmol/L | 18.4573 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.666 | 131740.9307 | 296083.0469 | 33.25 | 68.6
238015 | 2022-05-10 15:15 | 25.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.377 | μmol/L | 18.4512 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.662 | 131728.3749 | 296089.2606 | 33.25 | 68.6
238025 | 2022-05-10 15:15 | 25.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.5195 | μmol/L | 18.4451 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.657 | 131707.0105 | 296070.8634 | 33.25 | 68.6
238035 | 2022-05-10 15:16 | 25.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.4676 | μmol/L | 18.4573 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.655 | 131688.3065 | 296060.8763 | 33.25 | 68.6
238045 | 2022-05-10 15:16 | 26.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.4866 | μmol/L | 18.4573 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.654 | 131677.6545 | 296059.376 | 33.25 | 68.6