## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 14:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
236440 | 2022-05-10 14:02 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.551 | μmol/L | 18.6216 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 24.185 | 150895.8663 | 303267.8204 | 33.25 | 68.6
236450 | 2022-05-10 14:02 | 0.33318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.762 | μmol/L | 18.6277 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 24.171 | 151074.3411 | 303215.2396 | 33.25 | 68.6
236460 | 2022-05-10 14:03 | 0.66628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.8068 | μmol/L | 18.6398 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 24.164 | 151224.2433 | 303170.2171 | 33.25 | 68.6
236470 | 2022-05-10 14:03 | 1.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.8291 | μmol/L | 18.6581 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 24.156 | 151168.5521 | 303089.1869 | 33.25 | 68.6
236480 | 2022-05-10 14:03 | 1.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.8785 | μmol/L | 18.6642 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 24.151 | 152213.3997 | 303022.9879 | 33.25 | 68.6
236490 | 2022-05-10 14:04 | 1.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.0269 | μmol/L | 18.6824 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 24.136 | 151579.1994 | 302954.8676 | 33.25 | 68.6
236500 | 2022-05-10 14:04 | 1.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.5139 | μmol/L | 18.6824 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 24.109 | 151478.0051 | 302892.1739 | 33.25 | 68.6
236510 | 2022-05-10 14:04 | 2.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.4149 | μmol/L | 18.6885 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 24.057 | 151104.4876 | 302818.6615 | 33.25 | 68.6
236520 | 2022-05-10 14:05 | 2.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.2746 | μmol/L | 18.6824 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 24.012 | 150761.1412 | 302736.5887 | 33.25 | 68.6
236530 | 2022-05-10 14:05 | 2.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 221.7632 | μmol/L | 18.6885 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.983 | 150568.9798 | 302682.528 | 33.25 | 68.6
236540 | 2022-05-10 14:05 | 3.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.0885 | μmol/L | 18.7189 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.954 | 151251.1082 | 302606.7872 | 33.25 | 68.6
236550 | 2022-05-10 14:06 | 3.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 222.5978 | μmol/L | 18.725 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.924 | 151319.9949 | 302541.4968 | 33.25 | 68.6
236560 | 2022-05-10 14:06 | 4.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.0826 | μmol/L | 18.7128 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.848 | 150322.4408 | 302490.8792 | 33.25 | 68.6
236570 | 2022-05-10 14:06 | 4.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.7856 | μmol/L | 18.725 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.752 | 150403.4925 | 302425.2733 | 33.25 | 68.6
236580 | 2022-05-10 14:07 | 4.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.9495 | μmol/L | 18.7494 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.681 | 149076.7009 | 302361.3142 | 33.25 | 68.6
236590 | 2022-05-10 14:07 | 4.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.0483 | μmol/L | 18.7433 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.625 | 149380.3265 | 302286.8105 | 33.25 | 68.6
236600 | 2022-05-10 14:07 | 5.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.8083 | μmol/L | 18.7676 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.576 | 149314.4988 | 302229.2488 | 33.25 | 68.6
236610 | 2022-05-10 14:08 | 5.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.9224 | μmol/L | 18.7676 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.57 | 148913.492 | 302182.9378 | 33.25 | 68.6
236620 | 2022-05-10 14:08 | 6.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.2416 | μmol/L | 18.7737 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.551 | 149339.1571 | 302089.7929 | 33.25 | 68.6
236630 | 2022-05-10 14:08 | 6.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.5232 | μmol/L | 18.7798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.534 | 148788.1978 | 302029.4267 | 33.25 | 68.6
236640 | 2022-05-10 14:09 | 6.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.0581 | μmol/L | 18.7798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.506 | 148946.9718 | 301977.0968 | 33.25 | 68.6
236650 | 2022-05-10 14:09 | 6.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.5903 | μmol/L | 18.7859 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.476 | 148887.5801 | 301915.6726 | 33.25 | 68.6
236660 | 2022-05-10 14:09 | 7.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4091 | μmol/L | 18.798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.481 | 148299.9791 | 301842.5575 | 33.25 | 68.6
236670 | 2022-05-10 14:10 | 7.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.8121 | μmol/L | 18.798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.46 | 148434.2465 | 301782.6589 | 33.25 | 68.6
236680 | 2022-05-10 14:10 | 7.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.0726 | μmol/L | 18.8102 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.442 | 148378.6884 | 301720.4315 | 33.25 | 68.6
236690 | 2022-05-10 14:10 | 8.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.1838 | μmol/L | 18.8163 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.434 | 148368.8318 | 301661.2015 | 33.25 | 68.6
236700 | 2022-05-10 14:11 | 8.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.8376 | μmol/L | 18.8163 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.452 | 147970.1457 | 301588.8779 | 33.25 | 68.6
236710 | 2022-05-10 14:11 | 8.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.6456 | μmol/L | 18.8163 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.462 | 148278.595 | 301537.3806 | 33.25 | 68.6
236720 | 2022-05-10 14:11 | 9.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4792 | μmol/L | 18.8345 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.464 | 148346.3604 | 301471.3871 | 33.25 | 68.6
236730 | 2022-05-10 14:12 | 9.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4899 | μmol/L | 18.8467 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.459 | 148317.3453 | 301410.3622 | 33.25 | 68.6
236740 | 2022-05-10 14:12 | 10.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.6008 | μmol/L | 18.8528 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.451 | 147059.8214 | 301353.2099 | 33.25 | 68.6
236750 | 2022-05-10 14:12 | 10.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4387 | μmol/L | 18.865 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.455 | 147730.5013 | 301291.423 | 33.25 | 68.6
236760 | 2022-05-10 14:13 | 10.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.5688 | μmol/L | 18.871 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.446 | 147783.3645 | 301239.946 | 33.25 | 68.6
236770 | 2022-05-10 14:13 | 11.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.5454 | μmol/L | 18.8771 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.445 | 147808.5777 | 301189.46 | 33.25 | 68.6
236780 | 2022-05-10 14:13 | 11.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4068 | μmol/L | 18.8832 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.45 | 147842.3215 | 301130.1164 | 33.25 | 68.6
236790 | 2022-05-10 14:14 | 11.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.3067 | μmol/L | 18.8893 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.453 | 147887.3059 | 301053.7621 | 33.25 | 68.6
236800 | 2022-05-10 14:14 | 12.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.1874 | μmol/L | 18.8954 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.457 | 147932.313 | 301016.5841 | 33.25 | 68.6
236810 | 2022-05-10 14:14 | 12.3333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.0108 | μmol/L | 18.9015 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.464 | 147949.0749 | 300945.7232 | 33.25 | 68.6
236820 | 2022-05-10 14:15 | 12.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.0066 | μmol/L | 18.9076 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.462 | 147194.7272 | 300911.0282 | 33.25 | 68.6
236830 | 2022-05-10 14:15 | 12.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.0024 | μmol/L | 18.9136 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.46 | 147437.5254 | 300844.288 | 33.25 | 68.6
236840 | 2022-05-10 14:15 | 13.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.0747 | μmol/L | 18.9197 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.454 | 147501.3962 | 300796.9226 | 33.25 | 68.6
236850 | 2022-05-10 14:16 | 13.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.9514 | μmol/L | 18.9319 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.456 | 147494.1121 | 300739.2154 | 33.25 | 68.6
236860 | 2022-05-10 14:16 | 13.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.7941 | μmol/L | 18.938 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.462 | 147519.3426 | 300691.5416 | 33.25 | 68.6
236870 | 2022-05-10 14:16 | 14.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.7941 | μmol/L | 18.938 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.462 | 147570.0851 | 300638.1866 | 33.25 | 68.6
236880 | 2022-05-10 14:17 | 14.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.5987 | μmol/L | 18.9441 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.47 | 147601.2142 | 300594.4824 | 33.25 | 68.6
236890 | 2022-05-10 14:17 | 15.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.5181 | μmol/L | 18.9502 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.472 | 147605.6639 | 300541.828 | 33.25 | 68.6
236900 | 2022-05-10 14:17 | 15.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.3188 | μmol/L | 18.9623 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.478 | 147641.6152 | 300509.2172 | 33.25 | 68.6
236910 | 2022-05-10 14:18 | 15.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.2806 | μmol/L | 18.9623 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.48 | 146959.786 | 300448.0645 | 33.25 | 68.6
236920 | 2022-05-10 14:18 | 16.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.2764 | μmol/L | 18.9684 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.478 | 147058.7273 | 300411.2662 | 33.25 | 68.6
236930 | 2022-05-10 14:18 | 16.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.2489 | μmol/L | 18.9806 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.475 | 147153.015 | 300371.0611 | 33.25 | 68.6
236940 | 2022-05-10 14:19 | 16.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.0964 | μmol/L | 18.9806 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.483 | 147190.4062 | 300324.0271 | 33.25 | 68.6
236950 | 2022-05-10 14:19 | 17.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.944 | μmol/L | 18.9806 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.491 | 147252.825 | 300282.8995 | 33.25 | 68.6
236960 | 2022-05-10 14:19 | 17.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.7875 | μmol/L | 18.9867 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.497 | 147323.0957 | 300227.7955 | 33.25 | 68.6
236970 | 2022-05-10 14:20 | 17.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.4368 | μmol/L | 18.9988 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.511 | 147402.1318 | 300187.9955 | 33.25 | 68.6
236980 | 2022-05-10 14:20 | 18.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.2807 | μmol/L | 19.0049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.517 | 147461.1958 | 300159.7898 | 33.25 | 68.6
236990 | 2022-05-10 14:20 | 18.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.072 | μmol/L | 19.0049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.528 | 147493.3709 | 300115.6479 | 33.25 | 68.6
237000 | 2022-05-10 14:21 | 18.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.973 | μmol/L | 19.011 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.531 | 147543.9507 | 300081.8582 | 33.25 | 68.6
237010 | 2022-05-10 14:21 | 18.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.7752 | μmol/L | 19.0232 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.537 | 147573.9057 | 300025.0396 | 33.25 | 68.6
237020 | 2022-05-10 14:21 | 19.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.586 | μmol/L | 19.0232 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.547 | 147612.6854 | 300009.443 | 33.25 | 68.6
237030 | 2022-05-10 14:22 | 19.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.4494 | μmol/L | 19.0293 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.552 | 147650.6459 | 299970.0436 | 33.25 | 68.6
237040 | 2022-05-10 14:22 | 20 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.2605 | μmol/L | 19.0293 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.562 | 147702.529 | 299926.0822 | 33.25 | 68.6
237050 | 2022-05-10 14:22 | 20.3333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.0676 | μmol/L | 19.0353 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.57 | 146736.047 | 299888.248 | 33.25 | 68.6
237060 | 2022-05-10 14:23 | 20.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.078 | μmol/L | 19.0475 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.565 | 147058.2802 | 299846.6013 | 33.25 | 68.6
237070 | 2022-05-10 14:23 | 20.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.1346 | μmol/L | 19.0475 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.562 | 147134.8761 | 299807.5293 | 33.25 | 68.6
237080 | 2022-05-10 14:23 | 21.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.1304 | μmol/L | 19.0536 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.56 | 147139.1282 | 299750.7603 | 33.25 | 68.6
237090 | 2022-05-10 14:24 | 21.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.9376 | μmol/L | 19.0597 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.568 | 147196.9667 | 299720.796 | 33.25 | 68.6
237100 | 2022-05-10 14:24 | 21.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.7827 | μmol/L | 19.0658 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.574 | 147210.3861 | 299694.6545 | 33.25 | 68.6
237110 | 2022-05-10 14:24 | 22.3332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.6278 | μmol/L | 19.0719 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.58 | 147268.5063 | 299648.0104 | 33.25 | 68.6
237120 | 2022-05-10 14:25 | 22.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.4731 | μmol/L | 19.0779 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.586 | 147313.7703 | 299616.9084 | 33.25 | 68.6
237130 | 2022-05-10 14:25 | 23.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.2204 | μmol/L | 19.0901 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.595 | 147313.6716 | 299567.2811 | 33.25 | 68.6
237140 | 2022-05-10 14:25 | 23.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.187 | μmol/L | 19.084 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.599 | 147318.5303 | 299529.9998 | 33.25 | 68.6
237150 | 2022-05-10 14:26 | 23.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.9485 | μmol/L | 19.0962 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.607 | 147350.1062 | 299486.8088 | 33.25 | 68.6
237160 | 2022-05-10 14:26 | 23.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.7472 | μmol/L | 19.0962 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.618 | 147405.9731 | 299463.6957 | 33.25 | 68.6
237170 | 2022-05-10 14:26 | 24.3333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.5883 | μmol/L | 19.1023 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.624 | 147436.8048 | 299431.7858 | 33.25 | 68.6
237180 | 2022-05-10 14:27 | 24.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.2938 | μmol/L | 19.1023 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.64 | 147493.2383 | 299404.2318 | 33.25 | 68.6
237190 | 2022-05-10 14:27 | 25.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.0613 | μmol/L | 19.1145 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.648 | 147549.8112 | 299363.9348 | 33.25 | 68.6
237200 | 2022-05-10 14:27 | 25.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.7537 | μmol/L | 19.1205 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.662 | 147599.7264 | 299335.1668 | 33.25 | 68.6
237210 | 2022-05-10 14:28 | 25.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.5723 | μmol/L | 19.1205 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.672 | 147671.2783 | 299304.8477 | 33.25 | 68.6
237220 | 2022-05-10 14:28 | 26.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.2518 | μmol/L | 19.1266 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.687 | 147726.7471 | 299259.5489 | 33.25 | 68.6
237230 | 2022-05-10 14:28 | 26.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.0702 | μmol/L | 19.1205 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.699 | 147791.704 | 299230.1863 | 33.25 | 68.6
237240 | 2022-05-10 14:29 | 26.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.8947 | μmol/L | 19.1327 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.704 | 147812.0246 | 299187.3766 | 33.25 | 68.6
237250 | 2022-05-10 14:29 | 27.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.668 | μmol/L | 19.1388 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 23.714 | 147849.3878 | 299146.9467 | 33.25 | 68.6