## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 16:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238051 | 2022-05-10 15:41 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 234.5403 | μmol/L | 17.8552 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.733 | 66373.6014 | 285389.1709 | 28.7 | 67.6
238061 | 2022-05-10 15:41 | 0.32996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 234.1133 | μmol/L | 17.8673 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.75 | 66425.9474 | 285388.9045 | 28.7 | 67.6
238071 | 2022-05-10 15:41 | 0.66364 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 233.6249 | μmol/L | 17.8856 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.768 | 66471.9083 | 285406.676 | 28.7 | 67.6
238081 | 2022-05-10 15:42 | 0.99648 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 233.3646 | μmol/L | 17.8856 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.781 | 66531.7863 | 285397.2036 | 28.7 | 67.6
238091 | 2022-05-10 15:42 | 1.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 232.9801 | μmol/L | 17.8977 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.796 | 66579.8065 | 285382.3395 | 28.7 | 67.6
238101 | 2022-05-10 15:42 | 1.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 232.4369 | μmol/L | 17.9099 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.819 | 66612.7615 | 285379.5119 | 28.7 | 67.6
238111 | 2022-05-10 15:43 | 1.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 232.0144 | μmol/L | 17.9221 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.836 | 66664.049 | 285367.295 | 28.7 | 67.6
238121 | 2022-05-10 15:43 | 2.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 231.496 | μmol/L | 17.9281 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.86 | 66754.5271 | 285378.5313 | 28.7 | 67.6
238131 | 2022-05-10 15:43 | 2.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.858 | μmol/L | 17.9403 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.888 | 66836.0872 | 285371.2688 | 28.7 | 67.6
238141 | 2022-05-10 15:44 | 2.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.0055 | μmol/L | 17.9525 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.927 | 66942.2848 | 285373.3581 | 28.7 | 67.6
238151 | 2022-05-10 15:44 | 3.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.3551 | μmol/L | 17.9586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.958 | 67070.6704 | 285337.6966 | 28.7 | 67.6
238161 | 2022-05-10 15:44 | 3.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.3556 | μmol/L | 17.9646 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.007 | 67216.9356 | 285334.0952 | 28.7 | 67.6
238171 | 2022-05-10 15:45 | 3.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.1648 | μmol/L | 17.9768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.064 | 67387.5569 | 285332.4383 | 28.7 | 67.6
238181 | 2022-05-10 15:45 | 4.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.2176 | μmol/L | 17.9768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.113 | 67554.3154 | 285321.0951 | 28.7 | 67.6
238191 | 2022-05-10 15:45 | 4.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.3086 | μmol/L | 17.989 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.156 | 67680.0988 | 285314.985 | 28.7 | 67.6
238201 | 2022-05-10 15:46 | 4.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.8628 | μmol/L | 18.0011 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.175 | 67722.7818 | 285313.4724 | 28.7 | 67.6
238211 | 2022-05-10 15:46 | 5.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.9202 | μmol/L | 18.0011 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.172 | 67719.4489 | 285299.3398 | 28.7 | 67.6
238221 | 2022-05-10 15:46 | 5.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.9919 | μmol/L | 18.0133 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.164 | 67671.1444 | 285307.2508 | 28.7 | 67.6
238231 | 2022-05-10 15:47 | 5.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.3371 | μmol/L | 18.0133 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.146 | 67616.8462 | 285293.7375 | 28.7 | 67.6
238241 | 2022-05-10 15:47 | 6.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.3873 | μmol/L | 18.0315 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.137 | 67561.0625 | 285289.4871 | 28.7 | 67.6
238251 | 2022-05-10 15:47 | 6.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5938 | μmol/L | 18.0437 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.122 | 67510.8322 | 285281.9252 | 28.7 | 67.6
238261 | 2022-05-10 15:48 | 6.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7837 | μmol/L | 18.0498 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.11 | 67477.4825 | 285278.2289 | 28.7 | 67.6
238271 | 2022-05-10 15:48 | 7.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7788 | μmol/L | 18.0619 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.106 | 67460.0223 | 285277.271 | 28.7 | 67.6
238281 | 2022-05-10 15:48 | 7.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7764 | μmol/L | 18.068 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.104 | 67453.4719 | 285270.1011 | 28.7 | 67.6
238291 | 2022-05-10 15:49 | 7.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.6369 | μmol/L | 18.0802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.107 | 67467.1073 | 285265.8583 | 28.7 | 67.6
238301 | 2022-05-10 15:49 | 8.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4831 | μmol/L | 18.0802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.115 | 67479.4832 | 285257.5375 | 28.7 | 67.6
238311 | 2022-05-10 15:49 | 8.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4422 | μmol/L | 18.0863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.115 | 67483.1649 | 285259.8808 | 28.7 | 67.6
238321 | 2022-05-10 15:50 | 8.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.2861 | μmol/L | 18.0923 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.121 | 67482.0437 | 285256.2856 | 28.7 | 67.6
238331 | 2022-05-10 15:50 | 9.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.2237 | μmol/L | 18.1045 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.12 | 67487.1727 | 285245.729 | 28.7 | 67.6
238341 | 2022-05-10 15:50 | 9.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.0438 | μmol/L | 18.1228 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.123 | 67492.0491 | 285243.0368 | 28.7 | 67.6
238351 | 2022-05-10 15:51 | 9.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.8162 | μmol/L | 18.1167 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.137 | 67515.1556 | 285233.4766 | 28.7 | 67.6
238361 | 2022-05-10 15:51 | 10.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.7156 | μmol/L | 18.1288 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.138 | 67553.0864 | 285232.7563 | 28.7 | 67.6
238371 | 2022-05-10 15:51 | 10.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.3665 | μmol/L | 18.141 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.152 | 67588.0102 | 285217.1147 | 28.7 | 67.6
238381 | 2022-05-10 15:52 | 10.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.08 | μmol/L | 18.141 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.167 | 67630.3232 | 285220.0207 | 28.7 | 67.6
238391 | 2022-05-10 15:52 | 11.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.6534 | μmol/L | 18.1592 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.183 | 67595.2896 | 285213.8689 | 28.7 | 67.6
238401 | 2022-05-10 15:52 | 11.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.4227 | μmol/L | 18.1653 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.193 | 67602.6529 | 285218.549 | 28.7 | 67.6
238411 | 2022-05-10 15:53 | 11.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.2112 | μmol/L | 18.1714 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.202 | 67620.6589 | 285199.6938 | 28.7 | 67.6
238421 | 2022-05-10 15:53 | 12.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.0924 | μmol/L | 18.1836 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.204 | 67567.2128 | 285207.8909 | 28.7 | 67.6
238431 | 2022-05-10 15:53 | 12.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.014 | μmol/L | 18.1897 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.206 | 67560.9134 | 285197.8145 | 28.7 | 67.6
238441 | 2022-05-10 15:54 | 12.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.9381 | μmol/L | 18.1897 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.21 | 67563.2547 | 285206.6107 | 28.7 | 67.6
238451 | 2022-05-10 15:54 | 13.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.8764 | μmol/L | 18.2018 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.209 | 67555.7818 | 285204.8093 | 28.7 | 67.6
238461 | 2022-05-10 15:54 | 13.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.8716 | μmol/L | 18.214 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.205 | 67560.6343 | 285200.2854 | 28.7 | 67.6
238471 | 2022-05-10 15:55 | 13.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.7768 | μmol/L | 18.214 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.21 | 67563.6855 | 285192.3782 | 28.7 | 67.6
238481 | 2022-05-10 15:55 | 14.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.5257 | μmol/L | 18.2261 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.219 | 67574.2899 | 285194.3676 | 28.7 | 67.6
238491 | 2022-05-10 15:55 | 14.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.4097 | μmol/L | 18.2322 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.223 | 67581.279 | 285187.6513 | 28.7 | 67.6
238501 | 2022-05-10 15:56 | 14.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.1402 | μmol/L | 18.2444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.233 | 67579.2092 | 285180.0049 | 28.7 | 67.6
238511 | 2022-05-10 15:56 | 15.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.0835 | μmol/L | 18.2444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.236 | 67588.2002 | 285182.1477 | 28.7 | 67.6
238521 | 2022-05-10 15:56 | 15.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.9465 | μmol/L | 18.2566 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.239 | 67599.8072 | 285165.1684 | 28.7 | 67.6
238531 | 2022-05-10 15:57 | 15.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.8522 | μmol/L | 18.2566 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.244 | 67606.7114 | 285163.7985 | 28.7 | 67.6
238541 | 2022-05-10 15:57 | 16.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.6423 | μmol/L | 18.2626 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.253 | 67638.76 | 285156.9253 | 28.7 | 67.6
238551 | 2022-05-10 15:57 | 16.6639 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.355 | μmol/L | 18.2748 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.264 | 67669.2317 | 285175.2667 | 28.7 | 67.6
238561 | 2022-05-10 15:58 | 16.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.1457 | μmol/L | 18.2809 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.273 | 67700.6923 | 285168.5879 | 28.7 | 67.6
238571 | 2022-05-10 15:58 | 17.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.7865 | μmol/L | 18.287 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.29 | 67741.7652 | 285157.8378 | 28.7 | 67.6
238581 | 2022-05-10 15:58 | 17.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.2969 | μmol/L | 18.293 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.314 | 67812.5452 | 285160.3174 | 28.7 | 67.6
238591 | 2022-05-10 15:59 | 17.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.9766 | μmol/L | 18.2991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.329 | 67873.7796 | 285161.9732 | 28.7 | 67.6
238601 | 2022-05-10 15:59 | 18.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.4705 | μmol/L | 18.3052 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.354 | 67928.608 | 285152.5122 | 28.7 | 67.6
238611 | 2022-05-10 15:59 | 18.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.9051 | μmol/L | 18.3235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.378 | 68014.6247 | 285132.3464 | 28.7 | 67.6
238621 | 2022-05-10 16:00 | 18.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2167 | μmol/L | 18.3295 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.413 | 68117.0443 | 285135.4688 | 28.7 | 67.6
238631 | 2022-05-10 16:00 | 19.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.5677 | μmol/L | 18.3356 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 23.446 | 68228.1133 | 285124.0912 | 28.7 | 67.6