## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-10 16:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
238053 | 2022-05-10 15:41 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.8338 | μmol/L | 17.7509 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.108 | 83614.8549 | 287815.0688 | 30.45 | 114.2
238063 | 2022-05-10 15:41 | 0.33733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.5565 | μmol/L | 17.7632 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.118 | 83623.8524 | 287811.3684 | 30.45 | 114.2
238073 | 2022-05-10 15:41 | 0.67053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.4344 | μmol/L | 17.7755 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.12 | 83625.5491 | 287800.6792 | 30.45 | 114.2
238083 | 2022-05-10 15:42 | 1.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.1769 | μmol/L | 17.7878 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.129 | 83624.53 | 287797.8169 | 30.45 | 114.2
238093 | 2022-05-10 15:42 | 1.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.174 | μmol/L | 17.7939 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.127 | 83627.0585 | 287801.0843 | 30.45 | 114.2
238103 | 2022-05-10 15:42 | 1.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.8144 | μmol/L | 17.8185 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.137 | 83612.0498 | 287762.6964 | 30.45 | 114.2
238113 | 2022-05-10 15:43 | 2.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.7729 | μmol/L | 17.8246 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.137 | 83611.1361 | 287765.167 | 30.45 | 114.2
238123 | 2022-05-10 15:43 | 2.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.5934 | μmol/L | 17.8369 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.142 | 83612.2151 | 287754.0455 | 30.45 | 114.2
238133 | 2022-05-10 15:43 | 2.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.4555 | μmol/L | 17.843 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.147 | 83593.8689 | 287745.3578 | 30.45 | 114.2
238143 | 2022-05-10 15:44 | 3.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.2319 | μmol/L | 17.8676 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.15 | 83592.5728 | 287735.1249 | 30.45 | 114.2
238153 | 2022-05-10 15:44 | 3.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.2704 | μmol/L | 17.8676 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.148 | 83592.4012 | 287723.5829 | 30.45 | 114.2
238163 | 2022-05-10 15:44 | 3.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.0721 | μmol/L | 17.8799 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.154 | 83579.9751 | 287713.9746 | 30.45 | 114.2
238173 | 2022-05-10 15:45 | 4.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.0308 | μmol/L | 17.886 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.154 | 83594.0443 | 287707.1167 | 30.45 | 114.2
238183 | 2022-05-10 15:45 | 4.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.8298 | μmol/L | 17.9045 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.158 | 83581.5223 | 287697.0185 | 30.45 | 114.2
238193 | 2022-05-10 15:45 | 4.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.8653 | μmol/L | 17.9106 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.154 | 83576.3731 | 287683.6041 | 30.45 | 114.2
238203 | 2022-05-10 15:46 | 5.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.7251 | μmol/L | 17.9229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.157 | 83578.5639 | 287682.519 | 30.45 | 114.2
238213 | 2022-05-10 15:46 | 5.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.5465 | μmol/L | 17.9352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.162 | 83574.5666 | 287663.55 | 30.45 | 114.2
238223 | 2022-05-10 15:46 | 5.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.4861 | μmol/L | 17.9413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.163 | 83572.7225 | 287664.3819 | 30.45 | 114.2
238233 | 2022-05-10 15:47 | 6.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.4803 | μmol/L | 17.9536 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.159 | 83575.9024 | 287645.6922 | 30.45 | 114.2
238243 | 2022-05-10 15:47 | 6.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.3403 | μmol/L | 17.9659 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.162 | 83564.4856 | 287641.1101 | 30.45 | 114.2
238253 | 2022-05-10 15:47 | 6.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.2387 | μmol/L | 17.9782 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.163 | 83558.8959 | 287625.6949 | 30.45 | 114.2
238263 | 2022-05-10 15:48 | 7.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.14 | μmol/L | 17.9843 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.166 | 83556.7162 | 287621.4479 | 30.45 | 114.2
238273 | 2022-05-10 15:48 | 7.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.0769 | μmol/L | 17.9966 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.165 | 83561.1567 | 287619.4479 | 30.45 | 114.2
238283 | 2022-05-10 15:48 | 7.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.94 | μmol/L | 18.0027 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.17 | 83549.9828 | 287599.9028 | 30.45 | 114.2
238293 | 2022-05-10 15:49 | 8.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.8769 | μmol/L | 18.015 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.169 | 83538.5134 | 287595.9513 | 30.45 | 114.2
238303 | 2022-05-10 15:49 | 8.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.7564 | μmol/L | 18.0273 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.171 | 83536.5569 | 287582.0437 | 30.45 | 114.2
238313 | 2022-05-10 15:49 | 8.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.7727 | μmol/L | 18.0334 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.168 | 83527.4506 | 287588.8174 | 30.45 | 114.2
238323 | 2022-05-10 15:50 | 9.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.6141 | μmol/L | 18.0457 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.172 | 83527.1731 | 287573.4293 | 30.45 | 114.2
238333 | 2022-05-10 15:50 | 9.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.532 | μmol/L | 18.058 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.172 | 83520.7891 | 287556.7347 | 30.45 | 114.2
238343 | 2022-05-10 15:50 | 9.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.5264 | μmol/L | 18.0703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.168 | 83512.0864 | 287549.8372 | 30.45 | 114.2
238353 | 2022-05-10 15:51 | 10.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.409 | μmol/L | 18.0764 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.172 | 83505.2293 | 287539.7162 | 30.45 | 114.2
238363 | 2022-05-10 15:51 | 10.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.3652 | μmol/L | 18.0887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.17 | 83500.7735 | 287537.9176 | 30.45 | 114.2
238373 | 2022-05-10 15:51 | 10.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.2669 | μmol/L | 18.0948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.173 | 83507.3108 | 287532.0598 | 30.45 | 114.2
238383 | 2022-05-10 15:52 | 11.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.1878 | μmol/L | 18.101 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.175 | 83489.8097 | 287536.0747 | 30.45 | 114.2
238393 | 2022-05-10 15:52 | 11.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.1031 | μmol/L | 18.1194 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.173 | 83143.8153 | 287514.8056 | 30.45 | 114.2
238403 | 2022-05-10 15:52 | 11.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.1194 | μmol/L | 18.1256 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.17 | 83085.5456 | 287504.984 | 30.45 | 114.2
238413 | 2022-05-10 15:53 | 12.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.9232 | μmol/L | 18.1378 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.176 | 83016.5852 | 287493.9679 | 30.45 | 114.2
238423 | 2022-05-10 15:53 | 12.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.9423 | μmol/L | 18.1378 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.175 | 82990.0421 | 287501.4562 | 30.45 | 114.2
238433 | 2022-05-10 15:53 | 12.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.9204 | μmol/L | 18.144 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.174 | 82986.7219 | 287483.8112 | 30.45 | 114.2
238443 | 2022-05-10 15:54 | 13.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.8168 | μmol/L | 18.1624 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.173 | 82981.3297 | 287487.6772 | 30.45 | 114.2
238453 | 2022-05-10 15:54 | 13.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.6998 | μmol/L | 18.1686 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.177 | 82952.8127 | 287482.0995 | 30.45 | 114.2
238463 | 2022-05-10 15:54 | 13.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.659 | μmol/L | 18.1747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.177 | 82946.3714 | 287469.9747 | 30.45 | 114.2
238473 | 2022-05-10 15:55 | 14.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.5013 | μmol/L | 18.187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.181 | 82942.5024 | 287462.3888 | 30.45 | 114.2
238483 | 2022-05-10 15:55 | 14.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.4958 | μmol/L | 18.1993 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.177 | 82944.2094 | 287461.3336 | 30.45 | 114.2
238493 | 2022-05-10 15:55 | 14.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.3762 | μmol/L | 18.2116 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.179 | 82942.1926 | 287466.8457 | 30.45 | 114.2
238503 | 2022-05-10 15:56 | 15.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.3734 | μmol/L | 18.2177 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.177 | 82939.3014 | 287440.0028 | 30.45 | 114.2
238513 | 2022-05-10 15:56 | 15.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.2757 | μmol/L | 18.2238 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.18 | 82933.6479 | 287423.6949 | 30.45 | 114.2
238523 | 2022-05-10 15:56 | 15.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.2757 | μmol/L | 18.2238 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.18 | 82938.0545 | 287428.7705 | 30.45 | 114.2
238533 | 2022-05-10 15:57 | 16.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.1753 | μmol/L | 18.2361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.181 | 82926.6502 | 287413.5379 | 30.45 | 114.2
238543 | 2022-05-10 15:57 | 16.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.0017 | μmol/L | 18.2423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.188 | 82927.2832 | 287413.5995 | 30.45 | 114.2
238553 | 2022-05-10 15:57 | 16.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.98 | μmol/L | 18.2484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.187 | 82932.6216 | 287407.5962 | 30.45 | 114.2
238563 | 2022-05-10 15:58 | 17.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.9176 | μmol/L | 18.2607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.186 | 82934.6236 | 287411.1819 | 30.45 | 114.2
238573 | 2022-05-10 15:58 | 17.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.8012 | μmol/L | 18.2668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.19 | 82928.4664 | 287391.2438 | 30.45 | 114.2
238583 | 2022-05-10 15:58 | 17.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.8201 | μmol/L | 18.2668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.189 | 82935.055 | 287402.4021 | 30.45 | 114.2
238593 | 2022-05-10 15:59 | 18.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6631 | μmol/L | 18.2791 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.193 | 82933.8976 | 287386.7713 | 30.45 | 114.2
238603 | 2022-05-10 15:59 | 18.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6604 | μmol/L | 18.2853 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.191 | 82891.3654 | 287364.8529 | 30.45 | 114.2
238613 | 2022-05-10 15:59 | 18.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.4684 | μmol/L | 18.2914 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.199 | 82889.1694 | 287368.4885 | 30.45 | 114.2
238623 | 2022-05-10 16:00 | 19.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.4818 | μmol/L | 18.3037 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.194 | 82892.0756 | 287358.0775 | 30.45 | 114.2
238633 | 2022-05-10 16:00 | 19.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.3656 | μmol/L | 18.3098 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.198 | 82884.5608 | 287349.8785 | 30.45 | 114.2